REPUBLIC OF KENYA

COMPETENCY BASED CURRICULUM

FOR

ELECTRICAL INSTALLATION LEVEL 3

TVET CDACC

P.O BOX 15745-00100

NAIROBI

First published 2019

Copyright TVET CDACC

All rights reserved. No part of this Curriculum may be reproduced, distributed, or transmitted in any form or by any means, including photocopying, recording, or other electronic or mechanical methods without the prior written permission of the TVET CDACC, except in the case of brief quotations embodied in critical reviews and certain other non-commercial uses permitted by copyright law. For permission requests, write to the Council Secretary/CEO, at the address below:

Council Secretary/CEO

TVET Curriculum Development, Assessment and

Certification Council

P.O. Box 15745–00100

Nairobi, Kenya

Email: info@tvetcdacc.go.ke

# FOREWORD

The provision of quality education and training is fundamental to the Government’s overall strategy for social economic development. Quality education and training will contribute to achievement Kenya’s development blue print and sustainable development goals.

Reforms in the education sector are necessary for the achievement of Kenya Vision 2030 and meeting the provisions of the Constitution of Kenya 2010. The education sector had to be aligned to the Constitution and this resulted to the formulation of the Policy Framework for Reforming Education and Training. A key feature of this policy is the radical change in the design and delivery of the TVET training.  This policy document requires that training in TVET be competency based, curriculum development be industry led, certification be based on demonstration of competence and mode of delivery allows for multiple entry and exit in TVET programmes.

These reforms demand that Industry takes a leading role in curriculum development to ensure the curriculum addresses its competence needs. It is against this background that this Curriculum has been developed.

It is my conviction that this curriculum will play a great role towards development of competent human resource for the Electrical sector’s growth and sustainable development.

PRINCIPAL SECRETARY, VOCATIONAL AND TECHNICAL TRAINING

MINISTRY OF EDUCATION

# PREFACE

Kenya Vision 2030 aims to transform the country into a newly industrializing, “middle-income   country   providing   a   high-quality life to all its citizens by the year 2030”.  Kenya intends to create a globally competitive and adaptive human resource base to meet the requirements of a rapidly industrializing economy through life-long education and training. TVET has a responsibility of facilitating the process of inculcating knowledge, skills and attitudes necessary for catapulting the nation to a globally competitive country, hence the paradigm shift to embrace Competency Based Education and Training (CBET).

The Technical and Vocational Education and Training Act No.29 of 2013 on Reforming Education and Training in Kenya, emphasized the need to reform curriculum development, assessment and certification. This called for a shift to CBET to address the mismatch between skills acquired through training and skills needed by industry as well as increase the global competitiveness of Kenyan labour force.

TVET Curriculum Development, Assessment and Certification Council (TVET CDACC) in conjunction with Electrical Sector Skills Advisory Committee (SSAC) and CAP Youth Empowerment Institute have developed this curriculum.

The curriculum is designed and organized with an outline of learning outcomes; Suggested Methods of Instruction, training/learning resources and methods of assessing the trainee’s achievement.  The curriculum is competency-based and allows multiple entry and exit to the course.

This curriculum has been developed following the CBET framework policy; the CBETA standards and guidelines provided by the TVET Authority and the Kenya National Qualification Framework designed by the Kenya National Qualification Authority.

I am grateful to the Council Members, Council Secretariat, Electrical SSAC, expert workers and all those who participated in the development of this curriculum.

CHAIRPERSON, TVET CDACC

# ACKNOWLEDGEMENT

This curriculum has been designed for competency-based training and has independent units of learning that allow the trainee flexibility in entry and exit. In developing the curriculum, significant involvement and support was received from various organizations.

I appreciate CAP Youth Empowerment Institute and Electrical Engineering Sector Skills Advisory Committee (SSAC) who enabled the development of this curriculum.

I recognize with appreciation the role of the SSAC in ensuring that competencies required by the industry are addressed in this curriculum. I also thank all stakeholders in the Electrical sector for their valuable input and all those who participated in the process of developing this curriculum.

I am convinced that this curriculum will go a long way in ensuring that workers in Electrical sector will acquire competencies that will enable them perform their work more efficiently.

COUNCIL SECRETARY/CEO

TVET CDACC

TABLE OF CONTENTS

FOREWORD	ii

PREFACE	iii

ACKNOWLEDGEMENT	iv

ACRONYMNS AND ABBREVIATIONS	vi

OVERVIEW	viii

BASIC UNITS OF LEARNING	1

COMMUNICATION SKILLS	2

NUMERACY SKILLS	4

DIGITAL LITERACY	6

ENTREPRENEURIAL SKILLS	8

EMPLOYABILITY SKILLS	11

ENVIRONMENTAL LITERACY	14

OCCUPATIONAL SAFETY AND HEALTH PRACTICES	16

CORE UNITS OF LEARNING	17

PVC SHEATHED CABLING, CONDUITING, TRUNKING AND CABLE TRAYS LAYING	19

SINGLE PHASE ELECTRICAL INSTALLATION AND MAINTENANCE	23

FIXING AND MAINTENANCE OF LIGHT FITTINGS, POWER OUTLETS AND BASIC APPLIANCES	29

ACRONYMNS AND ABBREVIATIONS

| BC | Basic Competency |
| --- | --- |
| IEE | Institute of Electrical Engineers |
| EE | Electrical Engineers |
| PC | Personal Computer |
| CDACC | Curriculum Development, Assessment and Certification Council |
| CPU | Central Processing Unit |
| CR | Core Competency |
| NCA | National Construction Authority |
| PVC | Polyvinyl Chloride |
| ICT | Information Communication Technology |
| KCPE | Kenya Certificate of Primary Education |
| KCSE | Kenya Certificate of secondary Education |
| KNQA | Kenya National Qualifications Authority |
| NEMA | National Environmental Management Authority |
| OS | Occupational Standard |
| OSHA | Occupation Safety and Health Act |
| OSHS | Occupation Safety and Health Standards |
| PPE | Personal Protective Equipment |
| SOPs | Standard Operating Procedures |
| SSAC | Sector Skills Advisory Committee |
| TVET | Technical and Vocational Education and Training |

KEY TO UNIT CODE

ENG/CU/EI/BC/CO/CR/01/3/A

Industry or sector

Curriculum

Occupational area

Type of competency

Type of competency

Type of competency

Competency number

Competency level

Control Version

# OVERVIEW

Description of the course

This course is designed to equip individuals with competencies for installing and maintaining electrical wiring, lighting, power circuits and related equipment in domestic premises.

Units of Learning

This course consists of basic and core units of learning as indicated below:

Basic Units of Learning

| Unit Code | Unit Title | Duration in Hours | Credit Factors |
| --- | --- | --- | --- |
| ENG/CU/SPV/BC/01/3/A | Communication skills | 15 | 1.5 |
| ENG/CU/SPV/BC/02/3/A | Numeracy skills | 15 | 1.5 |
| ENG/CU/SPV/BC/03/3/A | Entrepreneurial skills | 20 | 1.5 |
| ENG/CU/SPV/BC/04/3/A | Employability skills | 40 | 4.0 |
| ENG/CU/SPV/BC/05/3/A | Environmental literacy | 20 | 2.0 |
| ENG/CU/SPV/BC/06/3/A | Digital Literacy | 15 | 1.5 |
| ENG/CU/SPV/BC/07/3/A | Occupational safety and health practices | 15 | 1.5 |
| Total |  | 140 | 14 |

Core Units of Learning

| Unit Code | Unit Title | Duration in Hours | Credit Factors |
| --- | --- | --- | --- |
| ENG/CU/EI/CR/01/3/A | PVC sheathed cabling, conduiting, trunking and cable trays laying | 30 | 3 |
| ENG/CU/EI/CR/02/3/A | Single phase electrical installation and maintenance | 60 | 6 |
| ENG/CU/EI/CR/03/3/A | Fixing and maintenance of light fittings, power outlets and basic appliances | 60 | 60 |
|  | Industrial Attachment | 300 | 30 |
| Total |  | 450 | 45 |
| Grand Total |  | 590 | 59 |

The total duration of the course is 590 Hours which include 300 Hours of industrial attachment.

Entry Requirements

An individual entering this course should have any of the following minimum requirements:

Kenya Certificate of Primary Education (K.C.P.E)

Equivalent qualifications as determined by Kenya National Qualifications Authority (KNQA)

Industrial attachment

An individual enrolled in this course will be required to undergo an industrial attachment in an Electrical engineering firm for a period of at least 300 hours. Attachment will be undertaken upon completion of the course or the unit of learning.

Trainer qualification

A trainer for this course should have a higher qualification than the level of this course

Assessment

The course will be assessed at two levels: internally and externally. Internal assessment is continuous and is conducted by the trainer who is monitored by an internal accredited verifier while external assessment is the responsibility of TVET/CDACC.

Certification

A candidate will be issued with a Certificate of Competency for each core unit of competency. To attain the qualification Level III in Electrical Installation, the candidate must demonstrate competence in all the units of competency as given in qualification pack.  These certificates will be issued by TVET CDACC in conjunction with training provider.

# BASIC UNITS OF LEARNING

# COMMUNICATION SKILLS

UNIT CODE:	ENG/CU/EI/BC/01/3/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Demonstrate communication skills

Duration of Unit: 15 hours

Unit Description

This unit specifies the competencies required to demonstrate communication skills. It involves, obtaining and conveying workplace information, speaking English at a basic operational level, participating in workplace meetings and discussions and completing relevant work-related documents.

Summary of Learning Outcomes

- Obtain and convey workplace information

- Speak English at a basic operational level

- Participate in workplace meetings and discussions

- Complete relevant work-related documents

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Obtain and convey workplace information | - Communication process - Modes of communication - Medium of communication - Effective communication - Barriers to communication - Flow of communication - Sources of information - Types of questions - Organizational policies - Workplace etiquette - Ethical work practices in handling communication | - Written - Oral questioning - Observation |
| - Speak English at a basic operational level | - English grammar - Nouns, verbs, adjectives, adverbs, pronouns prepositions - English speaking - Pronunciation - Simple conversations - Taking verbal instructions - Reading and writing in English - Forms of expression in English | - Written - Oral - Role play |
| - Participate in workplace meetings and discussions | - Nature of workplace meetings - Meeting protocols - Workplace interactions | - Oral questioning - Observation - Written tests |
| - Complete relevant work-related documents | - Types and purposes of workplace documents and forms - Methods used in filling forms and documents - Recording workplace data - Process of distributing workplace forms and documents - Report writing - Types of workplace reports | - Written tests - Oral questioning - Observation |

Suggested Methods of Instruction

- Discussion

- Role play

- Brainstorming

- Viewing of related videos

Recommended Resources

- Desktop computers/laptops

- Projectors

- Report writing templates

- Pens

- Note books

# NUMERACY SKILLS

UNIT CODE: ENG/CU/EI/BC/02/3/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Demonstrate numeracy skills

Duration of Unit: 15 hours

Unit Description

This unit covers the competencies required to identify and undertake simple numerical processes. The person who is competent in this unit shall be able to use / work with whole numbers and money up to one hundred thousand; Locate, compare and use highly familiar measurement; Use highly familiar maps and diagrams; Identify and use some common 2D shapes; and locate specific Information in highly familiar tables, graphs and charts for work.

Summary of Learning Outcomes

- Use whole numbers for work

- Locate, compare and use highly familiar measurement for work

- Use highly familiar maps and diagrams for work

- Identify and use some common 2D shapes for work

- Locate specific Information in highly familiar tables, graphs and charts for work

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Use whole numbers for work | - Whole numbers - Use of Zeros - Use of halves - Sizes - Grouping of numbers - Addition and subtraction of whole numbers - Numerical information, - Symbols | - Oral questioning - Written tests - Practical test - Observation |
| - Locate, compare and use highly familiar measurement for work | - Measurements - Units of measurements and their use - Digital time am and pm - Calendars | - Oral - Written - Practical test - Observation |
| - Use highly familiar maps and diagrams for work | - Use of Maps and - Diagrams simple - symbols and pictorial - Giving simple oral directions to locate objects | - Oral - Written - Practical test - Observation |
| - Identify and use some common 2D shapes for work | - Two dimensional shapes - Describe common objects in terms of size and shape - Compare objects - Group common objects based on shape, size, color and features | - Oral - Written - Practical test - Observation |
| - Locate specific Information in highly familiar tables, graphs and charts for work | - Simple tables - Features of simple graphs and charts - Numerical information in tables, graphs & charts | - Oral - Written - Practical test - Observation |

Suggested Methods of Instruction

- Instructor led facilitation of theory.

- Practical demonstration of tasks by trainer

- Practice by trainees/ role play

- Discussion

- Observations and comments and corrections by trainers

Recommended Resources

- Common 2D shapes objects

- Calculator

- Basic measuring instruments

- Mathematical tables

# DIGITAL LITERACY

UNIT CODE:	 ENG/CU/EI/BC/03/3/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Demonstrate digital literacy

Duration of Unit: 20 hours

Unit Description

This unit covers the competencies required to effectively demonstrate digital literacy in a working environment. It entails identifying and using digital devices such as smartphones, tablets, laptops and desktop computers for purposes of communication and performing work related tasks at the work place.

Summary of Learning Outcomes

- Identify computer hardware and software

- Apply security measures to data, hardware and software

- Apply computer software in solving tasks

- Apply internet and email in communication at workplace

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Identify computer hardware and software | - Definition of a computer - Functions of a computer - Components of a computer - Classification of computers - Computer software | - Written - Oral - Observation |
| - Apply security measures to data, hardware and software | - Data security and control - Security threats and control measures - Types of computer crimes - Detection and protection against computer crimes | - Written tests - Oral presentation - Observation |
| - Apply computer software in solving tasks | - Operating systems - Word processing - Spread sheets - Data base | - Oral questioning - Observation - Practical |
| - Apply internet and email in communication at workplace | - Computer networks - Uses of internet - Electronic mail (e-mail) concept | - Oral questioning - Observation - Oral presentation - Written report |

Suggested Methods of Instruction

- Instructor led facilitation of theory

- Demonstration by trainer

- Practical work by trainee

- Viewing of related videos

- Group discussions

Recommended Resources

Tools and equipment

- Desk top computers

- Laptop computers

- Other digital devices

- Printers

- Storage devices

- Internet access

- Computer software

# ENTREPRENEURIAL SKILLS

UNIT CODE: ENG/CU/EI/BC/04/3/A

Relationship to occupational standards

This unit addresses the unit of competency: Demonstrate entrepreneurial skills

Duration of unit: 40 hours

Unit description

This unit describes the competencies required to demonstrate entrepreneurial competencies. It includes, acquiring and developing entrepreneurial culture, identifying entrepreneurial opportunities, starting a small business, running and growing a small business.

Summary of Learning Outcomes

- Acquire and develop entrepreneurial culture

- Identify entrepreneurial opportunities

- Start a small business

- Run a small business

- Grow a small business

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Acquire and develop entrepreneurial culture | - Definition of entrepreneur - Importance of entrepreneurship - Common terminologies in entrepreneurship - Entrepreneurship and employment creation - Formal and informal employment - Habits that promote entrepreneurial development - Cultural factors that inhibit entrepreneurship | - Observation - Individual/group assignments - Written - Oral |
| - Identify entrepreneurial opportunities | - Types, characteristics, qualities & role of entrepreneurs - SWOT analysis - Generating Business ideas - Business opportunities - Evaluation of business opportunities | - Observation - Individual/group assignments - Written - Oral |
| - Prepare a business plan | - Types of business plan - Components of a business plan - Importance of a business plan - Forms of business ownership - Importance of location of a small business - Resources required to start a small business | - Observation - Individual/group assignments - Written - Oral |
| - Start a small business | - Factors to consider when starting a small business - Legal requirement for starting a small business - Procedure of starting a small business - The dos and don’ts of starting a small business - Challenges faced when starting a small business and mitigating factors - Launch of a small business | - Oral - Observation - Individual/group assignments - Written |
| - Run a small business | - Organizational structure of a small business - Managing small business finances - Book keeping - Business support services - Marketing for small businesses - Basic IT application in small business | - Observation - Individual/group assignments - Written |
| - Grow a small business | - Methods of growing/expanding a small business - Resources for growing small business - Small business growth plan - ICT and business growth | - Observation - Individual/group assignments - Written |

Suggested Methods of Instruction

- Instructor led facilitation of theory

- Demonstration by trainer

- Practice by trainee

- Role play

- Case study

Recommended Resources

- Case studies for small businesses

- Business plan template

- Laptop/ desktop computer

- Internet

- Telephone

- Writing materials

## EMPLOYABILITY SKILLS

UNIT CODE: ENG/CU/EI/BC/05/3/A

Relationship to Occupational Standards

This unit addresses the Unit of Competency: Demonstrate employability skills

Duration of Unit: 20 hours

Unit Description

This unit covers competencies required to demonstrate employability skills. It involves conducting self-management, demonstrating critical safe work habits, demonstrating workplace learning and workplace ethics.

Summary of Learning Outcomes

- Conduct self-management

- Demonstrate critical safe work habits

- Demonstrate workplace learning

- Demonstrate workplace ethics

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Conduct self-management | - Self-awareness - Formulating personal vision, mission and goals - Strategies for overcoming life challenges - Emotional intelligence - Assertiveness - Developing and maintaining high self-esteem - Developing and maintaining positive self-image - Accountability and responsibility - Good work habits - Self-awareness - Financial literacy - Healthy lifestyle practices | - Observation - Written - Oral interview - Third party report |
| - Demonstrate critical safe work habits | - Stress and stress management - Punctuality and time consciousness - Interpersonal communication - Sharing information - Resources utilization - HIV and AIDS - Drug and substance abuse - Handling emerging issues | - Observation - Written - Oral interview - Third party report |
| - Demonstrate workplace learning | - Personal training needs identification and assessment - Cultural aspects of work - Application of learning - Safe use of technology - Identifying opportunities - Workplace innovation - Handling emerging issues - Future trends and concerns in learning | - Observation - Oral interview - Written - Third party report |
| - Demonstrate workplace ethics | - Meaning of ethics - Ethical perspectives - Values and beliefs - Organization code of ethics - Common ethical dilemmas - Organization culture - Corruption, bribery and conflict of interest - Privacy and data protection - Harassment and mutual respect - Financial responsibility/accountability - Etiquette - Emerging issues in ethics | - Observation - Oral interview - Written - Third party report |

Suggested Methods of Delivery

- Instructor lead facilitation of theory

- Demonstrations

- Simulation/Role play

- Group Discussion

- Presentations

- Projects

- Case studies

- Assignments

Recommended Resources

- Computers

- Stationery

- Charts

- Video clips

- Audio tapes

- Radio sets

- TV sets

- LCD projectors

# ENVIRONMENTAL LITERACY

UNIT CODE: ENG/CU/EI/BC/06/3/A

Relationship to Occupational Standards:

This unit addresses the unit of competency: Demonstrate environmental literacy

Duration of Unit: 15 hours

Unit Description

This unit describes the competencies required by a worker to control environmental hazard, control environmental pollution and comply with workplace sustainable resource use.

Summary of Learning Outcomes

- Control environmental hazard

- Control environmental Pollution

- Demonstrate sustainable resource use

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Control environmental hazard | - Environmental Management and Coordination Act 1999 - Solid Waste Act - Storage of environmentally hazardous materials - Disposal of hazardous wastes - Types and uses of PPEs in line with environmental regulations - Occupational Safety and Health Act 2007 | - Written questions - Oral questions - Observation of work procedures |
| - Environmental Pollution Control | - Types of pollution - Environmental pollution control and management - Procedures for waste management | - Written questions - Oral questions - Observation of work procedures |
| - Demonstrate sustainable resource use | - Types of resources - Sustainable resource use and management - Principles of 3Rs (Reduce, Reuse, Recycle) | - Written questions - Oral questions - Observation of work procedures |

Suggested Methods of Instruction

- Instructor led facilitation of theory

- Discussion

- Demonstration by trainer

- Practice by trainee

- Observations and comments and corrections by trainers

Recommended Resources

- Standard operating and/or other workplace procedures manuals

- Specific job procedures manuals

- Solid Waste Act

- Environmental Management and Coordination Act 1999

- Machine/equipment manufacturer’s specifications and instructions

- Personal Protective Equipment (PPE)

# OCCUPATIONAL SAFETY AND HEALTH PRACTICES

UNIT CODE: ENG/CU/EI/BC/07/3/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Demonstrate safety and health practices

Duration of Unit: 15 hours

Unit Description

This unit describes the competencies required by a worker in an industry to practice and promote safety and health at work.

Summary of Learning Outcomes

- Prepare to apply workplace safety and health practices

- Compliance with occupational safety and health Act

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Prepare to apply workplace safety and health practices | - Awareness of legislation that outlines the minimum standards for occupational safety and health requirements/ regulations - Benefits of implementing an occupational safety and health program - Safety requirements/ regulations of own work and of other workers - Workplace standards and procedures for incidents and emergencies - Prevention and Control Measures for accidents, injuries and sickness | - Oral questions - Written questions - Observation of work procedures |
| 2. Compliance with occupational safety and health Act | - Safety instructions and safety signs - Safe handling of tools, equipment and materials - Use of safe guards and safety devices - Reporting of hazards, incidents, injuries and sickness in the workplace | - Written questions - Oral questions - Observation of work procedures |

Suggested Methods of Instruction

- Instructor led facilitation of theory

- Practical demonstration of tasks by trainer

- Practice by trainee

- Observations and comments and corrections by trainers

Recommended Resources

- Occupational safety and health standards

- Standard operating and/or other workplace procedures manuals

- Specific job procedures manuals

- Client/supplier instructions

- Organizational or external personnel

- Machine/equipment manufacturer’s specifications and instructions

- Quality standards

# CORE UNITS OF LEARNING

# PVC SHEATHED CABLING, CONDUITING, TRUNKING AND CABLE TRAYS LAYING

UNIT CODE:	ENG/CU/EI/CC/01/3/A

Relationship to Occupational Standards

This unit addresses the Unit of Competency: Perform pvc sheathed cabling, conduiting, trunking and cable trays laying

Duration of Unit: 30 hours

Unit Description

This unit describes the competencies required by an electrician in order to safely install electrical metallic and non-metallic conduits, trunking, cable trays, wire ways and distribution board frames based on the required performance standards.

Summary of Learning Outcomes

1.   Apply workplace safety

2.   Perform basic metal works

3.   Install PVC Sheathed cables

4.   Install electrical metallic/non- metallic (PVC) conduits

5.   Install wire ways, trunking and cable trays

6.   Install distribution board frames and auxiliary components

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Apply workplace safety | - Meaning of term PPE - Purpose of PPE - Types of PPE - Safe and correct - handling, use, maintenance and storage of different types of PPE Organizational safety rules - Safety and environmental regulations - Occupational risks e.g. falling from heights, bites from insects, cuts - Types of hazards e.g electric shock, arc flash, blast, burns, fire Sources of hazards and ways of preventing them - Types of fires and fire - fighting - • First aid - • Methods of resuscitation | - Direct - Observation - Oral questioning - Practical tests - Written tests |
| - Perform basic metal works. | - Use of safety harness and PPE - Types of metals e.g. Mile steel, steel - Purpose of the metals - Application of metals | - Direct observation - Oral questioning - Practical tests - Written tests |
| - Install PVC Sheathed cables | - Use of safety harness and PPE - Meaning of PVC sheathed cables - Types of sheathed cables - PVC sheathed cables wiring methods Applications of sheathed cables | - Direct observation - Oral questioning - Practical tests - Written tests |
| - Install electrical metallic/non- metallic (PVC) conduits | - Use of safety harness and PPE - Interpretation of electrical drawings and plans - Identification, use, - maintenance and storage of tools and equipment - Materials specification - Use of materials | - Written tests - Direct observation and Oral questioning - Practical tests |
| - Install wire ways, trunkings and cable trays | - Use of safety harness and PPE - Interpretation of electrical drawings and plans - Use of tools and equipment - Types of trunkings and cable trays - Procedure in installation of wire ways, trunkings and cable trays | - Written tests - Direct observation and oral questioning - Practical tests |
| - Install distribution board frames and auxiliary components | - Use of safety harness and PPE - Use of tools and equipment - Interpretation of electrical drawings and plans - Procedure in installation - of distribution board frames and auxiliary components - Earthing of the distribution boards - Conducting final checks for work manship, conformity with instructions and job requirements - Maintenance of tools - Storage of tools - Good housekeeping - Documentation and reporting | - Direct observation and oral questioning - Practical tests - Written tests |

Suggested Methods of Instruction

- Demonstration by trainer

- Practice by the trainee

- Field trips

- On-job-training

- Discussions

- Instructor led facilitation of theory

- Viewing of related videos

- Projector

Tools and Equipment

•Spirit levels, hack saws, plumb bobs and line, steel files, stock and die, metal pipe benders, bending springs, electric drills, earth rods/mats/spikes, grinding machine, chisels, mason’s hammers.

•PPE including working gloves, overalls/dustcoats, safety shoes, helmets, goggles, safety harness.

Materials and supplies

- Distribution boards

- Consumer control units

- Utility boxes

- Junction boxes

- PVC conduits and accessories

- Metallic conduits and accessories

- Trunking

- Cable trays

- Screws

- Glues

- Bolts and nuts

# SINGLE PHASE ELECTRICAL INSTALLATION AND MAINTENANCE

UNIT CODE:	ENG/CU/EI/CC/02/3/A

Relationship to Occupational Standards

This unit addresses the Unit of Competency: Perform single phase electrical installation and maintenance

Duration of Unit: 60 hours

Unit Description

This unit describes the competencies required by an electrician in order to safely install electrical metallic and non-metallic conduits,  trunking,  cable  trays,  wire  ways  and  distribution board frames based on the required performance standards.

Summary of Learning Outcomes

1.   Apply workplace safety

2.   Interpret electrical drawings

3.   Select correct types and sizes of cables

4.   Install cables for lighting and power points

5.   Install power intake point

6.   Install consumer’s control unit

7.   Inspect and test the complete installation

8.   Repair and maintain the installation

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Apply workplace safety | - Meaning and purpose - of PPE - Types of PPE - Safe and correct handling, use, maintenance and storage of different types of PPE - Organizational safety rules - Safety and environmental regulations - Occupational risks e.g. falling from heights, slipery floors, bites from insects, cuts - Types of hazards e.g electric shock, arc flash, blast, burns, fire - Sources of hazards and ways of preventing them - Types of fires and fire - fighting - First aid - Meaning of first aid - Procedure of rescuing a victim from electric shock - Remedies for burns, blisters and cuts - Methods of resuscitation | - Direct observation - Oral questioning - Practical tests - Written tests |
| - Interpret electrical drawings | - Identification of intake - point equipment - Identification of installation equipment and accessories e.g. switches, lamp holders - Identification of electrical symbols and abbreviations - Types of drawings - Schematic/layout - Circuit - Wiring | - Direct observation - Oral questioning - Practical tests - Written tests |
| - Select correct types and sizes of cables | - Meaning of insulators, conductors and cables - Types of conductors (e.g copper, aluminium) and their applications - Properties of conductors e.g. conductivity, temperature, weight, strength - Types of insulators (e.g. PVC, rubber, porcelain, fibre) - Properties of insulators e.g. resistivity - Factors to consider when selecting cables e.g. load, length - Identification of sub- circuits - Types and sizes of cables - Measurements and estimations of cable lengths and sizes - Relevant IEE regulations | - Direct observation - Oral questioning - Practical tests - Written tests |
| - Install cables for lighting and power points | - Meaning of cable joint and termination - Types of cable joints and termination - Purpose and application of cable joints and termination - Relevant IEE regulations | - Direct observation - Oral questioning - Practical tests - Written tests |
| - Install power intake point | - Communication methods at site e.g. verbal, walkie-talkie, mobile phones and PPE - Identification of tools and equipment - Assembling of working tools and equipment - Preparation of cables e.g. stripping, pairing - Drawing in of cables - Cable joints - Labeling of circuits - Conducting final checks for work manship, conformity with instructions and job requirements - Good housekeeping - Maintenance of tools - Storage of tools - Documentation and reporting - Relevant IEE regulations | - Direct observation - Oral questioning - Practical tests - Written tests |
| - Install consumer’s control unit | - Meaning of power intake point - Identification of sequence of control equipment - Mounting of components - Wiring of intake point - Earth lead and earth electrode installation - Bonding of all metal parts - Provision of draw wire for power authority - Conducting final checks for work manship, conformity with instructions and job requirements - Good housekeeping - Maintenance of tools - Storage of tools - Documentation and reporting - Relevant IEE - regulations | - Direct observation - Oral questioning - Practical tests - Written tests |
| - Inspect and test the complete installation | - Meaning of inspection and testing - Sections of the installation to be inspected - Types of visual and physical checks - Completion installation tests - Verification of polarity test - Insulation - Resistance test - Earth continuity tests - Ring circuit continuous test - Conducting final checks for work manship, conformity with instructions and job requirements - Good housekeeping - Maintenance of tools - Storage of tools - Documentation and reporting - Relevant IEE regulations | - Direct observation - Oral questioning - Practical tests - Written tests |
| - Repair and maintain the installation | - Meaning of repair and maintenance - Types of maintenance o Routine o Breakdown o Periodic o Overhaul - Repair and replacements of faulty components - Maintenance procedures - Conducting final checks for work manship, conformity with instructions and job requirements - Good housekeeping - Maintenance of tools - Storage of tools - Documentation and reporting - Relevant IEE regulations | - Direct observation - Oral questioning - Practical tests - Written tests |

Suggested Methods of Instruction

- Demonstration by trainer

- Practice by the trainee

- Field trips

- On-job-training

- Discussions

- Instructor led facilitation of theory

- Viewing of related videos

- Project

Recommended Resources

Tools and Equipment

•        Pliers

•        Screwdrivers

•        Hammers

•        Wire splicers

•        Electrician knives

•        Phase Testers

•        Wire gauge

•        Wire cutters and strippers

•        Steel tapes (draw wire)

•        Tape measures

•        Crimping and clamping tools

•        Hack saw and blades

•        Soldering guns

•        Multimeters

•        Insulation resistance testers

•        Loop impedance testers

Earth electrode resistance testers

•        Clamp on ammeters

•       PPEs including gloves, helmets, overalls/dust coats, safety boots

Materials

- Cables

- Earth rods/mats/spikes

- Cable lugs

- Glands

- Rubber boots

- Insulating tapes

- Strip connectors

- Earth rods/mats/spikes, clips

# FIXING AND MAINTENANCE OF LIGHT FITTINGS, POWER OUTLETS AND BASIC APPLIANCES

UNIT CODE: ENG/CU/EI/CR/03/3/A

Relationship to Occupational Standards

This unit of learning addresses the unit of competency: perform fixing of light fittings, power outlets, basic appliances repair and maintenance.

Duration of Unit: 60 hours

Unit Description

This unit describes the competencies required by an electrician in order to fit, mount and install wiring devices and install lighting fixtures for connection to mains power

Summary of Learning Outcomes

1.   Apply workplace safety

2.   Select wiring devices

3.   Install wiring devices, lighting fixtures and basic appliances

4.   Perform basic repair and maintenance of installation and appliances

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Apply workplace safety | - Meaning of term PPE - Purpose of PPE - Types of PPE - Safe and correct handling, use, maintenance and storage of different types of PPE - Organizational safety rules - Safety and environmental regulations - Occupational risks e.g. falling from heights, bites from insects, cuts - Types of hazards e.g electric shock, arc flash, blast, burns, fire - Sources of hazards and ways of preventing them - Types of fires and fire fighting - First aid - Methods of resuscitation | - Written tests - Oral questioning - Observation - Practical tests |
| - Select wiring devices | - Identification of wiring devices - Identification of basic appliances - Testing the functionality of the devices and appliances | - Written tests - Observation - Oral questioning - Practical tests |
| - Install wiring devices, lighting fixtures and basic appliances | - Use of safety harness and PPE - Identification of power points - Types of lighting fixtures - Identification of lighting fixtures - Identification of tools and equipment - Assembling of tools and equipment - Termination and fitting of wiring devices, lighting fixtures and basic appliances - Earthing of the wiring devices, lighting fixtures and basic appliances - Labelling of final circuits on the distribution board - Conducting final checks for work manship, conformity with instructions and job requirements - Maintenance of tools - Storage of tools - Good housekeeping - Documentation and reporting | - Written tests - Observation - Oral questioning - Practical tests |
| - Perform basic repair and maintenance of installation and appliances | - Meaning of repair and maintenance - Purpose and reasons of repair and maintenance - Fault identification - IEE regulations on fault identification, maintenance and repair process - Meaning of fault identification - Manufacture’s manual use in fault identification and appliances repair process - Standards in appliances and installation maintenance and repair process | - Written tests - Observation - Oral questioning - Practical tests |

Suggested Methods of Delivery

- Demonstration by trainer

- Practice by the trainee

- Field trips

- On-job-training

- Discussions

Recommended Resources

Tools and Equipment

●	Pliers, screwdrivers, wrenches, wire splicers, electrician knives,  ballpein  hammers, electric drills,  ladders  and scaffolding, multimeters, spanners, spirit levels, tape measures, labelling machine, soldering iron.

●	PPE  including  gloves,  helmets,  overalls/dust  coats, safety boots.

Personal Protective Equipment (PPE)

●	Switches (e.g. light switches, double pole switch, float, pressure control), socket outlets, industrial sockets.

●	Light fittings (e.g. fluorescent, 2D fitting, ball fittings, panels, security lights, snake lights).

●	Earth   rods/mats/spikes,   circuit   breakers,   consumer control  units,  distribution  boards,  isolators, changeovers, instant water heaters, hand dryers, electric water pumps