TVET CURRICULUM DEVELOPMENT, ASSESSMENT AND CERTIFICATION COUNCIL (TVET CDACC)

NATIONAL OCCUPATIONAL STANDARDS

FOR

ELECTRICAL TECHNICIAN (POWER OPTION)

LEVEL 6

TVET CDACC

P.O BOX 15745-00100

NAIROBI

First published 2018

© 2018, TVET CDACC

All rights reserved. No part of these Occupational Standards may be reproduced, distributed, or transmitted in any form or by any means, including photocopying, recording, or other electronic or mechanical methods without the prior written permission of the TVET CDACC, except in the case of brief quotations embodied in critical reviews and certain other non-commercial uses permitted by copyright law. For permission requests, write to the Council Secretary/CEO, at the address below:

Council Secretary/CEO

TVET Curriculum Development, Assessment and Certification Council

P.O. Box 15745–00100 Nairobi, Kenya

Email: info@tvetcdacc.go.ke

# FOREWORD

The provision of quality education and training is fundamental to the Government’s overall strategy for social economic development. Quality education and training will contribute to achievement of Kenya’s development blue print and sustainable development goals.

Reforms in the education sector are necessary for the achievement of Kenya Vision 2030 and meeting the provisions of the Constitution of Kenya 2010. The education sector had to be aligned to the Constitution and this resulted in the formulation of the Policy Framework for Reforming Education and Training (Sessional Paper No. 4 of 2016). A key feature of this policy is the radical change in the design and delivery of the TVET training.  This policy document requires that training in TVET be competency based, Curriculum development be industry led, certification be based on demonstration of competence and mode of delivery allows for multiple entry and exit in TVET programmes.

These reforms demand that Industry takes a leading role in Curriculum development to ensure the Curriculum addresses its competence needs. It is against this background that these Occupational Standards were developed for the purpose of developing a competency-based Curriculum for Electrical Engineering Technology Level 6. These Occupational Standards will also be the basis for assessment of an individual for competence certification.

It is my conviction that these Occupational Standards will play a great role towards development of competent human resource for the Engineering sector’s growth and sustainable development.

PRINCIPAL SECRETARY, VOCATIONAL AND TECHNICAL TRAINING MINISTRY OF EDUCATION

# PREFACE

The TVET Curriculum Development, Assessment and Certification Council (TVET CDACC), in conjunction with Electrical Engineering Sector Skills Advisory Committee (SSAC) have developed these Occupational Standards for an Electrical Technician Level 6. These standards will be the basis for development of a competency-based Curriculum for Electrical Engineering Technology Level 6. These Standards will also be the basis for assessment of an individual for competence certification.

The Occupational Standards are designed and organized with clear performance criteria for each element of a unit of competency. These standards also outline the required knowledge and skills as well as evidence guide.

I am grateful to the Council Members, Council Secretariat, Electrical Engineering SSAC, expert workers and all those who participated in the development of these Occupational Standards.

CHAIRMAN, TVET CDACC

# ACKNOWLEDGMENT

These Occupational Standards were developed through combined effort of various stakeholders from private and public organizations. I am sincerely thankful to the management of these organizations for allowing their staff to participate in this course. I wish to acknowledge the invaluable contribution of industry players who provided inputs towards the development of these Standards.

I thank TVET Curriculum Development, Assessment and Certification Council (TVET CDACC) for providing guidance on the development of these Standards. My gratitude goes to the Electrical Engineering Sector Skills Advisory Committee (SSAC) members for their contribution to the development of these Standards.  I thank all the individuals and organizations who participated in the validation of these Standards.

I acknowledge all other institutions which in one way or another contributed to the development of these Standards.

CHAIRMAN ELECTRICAL ENGINEERING SECTOR SKILLS ADVISORY COMMITTEE

TABLE OF CONTENTS

FOREWORD	iii

PREFACE	iv

ACKNOWLEDGMENT	v

ABBREVIATIONS AND ACRONYMS	vii

KEY TO UNIT CODE	viii

BASIC UNITS OF COMPETENCY	1

DEMONSTRATE COMMUNICATION SKILLS	2

DEMONSTRATE DIGITAL LITERACY	6

DEMONSTRATE ENTREPRENEURIAL SKILLS	11

DEMONSTRATE EMPLOYABILITY SKILLS	19

DEMONSTRATE ENVIRONMENTAL LITERACY	26

DEMONSTRATE OCCUPATIONAL SAFETY AND HEALTH PRACTICES	31

COMMON UNITS OF COMPETENCY	37

APPLY ENGINEERING MATHEMATICS	38

PERFORM WORKSHOP PROCESSES	44

APPLY ELECTRICAL PRINCIPLES	49

PREPARE AND INTERPRET TECHNICAL DRAWINGS	54

CORE UNITS OF COMPETENCY	58

INSTALL ELECTRICAL POWER LINES	68

INSTALL ELECTRICAL MACHINE	74

DEMONSTRATE UNDERSTANDING OF ELECTRONICS	80

AUTOMATE AN ELECTRICAL MACHINE	86

INSTALL SECURITY SYSTEMS	92

INSTALL SOLAR SYSTEMS	97

MAINTAIN ELECTRICAL EQUIPMENT AND SYSTEMS	101

MANAGE AN ELECTRICAL PROJECT	107

DEMONSTRATE UNDERSTANDING OF POWER GENERATION	112

# ABBREVIATIONS AND ACRONYMS

CAD			Computer Aided Design

CCTV			Closed Circuit Tele Vision

CDACC		Curriculum Development, Assessment and Certification Council

EHS			Environment, Health and Safety

HVAC 		Heating, Ventilation and Air Conditioning

IBMS 			Integrated Building Management System

IEE 			Institute of Electrical Engineers

KEBS 			Kenya Bureau of Standards

KP			Kenya Power

NCA			National Construction Authority

OSHA			Occupational Safety and Health Act

PPE			Personal Protective Equipment

PV			Photo Voltaic

SSAC			Sector Skill Advisory Committee

TVET			Technical and Vocational Education and Training

WIBA			Work injury benefits Act

# KEY TO UNIT CODE

ENG/OS/PO/BC/01/6   A

Industry or sector

Occupational Standards

Occupational area

Type of competency

Competency number

Competency level

Version control

OVERVIEW

Electrical Technology  Level 6 qualification consists of competencies that a person must achieve to enable him/her to be certified as an Electrical technician.

Electrical Technician is a person who will carry out electrical work using a given design and customer’s requirements. This work demands the technician to design, read and interpret electrical drawings so that the technician can install the system according to the national and international standards. Moreover, the size and quantity of all materials, cables, control equipment and accessories and speciﬁcations for the items necessary to install the electrical systems will largely be determined by the project owner and electrical technician. Therefore, an electrical technician is a well-trained person who can carry out these responsibilities. Thus, the units of competency comprising Electrical Technician level 6 qualifications include the following basic, common and core competencies:

BASIC UNITS OF COMPETENCY

| Unit Code | Unit Title |
| --- | --- |
| ENG/OS/PO/BC/01/6 | Demonstrate communication skills |
| ENG/OS/PO/BC/02/6 | Demonstrate digital literacy |
| ENG/OS/PO/BC/03/6 | Demonstrate entrepreneurial skills |
| ENG/OS/PO/BC/04/6 | Demonstrate employability skills |
| ENG/OS/PO/BC/05/6 | Demonstrate environmental literacy |
| ENG/OS/PO/BC/06/6 | Demonstrate occupational safety and health practices |

COMMON UNITS OF COMPETENCY

| Unit Code | Unit Title |
| --- | --- |
| ENG/OS/PO/CC/01/6 | Apply Engineering mathematics |
| ENG/OS/PO/CC/02/6 | Perform workshop processes |
| ENG/OS/PO/CC/03/6 | Apply Electrical Principles |
| ENG/OS/PO/CC/04/6 | Prepare and interpret Technical Drawings |

CORE UNITS OF COMPETENCY

| Unit Code | Unit Title |
| --- | --- |
| ENG/OS/PO/CR/01/6 | Perform Electrical Installation |
| ENG/OS/PO/CR/02/6 | Install Electrical Power lines |
| ENG/OS/PO/CR/03/6 | Install Electrical machine |
| ENG/OS/PO/CR/04/6 | Demonstrate Understanding of Electronics |
| ENG/OS/PO/CR/05/6 | Automate an Electrical Machine |
| ENG/OS/PO/CR/06/6 | Install Security Systems |
| ENG/OS/PO/CR/07/6 | Install Solar Systems |
| ENG/OS/PO/CR/08/6 | Maintain Electrical Equipment and systems |
| ENG/OS/PO/CR/09/6 | Manage an Electrical Project |
| ENG/OS/PO/CR/10/6 | Demonstrate an Understanding of Power Generation |

# BASIC UNITS OF COMPETENCY

## DEMONSTRATE COMMUNICATION SKILLS

UNIT CODE:  ENG/OS/PO/BC/01/6

UNIT DESCRIPTION

This unit covers the competencies required to demonstrate communication skills. It involves meeting communication needs of clients and colleagues, developing communication strategies, establishing and maintaining communication pathways, conducting interviews, facilitating group discussion and representing the organization.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements. Bold and italicized terms are elaborated in the Range |
| --- | --- |
| - Meet communication needs of clients and colleagues | - Specific communication needs of clients and colleagues are identified and met based on workplace requirements - Different communication approaches are identified and applied according to clients’ needs - Conflict is identified and addressed as per the standards of the organization |
| - Develop communication strategies | - Strategies for effective internal and external dissemination of information are developed as per organization’s requirements - Special communication needs are considered in developing strategies according workplace procedures - Communication strategies are analyzed, evaluated and revised based the workplace needs |
| - Establish and maintain communication pathways | - Pathways of communication are established as per organization policy - Pathways are maintained and reviewed according to organization procedures |
| - Promote use of communication strategies | - Information is provided to all areas of the organization as per strategy requirements - Effective communication techniques are articulated and modeled according work requirements - Personnel are given guidance about adapting communication strategies as per organization procedures |
| - Conduct interview | - A range of appropriate communication strategies are employed in interview situations based on the workplace requirements - Records of interviews are made and maintained in accordance with organizational procedures - Effective questioning, listening and nonverbal communication techniques are used as per needs |
| - Facilitate group discussion | - Mechanisms to enhance effective group interaction are identified and implemented according to workplace requirements - Strategies to encourage group participation are identified and used as per organizations’ procedures - Meetings objectives and agenda are set and followed based on workplace requirements - Relevant information is provided and feedback obtained according to set protocols - Evaluation of group communication strategies is undertaken in accordance with workplace guidelines - Specific communication needs of individuals are identified and addressed as per individual needs |
| - Represent the organization | - 7Relevant presentation are researched and presented based on internal or external communication forums requirements - Presentation is delivered in a clear and sequential manner as per the predetermined time - Presentation is made as per appropriate media - Difference views are respected based on workplace procedures - Written communication is done as per organizational standards - Inquiries are responded according to organizational standard |

RANGE

This section provides work environment and conditions to which the performance criteria apply. It allows for different work environment and situations that will affect performance.

| Variable | Range |
| --- | --- |
| - Communication strategies may include but not limited to: | - Language switch - Comprehension check - Repetition - Asking confirmation - Paraphrase - Clarification request - Translation - Restructuring - Approximation - Generalization |
| - Effective group interaction may include but not limited to: | - Identifying and evaluating what is occurring within an interaction in a nonjudgmental way - Using active listening - Making decision about appropriate words, behavior - Putting together response which is culturally appropriate - Expressing an individual perspective - Expressing own philosophy, ideology and background and exploring impact with relevance to communication |
| - Situations may include but not limited to: | - Establishing rapport - Eliciting facts and information - Facilitating resolution of issues - Developing action plans - Diffusing potentially difficult situations |

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit of competency.

Required Skills

The individual needs to demonstrate the following skills:

- Communication

- Active listening

- Interpretation

- Negotiation

- Writing

Required Knowledge

The individual needs to demonstrate knowledge of:

- Communication process

- Dynamics of groups

- Styles of group leadership

- Key elements of communications strategy

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge and range.

| - Critical aspects of Competency | Assessment requires evidence that the candidate: - Developed communication strategies to meet the organization requirements and applied in the workplace - Established and maintained communication pathways for effective communication in the workplace - Used communication strategies involving exchanges of complex oral information |
| --- | --- |
| - Resource Implications | The following resources should be provided: - Access to relevant workplace or appropriately simulated environment where assessment can take place - Materials relevant to the proposed activity or tasks |
| - Methods of Assessment | Competency in this unit may be assessed through: - Direct observation - Oral questioning - Written texts |
| - Context of Assessment | Competency may be assessed: - On-the-job - Off-the –job - During Industrial attachment |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

## DEMONSTRATE DIGITAL LITERACY

UNIT CODE: ENG/OS/PO/BC/02/6

UNIT DESCRIPTION

This unit describes competencies required to demonstrate digital literacy. It involves, identifying computer software and hardware, applying security measures to data, hardware, and software in automated environment, applying computer software in solving task, applying internet and email in communication at workplace, applying desktop publishing in official assignments and preparing presentation packages.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements. Bold and italicized terms are elaborated in the Range |
| --- | --- |
| - Identify appropriate computer software and hardware | - Concepts of ICT are determined in accordance with computer equipment - Classifications of computers are determined in accordance with manufacturers specification - Appropriate computer software is identified according to manufacturer’s specification - Appropriate computer hardware is identified according to manufacturer’s specification - Functions and commands of operating system are determined in accordance with manufacturer’s specification |
| - Apply security measures to data, hardware, software in automated environment | - Data security and privacy are classified in accordance with the prevailing technology - Security threats reidentified and control measures are applied in accordance with laws governing protection of ICT - Computer threats and crimes are detected in accordance to Information Management security guidelines - Protection against computer crimes is undertaken in accordance with laws governing protection of ICT |
| - Apply computer software in solving tasks | - Word processing concepts are applied in resolving workplace tasks, report writing and documentation as per the job requirements - Word processing utilities are applied in accordance with workplace procedures - Worksheet layout is prepared in accordance with work procedures - Worksheet is built and data manipulated in the worksheet in accordance with workplace procedures - Continuous data manipulated on worksheet is undertaken in accordance with work requirements - Database design and manipulation is undertaken in accordance with office procedures - Data sorting, indexing, storage, retrieval and security is provided in accordance with workplace procedures |
| - Apply internet and email in communication at workplace | - Electronic mail addresses are opened and applied in workplace communication in accordance with office policy - Office internet functions are defined and executed in accordance with office procedures - Network configuration is determined in accordance with office operations procedures - Official World Wide Web is installed and managed according to workplace procedures |
| - Apply Desktop publishing in official assignments | - Desktop publishing functions and tools are identified in accordance with manufactures specifications - Desktop publishing tools are developed in accordance with work requirements - Desktop publishing tools are applied in accordance with workplace requirements - Typeset work is enhanced in accordance with workplace standards |
| - Prepare presentation packages | - Types of presentation packages are identified in accordance with office requirements - Slides are created and formulated in accordance with workplace procedures - Slides are edited and run-in accordance with work procedures - Slides and handouts are printed according to work requirements |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range |
| --- | --- |
| - Appropriate computer hardware may include but not limited to: | Collection of physical parts of a computer system such as: - Computer case, monitor, keyboard, and mouse - All the parts inside the computer case, such as the hard disk drive, motherboard and video card |
| - Data security and privacy may include but not limited to: | - Confidentiality of data - Cloud computing - Integrity -but-curious data surfing |
| - Security and control measures may include but not limited to: | - Counter measures against cyber terrorism - Risk reduction - Cyber threat issues - Risk management - Pass-wording |
| - Security threats may include but not limited to: | - Cyber terrorism - Hacking |

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit of competency.

Required Skills

The individual needs to demonstrate the following skills:

- Analytical skills

- Interpretation

- Typing

- Communication

- Computing (applying fundamental operations such as addition, subtraction, division and multiplication)

- Using calculator

- Basic ICT skills

Required Knowledge

The individual needs to demonstrate knowledge of:

- Software concept

- Functions of computer software and hardware

- Data security and privacy

- Computer security threats and control measures

- Technology underlying cyber-attacks and networks

- Cyber terrorism

- Computer crimes

- Detection and protection of computer crimes

- Laws governing protection of ICT

- Word processing;

- Functions and concepts of word processing.

- Documents and tables creation and manipulations

- Mail merging

- Word processing utilities

- Spread sheets;

- Meaning, formulae, function and charts, uses and layout

- Data formulation, manipulation and application to cells

- Database;

- Database design, data manipulation, sorting, indexing, storage retrieval and security

- Desktop publishing;

- Designing and developing desktop publishing tools

- Manipulation of desktop publishing tools

- Enhancement of typeset work and printing documents

- Presentation Packages;

- Types of presentation Packages

- Creating, formulating, running, editing, printing and presenting slides and handouts

- Networking and Internet;

- Computer networking and internet.

- Electronic mail and world wide web

- Emerging trends and issues in ICT;

- Identify and integrate emerging trends and issues in ICT

- Challenges posed by emerging trends and issues

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Identified and controlled security threats - Detected and protected computer crimes - Applied word processing in office tasks - Designed, prepared work sheet and applied data to the cells in accordance to workplace procedures - Opened electronic mail for office communication as per workplace procedure - Installed internet and World Wide Web for office tasks in accordance with office procedures - Integrated emerging issues in computer ICT applications - Applied laws governing protection of ICT |
| --- | --- |
| - Resource Implications | The following resources should be provided: - Access to relevant workplace where assessment can take place - Appropriately simulated environment where assessment can take place |
| - Methods of Assessment | Competency may be assessed through: - Observation - Oral questioning - Written test - Portfolio of Evidence - Interview - Third party report |
| - Context of Assessment | Competency may be assessed: - On-the-job - Off-the –job - During Industrial attachment |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

## DEMONSTRATE ENTREPRENEURIAL SKILLS

UNIT CODE : ENG/OS/PO/BC/03/6

UNIT DESCRIPTION

This unit covers the competencies required to demonstrate understanding of entrepreneurship. It involves demonstrating understanding of an entrepreneur, entrepreneurship, and self-employment, identifying entrepreneurship opportunities, creating entrepreneurial awareness, applying entrepreneurial motivation, developing business innovative strategies and developing business plan.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| - Demonstrate understanding of an Entrepreneur | - Entrepreneurs and Business persons are distinguished as per principles of entrepreneurship - Types of entrepreneurs are identified as per principles of entrepreneurship - Ways of becoming an Entrepreneur are identified as per principles of Entrepreneurship - Characteristics of Entrepreneurs are identified as per principles of Entrepreneurship - Factors affecting Entrepreneurship development are explored as per principles of Entrepreneurship |
| - Demonstrate understanding of Entrepreneurship and self-employment | - Entrepreneurship and self-employment are distinguished as per principles of entrepreneurship - Importance of self-employment is analysed based on business procedures and strategies - Requirements for entry into self-employment are identified according to business procedures and strategies - Role of an Entrepreneur in business is determined according to business procedures and strategies - Contributions of Entrepreneurs to National development are identified as per business procedures and strategies - Entrepreneurship culture in Kenya is explored as per business procedures and strategies - Born or made Entrepreneurs are distinguished as per entrepreneurial traits |
| - Identify Entrepreneurship opportunities | - Sources of business ideas are identified as per business procedures and strategies - Business ideas and opportunities are generated as per business procedures and strategies - Business life cycle is analysed as per business procedures and strategies - Legal aspects of business are identified as per procedures and strategies - Product demand is assessed as per market strategies - Types of business environment are identified and evaluated as per business procedures - Factors to consider when evaluating business environment are explored based on business procedure and strategies - Technology in business is incorporated as per best practice |
| - Create entrepreneurial awareness | - Forms of businesses are explored as per business procedures and strategies - Sources of business finance are identified as per business procedures and strategies - Factors in selecting source of business finance are identified as per business procedures and strategies - Governing policies on Small Scale Enterprises (SSEs) are determined as per business procedures and strategies - Problems of starting and operating SSEs are explored as per business procedures and strategies |
| - Apply entrepreneurial motivation | - Internal and external motivation factors are determined in accordance with motivational theories - Self-assessment is carried out as per entrepreneurial orientation - Effective communications are carried out in accordance with communication principles - Entrepreneurial motivation is applied as per motivational theories |
| - Develop innovative business strategies | - Business innovation strategies are determined in accordance with the organization strategies - Creativity in business development is demonstrated in accordance with business strategies - Innovative business strategies are developed as per business principles - Linkages with other entrepreneurs are created as per best practice - ICT is incorporated in business growth and development as per best practice |
| - Develop Business Plan | - Identified Business is described as per business procedures and strategies - Marketing plan is developed as per business plan format - Organizational/Management plan is prepared in accordance with business plan format - Production/operation plan in accordance with business plan format - Financial plan is prepared in accordance with the business plan format - Executive summary is prepared in accordance with business plan format - Business plan is presented as per best practice |

RANGE

This section provides work environment and conditions to which the performance criteria apply. It allows for different work environment and situations that will affect performance.

| Variable | Range |
| --- | --- |
| - Types of entrepreneurs may include but not limited to: | - Innovators - Imitators - Craft - Opportunistic - Speculators |
| - Characteristics of Entrepreneurs may include but not limited to: | - Creative - Innovative - Planner - Risk taker - Networker - Confident - Flexible - Persistent - Patient - Independent - Future oriented - Goal oriented |
| - Requirements for entry into self-employment may include but not limited to | - Technical skills - Management skills - Entrepreneurial skills - Resources - Infrastructure |
| - Internal and external motivation may include but not limited to: | - Interest - Passion - Freedom - Prestige - Rewards - Punishment - Enabling environment - Government policies |
| - Business environment may include but not limited to: | - External - Internal - Intermediate |
| - Forms of businesses may include but not limited to: | - Sole proprietorship - Partnership - Limited companies - Cooperatives |
| - Governing policies may include but not limited to: | - Increasing scope for finance - Promoting cooperation between entrepreneurs and private sector - Reducing regulatory burden on entrepreneurs - Developing IT tools for entrepreneurs |
| - Innovative business strategies may include but not limited to: | - New products - New methods of production - New markets - New sources of supplies - Change in industrialization |

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit of competency.

Required Skills

The individual needs to demonstrate the following skills:

- Analytical

- Management

- Problem-solving

- Root-cause   analysis

- Communication

Required Knowledge

The individual needs to demonstrate knowledge of:

- Decision making

- Business communication

- Change management

- Competition

- Risk

- Net working

- Time management

- Leadership

- Factors affecting entrepreneurship development

- Principles of Entrepreneurship

- Features and benefits of common operational practices, e. g., continuous improvement (kaizen), waste elimination,

- Conflict resolution

- Health, safety and environment (HSE) principles and requirements

- Customer care strategies

- Basic financial management

- Business strategic planning

- Impact of change on individuals, groups and industries

- Government and regulatory processes

- Local and international market trends

- Product promotion strategies

- Market and feasibility studies

- Government and regulatory processes

- Local and international business environment

- Relevant developments in other industries

- Regional/ County business expansion strategies

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge and range.

| - Critical Aspects of Competency | - Assessment requires evidence that the candidate: - Distinguished entrepreneurs and businesspersons correctly - Identified ways of becoming an entrepreneur appropriately - Explored factors affecting entrepreneurship development appropriately - Analysed importance of self-employment accurately - Identified requirements for entry into self-employment correctly - Identified sources of business ideas correctly - Generated Business ideas and opportunities correctly - Analysed business life cycle accurately - Identified legal aspects of business correctly - Assessed product demand accurately - Determined Internal and external motivation factors appropriately - Carried out communications effectively - Identified sources of business finance correctly - Determined Governing policy on small scale enterprise appropriately - Explored problems of starting and operating SSEs effectively - Developed Marketing, Organizational/Management, Production/Operation and Financial plans correctly - Prepared executive summary correctly - Determined business innovative strategies appropriately - Presented business plan effectively |
| --- | --- |
| - Resource Implications | The following resources should be provided: - Access to relevant workplace where assessment can take place - Appropriately simulated environment where assessment can take place |
| - Methods of Assessment | - Written tests - Oral questions - Third party report - Interviews - Portfolio of Evidence |
| - Context of Assessment | Competency may be assessed - On-the-job - Off-the –job - During Industrial attachment |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

## DEMONSTRATE EMPLOYABILITY SKILLS

UNIT CODE: ENG/OS/PO/BC/04/6

UNIT DESCRIPTON

This unit covers competencies required to demonstrate employability skills. It involves conducting self-management, demonstrating interpersonal communication, critical safe work habits, leading a workplace team, planning and organizing work, maintaining professional growth and development, demonstrating workplace learning, problem solving skills and managing ethical performance.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function. | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements. Bold and italicized terms are elaborated in the Range |
| --- | --- |
| - Conduct self-management | - Personal vision, mission and goals are formulated based on potential and in relation to organization objectives - Emotional intelligence is demonstrated as per workplace requirements. - Individual performance is evaluated and monitored according to the agreed targets. - Assertiveness is developed and maintained based on the requirements of the job. - Accountability and responsibility for own actions are demonstrated based on workplace instructions. - Self-esteem and a positive self-image are developed and maintained based on values. - Time management, attendance and punctuality are observed as per the organization policy. - Goals are managed as per the organization’s objective - Self-strengths and weaknesses are identified based on personal objectives |
| - Demonstrate interpersonal communication | - Writing skills are demonstrated as per communication policy - Negotiation and persuasion skills are demonstrated as per communication policy - Internal and external stakeholders’ needs are identified and interpreted as per the communication policy - Communication networks are established based on workplace policy - Information is shared as per communication policy |
| - Demonstrate critical safe work habits | - Stress is managed in accordance with workplace policy. - Punctuality and time consciousness is demonstrated in line with workplace policy. - Personal objectives are integrated with organization goals based on organization’s strategic plan. - Resources are utilized in accordance with workplace policy. - Work priorities are set in accordance to workplace goals and objectives. - Leisure time is recognized and utilized in line with personal objectives. - Drugs and substances of abuse are identified and avoided based on workplace policy. - HIV and AIDS prevention awareness is demonstrated in line with workplace policy. - Safety consciousness is demonstrated in the workplace based on organization safety policy. - Emerging issues are identified and dealt with in accordance with organization policy. |
| - Lead a workplace team | - Performance targets for the team are set based on organization’s objectives - Duties are assigned in accordance with the organization policy. - Forms of communication in a team are established according to organization’s policy. - Team performance is evaluated based on set targets as per workplace policy. - Conflicts are resolved between team members in line with organization policy. - Gender related issues are identified and mainstreamed in accordance workplace policy. - Human rights and fundamental freedoms are identified and respected as Constitution of Kenya 2010. - Healthy relationships are developed and maintained in line with workplace. |
| - Plan and organize work | - Work plans are prepared based on activities and budget. - Assigned tasks are interpreted and expectations identified as per the workplace instructions. - Task occupational safety and health requirements are identified and observed regulations. - Work resources are identified, mobilized, allocated and utilized based on organization work plans. - Work activities are monitored and evaluated in line with work plans and workplace policy. - Work plans are reviewed based on target and available resources. |
| - Maintain professional growth and development | - Personal training needs are identified and assessed in line with the requirements of the job. - Training and career opportunities are identified and utilized based on job requirements. - Resources for training are mobilized and allocated based organizations and individual skills needs. - Licensees and certifications relevant to job and career are obtained and renewed as per policy. - Work priorities and personal commitments are balanced and managed based on requirements of the job and personal objectives. - Recognitions are sought as proof of career advancement in line with professional requirements. |
| - Demonstrate workplace learning | - Learning opportunities are sought and managed based on job requirement and organization policy. - Improvement in performance is demonstrated based on courses attended. - Application of learning is demonstrated in both technical and non-technical aspects based on requirements of the job - Time and effort is invested in learning new skills based on job requirements - Initiative is taken to create more effective and efficient processes and procedures in line with workplace policy. - New systems are developed and maintained in accordance with the requirements of the job. - Awareness of personal role in workplace innovation is demonstrated based on requirements of the job. |
| - Demonstrate problem solving skills | - Creative, innovative and practical solutions are developed based on the problem - Independence and initiative in identifying and solving problems is demonstrated based on requirements of the job. - Team problems are solved as per the workplace guidelines - Problem solving strategies are applied as per the workplace guidelines - Problems are analyzed and assumptions tested as per the context of data and circumstances |
| - Manage ethical performance | - Policies and guidelines are observed as per the workplace requirements - Self-worth and professionalism is exercised in line with personal goals and organizational policies - Code of conduct is observed as per the workplace requirements - Integrity is demonstrated as per legal requirement |

RANGE

This section provides work environment and conditions to which the performance criteria apply. It allows for different work environment and situations that will affect performance.

| Variable | Range |
| --- | --- |
| - Drug and substance abuse may include but not limited to: | Commonly abused - Alcohol - Tobacco - Miraa - Over-the-counter drugs - Cocaine - Bhang - Glue |
| - Feedback may include but not limited to: | - Verbal - Written - Informal - Formal |
| - Relationships may include but not limited to: | - Man/Woman - Trainer/trainee - Employee/employer - Client/service provider - Husband/wife - Boy/girl - Parent/child - Sibling relationships |
| - Forms of communication may include but not limited to: | - Written - Visual - Verbal - Non verbal - Formal and informal |
| - Team may include but not limited to: | - Small work group - Staff in a section/department - Inter-agency group |
| - Personal growth may include but not limited to: | - Growth in the job - Career mobility - Gains and exposure the job gives - Net workings - Benefits that accrue to the individual as a result of noteworthy performance |
| - Personal objectives may include but not limited to: | - Long term - Short term - Broad - Specific |
| - Trainings and career opportunities may includes but not limited to | - Participation in training programs - Serving as Resource Persons in conferences and workshops |
| - Resource may include may but not limited to: | - Human - Financial - Technology |
| - Innovation may include but not limited to: | - New ideas - Original ideas - Different ideas - Methods/procedures - Processes - New tools |
| - Emerging issues may include but not limited to: | - Terrorism - Social media - National cohesion - Open offices |
| - Range of media for learning may include but not limited to: | - Mentoring - peer support and networking - IT and courses |

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit of competency.

Required Skills

The individual needs to demonstrate the following skills:

- Interpersonal

- Communication

- Critical thinking

- Organizational

- Negotiation

- Monitoring

- Evaluation

- Record keeping

- Problem solving

- Decision Making

- Resource utilization

- Resource mobilization

Required Knowledge

The individual needs to demonstrate knowledge of:

- Work values and ethics

- Company policies

- Company operations, procedures and standards

- Occupational Health and safety procedures

- Fundamental rights at work

- Workplace communication

- Concept  of time

- Time management

- Decision making

- Types of resources

- Work planning

- Organizing work

- Monitoring and evaluation

- Record keeping

- Gender mainstreaming

- HIV and AIDS

- Drug and substance abuse

- Professional growth and development

- Technology in the workplace

- Innovation

- Emerging issues

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge and range.

| - Critical aspects of Competency | Assessment requires evidence that the candidate: - Conducted self-management - Demonstrated interpersonal communication - Demonstrated critical safe work habits - Demonstrated the ability to lead a workplace team - Planned and organized work - Maintained professional growth and development - Demonstrated workplace learning - Demonstrated problem solving skills - Demonstrated the ability to manage performance ethically |  |
| --- | --- | --- |
| - Resource Implications | The following resources should be provided: - Access to relevant workplace where assessment can take place - Appropriately simulated environment where assessment can take place |  |
| - Methods of Assessment | Competency in this unit may be assessed through: - Observation - Oral questioning - Written test - Portfolio of Evidence - Interview - Third party report |  |
| - Context of Assessment | Competency may be assessed: - On-the-job - Off-the –job - During Industrial attachment |  |
| - Guidance information for assessment |  | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

## DEMONSTRATE ENVIRONMENTAL LITERACY

UNIT CODE: ENG/OS/PO/BC/05/6

UNIT DESCRIPTION

This unit specifies the competencies required to demonstrate environmental literacy. It involves, controlling environmental hazard and environmental pollution, demonstrating sustainable resource use, evaluating current practices in relation to resource usage, identifying environmental legislations/conventions for environmental concerns, implementing specific environmental programs, monitoring activities on environmental protection/Programs , analyzing resource use and developing resource conservation plans

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function. | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements. Bold and italicized terms are elaborated in the Range |
| --- | --- |
| - Control environmental hazard | - Storage methods for environmentally hazardous materials are strictly followed according to environmental regulations and OSHS. - Disposal methods of hazardous wastes are followed according to environmental regulations and OSHS. - PPE is used according to OSHS. |
| - Control environmental Pollution | - Environmental pollution control measures are implemented in accordance with international protocols. - Procedures for solid waste management are observed according Environmental Management and Coordination Act 1999 - Methods for minimizing noise pollution is complied with based on Noise and Excessive Vibration Pollution and Control Regulations, 2009 |
| - Demonstrate sustainable resource use | - Methods for minimizing wastage are complied with based on organizational waste management guide - Waste management procedures are employed following principles of 3Rs (Reduce, Reuse, Recycle) - Methods for economizing and reducing resource consumption are practiced as per the Constitution of Kenya 2010 Article 69 . |
| - Evaluate current practices in relation to resource usage | - Information on resource efficiency systems and procedures are collected and provided as per work groups/sector - Current resource usage is measured and recorded as per work group - Current purchasing strategies are analyzed and recorded according to industry procedures. - Current work processes to access information and data is analyzed following enterprise protocol. |
| - Identify environmental legislations/conventions for environmental concerns | - Environmental legislations/conventions and local ordinances are identified according to the different environmental aspects/impact - Industrial standard/environmental practices are described according to the different environmental concerns |
| - Implement specific environmental programs | - Programs/Activities are identified according to organizations policies and guidelines. - Individual roles/responsibilities are determined and performed based on the activities identified. - Problems/constraints encountered are resolved in accordance with organizations’ policies and guidelines - Stakeholders are consulted based on company guidelines |
| - Monitor activities on Environmental protection/Programs | - Activities are periodically monitored and Evaluated according to the objectives of the environmental program - Feedback from stakeholders are gathered and considered in Proposing enhancements to the program based on consultations - Data gathered are analyzed based on Evaluation requirements - Recommendations are submitted based on the findings - Management support systems are set/established to sustain and enhance the program - Environmental incidents are monitored and reported to - concerned/proper authorities |
| - Analyze resource use | - All resource consuming processes are Identified as per the organizational work plan - Quantity and nature of resource consumed is determined based on processes - Resource flow is analyzed as per different parts of the process. - Wastes are classified according to NEMA regulations on waste management. |
| - Develop resource Conservation plans | 9.1. Efficiency of use/conversion of resources is determined according to industry protocol. 9.2. Causes of low efficiency of use of resources are Determined based on industry protocol. 9.3. Plans for increasing the efficiency of resource use are developed based on findings. |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range |
| --- | --- |
| - PPE may include but not limited to | - Mask - Gloves - Goggles - Safety hat - Overall - Hearing protector |
| - Control measures may include but not limited to | - Methods for minimizing or stopping spread and ingestion of airborne particles - Methods for minimizing or stopping spread and ingestion of gases and fumes - Methods for minimizing or stopping spread and ingestion of liquid wastes |

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit of competency.

Required Skills

The individual needs to demonstrate the following skills:

- Measuring

- Recording

- Analytical

- Monitoring

- Communication

- Writing

Required Knowledge

The individual needs to demonstrate knowledge of:

- PPEs

- Environmental regulations

- OSHS

- Pollution

- Waste management

- Principle of 3Rs

- Types of resources

- Techniques in measuring current usage of resources

- Environmental hazards

- Regulatory requirements

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Controlled environmental hazard - Controlled environmental pollution - Demonstrated sustainable resource use - Evaluated current practices in relation to resource usage - Demonstrated knowledge of environmental legislations and local ordinances according to the different environmental issues /concerns. - Described industrial standard environmental practices according to the different environmental issues/concerns. - Resolved problems/ constraints encountered based on management standard procedures - Implemented and monitored environmental practices on a periodic basis as per company guidelines - Recommended solutions for the improvement of the program - Monitored and reported to proper authorities any environmental incidents |
| --- | --- |
| - Resource Implications | The following resources should be provided: - Workplace with storage facilities - Tools, materials and equipment relevant to the tasks (e.g. Cleaning tools, cleaning materials, trash bags) - PPE, manuals and references - Legislation, policies, procedures, protocols and local ordinances relating to environmental protection - Case studies/scenarios relating to environmental Protection |
| - Methods of Assessment | Competency in this unit may be assessed through: - Observation - Oral questioning - Written test - Portfolio of Evidence - Interview - Third party report |
| - Context of Assessment | Competency may be assessed - On-the-job - Off-the –job - During Industrial attachment |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

## DEMONSTRATE OCCUPATIONAL SAFETY AND HEALTH PRACTICES

UNIT CODE: ENG/OS/PO/BC/06/6

UNIT DESCRIPTION

This unit specifies the competencies required to demonstrate occupational health and safety practices. It involves identifying workplace hazards and risks, identifying and implementing appropriate control measures to hazards and risks and implementing OSH programs, procedures and policies/guidelines.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function. | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements. Bold and italicized terms are elaborated in the Range |
| --- | --- |
| - Identify workplace hazards and risk | 1.1 Hazards in the workplace are identified based their indicators 1.2 Risks and hazards are evaluated based on legal requirements. 1.3 OSH concerns raised by workers are addressed as per legal requirements. |
| - Control OSH hazards | 2.1 Hazard prevention and control measures are implemented as per legal requirement. 2.2 Risk assessment is conducted and a risk matrix developed based on likely impact. 2.3 Contingency measures, including emergency procedures during workplace incidents and emergencies are recognized and established in accordance with organization procedures. |
| - Implement OSH programs | 3.1 Company OSH program are identified, evaluated and reviewed based on legal requirements. 3.2 Company OSH programs are implemented as per legal requirements. 3.3 Workers are capacity built on OSH standards and procedures as per legal requirements 3.4 OSH-related records are maintained as per legal requirements. |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range |
| --- | --- |
| - Hazards may include but not limited to: | - Physical hazards – impact, illumination, pressure, noise, - vibration, extreme temperature, radiation - Biological hazards- bacteria, viruses, plants, parasites, mites, molds, fungi, insects - Chemical hazards – dusts, fibers, mists, fumes, smoke, gasses, vapors - Ergonomics - Psychological factors – over exertion/ excessive force, awkward/static positions, fatigue, direct pressure, - varying metabolic cycles - Physiological factors – monotony, personal relationship, work out cycle - Safety hazards (unsafe workplace condition) –confined space, excavations, falling objects, gas leaks, electrical, poor storage of materials and waste, spillage, waste and debris - Unsafe workers’ act (Smoking in off-limited areas, Substance and alcohol abuse at work) |
| - Indicators may include but not limited to: | - Increased of incidents of accidents, injuries - Increased occurrence of sickness or health complaints/ symptoms - Common complaints of workers related to OSH - High absenteeism for work-related reasons |
| - OSH concerns may include but not limited to: | - Workers’ experience/observance on presence of work hazards - Unsafe/unhealthy administrative arrangements (prolonged work hours, no break time, constant overtime, scheduling of tasks) - Reasons for compliance/non-compliance to use of PPEs or other OSH procedures/policies/guidelines |
| - Safety gears /PPE (Personal Protective Equipment) may include but not limited to: | - Arm/Hand guard, gloves - Eye protection (goggles, shield) - Hearing protection (ear muffs, ear plugs) - Hair Net/cap/bonnet - Hard hat - Face protection (mask, shield) - Apron/Gown/coverall/jump suit - Anti-static suits - High-visibility reflective vest |
| - Appropriate risk controls may include but not limited to: | - Appropriate risk controls in order of impact are as follows: - Eliminate the hazard altogether (i.e., get rid of the dangerous machine) - Isolate the hazard from anyone who could be harmed (i.e., keep the machine in a closed room and operate it remotely; barricade an unsafe area off) - Substitute the hazard with a safer alternative (i.e., replace the machine with a safer one) - Use administrative controls to reduce the risk (i.e., train workers how to use equipment safely; train workers about the risks of harassment; issue signage) - Use engineering controls to reduce the risk (i.e., attach guards to the machine to protect users) - Use personal protective equipment (i.e., wear - gloves and goggles when using the machine) |
| - Contingency measures may include but not limited to: | - Evacuation - Isolation - Decontamination - (Calling designed) emergency personnel |
| - Incidents and emergencies may include but not limited to: | - Chemical spills - Equipment/vehicle accidents - Explosion - Fire - Gas leak - Injury to personnel - Structural collapse - Toxic and/or flammable vapors emission. |
| - OSH-related Records may include but not limited to: | - Medical/Health records - Incident/accident reports - Sickness notifications/sick leave application - OSH-related trainings obtained |

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit of competency.

Required Skills

The individual needs to demonstrate the following skills:

- Communication

- Interpersonal

- Presentation

- Risk assessment

- Evaluation

- Critical thinking

- Problem solving

- Negotiation

Required Knowledge

The individual needs to demonstrate knowledge of:

- General OSH Principles

- Occupational hazards/risks recognition

- OSH organizations providing services on OSH evaluation and/or work environment measurements (WEM)

- National OSH regulations; company OSH policies and protocols

- Systematic gathering of OSH issues and concerns

- General OSH principles

- National OSH regulations

- Company OSH and recording protocols, procedures and policies/guidelines

- Training and/or counseling methodologies and strategies

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Identified hazards in the workplace based their indicators - Evaluated workplace hazards based on legal requirements. - Addressed OSH concerns raised by workers as per legal requirements. - Implemented hazard prevention and control measures as per legal requirement. - Conducted risk assessment as per legal requirement. - Developed risk matrix based on likely impact. - Recognized and established contingency measures in accordance with organization procedures. - Identified, evaluated and reviewed company OSH program based on legal requirements. - Implemented company OSH programs as per legal requirements. - Capacity built workers on OSH standards and procedures as per legal requirements - Maintained OSH-related records as per legal requirements. |
| --- | --- |
| - Resource Implications | The following resources should be provided: - Access to relevant workplace where assessment can take place - Appropriately simulated environment where assessment can take place |
| - Methods of Assessment | Competency in this unit may be assessed through: - Observation - Oral questioning - Written test - Portfolio of Evidence - Interview - Third party report |
| - Context of Assessment | Competency may be assessed: - On-the-job - Off-the –job - During Industrial attachment |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

# COMMON UNITS OF COMPETENCY

## APPLY ENGINEERING MATHEMATICS

UNIT CODE:	ENG/OS/PO/CC/01/6

This unit describes the competencies required by an Electrical Technician to apply a wide range of engineering mathematics in their work. This includes applying Algebra, Apply Trigonometry and hyperbolic functions, Apply complex numbers, Apply Coordinate Geometry, Carry out Binomial Expansion, Apply Calculus, Solve Ordinary differential equations, Apply Laplace transforms, Apply Power Series, Apply Statistics, Apply Fourier Series,  Apply Vector theory, Apply Matrix, Apply Numerical methods, Apply concept of probability for work, Perform commercial calculations and Perform Estimations, Measurements and calculations of quantities.

| ELEMENTS AND PERFORMANCE CRITERIAELEMENT These describe the key outcomes which make up workplace function. | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements. Bold and italicized terms are elaborated in the Range. |
| --- | --- |
| - Apply Algebra | - Calculations involving Indices are performed as per the concept - Calculations involving Logarithms are performed as per the concept - Scientific calculator is used in solving mathematical problems in line with manufacturer’s manual - Simultaneous equations are performed as per the rules - Quadratic equations are calculated as per the concept |
| - Apply Trigonometry and hyperbolic functions | - Calculations are performed using trigonometric rules - Calculations are performed using hyperbolic functions |
| - Apply complex numbers | - Complex numbers are represented using Argand diagrams - Operations involving complex numbers are performed - Calculations involving complex numbers are performed using De Moivre’s theorem |
| - Apply Coordinate Geometry | - Polar equations are calculated using coordinate geometry - Graphs of given polar equations are drawn using the Cartesian plane - Normal and tangents are determined using coordinate geometry |
| - Carry out Binomial Expansion | - Roots of numbers are determined using binomial theorem - Errors of small changes are determined using binomial theorem |
| - Apply Calculus | - Derivatives of functions are determined using Differentiation - Derivatives of hyperbolic functions are determined using Differentiation - Derivatives of inverse trigonometric functions are determined using Differentiation - Rate of change and small change are determined using Differentiation. - Calculation involving stationery points of functions of two variables are performed using differentiation. - Integrals of algebraic functions are determined using integration - Integrals of trigonometric functions are determined using integration - Integrals of logarithmic functions are determined using integration - Integrals of hyperbolic and inverse functions are determined using integration |
| - Solve Ordinary differential equations | - First order and second order differential equations are solved using the method of undetermined coefficients - First order and second order differential equations are solved from given boundary conditions |
| - Apply Laplace transforms | - Laplace transforms are solved using initial and final value theorems - Inverse Laplace transforms are solved using partial fractions - Differential equations are solved using Laplace transforms |
| - Apply Power Series | - Power series are obtained using Taylor’s Theorem - Power series are obtained using Maclaurin’s theorem |
| - Apply Statistics | - Identification, Collection and Organization of data is performed - Interpretation, analysis and presentation of data in appropriate format is performed - Mean, median ,mode and Standard deviation are obtained from given data - Calculations are performed based on Laws of probability - Calculation involving probability distributions , mathematical expectation sampling distributions are performed |
| - Apply Fourier Series | - Fourier series coefficients are obtained using Fourier series techniques - Fourier series for 2π to T is are obtained using Fourier series techniques - Fourier series for odd and even functions are obtained using Fourier series techniques - Harmonic analysis is performed using numerical methods |
| 12.Apply Vector theory | - Calculations involving vector algebra, dot and cross products using vector theory - Gradient, Divergence and Curl are obtained - Vector calculations are performed using Green’s theorem - Vector calculations are performed using Stoke’s theorem - Conservative vector fields and line and surface integrals are obtained using Gauss’s theorem |
| - Apply Matrix | - Determinant and inverse of 3x3 matrix are obtained - Solutions of simultaneous equations are obtained - Calculation involving Eigen values and Eigen vectors are performed |
| - Apply Numerical methods | - Roots of polynomials are obtained using iterative numerical methods - Interpolation and extrapolation are performed using numerical methods |
| - Apply concepts of probability for work | - Probability events are determined from dependent, independent and mutually exclusive - Counting is done using permutation, combination, tree diagrams and Venn diagrams techniques |
| - Perform commercial calculations | - Exchange rate calculations are done using devaluation and revaluation - Sales, stock turnover and profit and loss are determined - Incomes, salaries and wages are calculated |
| - Perform estimations, measurements and calculations of quantities | - Measurement information in workplace is extracted and interpreted - Appropriate workplace measuring tools and equipment are identified and selected - Conversions are performed between units of measurement - Measurements are estimated and taken - Length, width, height, perimeter, area and angles of figures are calculated - Volume and surface area of figures are calculated - Information is recorded using mathematical language and symbols appropriate for the task |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range |
| --- | --- |
| - Hyperbolic functions may include but not limited to: | - Sinh x - Cosh x - Cosec x - Coth x - Tanh x - Sech x |
| - Figures may include but not limited to: | - Triangles - Squares - Rectangles - Circles - Spheres - Cylinders - Cubes - Polygons - Cuboids - Pyramids |
| - Quantities may include but not limited to: | - Weight, - Mass - Area - Volume - Length - Width - Depth - Perimeter |

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit of competency.

Required Skills

The individual needs to demonstrate the following skills:

- Applying fundamental operations (addition, subtraction, division, multiplication)

- Using and applying mathematical formulas

- Logical thinking

- Problem solving

- Applying statistics

- Drawing graphs

- Using different measuring tools

Required knowledge

The individual needs to demonstrate knowledge of:

- Fundamental operations (addition, subtraction, division, multiplication)

- Calculating area and volume

- Types and purpose of measuring instruments

- Units of measurement and abbreviations

- Rounding techniques

- Types of fractions

- Types of tables and graphs

- Presentation of  data in tables and graphs

- Vector operations

- Matrix operations

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required skills, knowledge and range.

| 1. Critical aspects of Competency | Assessment requires evidence that the candidate: - Applied Trigonometry and hyperbolic functions - Applied complex numbers - Determined angles and length in triangles - Applied Calculus - Solved Ordinary differential equations - Applied Laplace transforms - Applied Power Series - Applied Fourier Series - Applied Vector theory - Applied Matrix - Identified and selected measuring equipments - Collected, Analyzed and presented data - Applied Numerical methods |
| --- | --- |
| - Resource Implications | The following resources should be provided: - Access to relevant workplace or appropriately simulated environment where assessment can take place - Measuring equipment - Materials relevant to the proposed activity or tasks |
| - Methods of Assessment | Competency in this unit may be assessed through: - Direct Observation - Demonstration with Oral Questioning - Written tests |
| Context of Assessment | Competency may be assessed - On job - Off job - During Attachment |
| Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

## PERFORM WORKSHOP PROCESSES

UNIT CODE: ENG/OS/PO/CC/02/6

UNIT DESCRIPTION

This unit covers the competencies required to perform workshop processes. Competencies include applying workshop Safety, use of workshop tools, instruments and equipments, preparation of workshop materials, preparation of workshop for Electrical installation practicals, Storage of Electrical tools and materials after practicals, troubleshoot and repair workshop tools and equipment.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT | PERFORMANCE CRITERIA (Bold and italicised terms are elaborated in the Range) |
| --- | --- |
| 1. Apply workshop safety | - Proper use of PPE is adhered to as per standard operating procedure - Workshop rules are followed as per standard operating procedure - Proper use of safety equipments are followed as per the manufacturers recommendations - First Aid procedures are adhered to |
| - Use workshop tools, Instruments and equipments | - Workshop tools, Instruments and equipments are Identified - Tools, Instruments and equipments are used as per the manufactures manuals - Calibration of workshop instruments are performed as per the standard operating procedure - Proper handling of workshop tools, Instruments and equipments should be followed - Care and Maintenance of workshop tools, Instruments and equipments should be adhered too |
| - Prepare workshop tools and instruments for an Electrical installation practical e.g. | - List of required tools and instruments are prepared - Issuing of required tools and instruments is performed - Confirmation of the issued tools and instruments is performed - Functioning of the issued tools and instruments is checked in line with the standard operating procedure - Sharpening of the cutting tools is performed |
| - Prepare workshop for an Electrical practical | - Practical working section is arranged as per the number of practicals to be carried out. - Power supply availability in every practical section is confirmed as per the practical to be carried out - Tools and materials required are supplied as per the practical to be carried out. |
| - Store Electrical tools and materials after practicals | - Tools are checked against the issuing list after practicals - Tools are stored out as per their standard operating procedure - Tools are cleaned as per the workshop standard operating procedure - Waste materials are disposed as per the EHS - Tools are stored in their respective sections as per the workshop procedures |
| - Troubleshoot and repair/replace workshop tools and equipment | - Faulty tools are identified as per their expected functioning - Faulty component are diagnosed as per the fault diagnosis procedures - Repair/Replace faulty components as per the expected functioning - Repaired/Replaced tool are tested as per the expected functioning. |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range |
| --- | --- |
| - Workshop tools may include but is not limited to: | - Pliers - Hacksaws - Hammer - Spirit levels - Phase Tester - Side cutters |
| - Manual may include but is not limited to: | - Operational - Installation - Commissioning - Technical specification /data sheet |
| - Parameters may include but is not limited to: | - Light intensity - Sound - Speed - Efficiency - Temperature - Electrical quantities e.g. Voltage, current and resistance levels - Expected output |

REQUIRED KNOWLEDGE AND UNDERSTANDING

The individual needs to demonstrate knowledge and understanding of:

- Organisational and legislative requirements

- The manufacturer's manual about the operation of various workshop tools and instruments

- The legal and statutory requirements relating to electrical Workshop operation activities.

- health and safety;

- the environment (including waste disposal);

- appropriate personal and protective equipment;

- appropriate use of service manuals

- Workplace procedures for:

- Fault identification and diagnosis

- Appropriate use of tools and equipment;

- Repairing, modifying or replacing defective parts or components.

- Reporting of technical challenges

- The importance of documenting workshop practical activities and information.

- The importance of working within agreed timelines and sharing progress reports.

- The importance of reporting anticipated delays to relevant parties promptly.

- The use of technical information including:

- How to find, interpret and use sources of technical information for workshop practical activities

- The importance of using the correct sources of technical information.

- The purpose of and how to use identification codes.

FOUNDATION SKILLS

The individual needs to demonstrate the following foundation skills:

- Communications (verbal and written);

- Proficient in ICT;

- Time management;

- Analytical

- Faults troubleshooting;

- Problem solving;

- Planning;

- Decision making;

- First aid;

- Report writing;

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required knowledge and understanding and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Adhered to the proper use of PPE - Observed the workshop rules - Performed the First Aid procedures in the workshop - Observed workshop procedures in the storage of tools - Safely used testing equipment and tools - Observed EHS in the waste disposal - Properly demonstrated care and maintenance of workshop tools - Obtained, recorded and interpreted test results - Identified faulty tools and instruments - Repaired/Replaced faulty tools |
| --- | --- |
| - Resource Implications | The following resources must be provided: - Electrical installation tool kit - Testing equipment - Measuring equipment - First Aid kit Resources the same as that of workplace are advised to be applied |
| - Methods of Assessment | Competency may be assessed through: - Oral test - Observation - Practical demonstration |
| - Context of Assessment | Competency may be assessed - On job - Off job - During Industrial Attachment |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

## APPLY ELECTRICAL PRINCIPLES

UNIT CODE:	ENG/OS/PO/CC/03/6

UNIT DESCRIPTION

This unit describes the competencies required by a technician in order to apply a wide range of electrical principles in their work. Which includes; use of the concept of basic electrical quantities, use of the concepts of D.C and A.C circuits in electrical installation, use of basic electrical machine, use of power factor in electrical installation, use of earthing in electrical installations, apply lightning protection measures, apply electromagnetic field theory , apply electrodynamics, apply energy and momentum in electromagnetic field, apply transient in electrical circuit analysis, use two port network, demonstrate understanding of refrigeration and air conditioning

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function. | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements. Bold and italicized terms are elaborated in the Range. |
| --- | --- |
| - Use the concept of basic Electrical quantities | - Basic SI units in Electrical are identified - Quantities of Charge, force, work and power are identified - Perform calculations involving Ohm’s law i.e Current, Resistance and voltage - Calculations involving various electrical quantities are performed |
| - Use the concepts of D.C and A.C circuits in electrical installation | - Calculations involving parallel and series circuits are performed - Calculations involving DC and AC Network theorems are performed. E.g. Kirchoff’s laws, Superposition, Thevinin’s, Norton’s |
| - Use of basic electrical machine | - Types of various electrical machines are identified - Single phase and three phase motor starting methods are performed - DC motor starting methods are performed - Calculations involving single phase and three phase AC and DC Motors are performed - Calculations involving single and three phase AC and DC transformers are performed - Calculations involving single and three phase generators are performed - Special machines are identified - Calculations involving special machines are performed - Calculations involving Electric Drives are performed |
| - Demonstrate understanding of three phase power supply | - Connections of three phase power supply are performed as per the standard operating procedure - Calculations involving three phase power supply connections are performed - Measurements of three phase power supply is performed - Interconnections of three phase power supply are performed as per the nature of the load. |
| - Use of power factor in electrical installation | - Power triangle is identified i.e. Active, Apparent and reactive power - The use of power factor is performed - Calculations involving power factor correction is performed - Methods of power factor correction are applied |
| - Use of earthing in Electrical installations | - Earthing types are identified - Earthing points on Electrical installation are identified - Calculation involved in determining the earthing type is performed - Test on an earthing system is performed in line with the IEE regulations |
| - Apply lightning protection measures | - Types of lightening strokes are identified - Components of lightening protection system are identified - Test to be carried out in lightening protection system are established - Application of lightening protection system is determined |
| - Apply Electromagnetic field Theory | - Electromagnetic radiation sources are identified - Detectors of Electromagnetic radiations are determined - Electromagnetic waves are applied - Electromagnetics Laws are Identified - Behaviours and effects of Electromagnetic waves are established |
| - Apply Electrodynamics | - Electrostatics terms are identified - Magnetostatics terms are identified - Electrodynamics laws are identified |
| - Apply Energy and Momentum in Electromagnetic field | - Energy conservation theorem is identified - Electromagnetic Energy flow is determined |
| - Apply transients in Electrical Circuit Analysis | - Growth and decay in R-L-C circuits are determined - Calculations involving Growth and decay in R-L-C are performed |
| - Use Two Port networks | - Basic passive networks are performed - Characteristic impedance is determined - Types of transmission lines and their applications are performed |
| - Demonstrate understanding of Refrigeration and Air conditioning | - Use of Refrigeration and Air conditioning is demonstrated - Installation of the Refrigeration and Air conditioning system is simulated |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range |
| --- | --- |
| - SI unit may include but not limited to: | - Power – Watts (W) - Current – Amperes (A) - Resistance – Ohms(Ω) - Voltage – Volts (V) |
| - Quantities may include but not limited to: | - Charge - Force - Work - Power |

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit of competency.

Required Skills

The individual needs to demonstrate the following skills:

- Apply basic Electrical formulas

- Use of basic Electrical instruments

- Perform various unit conversions of Electrical quantities

- Electrical earthing

- Lightening arrestors

- Power factor correction

- logical thinking

- problem solving

- applying statistics

- drawing graphs

- Using different measuring tools

Required knowledge

The individual needs to demonstrate knowledge of:

- Electrical power calculations

- Various laws in Electrical engineering

- Electrical formulas

- Power triangle

- SI units of various electrical parameters

- Earthing testing

- Lightening arrestor testing

- Selecting the correct type of electrical machines for various uses

- Types and purpose of measuring instruments

- Units of measurement and abbreviations

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge and range.

| - Critical aspects of Competency | Assessment requires evidence that the candidate: - Applied the correct SI units of Electrical quantities - Stated, Calculate and relates the quantities in Ohm’s law - Identified the components of an earthing system - Stated and apply various laws in Electrical system - Differentiated between AC and DC network - Applied correct formulas in the calculation of AC and DC machines - Used power triangle in calculating power factor - Applied various methods in power factor correction - Identified types of lightening arrestors and their applications |
| --- | --- |
| - Resource Implications | The following resources should be provided: - Access to relevant workplace or appropriately simulated environment where assessment can take place - Measuring equipment - Materials relevant to the proposed activity or tasks |
| - Methods of Assessment | Competency in this unit may be assessed through: - Direct Observation - Oral Questioning - Written tests |
| - Context of Assessment | Competency may be - On job - Off job - During Industrial Attachment |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

## PREPARE AND INTERPRET TECHNICAL DRAWINGS

UNIT CODE: ENG/OS/PO/CC/03/6

UNIT DESCRIPTION

This unit covers the competencies required to prepare and interpret technical drawings. It involves competencies to select, use and maintain drawing equipment and materials. It also involves producing plain geometry drawings, solid geometry drawings, pictorial and orthographic drawings and application of Computer Aided Design (CAD) packages.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function. | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements. (Bold and italicised terms are elaborated in the Range) |
| --- | --- |
| - Use and maintain drawing equipment and materials | 1.1 Drawing equipment are identified and gathered according to task requirements 1.2 Drawing materials are identified and gathered according to task requirements 1.3 Drawing equipment are used and maintained as per manufacturer’s instructions 1.4 Drawing materials are used as per workplace procedures 1.5 Waste materials are disposed in accordance with workplace procedures and environmental legislations 1.6 Personal Protective Equipment is used according to occupational safety and health regulations |
| - Produce plane geometry drawings | - Different types of lines used in drawing and their meanings are identified according to standard drawing conventions - Different types of geometric forms are constructed according to standard conventions - Different types of angles are constructed according to principles of trigonometry - Different types of angles are measured using appropriate measuring tools - Angles are bisected according to standard conventions - Freehand sketching of different types of geometric forms, tools, equipment, diagrams is conducted |
| - Produce solid geometry drawings | - Drawings of patterns are interpreted according to standard conventions - Patterns are developed in accordance with standard conventions |
| - Produce orthographic and pictorial drawings | - Symbols and abbreviations are identified and their meaning interpreted according to standard drawing conventions - First and third angle orthographic drawings are interpreted and produced in accordance with the standard conventions - Orthographic elevations are dimensioned in accordance with standard conventions - Isometric drawings are interpreted and produced in accordance with standard conventions - Assembly drawing is produced and interpreted in line with the operating standards |
| - Produce electrical drawings | - Electrical symbols and abbreviations are identified and their meaning interpreted according to BS 3939 - Electrical drawings are produced in accordance with BS 3939 |
| - Apply CAD packages | - CAD packages are selected according to task requirements - CAD packages are applied in production of electrical drawings |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range |
| --- | --- |
| - Drawing equipment may include but is not limited to: | Drawing boards, T and set squares, drawing sets, computers with CAD packages |
| - Drawing materials may include but is not limited to: | Drawing papers, pencils, erasers, masking tapes, paper clips |
| - Environmental legislations may include but is not limited to: | EMCA 1999 |
| - Personal Protective may include but is not limited to: Equipment | Dust coats, closed leather shoes |
| - Geometric forms may include but is not limited to: | Circles, triangles, rectangles, parallelogram, polygons, pyramids, conic sections, prisms, loci |
| - Standard conventions may include but is not limited to: | - Anatomy of engineering drawing (title block, coordinate grid system, revision block, notes and legends) - Drawing scale (paper size and drawing symbols) - International drawing standards |
| - Electrical drawings may include but is not limited to: | - Block - Schematic - Circuit - line - wiring diagrams |

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit of competency.

Required skills

The individual needs to demonstrate the following skills:

- Critical thinking

- Drawing

- Interpretation

- Drawing equipment handling

- Analysis and synthesis

- Communication

- Inter personal

Required knowledge

The individual needs to demonstrate knowledge of:

- Drawing equipment and materials

- Freehand sketching

- Lettering

- Geometrical constructions

- Types of drawings

- Types of lines

- Isometric drawing conventions, features, characteristics, components

- Orthographic drawing conventions, features, characteristics, components

- Sketches and drawings of simple patterns

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required knowledge and understanding and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Applied and adhered to safety procedures - Cared and maintained drawing equipment - Interpreted circuit, assembly and lay out diagrams - Applied appropriate technical standards, used proper tools and equipment for a given task - Produced sketches and drawings - Applied CAD packages in production of drawings |
| --- | --- |
| - Resource Implications | Resources the same as that of workplace are advised to be applied. - Drawing room - Drawing equipment and materials - Computers - CAD packages |
| - Methods of Assessment | Competency may be assessed through: - Practical tests - Observation |
| - Context of Assessment | Competency may be - On job - Off job - During industrial Attachment |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

CORE UNITS OF COMPETENCY

PERFORM ELECTRICAL INSTALLATION

UNIT CODE: ENG/OS/PO/CR/01/6

UNIT DESCRIPTION

This unit specifies the competencies required for performing electrical installation. Competencies required includes; applying EHS Standards, conducting site survey, designing installation, performing system sizing, preparation of working drawings, planning for logistics, preparation of list of tools equipments and materials, preparation of installation work plan, establishment of installation team, preparation of work site, marking, piping and fixing accessories, performing installation, terminating installation, testing and inspecting installation and finally preparation of tenders and service  contracts

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function. | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements (Bold and italicised terms are elaborated in the Range) |
| --- | --- |
| - Apply EHS standards | - Safety regulations are applied as per the EHS - Occupational health and safety standards are applied - Good housekeeping practices are applied - Accident and incidents are recorded and reported as per the working organization structure. - First aid is applied as per the as per OSHA |
| - Conduct site survey | - The site is surveyed for suitability for the type of installation to be done as per the contract - Conditions of the site are evaluated according to the established procedures - Installation route is identified as per the standard operating procedure - Measurements are taken as per the expected installation. - Survey report is generated and shared with relevant parties according to the established procedures |
| - Design Electrical installation. | - Electrical installation is designed as per the size of the load. - Wiring type is established as per the clients need. - Electrical design is performed as per the type of the structure. - Electrical design is performed as per the size of the structure. - Electrical installation design is performed in line with the IEE regulation. - Electrical installation design is performed in line with the national and international standards |
| - Prepare working drawings | - Installation design drawing is interpreted - Symbols and nomenclatures are applied in accordance with British Standards [BS 3939] - Drawing tools are applied as per the expected task - Components and their ratings are identified - Cable sizes and lengths are shown as per the design - Power supply and distribution circuits are drawn as per the design - Phase balancing of the loads is done as per the usage - Cable routes are clearly indicated in line with design - Working drawing is prepared per the design and any deviations shared with relevant parties |
| - Perform system sizing | - Load estimation is conducted according to the set standard - Type and size of protective devices is determined according to IEE regulations - Cable sizes are calculated for the estimated loads according to IEE regulations - System sizes are recorded and shared as per established procedures |
| - Plan for logistics | - logistics for the particular work and site is determined - Logistics are reported and planned for with the relevant parties according to work schedule |
| - Prepare list of tools, equipment & materials. | - Tools, equipment and materials needed for the work are determined and list prepared as per established procedure - Tools, equipment and materials are checked for specifications and functionality as per the standard operating procedure - Tools, equipment and materials are assembled and stored as per the established procedure |
| - Prepare installation work plan | - Installation drawing is acquired as per established procedure - The scope of installation work is identified - Work is undertaken as per the workplace procedures. - Team members are identified according to the tasks - Work schedule is prepared based on the scope and the working drawing - Type of permit to work is identified as per the working station - Permits issued bodies are identified - Permit to work form is filled and submitted to the responsible body |
| - Establish installation team | - Communication protocol is designed and distributed among the team members - Responsibilities are established and distributed among the team members - Team familiarization is done according to the established procedure |
| - Prepare work site | - Special work, hazard and safety requirements are identified. - Identified hazards and safety issues are mitigated according to OSHA (Occupational Safety and Health Act - Work plan is confirmed in accordance with legislative and regulatory requirements and standard operating procedures. - Work site is prepared for accessibility of utilities |
| - Perform marking, piping and fixing of accessories | - Marking, piping and fixing tools are identified as per the nature of the job - Marking is performed as per the working drawing - Marking is performed in line with establishes procedures and standards - Marking positions are performed as per the IEE regulations - Conduits are laid in line with standard operating procedures - Accessories are fixed as per the established procedure |
| - Perform installation | - Installation procedures and technical standards are applied - Working drawing is implemented - Safety procedures are adhered to for each activity - Cables, conductors, conduits, enclosures and support systems are installed as per the working drawing - Cables are drawn-in in line with standard operating procedures. - Number and size of cables are laid in a conduit is performed as per the IEE regulations - Insulation resistance test is performed as per the IEE regulations |
| - Terminate installation | - Cable lugging is performed as per the standards operating procedure. - Cables are terminated as per the IEE regulations - Labelling of the cables is performed as per the complexity of the job. - Insulation is performed as per the IEE regulation |
| - Test installation | - Type of tests are identified - Test is performed as per the IEE regulations - Firmness of the installation is established - Continuity test is performed - Ring circuit test is performed as per the standard operating procedure - Earth continuity test is performed as per the IEE regulations - Short circuit test is performed as per the IEE regulation - Earth resistance test is performed - Open circuit test is performed |
| - Prepare tenders and service contracts | - Laws of contracts and tendering are adhered to - Types and forms of contracts are identified - Type of tenders are identified - Tender estimating is performed in line with the tendering laws - Statutory documents in contract and tendering are identified |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range |
| --- | --- |
| - Installation may include but is not limited to: | - Domestic installation - Commercial installation - Industrial Installation - Street lighting - Security - IBMS (integrated building Management system) |
| - Established Procedures may include but is not limited to: | - Company rules - Procedures mentioned in contract |
| - Design may include but is not limited to: | - Electrical design for lighting and power - Electrical design for switchgear - Electrical design for alarm systems |
| - Standard may include but is not limited to: | - IEE standard - British Standard - KEBS standard |
| - IEE regulations may include but is not limited to: | - 17th Edition |
| - Logistics includes but not limited to may include but is not limited to: | - Personnel, Finance and input materials - Transport and storage - Communications - Security |
| - Specifications may include but is not limited to: | - Tolerance/ range - Make / model - Size - Class |
| - Regulations and legislative requirements may include but is not limited to: | - KPLC procedures - County bylaws - Energy Act, 2006 - National Construction Authority Act - OSHA |
| - Work schedule may include but is not limited to: | - Gantt chart - Block |
| - Permit to work may include but is not limited to: | - KPLC permit - Gate Pass - Daily work permit - Work Tag |
| - Utilities may include but is not limited to: | - Water, electrical power, toilets and communication |

REQUIRED KNOWLEDGE AND UNDERSTANDING

The individual needs to demonstrate knowledge and understanding of:

- The manufacturer's warranty requirements relating to electrical installation systems and related components.

- The legal requirements relating to electrical installations

- Kenyan legislation and workplace procedures relevant to:

- Health and safety;

- Environment (including waste disposal);

- Appropriate personal protective equipment (PPE).

- Work place communication;

- Time management

- Materials managementThe importance of  documentation and keeping records

- The relationship between time and costs

- The importance of using the correct sources of technical information.

- .Interpreting circuits, drawings, specifications and instructions

- Preparing work plans in accordance with legislative and regulatory requirements and  standard operating procedures and  health and safety requirementsImportance of contractual agreements

- Necessary insurance and policies including security bonds, performance bonds, contractors all risks

- Insurance of contractors work

- Keeping records of income

- Financial statements

FOUNDATION SKILLS

- Communications (verbal and written);

- Proficient in ICT;

- Time management;

- Problem solving;

- Negotiation

- Decision making;

- First aid;

- Report writing;

- Planning;

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required knowledge and understanding and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Applied work health and safety procedures - Interpreted the design and prepared a working drawing - Applied appropriate standard - Determined types and sizes of materials and equipment and protective devices - Demonstrated knowledge of logistics to the given task - Survey report was generated and shared with the relevant parties - Measurement were we taken at the site - Installation planning was performed as per the scope of the work - Electrical design was performed as per the installation scope - Load was calculated as per the scope of the installation - Phases were balanced as per the expected load - Cables and accessories were installed as per the IEE regulation - Cables were terminated as per the IEE regulation - Installation was tested and results documented |
| --- | --- |
| - Resource Implications | The following resources must be provided: Resources same as that of workplace are advised to be applied including Measuring tape, pegs, calculator, stationery, accessories and cables |
| - Methods of Assessment | Competency may be assessed through: 3.1 Observation 3.2 Oral questioning 3.3 Practical Tests |
| - Context of Assessment | Competency may be assessed - On job - Off job - During Industrial Attachment |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

## INSTALL ELECTRICAL POWER LINES

UNIT CODE: ENG/OS/PO/CR/02/6

UNIT DESCRIPTION

This unit covers the competencies required to install Electrical power lines and cables: The competencies includes; Design transmission lines, erect transmission lines, mount transmission cables, terminate conductors and finally test and inspect electrical installation.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements. (Bold and italicised terms are elaborated in the Range) |
| --- | --- |
| - Design transmission lines | - Transmission lines are designed as per the topography of the installation site. - Design type is established as per the scope of the load. - Design is performed as per location of the installation. - Span length is determined as per the weight of the conductor, height and type of the support. - Transmission line is design as per the type of the materials to be used in line installation - Transmission line is designed as per the environmental condition of the location - Transmission line is designed in line with the national and international standards - Design is performed as per the type of transmission. - Transmission line is designed in line with the regulations and legislative requirements |
| - Erect transmission lines support | - Supports are erected as per the location’s soil profile. - Supports are erected as per the weight of the conductor. - Supports are erected as per established procedures and standards - Supports are erected as per the conductors’ voltage. |
| - Mount transmission lines | - Transmission lines are mounted in consideration of the balance between tension and sag of the conductors - Spacing between conductors is determined as per line voltage - Transmission line are mounted as per the type of the conductors - Tension of transmission line is performed as per fluctuations of the weather condition. - Cross arms are mounted in line with the spacing between conductors. - Conductors are mounted as per the types of insulators used. - Transmission system is earthed as per the established procedures and standards - Lightening arrestors are mounted on the power lines as per the established procedures and standards |
| - Terminate conductors | - Conductors are terminated as per the line voltage. - Transmission line is terminated as per the type of conductors - Different types of joint terminations are identified. - Transmission line is terminated as per the IEE regulation - Transmission line is terminated as per end point load. - Transmission line is terminated as per the type of transmission. |
| - Test and inspect installation | - Type of tests are identified - Test is performed as per the IEE regulations - Firmness of the transmission line established - Continuity test is performed - Short circuit test is performed - Insulation test is performed as per the IEE regulations - Earth continuity test is performed as per the IEE regulations |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range |
| --- | --- |
| - Installation may include but is not limited to: | - Transmission line installation - Transformer installation - Commercial installation - Industrial Installation - Power Generator - Security - Power transmission and distribution - IBMS (integrated building Management system) |
| - Topography may include but is not limited to: | - Land terrain i.e. - Hilly - Rocky - Swampy - Flat |
| - Established Procedures may include but is not limited to: | - Company rules - Procedures mentioned in contract |
| - Design may include but is not limited to: | - Electrical design for transmission line - Electrical design for switchgear - Electrical design for alarm systems |
| - National and International standards may include but is not limited to: | - IEE standard - British Standard - KEBS standard |
| - IEE regulations | - 17th Edition |
| - Specifications may include but is not limited to: | - Tolerance/ range - Make / model - Size - Class |
| - Regulations and legislative requirements may include but is not limited to: | - KPLC procedures - County bylaws - Energy Act, 2006 - National Construction Authority Act - OSHA |
| - Work schedule may include but is not limited to: | - Gantt chart - Block |

REQUIRED KNOWLEDGE AND UNDERSTANDING

The individual needs to demonstrate knowledge and understanding of:

- The manufacturer's warranty requirements relating to electrical installation systems and related components.

- The legal requirements relating to electrical installations

- Kenyan legislation and workplace procedures relevant to:

- Health and safety;

- Environment (including waste disposal);

- Appropriate personal protective equipment (PPE).

- Work place communication;

- Time management

- Materials managementThe importance of  documentation and keeping records

- The relationship between time and costs

- The importance of using the correct sources of technical information.

- .Interpreting circuits, drawings, specifications and instructions

- Preparing work plans in accordance with legislative and regulatory requirements and  standard operating procedures and  health and safety requirements

- Importance of contractual agreements

- Necessary insurance and policies including security bonds, performance bonds, contractors all risks

- Insurance of contractors work

- Keeping records of income

- Financial statements

FOUNDATION SKILLS

- Communications (verbal and written);

- Proficient in ICT;

- Time management;

- Problem solving;

- Negotiation

- Decision making;

- First aid;

- Report writing;

- Planning;

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required knowledge and understanding and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Transmission line design reflected the site topography - Transmission line was designed as per the load requirement - Span length was determined as per the weight of the conductor, height and type of the support - Supports were erected in line with the conductors voltage - Balance between tension and sag of the conductors was performed - Lightening arrestors were mounted on the power line - Transmission line was earthed - Continuity, short circuit and insulation test performed after line construction. |
| --- | --- |
| - Resource Implications | The following resources must be provided: Resources same as that of workplace are advised to be applied including conductors, supports, transformers, cross arms calculator, stationery |
| - Methods of Assessment | Competency may be assessed through: 3.1 Observation - Oral questioning 3.3 Practical demonstration |
| - Context of Assessment | Competency may be assessed - On job - Off job - During Industrial Attachment |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

## INSTALL ELECTRICAL MACHINE

UNIT CODE: ENG/OS/PO/CR/03/6

UNIT DESCRIPTION

This unit covers the competencies required to Install Electrical Machine. Competencies include; Designing Electrical machine layout, mounting electrical machine, mounting machine control panel, laying machine cables, termination of an installation of Electrical machine and testing of Electrical machine installation.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT | PERFORMANCE CRITERIA (Bold and italicised terms are elaborated in the Range) |
| --- | --- |
| - Design Electrical Machine Layout | - Machine cabling are installed in line with the IEE regulations - Machine sockets are installed in line with standard operating procedure - Design is performed in line with OSHA - Machine layout is design as per the expected load - Machine layout is designed in line with its standard operational procedure - Machine design layout is performed in line with its EHS regulations |
| - Mounting Electrical machine | - Machine is mounted as per its size - Machine is mounted as per its load - Machine is mounted in line with OSHA - Machine earthing is performed in line with the IEE regulation - Machine is mounted as per the manufacturer’s manual |
| - Mount Machine control panel | - Control panel is mounted as per the load and functions of the machine - Components on the control panel are mounted as per standard operating procedure - Components on the control panel are spaced as per machine rating and environmental conditions - Components on the control panel are labelled as per their functions. - Components on the control panel are wired as per the design - Control panel is aesthetically wired as per the standard operating procedure - Control panel is enclosed as per the OSHA |
| - Lay machine cables | - Machine cables are laid as per the IEE regulations - Cables laying system is as per the EHS regulations - Cables are colour coded as per the IEE regulations - Firmness of the cables are installed as per the standard operating procedure - Cables are segregated as per the standard operating procedure |
| - Terminate Electrical machine Installation | - Cable lugging is performed as per the standards operating procedure. - Cables are terminated as per the IEE regulations - Cables are terminated in the connector as per the load size |
| - Test Electrical machine installations | - Type of tests are identified - Test is performed as per the IEE regulations - Firmness of the installation is established - Continuity test is performed - Insulation resistance test is performed as per the IEE regulations - Earth test is performed as per the IEE regulations - On load and off load tests are performed |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range |
| --- | --- |
| 1. Installation may include but is not limited to: | - Machine installation - Commercial installation - Industrial Installation - Power Generator - Security - Power transmission and distribution |
| - Load size may include but is not limited to: | - 32A - 80A - 100A - 180A |
| - Components may include but is not limited to: | - Switches - Circuit breakers - Fuses - Termination blocks |
| - EHS regulation (Environment, Health and Safety )regulation may include but is not limited to: | - EMCA 1999 Act - OSHA |

REQUIRED KNOWLEDGE AND UNDERSTANDING

The individual needs to demonstrate knowledge and understanding of:

- The manufacturer's warranty requirements relating to electrical installation systems and related components.

- The legal requirements relating to electrical installations

- Kenyan legislation and workplace procedures relevant to:

- Health and safety;

- Environment (including waste disposal);

- Appropriate personal protective equipment (PPE).

- Work place communication;

- Time management

- Materials management

- The importance of documentation and keeping records

- The relationship between time and costs

- The importance of using the correct sources of technical information.

- . Interpreting circuits, drawings, specifications and instructions

- Preparing work plans in accordance with legislative and regulatory requirements and  standard operating procedures and  health and safety requirements

- Importance of contractual agreements

- Necessary insurance and policies including security bonds, performance bonds, contractors all risks

- Insurance of contractors work

- Keeping records of income

- Financial statements

FOUNDATION SKILLS

- Communications (verbal and written);

- Proficient in logistic management;

- Time management;

- Meeting organization;

- Analytical

- Faults troubleshooting;

- Planning;

- Decision making;

- First aid;

- Report writing;

- Problem solving;

- Management

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required knowledge and understanding and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Applied and adhered to safety procedures - Components on the control panel were wired as per the design - Cable lugging was performed before termination of the machine cables - Applied appropriate standards - Demonstrated good communication and interpersonal skills - Machine layout was designed in line with the standard operating procedure of the machine - Machine load size was considered in the design of the machine layout - Insulation, short circuit and continuity tests were performed after machine installation |
| --- | --- |
| - Resource Implications | The following resources must be provided: - Installation tools - Electrical machine to be installed - Designing tools - Machine installation site - Stationery |
| - Methods of Assessment | Competency may be assessed through: - Oral questioning - Practical Tests - Observation |
| - Context of Assessment | Competency may be assessed individually in - On job - Off job - During Industrial Attachment |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

## DEMONSTRATE UNDERSTANDING OF ELECTRONICS

UNIT CODE: ENG/OS/PO/CR/04/6

UNIT DESCRIPTION

This unit covers the competencies required to demonstrate understanding of Electronics. Competencies includes; Apply semiconductor theory, applying semiconductor diodes, demonstrating understanding of transistors, applying special semiconductor devices, Performing rectification, applying amplifiers, demonstrating understanding of oscillators, applying wave shaping and pulse generation circuit and application of Opto-electronics.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT | PERFORMANCE CRITERIA (Bold and italicised terms are elaborated in the Range) |
| --- | --- |
| - Demonstrate understanding of semiconductor theory | - Types of materials are established in line with semiconductor theory - Semiconductor materials are identified as per their electrical conductivity properties |
| - Demonstrate understanding of semiconductor diodes | - Types of diodes are identified as per their functionality - Diodes characteristics are determined as per their properties - Forward and reverse bias characteristics are established as per the properties of the semiconductor material |
| - Demonstrate understanding of transistors | - Transistors are identified as per their characteristics - NPN and PNP are determined as per their operation - P and N channels are identified as per their operation - Biasing and determination of gain of transistors is performed as per their standard operating procedure - Transistor configuration is performed as per their application |
| - Apply special semiconductor devices | - Special semiconductor devices are identified as per their operation - Special semiconductors are applied as per their standard operating procedure - Types of special semiconductor devices are identified |
| - Perform rectification | - Types of rectifiers are identified as per their functions - Classes of rectifiers are identified as per their input voltage - Applications of rectifiers are established - Converters are identified as per their functions - Applications of converters are established as per their functions |
| - Apply amplifiers | - Types of amplifiers are identified as per their functions - Operational amplifier is identified as per its applications - Characteristics of operational amplifiers are determined |
| - Demonstrate understanding of oscillators | - Oscillators are classified as per their operation - Types of oscillators is determined as per their applications - Damped and Undamped oscillation is performed as per oscillator operation |
| - Apply wave shaping and pulse generation circuit | - Wave shaping and pulse generation circuits are performed as per their standard operating procedure |
| - Apply opto-electronics | - Types of Opt-electronics semiconductors are identified as per the operation characteristics - Diodes are classified as per their operation |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range |
| --- | --- |
| - Materials may include but is not limited to: | - Insulators - Conductors - Semiconductors |
| - Diodes may include but is not limited to: | - Photo diodes - Laser - Zener diodes - Light emitting diode - Schottky diodes |
| - Transistors may include but is not limited to: | - BJTs - FETs |
| - Biasing may include but is not limited to: | - Forward bias - Reverse bias |
| - Amplifiers may include but is not limited to: | - RC coupled amplifiers - Small signal amplifiers - Power amplifiers - Tuned amplifier - Wide band amplifiers - Op-Amp amplifiers |
| - Oscillators may include but is not limited to: | - Tuned collector - RC phase shift - Colpits - Hartley - Crystal - Blocking |

REQUIRED KNOWLEDGE AND UNDERSTANDING

- The manufacturer's warranty requirements relating to electrical installation systems and related components.

- The legal requirements relating to electrical installations

- Kenyan legislation and workplace procedures relevant to:

- Health and safety;

- Environment (including waste disposal);

- Appropriate personal protective equipment (PPE).

- Work place communication;

- Time management

- Materials management

- The importance of documentation and keeping records

- The relationship between time and costs

- The importance of using the correct sources of technical information.

- . Interpreting circuits, drawings, specifications and instructions

- Preparing work plans in accordance with legislative and regulatory requirements and standard operating procedures and health and safety requirements

- Importance of contractual agreements

- Necessary insurance and policies including security bonds, performance bonds, contractors all risks

- Insurance of contractors work

- Keeping records of income

- Financial statements

FOUNDATION SKILLS

- Communications (verbal and written);

- Proficient in logistic management;

- Time management;

- Meeting organization;

- Analytical

- Faults troubleshooting;

- Planning;

- Decision making;

- First aid;

- Report writing;

- Problem solving;

- Management

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required knowledge and understanding and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Identified different semiconductor material - Demonstrated understanding in biasing of semiconductor materials - Identified special semiconductor devices - Performed forward and reverse biasing of semiconductor materials - Identified different types of transistors - Classified various types of oscillators - Identified various types of opto-electronics semiconductors |
| --- | --- |
| - Resource Implications | The following resources must be provided: - Stationeries - Reference materials - Practical materials - Measuring instruments - Tools Resources the same as that of workplace are advised to be applied |
| - Methods of Assessment | Competency may be assessed through: - Oral test - Written test - Observation - Practical demonstration |
| - Context of Assessment | Competency may be assessed - On job - Off job - During Industrial Attachment |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

## AUTOMATE AN ELECTRICAL MACHINE

UNIT CODE: ENG/OS/PO/CR/05/6

UNIT DESCRIPTION

This unit covers the competencies required to automate an Electrical machine. Competencies includes an automation system design, components mountings, programming of an automation system, simulation of an automation system and test running of an automation system.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT | PERFORMANCE CRITERIA (Bold and italicised terms are elaborated in the Range) |
| --- | --- |
| - Design Automation System | - Design is performed as per the scope of the automation system - Design is done as per the system’s functionality - Design tools and equipments are identified as per the scope of the system - Complexity is established as per the scope of the system |
| - Mount Electrical components | - Electrical components to be mounted are identified as per the design - Components are configured as per the system functionality - Components are mounted as per the standard operating procedure - Components are connected and wired as per the design |
| - Program Automation System | - Programming language is identified as per the functionality of the system - Coding of the identified programming language is performed - Program is tested and debugged as per standard operating procedure - Program is uploaded in the automation system as per the manufacturers specifications - Automation system is configured as per the standard operating procedure |
| - Simulate Automation System | - Automation system modelling components are identified as per the design - Automation system model is implemented as per the design - System model is interfaced with the program as per the design - Test running of the system is performed for its functionality |
| - Test run Automation system | - Types of test are Identified - Testing tools and equipments are identified - Automation system is tested for its functionality as per the design - Reliability of the system is tested as per the standard operation procedure - Accuracy and efficiency of the system is tested as per design - Automation system parameters are tested as per the design - Visual inspection is performed |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range |
| --- | --- |
| - Design tools and equipment may include but is not limited to: | - Scientific calculators - Drawing tools - Laptops - Stationeries - Drawing boards - Measuring tools |
| - Test tools and equipment may include but is not limited to: | - Multimeter/AVO meter - Wattmeter - Insulation resistance tester - Loop impedance tester - Earth resistance tester - Clamp meter - Power quality analyser - Infrared camera - Phase sequence meter - Frequency meter - Synchroscope - Tachometer - Tacho generator - Laser meter - Lux meter |
| - Visual inspection may include but is not limited to: | - Check for: - Firmness of accessories/equipment - Loose connections - Damaged equipment/component if any - Colour coding |
| - Electrical components may include but is not limited to: | - Microcontrollers - PLCs - Timers - Relays - Switches - Circuit breakers - LEDs - Fuses - Cables |
| - Tests may include but is not limited to: | - Continuity - Accuracy - Efficiency - Insulation resistance - Polarity - Earth electrode resistance - Earth fault loop impedance - Phase sequence - Frequency - Speed |

REQUIRED KNOWLEDGE AND UNDERSTANDING

The individual needs to demonstrate knowledge and understanding of:

- The manufacturer's warranty requirements relating to inspection and testing activities for the Electrical automation system and related components.

- The legal and statutory requirements relating to the electrical automation system and components

- Legislation and workplace procedures relevant to:

- Health and safety;

- The environment (including waste disposal);

- Appropriate personal protection equipment (PPE).

- Workplace procedures for:

- Using test tools and instruments

- Work place communication;

- Time management

- Tools and equipment management

- The importance of using the correct sources of technical information.

- Performing tests including:

- Connection of testing equipment

- Operation of testing equipment

- Recording and interpretation of test results

- Making recommendations based on test results

- Compiling  test report

FOUNDATION SKILLS

The individual needs to demonstrate the following foundation skills:

- Communications (verbal and written);

- Proficient in using test equipment;

- Time management;

- Analytical;

- Faults troubleshooting;

- Problem solving;

- Planning; Decision making;

- First aid;

- Report writing

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required skills and understanding and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Designed the Automation system as per the scope of the job - Implemented the Designed automation system - Configured the automation system as per the system functionality - Programmed the automation system with the appropriate language - Performed testing and debugging of the coded programming language - Testing of the parameters of the automation system was performed - System efficiency tests was performed - Test running of the system was performed to ascertain functionality - Simulate the designed model of the automation system before implementing - Applied and adhered to safety procedures Applied the procedures of testing according to the standard - Obtained and recorded test values accurately - Interpreted the recorded test results |
| --- | --- |
| - Resource Implications | Resources the same as that of workplace are advised to be applied including - Multimeter/AVO meter - Wattmeter - Insulation resistance tester - Clamp meter - Phase sequence meter - Frequency meter - Tacho meter |
| - Methods of Assessment | Competency may be assessed through: - Observation - Oral questioning - Practical test |
| - Context of Assessment | Competency may be assessed individually - On job - Off job - During Industrial Attachment |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

## INSTALL SECURITY SYSTEMS

UNIT CODE: ENG/OS/PO/CR/06/6

UNIT DESCRIPTION

This unit covers the competencies required in installing of security systems. Competencies includes; Security system design, marking out of security systems zones, laying system cables, mounting accessories, terminate system cables and testing of the system.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT | PERFORMANCE CRITERIA (Bold and italicised terms are elaborated in the Range) |
| --- | --- |
| - Design security system | - Design is performed as per the scope of the system - Design is performed as per the system’s functionality - Design components are identified as per the system functionality - Complexity is established as per the scope of the system - Wiring design is performed in line with the IEE regulation. - Wiring System is performed in line with the national and international standards - System is designed in line with the expected self-defensive mechanism - Design is performed in adherence to the regulatory bodies requirement |
| - Mark out security system zones | - Marking, piping and fixing tools are identified as per the nature of the job - Marking is performed as per the design drawing - Marking is performed in line with establishes procedures and standards - Marking points and zones are performed as per the design |
| - Lay system cables | - Cable types are identified - Cables are laid as per the IEE regulations - Cables laying system is as per the environmental condition - Firmness of the cables are installed as per the standard operating procedure - Cables are segregated as per the standard operating procedure |
| - Mount accessories | - Accessories are labelled as per their functions. - Accessories are wired as per the design - Control panel is mounted as per the standard operating procedure - Accessories are mounted as per the system design - Control panel is enclosed as per the OSHA |
| - Terminate system cables | - Cable lugging is performed as per the standards operating procedure. - Cables are terminated as per the IEE regulations - Cables are terminated in the connector as per the design |
| - Test security system | - Type of tests are identified - Test is performed as per the IEE regulations - Firmness of the installation is established - Continuity test is performed - Insulation resistance test is performed as per the IEE regulations |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range |
| --- | --- |
| - Mark out points and zones may include but is not limited to: | - Switch points - Socket points - Lighting points - Installation points - System control point |
| - Enclosed may include but is not limited to: | - Metal case - Wooden case - Plastic case |
| - Tests may include but is not limited to: | - Continuity - Insulation resistance - Short circuit - Firmness - Sound - Speed - Efficiency - Expected output |
| - Regulatory parties may include but is not limited to: | - County Governments - ERC (Energy Regulatory Commission) - MSK (Music Copyright of Kenya) - NCA (National Construction Authority) - National Environment Management Authority (NEMA) - Communications Authority of Kenya (CAK) - Kenya Civil Aviation Authority (KCAA) |

REQUIRED KNOWLEDGE AND UNDERSTANDING

- The individual needs to demonstrate knowledge and understanding of:

- The manufacturer's warranty requirements relating to installation of security systems related components.

- The legal requirements relating to commissioning activities for electrical installation systems and components.

- Legislation and workplace procedures relevant to:

- Environment, health and safety;

- Appropriate PPE(personal protective Equipment)

- Observe  County Government bylaws

- ERC (Energy  Regulatory Commission) regulations

- NEMA

- CAK

- The importance of documenting security system installation information

- The importance of working to agreed  timelines

- The relationship between time and costs

- How to prepare, interpret and use sources of technical information for scheduled security system installation activities

- The importance of using the correct sources of technical information.

- The purpose of and how to use identification codes (e.g. colour codes).

- How the system operates

- The operating specifications and tolerances for different types of installed systems

- The hazards associated with operating the system.

- Identification of users to be trained

FOUNDATION SKILLS

The individual needs to demonstrate the following additional skills:

- Communications (verbal and written);

- Proficient in ICT;

- Time management;

- Analytical

- Faults troubleshooting

- Problem solving;

- Planning; Decision making;

- First aid;

- Report writing;

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required skills and understanding and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Security system designed in line with clients requirements - Security system was wired as per the IEE regulations - Marking of the components position was performed before fixing - Cables were segregated in line with standard operating procedure - Accessories were labelled after the installation of the system - Cables were terminated in the connectors as per the design - Insulation, continuity, short circuit and firmness tests were performed. - Applied appropriate safety standards - Applied appropriate technical standards - Identified and used appropriate tools and equipment - Demonstrated good communication and interpersonal skills - Prepared and kept appropriate records |
| --- | --- |
| - Resource Implications | - Testing equipment and tools - Electrical power - Stationery - Cameras |
| - Methods of Assessment | Competency may be assessed through: - Oral questioning - Practical demonstration - Observation |
| - Context of Assessment | Competency may be assessed - On job - Off job - During Industrial Attachment |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

## INSTALL SOLAR SYSTEMS

UNIT CODE: ENG/OS/PO/CR/07/6

UNIT DESCRIPTION

This unit covers the competencies required to install solar system. Competencies includes; Designing solar system installation, fixing solar system components, mounting solar panel, laying cables, terminating electrical and testing of a solar installation system.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT | PERFORMANCE CRITERIA (Bold and italicised terms are elaborated in the Range) |
| --- | --- |
| - Design solar system installation | - Solar panel rating is determined in line with the size of the load - Mounting position is determined in line with the expected output - Charge controller is determined as per the size of the load and panel output. - Power storage system is designed as per the load size. - Inverter size is selected as per the load size - Cable sizing is performed in line with the IEE regulations |
| - Fix solar system components | - Charger controller is mounted as per the design - Solar batteries are installed as per the design - Power diodes are fixed as per the design - Inverter is installed as per the design |
| - Mount solar Panel | - Slanting angle is adhered to in solar panel installation - Solar panel positioning is determined by the expected output - Solar panel connections are determined by the expected output. |
| - Lay Electrical cables | - Cable draw- in tools are identified - Cables are drawn-in in line with standard operating procedures. - Number and size of cables laid in a conduit is as per the IEE regulations - Labelling of the cables is performed as per the complexity of the job. |
| - Terminate Electrical cables | - Cable lugging is performed as per the standards operating procedure. - Cables are terminated as per the IEE regulations |
| - Test solar system installation | - Type of tests are identified - Test is performed as per the IEE regulations - Firmness of the installation is established - Continuity test is performed - Insulation resistance test is performed as per the IEE regulations - Ring circuit test is performed as per the standard operating procedure - Earth continuity test is performed as per the IEE regulations |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range |
| --- | --- |
| - Slanting angle may include but is not limited to: | - Panel installation angle - Mounting position |
| - Testing may include but is not limited to: | - Insulation test - Ring circuit test - Short circuit test - Firmness - Earth continuity |

REQUIRED KNOWLEDGE AND UNDERSTANDING

The individual needs to demonstrate knowledge and understanding of:

- The manufacturer's warranty requirements relating to solar system installation and components.

- The legal and statutory requirements relating to solar installation activities.

- workplace procedures relevant to:

- Health and safety;

- The environment (including waste disposal);

- Appropriate personal and protective equipment;

- Appropriate use of service and maintenance manuals

- Workplace procedures for:

    - Solar panel installation

    - Installation of Solar components

    - Batteries installation

    - Reporting of technical challenges

- The importance of documenting installation information.

- The importance of working within agreed timelines and sharing progress reports.

- The relationship between time and costs.

- The importance of reporting anticipated delays to relevant parties promptly.

- How to find, interpret and use sources of technical information for solar installation activities

- The importance of using the correct sources of technical information.

- The purpose of and how to use identification codes.

FOUNDATION SKILLS

The individual needs to demonstrate the following  foundation skills:

- Communications (verbal and written);

- Proficient in ICT;

- Time management;

- Analytical

- Faults troubleshooting;

- Problem solving;

- Planning; Decision making;

- First aid;

- Report writing;

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required knowledge and understanding and range.

| 1. Critical Aspects of Competency | Assessment requires evidence that the candidate: - Solar panel designed in line with expected load - Panel installed in maximum output slanting angle - Charger controller mounted as per the design - Power storage system designed in line with the expected output. - Cable were lugged after installation - Safely used testing equipment and tools - Obtained, recorded and interpreted test results - Repaired and maintained a system |
| --- | --- |
| - Resource Implications | The following resources must be provided: - Solar installation tool kit - Testing equipment - Measuring equipment Resources the same as that of workplace are advised to be applied |
| - Methods of Assessment | Competency may be assessed through: - Oral test - Observation - Practical demonstration |
| - Context of Assessment | Competency may be assessed - On job - Off job - During Industrial Attachment |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

## MAINTAIN ELECTRICAL EQUIPMENT AND SYSTEMS

UNIT CODE: ENG/OS/PO/CR/08/6

UNIT DESCRIPTION

This unit covers the competencies required to carry out maintenance in electrical equipment and systems. This includes preparing maintenance schedule, inspecting and testing electrical equipment and systems, preparing list of maintenance tools and equipments, performing maintenance activities, system testing and documenting   maintenance records.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT | PERFORMANCE CRITERIA (Bold and italicised terms are elaborated in the Range) |
| --- | --- |
| - Prepare maintenance schedule | - Type of equipment and systems to be maintained are identified - The maintenance type and scope are defined - Maintenance checklists is prepared - Manufacturers manual is referred to - Maintenance team identified as per areas of speciality - Tools to be used in maintenance are identified - Maintenance work plan is developed |
| - Inspect and test electrical equipment and system | - Equipment and System are inspected according to the established procedure - Main isolation points are identified - Components in the system are identified - Maintenance activities of schedule are identified and recorded. - Components and the entire electrical system are tested - Inspection and tests are performed as per the standard operating procedure |
| - Prepare a list of Maintenance tools | - Maintenance tools are identified as per the type of maintenance to be carried out - List of maintenance tools is prepared as per established procedure - Maintenance tools are checked for specifications and functionality as per their standard operating procedure - Maintenance tools are arranged as per their functions |
| - Perform maintenance activities | - Components and defective parts to be replaced/repaired are identified - Cleaning, oiling and tightening of components is performed - Defective components/parts are replaced/repaired as per established procedures - Replaced and repaired components are configured as per the system operation - Maintenance is done in accordance to health safety and other relevant regulations and standards - Waste materials are disposed in accordance in line with EHS regulations |
| - Conduct system tests | - Type of tests are identified - Components to be tested are identified - Replaced/repaired components are tested as per the manufacture’s manual. - System tests is performed as per the expected output and results recorded |
| - Document Maintenance records | - Document the maintenance checklist as per the standard operating procedure - Cost, current status of the system and recommendations are documented in a report - Maintenance report is filed and submitted to relevant parties |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range |
| --- | --- |
| - System may include but is not limited to: | - Security - Power generator - Domestic installations - Industrial installations - Commercial installation - Electrical machines - Automated systems - Solar system - Water heating - CCTV - Power transmission and distribution - Horticulture - IBMS |
| - Maintenance type may include but is not limited to: | - Periodic - Preventive - Breakdown - Ad-hoc |
| - Relevant parties may include but is not limited to: | - Service providers - Client/representatives - Other service providers - Security |
| - Waste material may include but is not limited to: | - Old batteries - Oil - Cable lugs - Tapes - Cable sheaths - Offcuts - Recovered faulty parts - Cable armouries |

REQUIRED KNOWLEDGE AND UNDERSTANDING

- The individual needs to demonstrate knowledge and understanding of:

- The manufacturer's warranty requirements relating to maintenance activities for the electrical systems and related components.

- The legal requirements relating to  system  maintenance

- Legislation and workplace procedures relevant to:

- Health and safety;

- The environment (including waste disposal);

- Appropriate PPE

- Appropriate bylaws

- Workplace procedures for:

- recording system maintenance work and any variations from the original specification;

- Accidents and incidents reporting

- Reporting of challenges

- The importance of documenting maintenance information.

- The importance of working  within agreed  timelines and  sharing progress reports

- The relationship between time and costs.

- The importance of reporting anticipated delays to relevant parties promptly.

- How to find, interpret and use sources of technical information for scheduled maintenance activities, including on-board diagnostic displays.

- The importance of using the correct sources of technical information.

- How the system operates.

- The operating specifications and tolerances for the different type(s) of systems

- The hazards associated with maintaining electrical Systems

- How to conduct scheduled, routine system maintenance activities using prescribed checklist

- How to record failures and faults

- Conducting system tests

FOUNDATION SKILLS

The individual needs to demonstrate the following  foundation skills:

- Communications (verbal and written);

- Proficient in ICT;

- Time management;

- Analytical

- Faults troubleshooting;

- Problem solving;

- Planning;

- Decision making;

- First aid;

- Report writing;

EVIDENCE GUIDE

This provides advice on assessment and must be in conjunction with the performance criteria, required knowledge and understanding and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Applied safety standards - Prepared maintenance schedule and checklist - Repaired faulty components on the system - Documented maintenance records - Components were cleaned before reinstallation - Identified the type of maintenance to be carried out - Prepared a list of maintenance tools to be used - Used appropriate maintenance tools and equipment safely - Safely conducted system tests - Demonstrated techniques of maintenance work |
| --- | --- |
| - Resource Implications | The following resources must be provided: - Stationery - Test equipment and tools - Communication equipment - Service manuals |
| - Methods of Assessment | Competency may be assessed through: - Oral questioning - Practical demonstration - Observation |
| - Context of Assessment | Competency may be assessed - On job - Off job - During Industrial Attachment |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

## MANAGE AN ELECTRICAL PROJECT

UNIT CODE: ENG/OS/PO/CR/09/6

UNIT DESCRIPTION

This unit covers the competencies required to manage an Electrical project. Competencies includes; preparation of work plans and policies, managing project team, managing material, tools and equipment, managing project budget, supervising and assessing project implementation, preparing project reports and commissioning.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT | PERFORMANCE CRITERIA (Bold and italicised terms are elaborated in the Range) |
| --- | --- |
| 1. Prepare work plans and policies | - Identify the scope of the work plan as per the nature of the project - Goals and objectives are established as per the nature of the project - Resources required are identified as per the nature of the project - Project logistics are established as per the its nature - Organization structure is developed as per the nature of the project - Policies are developed as per the project standard operating procedure - Time span is established as per the complexity of the project |
| - Manage Project team | - Project team is identified as per the scope and area of specialization. - Job descriptions of the team are developed as per the nature of the project - Objectives of the project are communicated to the team as per the project policies. - Project activities are delegated in line with the standard operating procedure - OSHA is adhered to as per the nature of the project - Project team is trained on project activities as per the nature of the project - EHS is adhered to in line with the complexity of the project - SWOT analysis is performed as per the nature of the project |
| - Manage materials, tools and equipment | - Tools , materials and equipment are identified as per the project activities - Auditing of tools, materials and equipment is performed as per the scope of the project - Tools, material and equipment inventory system is developed as per the nature of the project - Tools, materials and equipments are classified as per the project activities - Tools, materials and equipment are maintained in line with project policies. - EHS standards are adhered to in line work place procedures |
| - Manage project budget | - Cost control mechanism is developed as per the scope of the project - Miscellaneous activities are recorded as per the budget developed - Resource distribution is performed as per the project plan - Routine activities on budget implementation is communicated to the relevant parties as per the project policies |
| - Supervise and assess project implementation | - Monitoring of project activities as per the project work plan - Activities are delegated to team with their order of priority as per the project plan. - Quality of work is assessed as per the project standard operating procedures - Direct the team on the expected output as per the work plan - Short range action steps are planned for as per project activities |
| - Prepare project reports | - Progress reports are prepared as per the project activities - Progress reports are shared with the relevant parties - Project operation manual are documented and shared with the relevant parties |
| - Project commissioning | - Hand over document s are prepared and submitted to the relevant parties as per contract - Training of the project user is conducted as in line with the project operation manual |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range |
| --- | --- |
| - Resources may include but is not limited to: | - Finance - Personnel - Consultancy - Materials - Tools - Storage facilities - Buildings |
| - Logistics may include but is not limited to: | - Transport - Security - Communication |
| - Policies may include but is not limited to: | - Work injury benefit act - Disability policy - Gender policy |

REQUIRED KNOWLEDGE AND UNDERSTANDING

The individual needs to demonstrate knowledge and understanding of:

- The manufacturer's warranty requirements relating to project management activities

- The legal and statutory requirements relating to project management.

- workplace procedures relevant to:

- health and safety;

- the environment (including waste disposal);

- appropriate personal and protective equipment;

- Workplace procedures for:

    - Appropriate use of tools and equipment;

    - Recording project activities

    - Project quality control evaluation process

    - Reporting of technical challenges

- The importance of documenting project implementation report

- The importance of working within agreed timelines and sharing progress reports.

- The relationship between time and costs.

- The importance of reporting anticipated delays to relevant parties promptly.

- How to find, interpret and use sources of technical information for project activities

- The importance of using the correct sources of technical information.

FOUNDATION SKILLS

The individual needs to demonstrate the following foundation skills:

- Communications (verbal and written);

- Proficient in ICT;

- Time management;

- Analytical

- Faults troubleshooting;

- Problem solving;

- Planning; Decision making;

- First aid;

- Report writing;

- Project management

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required knowledge and understanding and range.

| 1. Critical Aspects of Competency | Assessment requires evidence that the candidate: - Identified the resources required in a project - Prepared a project plan - Managed the project budget as per the project scope - Wrote and shared project report - Delegated project activities to the team - Assessed project quality and documented the results - Planned for project logistics |
| --- | --- |
| - Resource Implications | The following resources must be provided: - Finance - Personnel - Consultancy - Materials - Tools Resources the same as that of workplace are advised to be applied |
| - Methods of Assessment | Competency may be assessed through: - Oral test - Observation - Practical demonstration |
| - Context of Assessment | Competency may be assessed - On Job - Off Job - During Industrial Attachment |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

## DEMONSTRATE UNDERSTANDING OF POWER GENERATION

UNIT CODE: ENG/OS/PO/CR/10/6

UNIT DESCRIPTION

This unit covers the competencies required to demonstrate understanding of power generation. Competencies includes; Identifying types of generating station, demonstrate understanding of power generating station layout, demonstrate understanding in the operation of generating station, demonstrate understanding in the operating sequence of generating station.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT | PERFORMANCE CRITERIA (Bold and italicised terms are elaborated in the Range) |
| --- | --- |
| - Identify types generating stations | - Generating stations are identified as per their source energy - Generating stations are situated as in line with their source energy |
| - Demonstrate understanding of Power generating station layout | - Layout of generating station is established as per the source energy - Layout is determined by the expected plant output - Layout of the generating station is determined by the safety involved. |
| - Demonstrate understanding in the operation of generating station | - Constituents of the generating station are determined by the type of the generating station - Operation of the constituent components in generating stations is determined by their standard operating procedure. - Energy is converted from one form to another in line with the operation of the constituent components of the plant. |
| - Demonstrate understanding in the operating sequence of generating station | - Operating sequence of the generating station is determined by the energy flow. - Operating sequence is determined by the type of generation stations - Operation sequence will be determined by the components used in the generating station |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range |
| --- | --- |
| 1.Materials may include but is not limited to: | - Insulators - Conductors - Semiconductors |
| - Diodes may include but is not limited to: | - Photo diodes - Laser - Zener diodes - Light emitting diode - Schottky diodes |
| - Transistors may include but is not limited to: | - BJTs - FETs |
| - Biasing may include but is not limited to: | - Forward bias - Reverse bias |
| - Amplifiers may include but is not limited to: | - RC coupled amplifiers - Small signal amplifiers - Power amplifiers - Tuned amplifier - Wide band amplifiers - Op-Amp amplifiers |
| - Oscillators may include but is not limited to: | - Tuned collector - RC phase shift - Colpits - Hartley - Crystal - Blocking |

REQUIRED KNOWLEDGE AND UNDERSTANDING

The individual needs to demonstrate knowledge and understanding of:

- The manufacturer's warranty requirements relating to electronic materials

- The legal and statutory requirements relating to Electronics

- workplace procedures relevant to:

- Health and safety;

- The environment (including waste disposal);

- Appropriate personal and protective equipment;

- Workplace procedures for:

    - Appropriate use of tools and equipment;

    - Electronics operations

    - Reporting of technical challenges

- The importance of documenting Electronics operations manuals

- The importance of working within agreed timelines and sharing progress reports.

- The relationship between time and costs.

- The importance of reporting anticipated delays to relevant parties promptly.

- How to find, interpret and use sources of technical information for project activities

- The importance of using the correct sources of technical information.

FOUNDATION SKILLS

The individual needs to demonstrate the following  foundation skills:

- Amplifier construction

- Communications (verbal and written);

- Proficient in ICT;

- Time management;

- Analytical

- Problem solving;

- Planning;

- Decision making;

- First aid;

- Electronics biasing

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required knowledge and understanding and range.

| 1. Critical Aspects of Competency | Assessment requires evidence that the candidate: - Identified different semiconductor material - Demonstrated understanding in biasing of semiconductor materials - Identified special semiconductor devices - Performed forward and reverse biasing of semiconductor materials - Identified different types of transistors - Classified various types of oscillators - Identified various types of opto-electronics semiconductors |
| --- | --- |
| - Resource Implications | The following resources must be provided: - Stationeries - Reference materials - Practical materials - Measuring instruments - Tools Resources the same as that of workplace are advised to be applied |
| - Methods of Assessment | Competency may be assessed through: - Oral test - Written test - Observation - Practical demonstration |
| - Context of Assessment | Competency may be assessed - On job - Off job - During Industrial Attachment |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |