TVET CURRICULUM DEVELOPMENT, ASSESSMENT AND CERTIFICATION COUNCIL (TVET CDACC)

NATIONAL OCCUPATIONAL STANDARDS

FOR

ELECTRICAL INSTALLATION OPERATOR

LEVEL 5

TVET CDACC

P.O BOX 15745-00100

NAIROBI

First published 2019

Copyright © TVET CDACC

All rights reserved. No part of these occupational standards may be reproduced, distributed, or transmitted in any form or by any means, including photocopying, recording, or other electronic or mechanical methods without the prior written permission of the TVET CDACC, except in the case of brief quotations embodied in critical reviews and certain other non-commercial uses permitted by copyright law. For permission requests, write to the Council Secretary/CEO, at the address below:

Council Secretary/CEO

TVET Curriculum Development, Assessment and Certification Council

P.O. Box 15745–00100 Nairobi, Kenya

Email: info@tvetcdacc.go.ke

# FOREWORD

The provision of quality education and training is fundamental to the Government’s overall strategy for social economic development. Quality education and training will contribute to achievement Kenya’s development blue print and sustainable development goals.

Reforms in the education sector are necessary for the achievement of Kenya Vision 2030 and meeting the provisions of the Constitution of Kenya 2010. The education sector had to be aligned to the Constitution and this resulted to the formulation of the Policy Framework for Reforming Education and Training (Sessional Paper No. 4 of 2016). A key feature of this policy is the radical change in the design and delivery of the TVET training.  This policy document requires that training in TVET be competency based, curriculum development be industry led, certification be based on demonstration of competence and mode of delivery allows for multiple entry and exit in TVET programmes.

These reforms demand that Industry takes a leading role in curriculum development to ensure the curriculum addresses its competence needs. It is against this background that these Occupational Standards were developed for the purpose of developing a competency-based curriculum for Electrical Installation Level 5. These Occupational Standards will also be the bases for assessment of an individual for competence certification.

It is my conviction that these Occupational Standards will play a great role towards development of competent human resource for the Electrical sector’s growth and sustainable development.

PRINCIPAL SECRETARY, VOCATIONAL AND TECHNICAL TRAINING MINISTRY OF EDUCATION

# PREFACE

The TVET Curriculum Development, Assessment and Certification Council (TVET CDACC), in conjunction with Electrical Engineering Sector Skills Advisory Committee (SSAC) have developed these Occupational Standards for Electrical Installation Operator level 5. These standards will be the bases for development of a competency-based curriculum for Electrical Installation Level 5. These Standards will also be the basis for assessment of an individual for competence certification.

The occupational standards are designed and organized with clear performance criteria for each element of a unit of competency. These standards also outline the required knowledge and skills as well as evidence guide.

I am grateful to the Council Members, Council Secretariat, Electrical Engineering SSAC, expert workers and all those who participated in the development of these occupational standards.

CHAIRPERSON, TVET CDACC

# ACKNOWLEDGMENT

These Occupational Standards were developed through combined effort of various stakeholders from private and public organizations. I am sincerely thankful to the management of these organizations for allowing their staff to participate in this course. I wish to acknowledge the invaluable contribution of industry players who provided inputs towards the development of these Standards.

I thank TVET Curriculum Development, Assessment and Certification Council (TVET CDACC) for providing guidance on the development of these Standards. My gratitude goes to the Electrical Engineering Sector Skills Advisory Committee (SSAC) members for their contribution to the development of these Standards.  I thank all the individuals and organizations who participated in the validation of these Standards.

I acknowledge all other institutions which in one way or another contributed to the development of these Standards.

CHAIRMAN ELECTRICAL ENGINEERING SECTOR SKILLS ADVISORY COMMITTEE

TABLE OF CONTENTS

FOREWORD	iii

PREFACE	iv

ACKNOWLEDGMENT	v

ACRONYMS	vi

BASIC UNITS OF COMPETENCY	1

DEMONSTRATE COMMUNICATION SKILLS	2

DEMONSTRATE DIGITAL LITERACY	6

DEMONSTRATE ENTREPRENEURIAL SKILLS	11

DEMONSTRATE EMPLOYABILITY SKILLS	16

DEMONSTRATE ENVIRONMENTAL LITERACY	24

DEMONSTRATE OCCUPATIONAL SAFETY AND HEALTH PRACTICES	30

COMMON UNITS OF COMPETENCY	36

APPLY ENGINEERING MATHEMATICS	37

PERFORM WORKSHOP PROCESS	41

APPLY ELECTRICAL PRINCIPLES	46

PREPARE AND INTERPRET TECHNICAL DRAWINGS	50

CORE UNITS OF COMPETENCY	54

PLAN ELECTRICAL INSTALLATION WORKS	55

PERFORM ELECTRICAL INSTALLATION	60

PERFORM TESTING OF ELECTRICAL INSTALLATION	65

MAINTAIN ELECTRICAL INSTALLATION SYSTEMS	70

PERFORM ELECTRICAL SYSTEM BREAKDOWN MAINTENANCE	75

# ACRONYMS

KEBS 			Kenya Bureau of Standards

KP			Kenya Power

NCA			National Construction Authority

OSHA			Occupational Safety and Health Act

IEE 			Institute of Electrical Engineers

WIBA			Work injury benefits Act

CCTV			Closed Circuit Tele Vision

PV			Photo Voltaic

EHS			Environment, Health and Safety

CAD			Computer Aided Design

CDACC		Curriculum Development, Assessment and Certification Council

HVAC 		Heating, Ventilation and Air Conditioning

IBMS 			Integrated Building Management System

PPE			Personal Protective Equipment

TVET			Technical and Vocational Education and Training

KEY TO UNIT CODE

ENG/OS/EI/BC/CC/CR/01/5/A

Industry or sector

Occupational Standards

Occupational area

Type of competency

Competency number

Competency level

Version control

OVERVIEW

Electrical Installation Level 5 qualification  consists of competencies that a person must achieve to enable him/her be certified as an Electrical installation Operator

Electrical Installation Operator is a person who will carry out electrical installation work using a given design and customer’s requirements. This work demands that the Operator reads and interpret electrical designs made by a designer so that he can installs the system according to the national and international standards. Moreover, the size and quantity of all materials, cables, control equipment and accessories and speciﬁcations for the items necessary to install the electrical systems will largely be determined by the project owner and electrical installation operator. Therefore, an electrical an Electrical installation Operator is a well-trained person who can carry out these responsibilities.

Thus, the units of competency comprising of Electrical Installation level 5 qualification include the following; basic, common and core competencies:

BASIC COMPETENCIES

| Unit of Learning Code | Unit of Learning Title |
| --- | --- |
| ENG/OS/EI/BC/01/5/A | Demonstrate communication skills |
| ENG/OS/EI/BC/02/5/A | Demonstrate digital literacy |
| ENG/OS/EI/BC/03/5/A | Demonstrate entrepreneurial skills |
| ENG/OS/EI/BC/04/5/A | Demonstrate employability skills |
| ENG/OS/EI/BC/05/5/A | Demonstrate environmental literacy |
| ENG/OS/EI/BC/06/5/A | Demonstrate occupational safety and health practices |

COMMON COMPETENCIES

| Unit of Learning Code | Unit of Learning Title |
| --- | --- |
| ENG/OS/EI/CC/01/5/A | Apply Engineering mathematics |
| ENG/OS/EI/CC/02/5/A | Apply Electrical principles |
| ENG/OS/EI/CC/03/5/A | Apply workshop processes |
| ENG/OS/EI/CC/04/5/A | Prepare and interpret Technical Drawing |

CORE COMPETENCIES

| Unit of Learning Code | Unit of Learning Title |
| --- | --- |
| ENG/OS/EI/CR/01/5/A | Plan Electrical Installation work |
| ENG/OS/EI/CR/02/5/A | Perform Electrical Installation |
| ENG/OS/EI/CR/03/5/A | Perform Testing of Electrical Installation |
| ENG/OS/EI/CR/04/5/A | Maintain Electrical system |
| ENG/OS/EI/CR/05/5/A | Perform Electrical system breakdown maintenance |

# BASIC UNITS OF COMPETENCY

# DEMONSTRATE COMMUNICATION SKILLS

UNIT CODE:  ENG/OS/EI/BC/01/5/A

UNIT DESCRIPTION

This unit describes the competencies required to meet communication needs of clients, contributing to the development of communication strategies, conducting interviews, facilitating group discussions and representing the organization

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements. Bold and italicized terms are elaborated in the Range |
| --- | --- |
| - Meet communication needs of clients and colleagues | - Specific communication needs of clients and colleagues are identified and met - Different approaches are used to meet communication needs of clients and colleagues - Conflict is addressed promptly and in a timely way and in a manner, which does not compromise the standing of the organization |
| - Contribute to the development of communication strategies | - Strategies for internal and external dissemination of information are developed, promoted, implemented and reviewed as required - Channels of communication are established and reviewed regularly - Coaching ineffective communication is provided - Work related network and relationship are maintained as necessary - Negotiation and conflict resolution strategies are used where required - Communication with clients and colleagues is appropriate to individual needs and organizational objectives |
| - Conduct interviews | - A range of appropriate communication strategies are employed in interview situations - Records of interviews are made and maintained in accordance with organizational procedures - Effective questioning, listening and nonverbal communication techniques are used to ensure that required message is communicated |
| - Facilitate group discussions | - Mechanisms which enhance effective group interaction is defined and implemented - Strategies which encourage all group members to participate are used routinely - Objectives and agenda for meetings and discussions are routinely set and followed - Relevant information is provided to group to facilitate outcomes - Evaluation of group communication strategies is undertaken to promote participation of all parties - Specific communication needs of individuals are identified and addressed |
| - Represent the organization | - When participating in internal or external forums, presentation is relevant, appropriately researched and presented in a manner to promote the organization - Presentation is clear and sequential and delivered within a predetermined time - Utilize appropriate media to enhance presentation - Differences in views are respected - Written communication is consistent with organizational standards - Inquiries are responded in a manner consistent with organizational standard |

RANGE

This section provides work environment and conditions to which the performance criteria apply. It allows for different work environment and situations that will affect performance.

| Variable | Range Include but not limited to: |
| --- | --- |
| Communication strategies | - Language switch - Comprehension check - Repetition - Asking confirmation - Paraphrase - Clarification request - Translation - Restructuring - Approximation - Generalization |
| Effective group interaction | - Identifying and evaluating what is occurring within an interaction in a non-judgmental way - Using active listening - Making decision about appropriate words, behavior - Putting together response which is culturally appropriate - Expressing an individual perspective - Expressing own philosophy, ideology and background and exploring impact with relevance to communication - Openness and flexibility in communication |
| Situations | - Establishing rapport - Eliciting facts and information - Facilitating resolution of issues - Developing action plans - Diffusing potentially difficult situations |

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit of competency.

Required Skills

The individual needs to demonstrate the following skills:

- Effective communication process

- Active listening

- Giving/receiving feedback

- Interpretation of information

- Role boundaries setting

- Negotiation

- Establishing empathy

- Openness and flexibility in communication

- Communication skills required to fulfill job roles as specified by the organization

Required Knowledge

The individual needs to demonstrate knowledge of:

- Communication process

- Dynamics of groups and different styles of group leadership

- Communication skills relevant to client groups

- Flexibility in communication

- Communication skills relevant to client groups

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge and range.

| - Critical aspects of Competency | Assessment requires evidence that the candidate: - Met communication needs of clients and colleagues - Contributed to the development of communication strategies - Conducted interviews - Facilitated group discussions - Represented the organization |
| --- | --- |
| - Resource Implications | The following resources should be provided: - Access to relevant workplace or appropriately simulated environment where assessment can take place - Materials relevant to the proposed activity or tasks |
| - Methods of Assessment | Competency in this unit may be assessed through: - Direct Observation/Demonstration with Oral Questioning - Written Examination |
| - Context of Assessment | Competency may be assessed individually in the actual workplace or through accredited institution |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

# DEMONSTRATE DIGITAL LITERACY

UNIT CODE: ENG/OS/EI/BC/02/5/A

UNIT DESCRIPTION

This unit covers the competencies required to effectively use digital devices such as smartphones, tablets, laptops and desktop PCs. It entails identifying and using digital devices such as smartphones, tablets, laptops and desktop computers for purposes of communication, work performance and management at the work place.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements. Bold and italicized terms are elaborated in the Range |
| --- | --- |
| - Identify appropriate computer software and hardware | - Concepts of ICT are determined in accordance with computer equipment - Classifications of computers are determined in accordance with manufacturers specification - Appropriate computer software is identified according to manufacturer’s specification - Appropriate computer hardware is identified according to manufacturer’s specification - Functions and commands of operating system are determined in accordance with manufacturer’s specification |
| - Apply security measures to data, hardware, software in automated environment | - Data security and privacy are classified in accordance with the prevailing technology - Security threats are identified, and control measures are applied in accordance with laws governing protection of ICT - Computer threats and crimes are detected. - Protection against computer crimes is undertaken in accordance with laws governing protection of ICT |
| - Apply computer software in solving tasks | - Word processing concepts are applied in resolving workplace tasks, report writing and documentation - Word processing utilities are applied in accordance with workplace procedures - Worksheet layout is prepared in accordance with work procedures - Worksheet is build and data manipulated in the worksheet in accordance with workplace procedures - Continuous data manipulated on worksheet is undertaken in accordance with work requirements - Database design and manipulation is undertaken in accordance with office procedures - Data sorting, indexing, storage, retrieval and security is provided in accordance with workplace procedures |
| - Apply internet and email in communication at workplace | - Electronic mail addresses are opened and applied in workplace communication in accordance with office policy - Office internet functions are defined and executed in accordance with office procedures - Network configuration is determined in accordance with office operations procedures - Official World Wide Web is installed and managed according to workplace procedures |
| - Apply desktop publishing in official assignments | - Desktop publishing functions and tools are identified in accordance with manufactures specifications - Desktop publishing tools are developed in accordance with work requirements - Desktop publishing tools are applied in accordance with workplace requirements - Typeset work is enhanced in accordance with workplace standards |
| - Prepare presentation packages | - Types of presentation packages are identified in accordance with office requirements - Slides are created and formulated in accordance with workplace procedures - Slides are edited and run in accordance with work procedures - Slides and handouts are printed according to work requirements |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range |
| --- | --- |
| Appropriate computer software may include but not limited to: | A collection of instructions or computer tools that enable the user to interact with a computer, its hardware, or perform tasks. |
| Appropriate computer hardware may include but not limited to: | Collection of physical parts of a computer system such as; - Computer case, monitor, keyboard, and mouse - All the parts inside the computer case, such as the hard disk drive, motherboard and video card |
| Data security and privacy may include but not limited to: | - Confidentiality of data - Cloud computing - Integrity -but-curious data surfing |
| Security and control measures may include but not limited to: | - Counter measures against cyber terrorism - Risk reduction - Cyber threat issues - Risk management - Pass wording |
| Security threats may include but not limited to: | - Cyber terrorism - Hacking |
| Word processing concepts may include but not limited to: | Using a special program to create, edit and print documents |
| Network configuration may include but not limited to: | Organizing and maintaining information on the components of a computer network |

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit of competency.

Required Skills

The individual needs to demonstrate the following skills:

- Analytical skills

- Interpretation

- Typing

- Communication

- Computing (applying fundamental operations such as addition, subtraction, division and multiplication)

- Using calculator

- Basic ICT skills

Required Knowledge

The individual needs to demonstrate knowledge of:

- Software concept

- Functions of computer software and hardware

- Data security and privacy

- Computer security threats and control measures

- Technology underlying cyber-attacks and networks

- Cyber terrorism

- Computer crimes

- Detection and protection of computer crimes

- Laws governing protection of ICT

- Word processing;

- Functions and concepts of word processing.

- Documents and tables creation and manipulations

- Mail merging

- Word processing utilities

- Spread sheets;

- Meaning, formulae, function and charts, uses and layout

- Data formulation, manipulation and application to cells

- Database;

- Database design, data manipulation, sorting, indexing, storage retrieval and security

- Desktop publishing;

- Designing and developing desktop publishing tools

- Manipulation of desktop publishing tools

- Enhancement of typeset work and printing documents

- Presentation Packages;

- Types of presentation Packages

- Creating, formulating, running, editing, printing and presenting slides and handouts

- Networking and Internet;

- Computer networking and internet.

- Electronic mail and world wide web

- Emerging trends and issues in ICT;

- Identify and integrate emerging trends and issues in ICT

- Challenges posed by emerging trends and issues

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Identified and controlled security threats - Detected and protected computer crimes - Applied word processing in office tasks - Designed, prepared work sheet and applied data to the cells in accordance to workplace procedures - Opened electronic mail for office communication as per workplace procedure - Installed internet and World Wide Web for office tasks in accordance with office procedures - Integrated emerging issues in computer ICT applications - Applied laws governing protection of ICT |
| --- | --- |
| - Resource Implications | - Tablets - Laptops - Desktop computers - Calculators - Internet - Smart phones - Operation Manuals |
| - Methods of Assessment | Competency may be assessed through: - Written Test - Demonstration - Practical assignment - Interview/Oral Questioning - Demonstration |
| - Context of Assessment | Competency may be assessed in an off and on the job setting |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

# DEMONSTRATE ENTREPRENEURIAL SKILLS

UNIT CODE : ENG/OS/EI/BC/03/5/A

UNIT DESCRIPTION

This unit covers the outcomes required to build and develop the enterprise to be more competitive within a changing business environment, specifically responding to consumer demands while maintaining product quality and accessibility, building a customer base and employee motivation.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT | PERFORMANCE CRITERIA |
| --- | --- |
| - Develop business Innovative strategies | - Business innovation strategies are determined in accordance with the organization strategies - Business innovative strategies are implemented for the purpose of business growth - Track record and normative capability profile of enterprise and similar businesses are reviewed and considered in setting strategic directions. - Strengths, weaknesses, opportunities and threats are considered when developing new ideas, approaches, goals and directions - Decisions about enterprise strategies/directions are made after careful consideration of all relevant information - Business/corporate plan is developed that sets out tactics, resource implications, timeframes, production and sales target |
| - Develop new products/ markets | - Alternative product/service offerings are canvassed and studied for feasibility - Potential and new sources/sellers of supplies and raw materials are identified and canvassed. - Target markets and buyers are identified and surveyed as to their preferences and brand loyalties. |
| - Expand customers and product lines | - Enterprise is built up and sustained through responsiveness to market demands and the regulatory environment. - Competitive advantage of existing products and services is maintained / enhanced through responsive advocacies and strategies. - Constant listening to stakeholder/client feedback is ensured to maintain loyal client base. |
| - Motivate staff/workers | - Regular dialogue is established and maintained in all levels and relevant sections of the enterprise - Flow of communications in both directions is encouraged - Helpful mechanisms and benefits are implemented - Issues/problems are proactively resolved through win-win solutions wherever practicable |
| - Expand employed capital base | - Capital employed in business is continuously reviewed as per the strategic plan - Business share holdings are reviewed in accordance with the type of business - Capital employed is expanded according to organization procedures - Types of shares are determined according to strategic plan - Shares diversification process is undertaken as per office procedures - Role of shareholders is determined and implemented in accordance organization procedures |
| - Undertake county/ regional business expansion | - Regions for expansion are continuously reviewed in accordance with strategic plan and company’s expansion plan - County business regulations are reviewed and adhered to in accordance with set procedures - Regional laws and regulations are adhered to in accordance with set procedures - County/regional business expansion is undertaken in accordance with organization’s growth/ expansion plan |

RANGE

This section provides work environment and conditions to which the performance criteria apply. It allows for different work environment and situations that will affect performance.

| Variable | Range |
| --- | --- |
| 1. Strategic directions include but not limited to: | 1.1 Business continuity and succession 1.2 Resource access security 1.3 Core competencies development 1.4 New developments e.g. technological change, new products |
| 2. Business/Corporate plan include but not limited to: | - Action steps and responsibilities of departments and individual workers - Resource requirements and budget - Tactics and strategies to achieve objectives |
| 3. Helpful mechanisms include but not limited to: | 3.1 Wage and non-wage benefits 3.2 Employee awards and recognition systems 3.3 Employee rights and welfare policies 3.4 Full-disclosure/transparency policies |

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit of competency.

Required Skills

The individual needs to demonstrate the following skills:

- Assessing a range of alternative products and strategies

- Critically analyzing information, summarizing and making sense of previous and current market trends

- Identifying changing consumer preferences and demographics

- Thinking “outside the box”

- Ensuring quality consistency

- Reducing lead time to product/service delivery

- Managing operations/ production

- Using formal problem-solving procedures, e. g., root-cause analysis, six sigmas

- Communication skills

- Applying motivational principles, e. g., positive stroking, behavior modification

- Assessing range of alternatives rather than choosing the easiest option

- Achieving ownership and credibility for the enterprise vision

- Critically analyzing information, summarizing and making sense of previous and current market trends

- Developing solutions and practical strategies which are “outside the box”

Required Knowledge

The individual needs to demonstrate knowledge of:

- Features and benefits of common operational practices, e. g., continuous improvement (kaizen), waste elimination,

- Conflict resolution

- Health, safety and environment (HSE) principles and requirements

- Public-relations strategies

- Basic cost-benefit analysis

- Basic financial management

- Business strategic planning

- Impact of change on individuals, groups and industries

- Employee assistance

- Government and regulatory processes

- Local and international market trends

- Product promotion strategies

- Mechanisms in the enterprise

- Market and feasibility studies

- Local and global supply chains Business models and strategies

- Government and regulatory processes

- Local and international business environment

- Concepts of change management

- Relevant developments in other industries

- Capital employed

- Regional/ County business expansion

- Innovation in business

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge and range.

| 1. Critical Aspects of Competency | Assessment requires evidence that the candidate: - Demonstrated ability to maintain a profitable and stable enterprise as shown by stakeholder feedback, employee testimonies and company financial statements - Demonstrated ability to conceptualize and plan a micro/small enterprise - Demonstrated ability to manage/operate a micro/small-scale business - Demonstrated basic marketing skills |
| --- | --- |
| 2. Resource Implications | The following resources should be provided: - Interview guide for entrepreneurs - Enterprise workers and third parties - Materials and location relevant to the proposed activity and tasks |
| 3. Methods of Assessment | 3.1 Case problems 3.2 Interview 3.3 Portfolio 3.4 Third part reports |
| 4. Context of Assessment | - Competency may be assessed in workplace or in a simulated workplace setting - Assessment shall be observed while tasks are being undertaken whether individually or in-group |
| 5. Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

# DEMONSTRATE EMPLOYABILITY SKILLS

UNIT CODE: ENG/OS/EI/BC/04/5/A

UNIT DESCRIPTION

This unit covers competencies required to demonstrate employability skills. It involves competencies for exuding self-awareness and dealing with everyday life challenges; demonstrating critical safe work habits and leading a workplace team; planning and organizing work activities; applying learning, creativity and innovativeness in workplace functions; pursuing professional growth and managing time effectively in the workplace.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function. | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements. Bold and italicized terms are elaborated in the Range |
| --- | --- |
| - Develop self-awareness and understanding of every day demands and challenges in the workplace | - Personal vision, mission and goals are formulated based on potential and in relation to organization objectives - Emotions are managed as per workplace requirement - Thoughts, feelings and beliefs are expressed in direct, honest and appropriate ways. - Feelings are shared with others according to personal issues for healthy relations. - Individual performance is evaluated and monitored according to the agreed targets. - Assertiveness is developed and maintained based on the requirements of the job. - Own ideas and visions that generates excitement, enthusiasm and commitment are articulated. - Accountability and responsibility for own actions are demonstrated. - Self-esteem and a positive self-image are developed and maintained. |
| - Demonstrate critical safe work habits for employees in the workplace | - Stress is managed at the workplace in accordance with workplace procedures. - Punctuality and time consciousness is demonstrated in line workplace policy. - Personal objectives are integrated with organization goals in accordance with organization’s strategic Plan. - Resources are effectively utilized in accordance with workplace policy. - Work priorities are set and met in according to workplace procedures. - Leisure time is recognized and used productively in line with organization policy. - Abstinence from drug and substance abuse is demonstrated as per workplace policy. - Awareness of HIV and AIDS is demonstrated in line with workplace requirements. - Safety consciousness is demonstrated in the workplace based on organization safety policy. - Emerging issues are dealt with in accordance with organization policy. |
| - Lead a workplace team | - Role and objectives of the team are determined in accordance workplace policy. - Team parameters and relationships are identified according to set rules and regulations. - Individual responsibilities are identified in accordance with work procedures. - Effective and appropriate forms of communication in a team are established according to office policy. - Business communication is carried out as per workplace place policy and requirements of the job. - Team activities are complemented in accordance with office procedures. - Team building activities are planned for in line with organization policy. - Conflicts are resolved between team members in line with organization rules and regulations. - Gender mainstreaming is undertaken in accordance with set regulations. - Human rights are adhered to in accordance with existing protocol. - Healthy relationships are developed and maintained for harmonious co-existence in line with workplace |
| - Plan and organize work | 4.1 Work schedules are developed for accomplishing given tasks within the set time lines and based on workplace policy. - Time is managed achieve workplace set goals and objectives. - Clear project goals and deliverables are established according to company set policies and regulations. - Resources are mobilized, allocated and utilized to meet project goals and deliverables. - Work activities are monitored and evaluated in line with organization procedures. - Situations that require decision making are identified within the work place and decision made in accordance with workplace policy. - Steps required in making effective decisions are applied within the workplace. - Problems arising in the course of working are identified and solved or reported according the workplace policies and procedures. - Values required in problem solving process are demonstrated at the work place. - Situations within the workplace that require negotiation identified and negotiations done to create win-win situations. - Negotiation techniques are developed and applied at workplace to meet clientele’s satisfaction and organizations’ objectives. |
| 5. Maintain professional growth and development in the workplace | 5.1 Personal training needs are assessed and identified in line with the requirements of the job. 5.2 Training and career opportunities are identified and availed based on job requirements. 5.3 Resources for training are mobilized and allocated based organizations skills needs. 5.4 Licensees and certifications relevant to job and career are obtained and renewed. - 5.5 Personal growth is pursued towards improving the qualifications set for the profession. - 5.6 Work priorities and commitments are managed based on requirement of the job and workplace policy. - 5.7 Recognitions are sought as proof of career advancement in line with professional requirements. |
| 6. Demonstrate learning, creativity and innovativeness in the workplace | - Time and effort is invested in learning new skills-based job requirements. - Willingness to learn in different context is demonstrated based on available learning opportunities arising in the workplace. - Learning opportunities are sought and allocated based on job requirement and in line with organization policy. - Application of learning is demonstrated in both technical and non-technical aspects based on requirements of the job. - Application of a range of basic IT skills is demonstrated based on requirements of the job. - Awareness of Occupational Health and Safety procedures are demonstrated in use of technology in the workplace. - Initiative is taken to create more effective and efficient processes and procedures in line with workplace policy. 6.7 New systems are developed and maintained in accordance with the requirements of the job. 6.8 Opportunities that are not obvious are identified and exploited in line with organization objectives. 6.9 Opportunities for performance improvement are identified proactively in area of work. 6.10 Awareness of personal role in workplace innovation is demonstrated. |

RANGE

This section provides work environment and conditions to which the performance criteria apply. It allows for different work environment and situations that will affect performance.

| Variable | Range |
| --- | --- |
| Drug and substance abuse includes but not limited to: | Commonly abused - Alcohol - Tobacco - Miraa - Over-the-counter drugs - Cocaine - Bhang - Glue |
| Feedback includes but not limited to: | - Verbal - Written - Informal - Formal |
| Clients includes but not limited to: | - New clients - Existing clients - Internal clients - External clients |
| Relationships includes but not limited to: | - Man/Woman - Trainer/trainee - Employee/employer - Client/service provider - Husband/wife - Boy/girl - Parent/child - Sibling relationships |
| Communication methods include but not limited to: | - Written - Talk/presentation - Video - Audio - Graphical - Modeling |
| Team includes but not limited to: | - Small work group - Staff in a section/department - Inter-agency group |
| Personal growth includes but not limited to: | - Growth in the job - Career mobility - Gains and exposure the job gives - Net workings - Benefits that accrue to the individual as a result of noteworthy performance. |
| Personal objectives includes but not limited to: | - Long term - Short term - Broad - Specific |
| Trainings and career opportunities includes but not limited to | - Participation in training programs - Technical - Supervisory - Managerial - Continuing Education - Serving as Resource Persons in conferences and workshops |
| Resource include but not limited to: | - Human - Financial - Technology - Hardware - Software |
| Innovation include but not limited to: | - New ideas - Original ideas - Different ideas - Methods/procedures - Processes - New tools |
| Emerging issues include but not limited to: | - Terrorism - Social media - National cohesion - Open offices |

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit of competency.

Required Skills

The individual needs to demonstrate the following skills:

- Personal hygiene practices

- Intra and Interpersonal skills

- Communication skills

- Knowledge management

- Interpersonal skills

- Critical thinking skills

- Observation skills

- Organizing skills

- Negotiation skills

- Monitoring skills

- Evaluation skills

- Record keeping skills

- Problem solving skills

- Decision Making skills

- Resource utilization skills

- Resource mobilization skills

Required Knowledge

The individual needs to demonstrate knowledge of:

- Work values and ethics

- Company policies

- Company operations, procedures and standards

- Occupational Health and safety procedures

- Fundamental rights at work

- Personal hygiene practices

- Workplace communication

- Concept  of time

- Time management

- Decision making

- Types of resources

- Work planning

- Resources and allocating resources

- Organizing work

- Monitoring and evaluation

- Record keeping

- Workplace problems and how to deal with them

- Negotiation

- Assertiveness

- Team work

- Gender mainstreaming

- HIV and AIDS

- Drug and substance abuse

- Leadership

- Safe work habits

- Professional growth and development

- Technology in the workplace

- Learning

- Creativity

- Innovation

- Emerging issues

  - Social media

  - Terrorism

  - National cohesion

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge and range.

| - Critical aspects of Competency | Assessment requires evidence that the candidate: - Attained job targets within key result areas. - Maintained intra- and inter-personal relationship in the course of managing oneself. - Completed trainings and career progression opportunities in time. - Was punctual and time conscious. - Acquired and maintained licenses and/or certifications required for the job. - Planned and organized resources to achieve organization goals and objectives. - Monitored and evaluated work activities. - Identified, analyzed and solved problem arising in the course of working. - Was conscious of health and safety while carrying out work functions. - Maintained a mentorship and coaching program for employees. - Innovatively made work processes and procedures more efficient. - Mainstreamed gender issues in the workplace. - Build a strong team of workers in the workplace. - Sought and allocated learning opportunities and resources in the workplace. - Demonstrated awareness of HIV and AIDS. - Abstained from drug and substance abuse. - Demonstrated ability to cope with emerging issues. |
| --- | --- |
| - Resource Implications | The following resources should be provided:. - Workplace or assessment location - Case studies/scenarios |
| - Methods of Assessment | Competency in this unit may be assessed through: - Oral Interview - Observation - Third Party Reports - Written tests |
| - Context of Assessment | - Competency may be assessed in workplace or in a simulated workplace setting - Assessment shall be observed while tasks are being undertaken whether individually or in-group |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

# DEMONSTRATE ENVIRONMENTAL LITERACY

UNIT CODE: ENG/OS/EI/BC/05/5/A

UNIT DESCRIPTION

This unit specifies the competencies required to follow procedures for environmental hazard control, follow procedures for environmental pollution control, comply with workplace sustainable resource use, evaluate current practices in relation to resource usage, develop and adhere to environmental protection principles/strategies/guidelines.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function. | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements. Bold and italicized terms are elaborated in the Range |
| --- | --- |
| - Control environmental hazard | - Storage methods for environmentally hazardous materials are strictly followed according to environmental regulations and OSHS. - Disposal methods of hazardous wastes are followed always according to environmental regulations and OSHS. - PPE is used according to OSHS. |
| - Control environmental Pollution control | - Environmental pollution control measures are compiled following standard protocol. - Procedures for solid waste management are observed according to Environmental Management and Coordination Act 1999 - Methods for minimizing noise pollution complied following environmental regulations. |
| - Demonstrate sustainable resource use | - Methods for minimizing wastage are complied with. - Waste management procedures are employed following principles of 3Rs (Reduce, Reuse, Recycle) - Methods for economizing or reducing resource consumption are practiced. |
| - Evaluate current practices in relation to resource usage | - Information on resource efficiency systems and procedures are collected and provided to the work group where appropriate. - Current resource usage is measured and recorded by members of the work group. - Current purchasing strategies are analyzed and recorded according to industry procedures. - Current work processes to access information and data is analyzed following enterprise protocol. |
| - Identify Environmental legislations/conventions for environmental concerns | - Environmental legislations/conventions and local ordinances are identified according to the different environmental aspects/impact - Industrial standard/environmental practices are described according to the different environmental concerns |
| - Implement specific environmental programs | - Programs/Activities are identified according to organizations policies and guidelines. - Individual roles/responsibilities are determined and performed based on the activities identified. - Problems/constraints encountered are resolved in accordance with organizations’ policies and guidelines - Stakeholders are consulted based on company guidelines |
| - Monitor activities on Environmental protection/Programs | - Activities are periodically monitored and evaluated according to the objectives of the environmental Program - Feedback from stakeholders are gathered and considered in proposing enhancements to the program based on consultations - Data gathered are analyzed based on evaluation requirements - Recommendations are submitted based on the findings - Management support systems are set/established to sustain and enhance the program - Environmental incidents are monitored and reported to concerned/proper authorities |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range |
| --- | --- |
| - PPE may include but are not limited to: | 1.1 Mask 1.2 Gloves 1.3 Goggles 1.4 Safety hat 1.5 Overall - Hearing protector - Safety boots |
| - Environmental pollution control measures may include but are not limited to: | - Methods for minimizing or stopping spread and ingestion of airborne particles - Methods for minimizing or stopping spread and ingestion of gases and fumes - Methods for minimizing or stopping spread and ingestion of liquid wastes |
| - Waste management procedures may include but are not limited to: | 3.1 Sorting 3.2 Storing of items 3.2 Recycling of items 3.3 Disposal of items |
| - Resources may include but are not limited to: | 4.1 Electric 4.2 Water 4.3 Fuel 4.3 Telecommunications - Supplies 4.5 Materials |
| - Workplace environmental hazards may include but are not limited to: | 5.1Biological hazards 5.2 Chemical and dust hazards 5.3 Physical hazards |
| - Organizational systems and procedures may include but are not limited to: | 6.1 Supply chain, procurement and purchasing 6.2 Quality assurance 6.3 Making recommendations and seeking approvals |

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Controlled environmental hazard - Controlled environmental pollution - Demonstrated sustainable resource use - Evaluated current practices in relation to resource usage - Demonstrated knowledge of environmental legislations and local ordinances according to the different environmental issues /concerns. - Described industrial standard environmental practices according to the different environmental issues/concerns. - Resolved problems/ constraints encountered based on management standard procedures - Implemented and monitored environmental practices on a periodic basis as per company guidelines - Recommended solutions for the improvement of the Program - Monitored and reported to proper authorities any environmental incidents |
| --- | --- |
| - Resource Implications | - The following resources should be provided: - Workplace with storage facilities - Tools, materials and equipment relevant to the tasks (ex. Cleaning tools, cleaning materials, trash bags, etc.) - PPE - Manuals and references - Legislation, policies, procedures, protocols and local ordinances relating to environmental protection - Case studies/scenarios relating to environmental Protection |
| - Methods of Assessment | Competency in this unit may be assessed through: - Demonstration - Oral questioning - Written examination - Interview/Third Party Reports - Portfolio (citations/awards from GOs and NGOs, certificate of training – local and abroad) - Simulations and role-plays |
| - Context of Assessment | Competency may be assessed on the job, off the job or a combination of these. Off the job assessment must be undertaken in a closely simulated workplace environment. |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit of competency.

Required Skills

The individual needs to demonstrate the following skills:

- Following storage methods of environmentally hazardous materials

- Following disposal methods of hazardous wastes

- Using PPE

- Practicing OSHS

- Complying environmental pollution control

- Observing solid waste management

- Complying methods of minimizing noise Pollution

- Complying methods of minimizing wastage

- Employing waste management procedures

- Economizing resource consumption

- Listing of resources used

- Measuring current usage of resources

- Identifying and reporting workplace environmental hazards

- Conveying all environmental issues

- Following environmental regulations

- Identifying environmental regulations

- Assessing procedures for assessing compliance

- Collecting information on environmental and resource efficiency systems and procedures, and Providing information to the work group

- Measuring and recording current resource usage

- Analysing and recording current purchasing strategies.

- Analysing current work processes to access information and data and Assisting identifying areas for improvement

- Analysing resource flow

- Determining efficiency of use/conversion of resources

- Determining causes of low efficiency of use

- Developing plans for increasing the efficiency of resource use

- Checking resource use plans

- Complying to regulations/licensing requirements

- Determining benefit/cost of plans

- Ranking proposals based on benefit/cost compared to limited resources

- Checking proposals meet regulatory requirements

- Monitoring implementation

- Adjusting plan and implementation

- checking new resource usage

Required Knowledge

The individual needs to demonstrate knowledge of:

- Storage methods of environmentally hazardous materials

- Disposal methods of hazardous wastes

- Usage of PPE Environmental regulations

- OSHS

- Types of pollution

- Environmental pollution control measures

- Different solid wastes

- Solid waste management

- Different noise pollution

- Methods of minimizing noise pollution

- Solid Waste Act

- Methods of minimizing wastage

- Waste management procedures

- Economizing of resource consumption

- 3Rs principle

- Types of resources

- Techniques in measuring current usage of resources

- Calculating current usage of resources

- Types of workplace environmental hazards

- Environmental regulations

- Environmental regulations applying to the enterprise.

- Procedures for assessing compliance with environmental regulations.

- Collection of information on environmental and resource efficiency systems and procedures,

- Measurement and recording of current resource usage

- Analysis and recording of current purchasing strategies.

- Analysis current work processes to access information and data Analysis of data and information

- Identification of areas for improvement

- Resource consuming processes

- Determination of quantity and nature of resource consumed

- Analysis of resource flow of different parts of the resource flow process

- Use/conversion of resources

- Causes of low efficiency of use

- Increasing the efficiency of resource use

- Inspection of resource use plans

- Regulations/licensing requirements

- Determine benefit/cost for alternative resource sources

- Benefit/costs for different alternatives

- Components of proposals

- Criteria on ranking proposals

- Regulatory requirements

- Proposals for improving resource efficiency

- Implementation of resource efficiency plans

- Procedures in monitor implementation

- Adjustments of implementation plan

- Inspection of new resource usage

# DEMONSTRATE OCCUPATIONAL SAFETY AND HEALTH PRACTICES

UNIT CODE: ENG/OS/EI/BC/06/5/A

UNIT DESCRIPTION

This unit specifies the competencies required to lead the implementation of workplace’s safety and health program, procedures and policies/guidelines.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function. | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements. Bold and italicized terms are elaborated in the Range |
| --- | --- |
| - Identify workplace hazards and risk | 1.1 Hazards in the workplace and/or its indicators of its presence, are identified 1.2 Evaluation and/or work environment measurements of OSH hazards/risk existing in the workplace is conducted by Authorized personnel or agency 1.3 OSH issues and/or concerns raised by workers are Gathered |
| - Identify and implement appropriate control measures | 2.1 Prevention and control measures, including use of safety gears / PPE (personal protective equipment) for specific hazards identified and implemented 2.2 Appropriate risk controls based on result of OSH hazard evaluation is recommended. 2.3 Contingency measures, including emergency procedures during workplace incidents and emergencies are recognized and established in accordance with organization procedures. |
| - Implement OSH programs, procedures and policies/ guidelines | 3.1 Information to work team about company OSH program, procedures and policies/guidelines are provided 3.2 Implementation of OSH procedures and policies/ guidelines are participated 3.3 Team members are trained and advised on OSH standards and procedures 3.4 Procedures for maintaining OSH-related records are implemented |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range |
| --- | --- |
| - Hazards may include but are not limited to: | 1.1. Physical hazards – impact, illumination, pressure, noise, vibration, extreme temperature, radiation 1.2 Biological hazards- bacteria, viruses, plants, parasites, mites, molds, fungi, insects 1.3 Chemical hazards – dusts, fibers, mists, fumes, smoke, gasses, vapors 1.4 Ergonomics Psychological factors – over exertion/ excessive force, awkward/static positions, fatigue, direct pressure, varying metabolic cycles Physiological factors – monotony, personal relationship, work out cycle 1.6 Safety hazards (unsafe workplace condition) – confined space, excavations, falling objects, gas leaks, electrical, poor storage of materials and waste, spillage, waste and debris 1.7 Unsafe workers’ act (Smoking in off-limited areas, Substance and alcohol abuse at work) |
| - Indicators may include but are not limited to: | 2.1 Increased of incidents of accidents, injuries 2.2 Increased occurrence of sickness or health complaints/ symptoms 2.3 Common complaints of workers related to OSH 2.4 High absenteeism for work-related reasons |
| - Evaluation and/or work environment measurements may include but are not limited to: | 3.1 Health Audit 3.2 Safety Audit 3.3 Work Safety and Health Evaluation 3.4 Work Environment Measurements of Physical and Chemical Hazards |
| - OSH issues and/or concerns may include but are not limited to: | 4.1 Workers’ experience/observance on presence of work hazards 4.2 Unsafe/unhealthy administrative arrangements (prolonged work hours, no break time, constant overtime, scheduling of tasks) 4.3 Reasons for compliance/non-compliance to use of PPEs or other OSH procedures/policies/guidelines |
| - Prevention and control measures may include but are not limited to: | 5.1 Eliminate the hazard (i.e., get rid of the dangerous machine 5.2 Isolate the hazard (i.e. keep the machine in a closed room and operate it remotely; barricade an unsafe area off) 5.3 Substitute the hazard with a safer alternative (i.e., replace the machine with a safer one) 5.4 Use administrative controls to reduce the risk (i.e. give trainings on how to use equipment safely; OSH-related topics, issue warning signages, rotation/shifting work schedule) 5.5 Use engineering controls to reduce the risk (i.e. use safety guards to machine) 5.6 Use personal protective equipment 5.7 Safety, Health and Work Environment Evaluation 5.8 Periodic and/or special medical examinations of workers |
| - Safety gears /PPE (Personal Protective Equipment’s) may include but are not limited to: | 6.1 Arm/Hand guard, gloves 6.2 Eye protection (goggles, shield) 6.3 Hearing protection (ear muffs, ear plugs) 6.4 Hair Net/cap/bonnet 6.5 Hard hat 6.6 Face protection (mask, shield) 6.7 Apron/Gown/coverall/jump suit 6.8 Anti-static suits - High-visibility reflective vest |
| - Appropriate risk controls | Appropriate risk controls in order of impact are as follows: 7.1 Eliminate the hazard altogether (i.e., get rid of the dangerous machine) 7.2 Isolate the hazard from anyone who could be harmed (i.e., keep the machine in a closed room and operate it remotely; barricade an unsafe area off) 7.3 Substitute the hazard with a safer alternative (i.e., replace the machine with a safer one) 7.4 Use administrative controls to reduce the risk (i.e., train workers how to use equipment safely; train workers about the risks of harassment; issue signage) 7.5 Use engineering controls to reduce the risk (i.e., attach guards to the machine to protect users) 7.6 Use personal protective equipment (i.e., wear gloves and goggles when using the machine) |
| - Contingency measures may include but are not limited to: | 8.1 Evacuation 8.2 Isolation 8.3 Decontamination 8.4 (Calling designed) emergency personnel |
| - Emergency procedures may include but are not limited to: | 9.1 Fire drill 9.2 Earthquake drill 9.3 Basic life support/CPR 9.4 First aid 9.5 Spillage control 9.6 Decontamination of chemical and toxic 9.7 Disaster preparedness/management 9.8 se of fire-extinguisher |
| - Incidents and emergencies may include but are not limited to: | 10.1 Chemical spills 10.2 Equipment/vehicle accidents 10.3 Explosion 10.4 Fire 10.5 Gas leak 10.6 Injury to personnel 10.7 Structural collapse 10.8 Toxic and/or flammable vapors emission. |
| - OSH-related Records may include but are not limited to: | 11.1 Medical/Health records 11.2 Incident/accident reports 11.3 Sickness notifications/sick leave application 11.4 OSH-related trainings obtained |

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit of competency.

Required Skills

The individual needs to demonstrate the following skills:

- Skills on preliminary identification of workplace hazards/risks

- Knowledge management

- Critical thinking skills

- Observation skills

- Coordinating skills

- Communication skills

- Interpersonal skills

- Troubleshooting skills

- Presentation skills

- Training skills

Required Knowledge

The individual needs to demonstrate knowledge of:

- General OSH Principles

- Occupational hazards/risks recognition

- OSH organizations providing services on OSH evaluation and/or work environment measurements (WEM)

- National OSH regulations; company OSH policies and protocols

- Systematic gathering of OSH issues and concerns

- General OSH principles

- National OSH regulations

- Company OSH and recording protocols, procedures and policies/guidelines

- Training and/or counselling methodologies and strategies

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Identifies hazards/risks in the workplace and/or its indicators - Requests for evaluation and/or work environment measurements of OSH hazards/risk in the workplace - Gathers OSH issues and/or concerns raised by workers - Identifies and implements prevention and control measures, including use of PPE (personal protective equipment) for specific hazards - Recommends appropriate risk controls based on result of OSH hazard evaluation and OSH issues gathered - Establish contingency measures, including emergency procedures in accordance with organization procedures - Provides information to work team about company OSH program, procedures and policies/guidelines - Participates in the implementation of OSH procedures and policies/guidelines - Trains and advises team members on OSH standards and procedures - Implements procedures for maintaining OSH-related records |
| --- | --- |
| - Resource Implications | - The following resources should be provided: - 2.1 Workplace or assessment location - 2.2 OSH personal records - 2.3 PPE - 2.4 Health records |
| - Methods of Assessment | Competency may be assessed through: 3.1 Portfolio Assessment 3.2 Interview 3.3 Case Study/Situation 3.4 Observation/Demonstration and oral questioning |
| - Context of Assessment | Competency may be assessed on the job, off the job or a combination of these. Off the job assessment must be undertaken in a closely simulated workplace environment. |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

# COMMON UNITS OF COMPETENCY

# APPLY ENGINEERING MATHEMATICS

UNIT CODE:	ENG/OS/EI/CC/01/5/A

UNIT DESCRIPTION:

This unit describes the competencies required by a technician in order to apply algebra, carry out binomial expansion, apply coordinate geometry, trigonometric functions, carry out mensuration, apply statistics, matrix methods, vectors and calculus.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function. | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements. Bold and italicized terms are elaborated in the Range. |
| --- | --- |
| - Apply Algebra | - Calculations involving Indices are performed as per the concept - Calculations involving Logarithms are performed as per the concept - Scientific calculator is used in solving mathematical problems in line with manufacturer’s manual - Simultaneous equations are performed as per the rules - Quadratic equations are calculated as per the concept |
| - Carry out Binomial Expansion | - Roots of numbers are determined using binomial theorem - Errors of small changes are determined using binomial theorem |
| - Apply Coordinate Geometry | - Polar equations are calculated using coordinate geometry - Graphs of given polar equations are drawn using the Cartesian plane - Normal and tangents are determined using coordinate geometry |
| - Apply Trigonometry hyperbolic functions | - Calculations are performed using trigonometric rules - Calculations are performed using hyperbolic functions |
| - Carry out Mensuration | - Perimeter and areas of figures are obtained - Volume and of Surface area of solids are obtained - Area of irregular figures are obtained - Areas and volumes are obtained using Pappus theorem |
| - Apply Statistics | - Mean, median, mode and Standard deviation are obtained from given data - Sampling methods are applied in data collection - Calculations involving use of standard normal table, sampling distribution, T-distribution and Estimation are done - Confidence intervals are determined |
| - Apply Matrix | - Determinant and inverse of 2x2 matrix are obtained - Solutions of simultaneous equations are obtained - Calculation involving Eigen values and Eigen vectors are performed |
| - Apply Vector | - Vectors and scalar quantities are obtained in two dimensions - Operations on vectors are performed - Position of vectors is obtained - Resolution of vectors is done - Gradient, Divergence and curl are determined - Dot and cross products are determined |
| - Apply Calculus | - Derivatives of functions are determined using Differentiation - Derivatives of hyperbolic functions are determined using Differentiation - Derivatives of inverse trigonometric functions are determined using Differentiation - Rate of change and small change are determined using Differentiation. - Calculation involving stationery points of functions of two variables are performed using differentiation. - Integrals of algebraic functions are determined using integration - Integrals of trigonometric functions are determined using integration - Integrals of logarithmic functions are determined using integration |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range May include but not limited to: |
| --- | --- |
| - Operations | - Addition - Subtraction |
| - Hyperbolic functions | - Sinh x - Cosh x - Cosec x - Coth x - Tanh x - Sech x |
| - Probability Distributions | - Binomial - Poisson - Normal |
| - Numerical Methods | - Newton Raphson - Gregory Newton |

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit of competency.

Required Skills

The individual needs to demonstrate the following skills:

- Applying fundamental operations (addition, subtraction, division, multiplication)

- Using and applying mathematical formulas

- Logical thinking

- Problem solving

- Applying statistics

- Drawing graphs

- Using different measuring tools

Required knowledge

The individual needs to demonstrate knowledge of:

- Fundamental operations (addition, subtraction, division, multiplication)

- Calculating area and volume

- Types and purpose of measuring instruments

- Units of measurement and abbreviations

- Rounding techniques

- Types of fractions

- Types of tables and graphs

- Presentation of data in tables and graphs

- Vector operations

- Matrix operations

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge and range.

| - Critical aspects of Competency | Assessment requires evidence that the candidate: - Applied Trigonometry functions - Applied complex algebraic equations - Applied Calculus - Carried out mensuration - Applied Vector theory - Applied Matrix |
| --- | --- |
| - Resource Implications | The following resources should be provided: - Access to relevant workplace or appropriately simulated environment where assessment can take place - Measuring equipment - Materials relevant to the proposed activity or tasks |
| - Methods of Assessment | Competency in this unit may be assessed through: - Observation - Oral questioning - Written test - Portfolio of Evidence - Interview - Third party report |
| - Context of Assessment | Competency may be assessed individually in the actual workplace or through accredited institution |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

# PERFORM WORKSHOP PROCESS

UNIT CODE: ENG/OS/EI/CC/02/5/A

UNIT DESCRIPTION

This unit covers the competencies required to perform workshop process. Competencies include applying workshop Safety, use of workshop tools, instruments and equipments, preparation of workshop materials, preparation of workshop for Electrical installation practicals, Storage of Electrical tools and materials after practicals, troubleshoot and repair/replace workshop tools and equipment.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements. (Bold and italicised terms are elaborated in the Range) |
| --- | --- |
| 1. Apply workshop safety | - Proper use of PPE is adhered to as per standard operating procedure - Workshop rules are followed as per standard operating procedure - Proper use of safety equipments are followed as per the manufacturer’s recommendations - First Aid procedures are adhered to |
| - Use workshop tools, Instruments and equipments | - Workshop tools, Instruments and equipments are Identified - Tools, Instruments and equipments are used as per the manufacture’s manuals - Calibration of workshop instruments are performed as per the standard operating procedure - Proper handling of workshop tools, Instruments and equipments should be followed - Care and Maintenance of workshop tools, Instruments and equipments should be adhered too |
| - Prepare workshop tools and instruments for an Electrical installation practical. | - List of required tools and instruments is prepared - Issuing of required tools and instruments is performed - Confirmation of the issued tools and instruments is performed - Functioning of the issued tools and instruments is checked in line with the standard operating procedure - Sharpening of the cutting tools is performed |
| - Prepare workshop for an Electrical practical | - Practical working section is arranged as per the number of practicals to be carried out. - Power supply availability in every practical section is confirmed as per the practical to be carried out - Tools and materials required are supplied as per the practical to be carried out. |
| - Store Electrical tools and materials after practicals | - Tools are checked against the issuing list after practicals - Tools are stored out as per their standard operating procedure - Tools are cleaned as per the workshop standard operating procedure - Waste materials are disposed as per the EHS - Tools are stored in their respective sections as per the workshop procedures |
| - Troubleshoot and repair/replace workshop tools and equipment | - Faulty tools are identified as per their expected functioning - Faulty component are diagnosed in line with the fault diagnosis procedures - Repair/Replace faulty components as per the expected functioning - Repaired/Replaced tool are tested as per the expected functioning. |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range May include but is not limited to: |
| --- | --- |
| - Workshop tools | - Pliers - Hacksaws - Hammer - Spirit levels - Phase Tester - Side cutters |
| - Manual | - Operational - Installation - Commissioning - Technical specification /data sheet |
| - Parameters | - Light intensity - Sound - Speed - Efficiency - Temperature - Electrical quantities e.g. Voltage, current and resistance levels - Expected output |

REQUIRED KNOWLEDGE AND UNDERSTANDING

The individual needs to demonstrate knowledge and understanding of:

| 1. Organisational and legislative requirements including: |  |
| --- | --- |
| 1.1 | The manufacturer's manual about the operation of various workshop tools and instruments |
| 1.2 | The legal and statutory requirements relating to electrical Workshop operation activities. |
| 1.3 | workplace procedures relevant to: 1.3.1 health and safety; 1.3.2 the environment (including waste disposal); 1.3.3 appropriate personal and protective equipment; 1.3.4. appropriate use of service manuals |
| 1.4 | Workplace procedures for: - Fault identification and diagnosis - Appropriate use of tools and equipment; - Repairing, modifying or replacing defective parts or components. - Reporting of technical challenges |
| 1.5 | The importance of documenting workshop practical activities and information. |
| 1.6 | The importance of working within agreed timelines and sharing progress reports. |
| 1.8 | The importance of reporting anticipated delays to relevant parties promptly. |
| 2. The use of technical information including: |  |
| 2.1 | How to find, interpret and use sources of technical information for workshop practical activities |
| 2.2 | The importance of using the correct sources of technical information. |
| 2.3 | The purpose of and how to use identification codes. |

FOUNDATION SKILLS

| The individual needs to demonstrate the following foundation skills: |  |
| --- | --- |
| - Communications (verbal and written); - Proficient in ICT; - Time management; - Analytical - Faults troubleshooting; - Problem solving; - Planning; | - Decision making; - First aid; - Report writing; |

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required knowledge and understanding and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Adhered to the proper use of PPE - Observed the workshop rules - Performed the First Aid procedures in the workshop - Observed workshop procedures in the storage of tools - Safely used testing equipment and tools - Observed EHS in the waste disposal - Properly demonstrated care and maintenance of workshop tools - Obtained, recorded and interpreted test results - Identified faulty tools and instruments - Repaired/Replaced faulty tools |
| --- | --- |
| - Resource Implications | The following resources must be provided: - Electrical installation tool kit - Testing equipment - Measuring equipment - First Aid kit Resources the same as that of workplace are advised to be applied |
| - Methods of Assessment | Competency may be assessed through: - Observation - Oral questioning - Written test - Portfolio of Evidence - Interview - Third party report |
| - Context of Assessment | Competency may be assessed individually in the actual workplace or through a simulated work place setting |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

# APPLY ELECTRICAL PRINCIPLES

UNIT CODE:	ENG/OS/EI/CC/03/5/A

UNIT DESCRIPTION

This unit describes the competencies required by a technician in order to apply a wide range of Electrical principles in their work: Competencies include; use the concept of basic Electrical quantities, concepts of D.C and A.C circuits in electrical installation, use of basic electrical machine, use of power factor in electrical installation, use of earthing in Electrical installations, apply Electrostatics, magnetism and Electromagnetism and finally transient in electrical analysis

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function. | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements. Bold and italicized terms are elaborated in the Range. |
| --- | --- |
| - Use the concept of basic Electrical quantities | - Basic SI units in Electrical are identified - Quantities of Charge, force, work and power are identified - Perform calculations involving Ohm’s law i.e Current, Resistance and voltage - Calculations involving various electrical quantities are performed |
| - Use the concepts of D.C and A.C circuits in electrical installation | - Calculations involving parallel and series circuits are performed - Calculations involving DC and AC Network theorems are performed. E.g. Kirchoff’s laws, Superposition, Thevinin’s, Norton’s |
| - Use of basic electrical machine | - Types of various single-phase electrical machines are identified - Calculations involving single phase and AC and DC Motors are performed - Calculations involving single AC and DC transformers are performed - Calculations involving single phase generators are performed |
| - Use of power factor in electrical installation | - Power triangle is identified i.e. Active, Apparent and reactive power - The use of power factor is performed - Calculations involving power factor correction is performed - Methods of power factor correction are applied |
| - Use of earthing in Electrical installations | - Earthing types are identified - Earthing points on Electrical installation are identified - Calculation involved in determining the earthing type is performed - Test on an earthing system is performed in line with the IEE regulations |
| - Apply Electrostatics | - Sources of Electrostatic fields are identified - Types of capacitors are identified - Concept of charge and electrostatic field is established - Dielectric field are determined - Calculations related to electrostatics are performed |
| - Apply Magnetism and Electromagnetism | - Sources of Magnetic field are determined - Concept of Electromagnetic induction is established - Electromagnetic Laws are identified - Losses in Electromagnetism identified - Leakage and flux fringing are determined - Rules of magnetic fields are identified |
| - Apply transients in Electrical Circuit Analysis | - Growth and decay in R-L-C circuits are determined - Calculations involving Growth and decay in R-L-C are performed |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance.

| Variable | Range May include but not limited to: |
| --- | --- |
| - SI unit | - Power – Watts (W) - Current – Amperes (A) - Resistance – Ohms(Ω) - Voltage – Volts (V) |
| - Quantities | - Charge - Force - Work - Power |

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit of competency.

Required Skills

The individual needs to demonstrate the following skills:

- Apply basic Electrical formulas

- Use of basic Electrical instruments

- Perform various unit conversions of Electrical quantities

- Electrical earthing

- Lightening arrestors

- Power factor correction

- logical thinking

- problem solving

- applying statistics

- drawing graphs

- Using different measuring tools

Required knowledge

The individual needs to demonstrate knowledge of:

- Electrical power calculations

- Various laws in Electrical engineering

- Electrical formulas

- Power triangle

- SI units of various electrical parameters

- Earthing testing

- Lightening arrestor testing

- Selecting the correct type of electrical machines for various uses

- Types and purpose of measuring instruments

- Units of measurement and abbreviations

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge and range.

| - Critical aspects of Competency | Assessment requires evidence that the candidate: - Applied the correct SI units of Electrical quantities - Stated, Calculate and relates the quantities in Ohm’s law - Identified the components of an earthing system - Stated and apply various laws in Electrical system - Differentiated between AC and DC network - Applied correct formulas in the calculation of AC and DC machines - Used power triangle in calculating power factor - Applied various methods in power factor correction - Identified types of lightening arrestors and their applications |
| --- | --- |
| - Resource Implications | The following resources should be provided: - Access to relevant workplace or appropriately simulated environment where assessment can take place - Measuring equipment - Materials relevant to the proposed activity or tasks |
| - Methods of Assessment | Competency in this unit may be assessed through: - Observation - Oral questioning - Written test - Portfolio of Evidence - Interview - Third party report |
| - Context of Assessment | Competency may be assessed individually in the actual workplace or through accredited institution |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

# PREPARE AND INTERPRET TECHNICAL DRAWINGS

UNIT CODE: ENG/OS/EI/CC/03/5/A

UNIT DESCRIPTION

This unit covers the competencies required to prepare and interpret technical drawings. It involves competencies to select, use and maintain drawing equipment and materials. It also involves producing plain geometry drawings, solid geometry drawings, orthographic drawings and Electrical drawings

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function. | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements (Bold and italicised terms are elaborated in the Range) |
| --- | --- |
| - Use and maintain drawing equipment and materials | 1.1 Drawing equipment are identified and gathered according to task requirements 1.2 Drawing materials are identified and gathered according to task requirements 1.3 Drawing equipment are used and maintained as per manufacturer’s instructions 1.4 Drawing materials are used as per workplace procedures 1.5 Waste materials are disposed in accordance with workplace procedures and environmental legislations 1.6 Personal Protective Equipment is used according to occupational safety and health regulations |
| - Produce plane geometry drawings | - Different types of lines used in drawing and their meanings are identified according to standard drawing conventions - Different types of geometric forms are constructed according to standard conventions - Different types of angles are constructed according to principles of trigonometry - Different types of angles are measured using appropriate measuring tools - Angles are bisected according to standard conventions - Freehand sketching of different types of geometric forms, tools, equipment, diagrams is conducted |
| - Produce solid geometry drawings | - Drawings of patterns are interpreted according to standard conventions - Patterns are developed in accordance with standard conventions |
| - Produce orthographic drawings | - Symbols and abbreviations are identified and their meaning interpreted according to standard drawing conventions - First and third angle orthographic drawings are interpreted and produced in accordance with the standard conventions - Orthographic elevations are dimensioned in accordance with standard conventions - Isometric drawings are interpreted and produced in accordance with standard conventions - Assembly drawing is produced and interpreted in line with the operating standards |
| 5. Produce electrical drawings | - Electrical symbols and abbreviations are identified and their meaning interpreted according to BS 3939 - Electrical drawings are produced in accordance with BS 3939 |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance

| Variable | Range May include but is not limited to: |
| --- | --- |
| - Drawing equipment | Drawing boards, T and set squares, drawing sets |
| - Drawing materials | Drawing papers, pencils, erasers, masking tapes, paper clips |
| - Environmental legislations | EMCA 1999 |
| - Personal Protective Equipment | Dust coats, closed leather shoes |
| - Geometric forms | Circles, triangles, rectangles, parallelogram, polygons, pyramids, conic sections, prisms, loci |
| - Standard conventions | - Anatomy of engineering drawing (title block, coordinate grid system, revision block, notes and legends) - Drawing scale (paper size and drawing symbols) - International drawing standards |
| - Electrical drawings | Block, schematic, circuit, line and wiring diagrams |

REQUIRED SKILLS AND KNOWLEDGE

This section describes the skills and knowledge required for this unit of competency.

Required skills

The individual needs to demonstrate the following skills:

- Critical thinking

- Drawing

- Interpretation

- Drawing equipment handling

- Analysis and synthesis

- Communication

- Inter personal

Required knowledge

The individual needs to demonstrate knowledge of:

- Drawing equipment and materials

- Freehand sketching

- Lettering

- Geometrical constructions

- Types of drawings

- Types of lines

- Isometric drawing conventions, features, characteristics, components

- Orthographic drawing conventions, features, characteristics, components

- Sketches and drawings of simple patterns

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required knowledge and understanding and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Applied and adhered to safety procedures - Cared and maintained drawing equipment - Interpreted circuit, assembly and lay out diagrams - Applied appropriate technical standards, used proper tools and equipment for a given task - Produced sketches and drawings - Applied CAD packages in production of drawings |
| --- | --- |
| - Resource Implications | Resources the same as that of workplace are advised to be applied. - Drawing room - Drawing equipment and materials - Computers - CAD packages |
| - Methods of Assessment | Competency may be assessed through: - Observation - Oral questioning - Written test - Portfolio of Evidence - Interview - Third party report |
| - Context of Assessment | Competency may be assessed individually in the actual workplace or a simulated work place setting |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

# CORE UNITS OF COMPETENCY

PLAN ELECTRICAL INSTALLATION WORKS

UNIT CODE: ENG/OS/EI/CR/01/5/A

UNIT DESCRIPTION

This unit covers the competencies required to plan electrical installation works. It includes conducting site survey, system sizing, preparation of list of tools equipment and materials, arranging for logistics, preparation of installation work plan, establishing installation team, raise necessary work permit and finally preparation of work site.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function. | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements (Bold and italicised terms are elaborated in the Range) |
| --- | --- |
| - Conduct site survey | - The site is surveyed for suitability for the type of installation to be done as per the contract - Conditions of the site are evaluated according to the established procedures - The best location and route for the installation is identified as per design - Actual measurements are taken - Survey report is generated and shared with relevant parties according to the established procedures |
| - Perform system sizing | - Load estimation is conducted according to the set standard - Type and size of protective devices is determined according to IEE regulations - Cable sizes are calculated for the estimated loads according to IEE regulations - System sizes are recorded and shared as per established procedures |
| - Prepare list of tools, equipment & materials. | - The necessary tools and equipment needed for the work are determined and list prepared as per established procedure - Tools and equipment are checked for correct specifications and functionality and list prepared as per established procedure - Materials needed for the work are determined and list prepared as per established procedure |
| - Arrange logistics | - Necessary logistics for the particular work and site is determined - Determined logistics are reported and arranged with the responsible party according to work schedule |
| 5. Prepare installation work plan | - Official request is made for installation drawings - Installation drawing is acquired and deposited in a safe place as per established procedure - The scope of installation work is identified - All work is undertaken safely and to workplace procedures, National/County regulations and legislative requirements - Working drawing is prepared in accordance with the design drawing - Work schedule is prepared based on the scope and the working drawing |
| - Establish installation team | - Team members are identified according to the task - Communication protocol is designed and distributed among the team members - Responsibilities are established and distributed among the team members - Team familiarization is done according to the established procedure |
| - Obtain the necessary work permit. | - Type of permit to work is identified where applicable - Permit to work issuing body is identified - Permit to work form is filled and submitted to the responsible body |
| - Prepare work site | - Special work, hazard and safety requirements are identified. - Identified hazards and safety issues are mitigated according to OSHA (Occupational Safety and Health Act - Work plan is confirmed in accordance with legislative and regulatory requirements and standard operating procedures. - Work site is prepared for accessibility of utilities |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance

| Variable | Range May include but is not limited to: |
| --- | --- |
| - Installation | - Domestic installation - Commercial installation - Industrial Installation - Agriculture/ horticulture - Power Generator - Security - Water heating installations - Power transmission and distribution - IBMS (integrated building Management system) |
| - Established Procedures | - Company rules - Procedures mentioned in contract |
| - Design | - Electrical design for lighting and power - Electrical design for switchgear - Electrical design for alarm systems |
| - Standard | - IEE standard - British Standard - KEBS standard |
| - IEE regulations | - 17th Edition |
| - Logistics includes but not limited to | - Personnel, Finance and input materials - Transport and storage - Communications - Security |
| - Specifications | - Tolerance/ range - Make / model - Size - Class |
| - Regulations and legislative requirements | - KPLC bylaws - County bylaws - Energy Act, 2006 - National Construction Authority Act - OSHA |
| - Work schedule | - Gant chart - Block |
| - Permit to work | - KPLC permit - Gate Pass - Daily work permit - Work Tag |
| - Utilities | Water, electrical power, toilets and communication |

REQUIRED KNOWLEDGE AND UNDERSTANDING

The individual needs to demonstrate knowledge and understanding of:

| 1. Organisational and legislative requirements including: |  |
| --- | --- |
| 1.1 | The manufacturer's warranty requirements relating to electrical installation systems and related components. |
| 1.2 | The legal requirements relating to electrical installations |
| 1.3 | Kenyan legislation and workplace procedures relevant to: 1.3.1 Health and safety; 1.3.2 Environment (including waste disposal); 1.3.3 Appropriate personal protective equipment (PPE). |
| 1.4 | Workplace procedures for: 1.4.1 Work place communication; 1.4.2 Time management 1.4.3 Materials management |
| 1.5 | The importance of documentation and keeping records |
| 1.6 | The relationship between time and costs |
| 2. The use of technical information including: |  |
| 2.1 | 2.1.1 The importance of using the correct sources of technical information. 2.1.2. Interpreting circuits, drawings, specifications and instructions 2.1.3Preparing work plans in accordance with legislative and regulatory requirements and standard operating procedures and health and safety requirements |
| 3. Contractual agreements |  |
| 3.1 | 3.1.1 Importance of contractual agreements 3.1.2 Necessary insurance and policies including security bonds, performance bonds, contractors all risks 3.1.3 Insurance of contractor’s work 3.1.4 Keeping records of income 3.1.5 Financial statements |

FOUNDATION SKILLS

| The individual needs to demonstrate the following foundation skills: |  |
| --- | --- |
| - Communications (verbal and written); - Proficient in ICT; - Time management; - Problem solving; - Negotiation; | - Decision making; - First aid; - Report writing; - Planning; |

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required knowledge and understanding and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Applied work health and safety procedures - Conducted site survey - Measurements were taken at the site - Site survey report was documented and shared with the relevant parties - IEE regulations were observed during installation - The list of materials required for installation was prepared - Working drawing was prepared - Applied appropriate standards - Organization structure and job description was designed and distributed to the members - Determined types and sizes of materials and equipment and protective devices - Demonstrated knowledge of logistics to the given task |
| --- | --- |
| - Resource Implications | The following resources must be provided: Resources same as that of workplace are advised to be applied including Measuring tape, pegs, calculator, stationery |
| - Methods of Assessment | Competency may be assessed through: - Observation - Oral questioning - Written test - Portfolio of Evidence - Interview - Third party report |
| - Context of Assessment | Competency may be assessed individually in the actual workplace and simulated setting of the actual work place |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

# PERFORM ELECTRICAL INSTALLATION

UNIT CODE: ENG/OS/EI/CR/02/5/A

UNIT DESCRIPTION

This unit covers the competencies required to perform an electrical installation work.

Installation work includes application of EHS standards, interpretation of drawings and development of working drawing, preparation of tools, equipment and materials, installation of electrical systems, facilitating work team and other service providers throughout the installation and finally maintaining housekeeping.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function. | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements (Bold and italicised terms are elaborated in the Range) |
| --- | --- |
| - Apply EHS standards | - Appropriate safety regulations are applied - Occupational health and safety standards are applied - Good housekeeping practices are applied - Accidents, incidents and near misses are reported to management immediately - First aid is applied, and specialised treatment sought where necessary |
| - Prepare working drawings | - Installation drawing is interpreted - Symbols and nomenclatures are applied in accordance with British Standards [BS 3939] - Appropriate drawing tools are applied - Components and their ratings are identified - Cable sizes and lengths are clearly shown - Power supply and distribution circuits are shown using single line diagrams - Phase balancing of the loads is done as per the usage - Cable routes are clearly indicated - Working drawing is prepared and any deviations shared with relevant bodies |
| - Assemble tools, equipment & materials | - Tools, equipment and materials are checked for the proper specifications and functionality - Tools, equipment and materials are assembled and stored as per the established procedure |
| - Install electrical system | - Appropriate installation procedures and technical standards are applied - The working drawing is implemented - IEE regulations were adhered to during installation - Safety procedures are adhered to for each activity - Cables, conductors, conduits, enclosures and support systems are installed to specifications using appropriate techniques, tools and equipment as per the working drawing - Labelling of the installation for identification is done |
| - Facilitate other service providers | - Other service providers on the site are identified - Communication protocols and procedures are applied - Service providers are communicated before, during, and after the installation, as necessary - The requirements of other service providers are obtained and agreed upon - Provision for other services are made according to the design |
| - Maintain house keeping | - Safety check list is prepared for electrical equipment and machines - Regular follow up is done according to the prepared checklist - Workplace procedures are followed to deal with any accidents and damage of equipment occurring during the cleaning process - Activities are recorded and reported as per established procedures |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance

| Variable | Range May include but is not limited to: |
| --- | --- |
| - Safety regulations | - IEE regulations - Occupational Safety and Health Act (OSHA) - Work injury benefits Act (WIBA) |
| - Good house keeping | - Adequate ventilation - Adequate lighting - clean and dry surfaces in the workplace - Avoid oil spillage - Tools in the appropriate storage place - Proper waste disposal in the designated places |
| - Working drawings | - Lighting and small power - Power distribution - Fire alarm and detection - Burglar alarm - CCTV - Access control - Electric fence |
| - Power supply | - Single phase, 2 wire - Single phase 3 wire - 3phase 4wire - 3phase 5 wire - Dc: 2 wire and 3 wire |
| - Technical standards | - IEE standard - British Standard - KEBS standard |
| - Service providers | - Plumbers - Air conditioning - Data networks - Security - Carpenters - Masons - Welders - Fitters |
| - Services | - Laying conduits/trays - Trunking - Providing temporary power - Installing power points |
| - Installation | - Domestic installation - Commercial installation - Industrial Installation - Agriculture/ horticulture - Power Generator - Security - Water heating installations - Power transmission and distribution - IBMS (integrated building Management system) |

REQUIRED KNOWLEDGE AND UNDERSTANDING

| The individual needs to demonstrate knowledge and understanding of: 1. Organisational and legislative requirements including: |  |
| --- | --- |
| 1.1 | The manufacturer's warranty requirements relating to electrical installation systems and related components. |
| 1.2 | The legal requirements relating to electrical installations |
| 1.3 | Kenyan legislation and workplace procedures relevant to: 1.3.1 Health and safety; 1.3.2 The environment (including waste disposal); 1.3.3 Appropriate personal protective equipment (PPE). |
| 1.4 | Workplace procedures for: 1.4.1. Work place communication; 1.4.2. Time management 1.4.3. Team building and team work 1.4.4. Notifying danger and hazard zones to workers 1.4.5 Materials management |
| 1.5 | The importance of documentation and keeping records |
| 1.7 | The relationship between time and costs |
| 2. The use of technical information including: |  |
| 2.2 | The importance of using the correct sources of technical information. |
|  | - Interpreting circuits, drawings, specifications and instructions - Preparing work plans in accordance with legislative and regulatory requirements, standard operating procedures and health and safety requirements - Referring and applying adjustable codes, numbers and standards at different circumstances |

FOUNDATION SKILLS

| The individual needs to demonstrate the following foundation skills: |  |
| --- | --- |
| - Communications (verbal and written); - Time management; - Technical drawing; - circuit tracing; - Use of measuring tools & equipment - Problem solving; | - Decision making; - Planning; - First aid; - Report writing; - Creativity - Customer care |

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required knowledge and understanding and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Applied and adhered to safety procedures - Interpreted layouts/ circuit diagrams correctly - Applied appropriate technical standards - Used proper tools and equipment for a given task - Demonstrated safe selection, placing and wiring of cables/ wires, fixtures and fittings - IEE regulations were observed during installation - Installed functional electrical systems |
| --- | --- |
| - Resource Implications | Resources the same as that of workplace are advised to be applied. - Electrical installation tool kit, calculator, stationery - Electrical installation materials - Testing equipment - Storage facility |
| - Methods of Assessment | Competency may be assessed through: - Observation - Oral questioning - Written test - Portfolio of Evidence - Interview - Third party report |
| - Context of Assessment | Competency may be assessed individually in the actual workplace or a simulated work place setting |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

# PERFORM TESTING OF ELECTRICAL INSTALLATION

UNIT CODE: ENG/OS/EI/CR/04/5/A

UNIT DESCRIPTION

This unit covers the competencies required to carry out inspection and testing of an electrical installation. The inspection and testing work covers; identification of types of test, preparation of test equipment, verifying installed fittings, conducting performance tests, recording testing results, generation of reports and issuance of certificates.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function. | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements (Bold and italicised terms are elaborated in the Range) |
| --- | --- |
| - Conduct physical inspection | - Visual inspection is carried out - Fitting points and equipment are identified - Physical condition of all fittings is verified for safety appropriateness |
| - Identify the test to be carried out | - The installation to be tested is identified - Test points are identified - Relevant standards for testing are applied |
| - Prepare test equipment | - Appropriate Test equipment are identified - Test equipment are checked for appropriate specifications and functionality - Test equipment are prepared and stored for safe and easy access in accordance with established procedure |
| - Perform the test | - Test parameters are identified - Test equipment are assembled - Test sequence procedure is decided based on the test standards - Safety precautions are adhered to - Additional precaution is observed on the installation in hazardous environment as per EHS standard - Tests are carried out in line with the IEE regulations - Functionality of all devices including protective devices is checked as per the set standards - Test results are recorded as per agreed format - Test results are compared with permissible data parameters in data sheets and standards - Test report is compiled and shared with relevant parties |
| - Issue certificates | - Test certificate is issued to the relevant parties - Wiring certificate is issued to the relevant parties |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance

| Variable | Range May include but is not limited to: |
| --- | --- |
| - Installation | - Domestic - Industrial - Commercial - Agriculture/ horticulture - Water heater |
| - Test equipment | - Multimeter/AVO meter - Wattmeter - Insulation resistance tester - Loop impedance tester - Earth resistance tester - Clamp meter - Power quality analyser - Infrared camera - Phase sequence meter - Frequency meter - Synchroscope - Tachometer - Tacho generator - Laser meter - Lux meter |
| - Visual inspection | Check for: - Firmness of accessories/equipment - Loose connections - Damaged equipment/component if any Colour coding |
| - Fitting points | - Switches - Cables - Socket outlets - Light fittings - Conduits and cable trays - Trunking - Motors - Power generators - Pumps |
| - Test parameters | - Potential difference between circuits - Power - Resistance - Voltage - Current - Inductance/capacitance - Frequency - Q- factor - Power factor - Harmonics - Speed of rotary equipment |
| - Tests | - Continuity - Insulation resistance - Polarity - Earth electrode resistance - Earth fault loop impedance - Phase sequence - Speed |

REQUIRED KNOWLEDGE AND UNDERSTANDING

The individual needs to demonstrate knowledge and understanding of:

| 1. Organisational and legislative requirements including: |  |
| --- | --- |
| 1.1 | The manufacturer's warranty requirements relating to inspection and testing activities for the electrical installations and related components. |
| 1.2 | The legal and statutory requirements relating to the electrical installation and components. |
| 1.3 | Legislation and workplace procedures relevant to: 1.3.1 Health and safety; 1.3.2 The environment (including waste disposal); 1.3.3 Appropriate personal protection equipment (PPE). |
| 1.4 | Workplace procedures for: 1.4.1. Using test tools and instruments 1.4.2. Work place communication; 1.4.3. Time management 1.4.4 Tools and equipment management |
| 1.5 | The importance of documentation and keeping records |
| 1.7 | The relationship between time and costs. |
| 2. The use of technical information including: |  |
| 2.2 | The importance of using the correct sources of technical information. |
| 3. | - Performing tests including: |
| 3.1 | - 3.1.1 Connection of testing equipment - 3.1.2 Operation of testing equipment - 3.1.3 Recording and interpretation of test results - 3.1.4 Making recommendations based on test results - 3.1.5 Compiling test report |

FOUNDATION SKILLS

| The individual needs to demonstrate the following foundation skills: |  |
| --- | --- |
| - Communications (verbal and written); - Proficient in using test equipment; - Time management; - Analytical; - Faults troubleshooting; - Problem solving; - Planning; | - Decision making; - First aid; - Report writing; |

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required skills and understanding and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Applied and adhered to safety procedures - Applied the procedures of testing according to the standard - Identified the types of tests to be carried out - IEE regulations were observed during testing - Test equipment were identified according to the type of tests that were to be carried out - Obtained and recorded test values accurately - Interpreted the recorded test results |
| --- | --- |
| - Resource Implications | Resources the same as that of workplace are advised to be applied including - Electrical installation tool kit - Multimeter/AVO meter - Wattmeter - Insulation resistance tester - Clamp meter - Phase sequence meter - Frequency meter - Tacho meter |
| - Methods of Assessment | Competency may be assessed through: - Observation - Oral questioning - Written test - Portfolio of Evidence - Interview - Third party report |
| - Context of Assessment | Competency may be assessed individually - In the actual workplace - Simulated environment of the work place |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

MAINTAIN ELECTRICAL INSTALLATION SYSTEMS

UNIT CODE: ENG/OS/EI/CR/06/5/A

UNIT DESCRIPTION

This unit covers the competencies required to carry out maintenance in electrical installation systems. The maintenance includes scheduling, inspection of electrical system, preparation of list of tools, material and equipment, system maintenance and tests.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function. | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements (Bold and italicised terms are elaborated in the Range) |
| --- | --- |
| - Prepare maintenance schedule | - Type of the system to be maintained is identified - The maintenance type and scope are defined - Relevant manual/service instruction is referred to - Maintenance schedule is developed in accordance with the service checklist - Relevant maintenance procedures are referred to where applicable |
| - Inspect electrical system | - System is inspected according to the established procedure - Instances where the maintenance activities cannot be fully met or where there are defects outside the planned schedule are identified and recorded |
| - Prepare list of materials, tools and equipment | - Tools, equipment and materials relevant for maintenance are identified and documented - Specifications of identified tools, materials and equipment are checked against safety standards where applicable |
| - Perform system maintenance | - Maintenance check list is prepared based on service manual where applicable - Service points and parameters are defined - Maintenance activities are carried out in consultation with relevant parties - Maintenance activities are carried out in the specified sequence and within the agreed timelines Maintenance is done in accordance with health and safety and other relevant regulations and standards - Maintenance activities are recorded according to the checklist - Waste materials are disposed in accordance with safe working practices and approved procedures |
| - Conduct system tests | - Test points are identified as per system manual - System tests are conducted and results recorded according to established procedure - Test result is recorded as per the established company rule - Test results are documented and shared with the relevant parties |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance

| Variable | Range May include but is not limited to: |
| --- | --- |
| - System | - Security - Wind - Power generator - Domestic installations - Industrial installations - Water heating - CCTV - Power transmission and distribution - Horticulture - IBMS |
| - Maintenance type | - Periodic - Preventive - Breakdown - Ad-hoc |
| - Relevant parties | - Service providers - Client/representatives - Other service providers - Security |
| - Waste material | - Old batteries - Oil - Cable lugs - Tapes - Cable sheaths - Offcuts - Recovered faulty parts - Cable armouries |

REQUIRED KNOWLEDGE AND UNDERSTANDING

The individual needs to demonstrate knowledge and understanding of:

| 1. Organisational and legislative requirements including: |  |
| --- | --- |
| 1.1 | The manufacturer's warranty requirements relating to maintenance activities for the electrical installation systems and related components. |
| 1.2 | The legal requirements relating to system maintenance |
| 1.3 | Legislation and workplace procedures relevant to: 1.3.1 Health and safety; 1.3.2 The environment (including waste disposal); 1.3.3 Appropriate PPE 1.3.4 Appropriate bylaws |
| 1.4 | Workplace procedures for: 1.4.1 recording system maintenance work and any variations from the original specification; 1.4.2 Accidents and incidents reporting 1.4.3 Reporting of challenges |
| 1.5 | The importance of documenting maintenance information. |
| 1.6 | The importance of working within agreed timelines and sharing progress reports |
| 1.7 | The relationship between time and costs. |
| 1.8 | The importance of reporting anticipated delays to relevant parties promptly. |
| 2. The use of technical information including: |  |
| 2.1 | How to find, interpret and use sources of technical information for scheduled maintenance activities, including on-board diagnostic displays. |
| 2.2 | The importance of using the correct sources of technical information. |
| 3. The operation of installed systems including: |  |
| 3.1 | How the system operates. |
| 3.2 | The operating specifications and tolerances for the different type(s) of systems |
| 3.3 | The hazards associated with maintaining electrical Systems |
| 4. Routine maintenance requirements including: |  |
| 4.1 | How to conduct scheduled, routine system maintenance activities using prescribed checklist |
| 4.2 | How to record failures and faults |
| 5. Conducting system tests |  |

FOUNDATION SKILLS

| The individual needs to demonstrate the following foundation skills: |  |
| --- | --- |
| - Communications (verbal and written); - Proficient in ICT; - Time management; - Analytical - Faults troubleshooting; - Problem solving; - Planning; | - Decision making; - First aid; - Report writing; |

EVIDENCE GUIDE

This provides advice on assessment and must be in conjunction with the performance criteria, required knowledge and understanding and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Applied safety standards - Used appropriate maintenance tools and equipment safely - Safely conducted system tests - Demonstrated techniques of maintenance work |
| --- | --- |
| - Resource Implications | The following resources must be provided: - Stationery - Test equipment and tools - Communication equipment - Service manuals |
| - Methods of Assessment | Competency may be assessed through: - Observation - Oral questioning - Written test - Portfolio of Evidence - Interview - Third party report |
| - Context of Assessment | Competency may be assessed individually in the actual workplace or through a simulated work place environment |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |

# PERFORM ELECTRICAL SYSTEM BREAKDOWN MAINTENANCE

UNIT CODE: ENG/OS/EI/CR/07/5/A

UNIT DESCRIPTION

This unit covers the competencies required to perform breakdown maintenance in an electrical installation system. Competencies include fault identification, repairing, testing and generating maintenance report.

ELEMENTS AND PERFORMANCE CRITERIA

| ELEMENT These describe the key outcomes which make up workplace function. | PERFORMANCE CRITERIA These are assessable statements which specify the required level of performance for each of the elements (Bold and italicised terms are elaborated in the Range) |
| --- | --- |
| - Identify system failure | - The necessary information about the failure is obtained from the user, as per set procedures. - Manuals for the system are referred to identify test points and measured parameters where applicable. |
| - Troubleshoot cause of failure | - Safety procedures are applied in accordance with the safety standards - System trouble shooting is conducted in accordance with the set procedure - System is diagnosed for failure according to standard operating procedure - System failure results are recorded as per established procedure. - Parameters are compared against the standards values - Decision is made, and recommendations are recorded |
| - Prepare list of tools, equipment & materials | - Maintenance tools, equipment and materials are identified - Specifications and functionality of tools, equipment and materials are checked in accordance with the applicable technical and safety standards |
| - Repair the system | - Safety precautions are observed - System is repaired in accordance with maintenance manual where applicable - Repair activities are recorded according to the established procedure |
| - Test the system | - Appropriate tests and test points are identified Safety procedures are adhered to - System is tested as per test procedure - Test results are recorded according to the established procedures - Parameters are compared against the standard values - Maintenance report is prepared according to approved format |

RANGE

This section provides work environments and conditions to which the performance criteria apply. It allows for different work environments and situations that will affect performance

| Variable | Range May include but is not limited to: |
| --- | --- |
| - Failure | - Partial - Total |
| - Manual | 2.1 maintenance 2.2Operational 2.3 installation 2.4 commissioning - technical specification /data sheet |
| - Parameters | - Light intensity - Sound - Speed - Efficiency - Temperature - Electrical quantities e.g. Voltage, current and resistance levels - Expected output |

REQUIRED KNOWLEDGE AND UNDERSTANDING

The individual needs to demonstrate knowledge and understanding of:

| 1. Organisational and legislative requirements including: |  |
| --- | --- |
| 1.1 | The manufacturer's warranty requirements relating to maintenance activities for the electrical installation systems and related components. |
| 1.2 | The legal and statutory requirements relating to electrical maintenance activities. |
| 1.3 | workplace procedures relevant to: 1.3.1 health and safety; 1.3.2 the environment (including waste disposal); 1.3.3 appropriate personal and protective equipment; 1.3.4. appropriate use of service and maintenance manuals |
| 1.4 | Workplace procedures for: - Fault identification and diagnosis - Appropriate use of tools and equipment; - Repairing, modifying or replacing defective parts or components. - recording electrical maintenance activities - Reporting of technical challenges |
| 1.5 | The importance of documenting maintenance information. |
| 1.6 | The importance of working within agreed timelines and sharing progress reports. |
| 1.7 | The relationship between time and costs. |
| 1.8 | The importance of reporting anticipated delays to relevant parties promptly. |
| 2. The use of technical information including: |  |
| 2.1 | How to find, interpret and use sources of technical information for maintenance activities |
| 2.2 | The importance of using the correct sources of technical information. |
| 2.3 | The purpose of and how to use identification codes. |

FOUNDATION SKILLS

| The individual needs to demonstrate the following foundation skills: |  |
| --- | --- |
| - Communications (verbal and written); - Proficient in ICT; - Time management; - Analytical - Faults troubleshooting; - Problem solving; - Planning; | - Decision making; - First aid; - Report writing; |

EVIDENCE GUIDE

This provides advice on assessment and must be read in conjunction with the performance criteria, required knowledge and understanding and range.

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Safely used testing equipment and tools - Obtained, recorded and interpreted test results - Documented maintenance report - Repaired and maintained a system |
| --- | --- |
| - Resource Implications | The following resources must be provided: - Electrical installation tool kit - Testing equipment - Measuring equipment Resources the same as that of workplace are advised to be applied |
| - Methods of Assessment | Competency may be assessed through: - Observation - Oral questioning - Written test - Portfolio of Evidence - Interview - Third party report |
| - Context of Assessment | Competency may be assessed individually in the actual workplace or through a simulated work place setting |
| - Guidance information for assessment | Holistic assessment with other units relevant to the industry sector, workplace and job role is recommended. |