REPUBLIC OF KENYA

COMPETENCY BASED CURRICULUM

FOR

REFRIGERATION AND AIR CONDITIONING

LEVEL 4

TVET CDACC

P.O. BOX 15745-00100

NAIROBI

First published 2019

©2019 TVET CDACC

All rights reserved. No part of this curriculum may be reproduced, distributed, or transmitted in any form or by any means, including photocopying, recording, or other electronic or mechanical methods without the prior written permission of the TVET CDACC, except in the case of brief quotations embodied in critical reviews and certain other non-commercial uses permitted by copyright law. For permission requests, write to the Council Secretary/CEO, at the address below:

Council Secretary/CEO

TVET Curriculum Development, Assessment and Certification Council

P.O. Box 15745–00100

Nairobi, Kenya

Email: info@tvetcdacc.go.ke

# FOREWORD

The provision of quality education and training is fundamental to the Government’s overall strategy for social economic development. Quality education and training will contribute to achievement Kenya’s development blue print and sustainable development goals.

Reforms in the education sector are necessary for the achievement of Kenya Vision 2030 and meeting the provisions of the Constitution of Kenya 2010. The education sector had to be aligned to the Constitution and this resulted to the formulation of the Policy Framework for Reforming Education and Training. A key feature of this policy is the radical change in the design and delivery of the TVET training.  This policy document requires that training in TVET be competency based, curriculum development be industry led, certification be based on demonstration of competence and mode of delivery allows for multiple entry and exit in TVET programmes.

These reforms demand that Industry takes a leading role in curriculum development to ensure the curriculum addresses its competence needs. It is against this background that this Curriculum has been developed.

It is my conviction that this curriculum will play a great role towards development of competent human resource for the Refrigeration and Air-conditioning sector’s growth and sustainable development.

PRINCIPAL SECRETARY,

VOCATIONAL AND TECHNICAL TRAINING

MINISTRY OF EDUCATION

# PREFACE

Kenya Vision 2030 aims to transform the country into a newly industrializing, “middle-income country providing a high quality life to all its citizens by the year 2030”.  Kenya intends to create a globally competitive and adaptive human resource base to meet the requirements of a rapidly industrializing economy through life-long education and training. TVET has a responsibility of facilitating the process of inculcating knowledge, skills and attitudes necessary for catapulting the nation to a globally competitive country, hence the paradigm shift to embrace Competency Based Education and Training (CBET).

The Technical and Vocational Education and Training Act No. 29 of 2013 on Reforming Education and Training in Kenya, emphasized the need to reform curriculum development, assessment and certification. This called for a shift to CBET to address the mismatch between skills acquired through training and skills needed by industry as well as increase the global competitiveness of Kenyan labour force.

TVET Curriculum Development, Assessment and Certification Council (TVET CDACC) in conjunction with Mechanical Engineering Sector Skills Advisory Committee (SSAC) have developed this curriculum.

This curriculum has been developed following the CBET framework policy; the CBETA Standards and guidelines provided by the TVET Authority and the Kenya National Qualification framework designed by the Kenya National Qualification Authority.

The curriculum is designed and organized with an outline of learning outcomes; suggested delivery methods, training/learning resources and methods of assessing the trainee’s achievement. The curriculum is competency-based and allows multiple entry and exit to the course.

I am grateful to the Council Members, Council Secretariat, Mechanical Engineering SSAC, expert workers and all those who participated in the development of this curriculum.

CHAIRPERSON,

TVET CDACC

# ACKNOWLEDGEMENT

This curriculum has been designed for competency-based training and has independent units of learning that allow the trainee flexibility in entry and exit. In developing the curriculum, significant involvement and support was received from various organizations.

I appreciate Mechanical Engineering Sector Skills Advisory Committee (SSAC) who enabled the development of this curriculum.

I recognize with appreciation the role of the SSAC in ensuring that competencies required by the industry are addressed in this curriculum. I also thank all stakeholders in the Mechanical Engineering sector for their valuable input and all those who participated in the process of developing this curriculum.

I am convinced that this curriculum will go a long way in ensuring that workers in Mechanical Engineering sector will acquire competencies that will enable them perform their work more efficiently.

COUNCIL SECRETARY/CEO

TVET CDACC

# ABBREVIATION AND ACRONYMS

A/C		Air condition

AC		Alternative current

ASHRAE	American Society of Heating, Refrigerating and Air-Conditioning Engineers

BC		Basic Competency

CC		 Common competency

CDACC	Curriculum Development, Assessment and Certification Council

CR		Core Competency

ENG		Engineering

KCSE		 Kenya Certificate of secondary Education

KNQA		Kenya National Qualifications Authority

OS		 Occupational Standards

OSHA		Occupation Safety and Health Act

OSHS		Occupation Safety and Health Standards

PC		Personal Computer

PPE		Personal Protective Equipment

PVC		Polyvinyl Chloride

RAC		Refrigeration and air conditioning

SOPs		Standard Operating Procedures

SSAC		 Sector Skills Advisory Committee

TVET		Technical and Vocational Education and Training

# KEY TO UNIT CODE

ENG/ OS / RAC/ BC/01/4/A

Industry or sector

Occupational Standards

Occupational area

Type of competency

Competency number

Competency level

Version control

TABLE OF CONTENTS

FOREWORD	iii

PREFACE	iv

ACKNOWLEDGEMENT	v

ABBREVIATION AND ACRONYMS	vi

KEY TO UNIT CODE	vii

COURSE OVERVIEW	ix

BASIC UNITS OF LEARNING	1

COMMUNICATION SKILLS	2

NUMERACY SKILLS	5

DIGITAL LITERACY	9

ENTREPRENEURIAL SKILLS	11

EMPLOYABILITY SKILLS	15

ENVIRONMENTAL LITERACY	18

OCCUPATIONAL SAFETY AND HEALTH PRACTICES	21

COMMON UNITS OF LEARNING	24

WORKSHOP PRACTICE	25

BASIC MATHEMATICS	28

ELECTRICAL AND ELECTRONICS CIRCUITRY	31

BASIC ENGINEERING SCIENCE	34

CORE UNITS OF LEARNING	36

INSTALLATION, SERVICE AND REPAIR OF DOMESTIC REFRIGERATION UNITS	37

SERVICE AND REPAIR OF AUTOMOBILE AIR CONDITIONING UNITS	42

INSTALLATION, SERVICE AND REPAIR OF WINDOW TYPE AIR CONDITIONING UNITS	46

# COURSE OVERVIEW

This course is designed to equip an individual with competencies for installing, servicing, troubleshooting and repairing air conditioning and refrigeration units.

Units of Learning

This course consists of basic, common and core units of learning as indicated below:

Basic Units of Learning

| Unit of Learning Code | Unit of Learning Title | Duration in Hours | Credit Factors |
| --- | --- | --- | --- |
| ENG/CU/RAC/BC/01/4/A | Communication skills | 20 | 2 |
| ENG/CU/RAC/BC/02/4/A | Numeracy skills | 25 | 2.5 |
| ENG/CU/RAC/BC/03/4/A | Digital literacy | 35 | 3.5 |
| ENG/CU/RAC/BC/04/4/A | Entrepreneurial skills | 60 | 5 |
| ENG/CU/RAC/BC/05/4/A | Employability skills | 30 | 3 |
| ENG/CU/RAC/BC/06/4/A | Environmental literacy | 20 | 2 |
| ENG/CU/RAC/BC/07/4/A | Occupational safety and health practices | 20 | 2 |
| Total |  | 210 | 21 |

Common Units of Learning

| Unit of Learning Code | Unit of Learning Title | Duration in Hours | Credit Factors |
| --- | --- | --- | --- |
| ENG/CU/RAC/CC/01/4/A | Workshop practice | 50 | 5 |
| ENG/CU/RAC/CC/02/4/A | Basic mathematics | 70 | 7 |
| ENG/CU/RAC/CC/03/4/A | Electrical and Electronics circuitry | 70 | 7 |
| ENG/CU/RAC/CC/04/4/A | Basic Engineering Science | 60 | 6.0 |
| Total |  | 250 | 25 |

Core Units of Learning

| Unit of Learning Code | Unit of Learning Title | Duration in Hours | Credit Factors |
| --- | --- | --- | --- |
| ENG/CU/RAC/CR/01/4/A | Installation, service and repair of domestic refrigeration units | 100 | 10 |
| ENG/CU/RAC/CR/02/4/A | Service and repair automobile air-conditioning units | 90 | 9 |
| ENG/CU/RAC/CR/03/4/A | Installation, service and repair of window type air-conditioning units | 100 | 10 |
|  | Industrial attachment | 300 | 30 |
| Total |  | 590 | 59 |
| Grand Total |  | 1050 | 105 |

Entry Requirements

An individual entering this course should have any of the following minimum requirements:

- Attained KCSE with a mean grade of E

Or

- Certificate in Refrigeration and Air Conditioning Level 3

Or

- Equivalent qualifications as determined by Kenya National Qualifications Authority (KNQA)

Trainer qualification

A trainer for this course should have a higher qualification than the level of this course

Assessment

The course will be assessed at two levels:

- Internal assessment: Conducted by the trainer (internal assessor) who is monitored by an accredited internal verifier.

- External assessment: Conducted by an accredited external assessor who is monitored by an accredited external verifier

The assessors and verifiers are registered by TVET CDACC which also coordinates external assessment.

Certification

An individual will be awarded a Certificate of Competency on demonstration of competence in a unit of competency. To be awarded Certificate in Refrigeration and Air Conditioning Level 4, an individual must demonstrate competence in all the units of competency in the qualification pack.

TVET CDACC will award these certificates in conjunction with the training provider.

# BASIC UNITS OF LEARNING

## COMMUNICATION SKILLS

UNIT CODE:	ENG/CU/RAC/BC/01/4/A

Relationship to Occupational Standards

This unit addresses the Unit of Competency: Demonstrate Communication Skills

Duration of Unit: 20 Hours

Unit Description

This unit covers the competencies required demonstrate communication skills. It involves obtaining and conveying workplace information, completing relevant work-related documents, communicating information about workplace processes, leading workplace discussion and communicating workplace issues.

Summary of Learning Outcomes

- Obtain and convey workplace information

- Complete relevant work-related documents

- Communicate information about workplace processes

- Lead workplace discussions

- Identify and communicate issues arising in the workplace

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Obtain and convey workplace information | - Communication process - Modes of communication - Medium of communication - Effective communication - Barriers to communication - Flow of communication - Sources of information - Types of questions - Organizational policies - Workplace etiquette - Ethical work practices in handling communication | - Interview - Third party reports |
| - Complete relevant work-related documents | - Types and purposes of workplace documents and forms - Methods used in filling forms and documents - Recording workplace data - Process of distributing workplace forms and documents - Report writing - Types of workplace reports | - Interview - Third party reports |
| - Communicate information about workplace processes | - Communication process - Modes of communication - Medium of communication - Effective communication - Barriers to communication - Flow of communication - Sources of information - Organizational policies - Organization requirements for written and electronic communication methods - Report writing - Effective questioning techniques (clarifying and probing) - Workplace etiquette - Ethical work practices in handling communication | - Interview - Portfolio |
| - Lead workplace discussion | - Methods of discussion e.g. - Coordination meetings - Toolbox discussion - Peer-to-peer discussion - Solicitation of response | - Interview - Third party reports |
| - Identify and communicate issues arising in the workplace | - Identification of problems and issues - Organizing information on problems and issues - Relating problems and issues - Communication barriers affecting workplace discussions | - Interview - Portfolio |

Suggested Methods of Instruction

- Direct instruction

- Demonstration

- Practice assignment

- Discussion

- Role play

- Brainstorming

Recommended Resources

- Desktop computers/laptops

- Internet connection

- Projectors

- Telephone

- Report writing templates

## NUMERACY SKILLS

UNIT CODE: ENG/CU/RAC/BC/02/4/A

Relationship to Occupational Standards:

This unit addresses the Unit of Competency: Demonstrate Numeracy Skills

Duration of Unit: 25 hours

Unit Description

This unit covers the competencies required to demonstrate numeracy skills. It involves identifying and using whole numbers and simple fractions, decimals and percentages for work, identifying, measuring and estimating familiar quantities for work, reading and using familiar maps, plans and diagrams for work, identifying and describing common 2D and some 3D shapes for work, constructing simple tables and graphs for work using familiar data and identifying and interpreting information in familiar tables, graphs and charts for work.

Summary of Learning Outcomes

- Identify and use whole numbers and simple fractions, decimals and percentages for work

- Identify, measure and estimate familiar quantities for work

- Read and use familiar maps, plans and diagrams for work

- Identify and describe common 2D and some 3D shapes for work

- Construct simple tables and graphs for work using familiar data

- Identify and interpret information in familiar tables, graphs and charts for work

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Identify and use whole numbers and simple fractions, decimals and percentages for work | - Whole numbers - Simple fractions - Decimals - Percentages - Sizes - Problem solving methods - Calculations using the 4 operations - Recording and communicating numerical information | - Written - Practice assignments |
| - Identify, measure and estimate familiar quantities for work | - Measurement information - Units of measurement - Estimate familiar and simple amounts - Selection of appropriate measuring equipment - Calculate using familiar units of measurement - Check measurements and results against estimates - Using informal and some formal mathematical and general language - Record or report results | - Written - Practice assignments |
| - Read and use familiar maps, plans and diagrams for work | - Maps, plans and diagrams - Locate items and places in familiar maps, plans and diagrams - Recognize common symbols and keys in familiar maps, plans and diagrams - Direction and location of objects, or route or places - Use of informal and some formal oral mathematical language and symbols | - Practical test - Written |
| - Identify and describe common 2D and some 3D shapes for work | - Common 2D shapes and 3D shapes - Classification of common 2D shapes and designs - Description of Use informal and some formal language to describe common two-dimensional shapes and some common three-dimensional shapes - Construction of common 2D shapes - Match common 3D shapes to their 2D sketches or nets | - Written - Practical test |
| - Construct simple tables and graphs for work using familiar data | - Types of graphs - Determination of data to be collected - Selection of data collection method - Collection of data - Determination of variables from the data collected - Order and collate data - Construct a table and enter data - Construct a graph using data from table - Check results - Report or discuss graph information related to work using informal and some formal mathematical and general language | - Written - Practical test |
| - Identify and interpret information in familiar tables, graphs and charts for work | - Tables construction and labeling - i.e. title, headings, rows and columns - Interpreting information and data in simple tables - Relaying information of relevant workplace tasks on/in a table - Identify familiar graphs and charts in familiar texts and contexts - Locate title, labels, axes, scale and key from familiar graphs and charts - Identify and interpret information and data in familiar graphs and charts - Relate information to relevant workplace tasks | - Written - Practical test |

Suggested Methods of Instruction

- Instructor led facilitation of theory

- Practical demonstration of tasks by trainer

- Practice by trainees/ role play

- Discussion

- Observations and comments and corrections by trainers

Recommended Resources

- Computers

- Stationery

- Charts

- Video clips

- Audio tapes

- LCD projectors

- Standard operating and/or other workplace procedures manuals

- Specific job procedures manuals

- Projectors

- Writing boards

- Mathematical tables

## DIGITAL LITERACY

UNIT CODE ENG/CU/RAC/BC/03/4/A

Relationship to Occupational Standards

This unit addresses the Unit of Competency: Demonstrate Digital Literacy

Duration of Unit: 35 hours

Unit Description

This unit covers the competencies required to demonstrate digital literacy in a working environment. It entails identifying computer software and hardware, applying security measures to data, hardware, software, applying computer software in solving task sand applying internet and email in communication at workplace.

Summary of Learning Outcomes

- Identify computer software and hardware

- Apply security measures to data, hardware and software

- Apply computer software in solving tasks

- Apply internet and email in communication at workplace

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Identify computer hardware and software | - Meaning of a computer - Functions of a computer - Components of a computer - Classification of computers | - Written tests - Oral - Observation |
| - Apply security measures to data, hardware and software | - Data security and control - Security threats and control measures - Types of computer crimes - Detection and protection against computer crimes | - Written tests - Oral presentation - Observation - Projects |
| - Apply computer software in solving tasks | - Operating system - Word processing - Spread sheets - Data base | - Oral questioning - Observation - Project |
| - Apply internet and email in communication at workplace | - Computer networks - Uses of internet - Electronic mail (e-mail) concept | - Oral questioning - Observation - Oral presentation - Written report |

Suggested Methods of Instruction

- Instructor led facilitation of theory

- Demonstration by trainer

- Practical assignment

- Viewing of related videos

- Project

- Group discussions

Recommended Resources

- Desktop computers

- Laptop computers

- Other digital devices

- Printers

- Storage devices

- Internet access

- Computer software

## ENTREPRENEURIAL SKILLS

UNIT CODE: ENG/CU/RAC/BC/04/4/A

Relationship to occupational standards

This unit addresses the Unit of Competency: Demonstrate Entrepreneurial Skills

Duration of unit: 60 hours

Unit description

This unit covers the competencies required for creating and maintaining small scale business, establishing small business customer base, managing and growing a micro/small-scale business.

Summary of Learning Outcomes

- Create and maintain small scale business

- Establish small scale business customer base

- Manage small scale business

- Grow/expand small scale business

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Create and maintain small scale business | - Starting a small business - Legal regulatory requirements in starting a small business - SWOT/ PESTEL analysis - Conducting market/industry survey - Generation and evaluation of business ideas - Matching competencies with business opportunities - Forms of business ownership - Location of a small business - Legal and regulatory requirement - Resources required to start a small business - Common terminologies in entrepreneurship - Entrepreneurship in national development - Self-employment - Formal and informal employment - Entrepreneurial culture - Myths associated with entrepreneurship - Types, characteristics, qualities & role of entrepreneurs - History, development and importance of entrepreneurship - Theories of entrepreneurship - Quality assurance for small businesses - Policies and procedures on occupational safety and health and environmental concerns | - Individual/group assignments - projects - Written - Oral |
| - Establish small scale business customer base | - Good staff/workers and customer relations - Marketing strategy - Identifying and maintain new customers and markets - Product/ service promotions - Products / services diversification - SWOT / PESTEL analysis - Conducting a business survey - Generating Business ideas - Business opportunities | - Individual/group assignments - projects - Written - Oral |
| - Manage small scale business | - Organization of a small business - Small business’ business plan - Marketing for small businesses - Managing finances for small business - Production/ operation process for goods/services - Small business records management - Book keeping and auditing for small businesses - Business support services - Small business resources mobilization and utilization - Basic business social responsibility - Management of small business - Word processing concepts in small business management - Computer application software - Monitoring and controlling business operations | - Oral - Individual/group assignments - projects - Written |
| - Grow/expand small scale business | - Methods of growing small business - Resources for growing small business - Small business growth plan - Computer software in business development - ICT and business growth | - Individual/group assignments - projects - Written |

Suggested Methods of Instruction

- Instructor led facilitation of theory

- Demonstration by trainer

- Practice by trainee

- Role play

- Case study

Recommended Resources

- Case studies for small businesses

- Business plan templates

- Lap top/ desk top computer

- Internet

- Telephone

- Writing materials

## EMPLOYABILITY SKILLS

UNIT CODE: ENG/CU/RAC /BC/05/4/A

Relationship to Occupational Standards

This unit addresses the Unit of Competency: Demonstrate Employability Skills

Duration of Unit: 30 hours

Unit Description

This unit covers competencies required to demonstrate employability skills. It involves conducting self-management, demonstrating critical safe work habits, demonstrating workplace learning and workplace ethics.

Summary of Learning Outcomes

- Conduct self-management

- Demonstrate critical safe work habits

- Demonstrate workplace learning

- Demonstrate workplace ethics

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Conduct self-management | - Self-awareness - Formulating personal vision, mission and goals - Strategies for overcoming life challenges - Emotional intelligence - Assertiveness - Expressing personal thoughts, feelings and beliefs - Developing and maintaining high self-esteem - Developing and maintaining positive self-image - Articulating ideas and aspirations - Accountability and responsibility - Good work habits - Self-awareness - Self-development - Financial literacy - Healthy lifestyle practices | - Written tests - Oral questioning - Portfolio of evidence - Third party report |
| - Demonstrate critical safe work habits | - Stress and stress management - Punctuality and time consciousness - Interpersonal communication - Sharing information - Leisure - Integrating personal objectives into organizational objectives - Resources utilization - Setting work priorities - HIV and AIDS - Drug and substance abuse - Handling emerging issues | - Written tests - Oral questioning - Portfolio of evidence - Third party report |
| - Demonstrate workplace learning | - Personal training needs identification and assessment - Managing own learning - Contributing to the learning community at the workplace - Cultural aspects of work - Variety of learning context - Application of learning - Safe use of technology - Identifying opportunities - Workplace innovation - Performance improvement - Handling emerging issues - Future trends and concerns in learning | - Written tests - Oral questioning - Portfolio of evidence - Third party report |
| - Demonstrate workplace ethics | - Meaning of ethics - Ethical perspectives - Principles of ethics - Values and beliefs - Ethical standards - Organization code of ethics - Common ethical dilemmas - Organization culture - Corruption, bribery and conflict of interest - Privacy and data protection - Diversity, harassment and mutual respect - Financial responsibility/accountability - Etiquette - Personal and professional integrity - Commitment to jurisdictional laws - Emerging issues in ethics | - Written tests - Oral questioning - Portfolio of evidence - Third party report |

Suggested Methods of Instruction

- Simulation/Role play

- Group Discussion

- Presentations

- Q&A

- Case studies

- Assignments

Recommended Resources

- Computers

- Stationery

- Charts

- Video clips

- Audio tapes

- Radio sets

- TV sets

- LCD projectors

## ENVIRONMENTAL LITERACY

UNIT CODE: ENG/CU/RAC/BC/06/4/A

Relationship to Occupational Standards

This unit addresses the Unit of Competency: Demonstrate Environmental Literacy

Duration of Unit: 20 hours

Unit Description

This unit specifies the competencies required to demonstrate environmental literacy. It involves controlling environmental hazard, controlling environmental pollution, demonstrating sustainable resource use and evaluating current practices in relation to resource usage.

Summary of Learning Outcomes

- Control environmental hazard

- Control environmental pollution

- Demonstrate sustainable use of resources

- Evaluate current practices in relation to resource usage

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Control environmental hazard | - Purposes and content of Environmental Management and Coordination Act 1999 - Purposes and content of Solid Waste Act - Storage methods for environmentally hazardous materials - Disposal methods of hazardous wastes - Types and uses of PPE in line with environmental regulations - Occupational Safety and Health Standards (OSHS) | - Written tests - Oral questions - Observation of work procedures |
| - Control environmental Pollution | - Types of pollution - Environmental pollution control measures - Types of solid wastes - Procedures for solid waste management - Different types of noise pollution - Methods for minimizing noise pollution | - Written tests - Oral questions - Observation of work procedures - Role play |
| - Demonstrate sustainable resource use | - Types of resources - Techniques in measuring current usage of resources - Calculating current usage of resources - Methods for minimizing wastage - Waste management procedures - Principles of 3Rs (Reduce, Reuse, Recycle) - Methods for economizing or reducing resource consumption | - Written tests - Oral questions - Observation of work procedures |
| - Evaluate current practices in relation to resource usage | - Collection of information on environmental and resource efficiency systems and procedures, - Measurement and recording of current resource usage - Analysis and recording of current purchasing strategies. - Analysis of current work processes to access information and data - Identification of areas for improvement | - Written tests - Oral questions - Observation of work procedures |
| - Identify Environmental legislations/conventions for environmental concerns | - Environmental issues/concerns - Environmental legislations /conventions and local ordinances - Industrial standard /environmental practices - International Environmental Protocols (Montreal, Kyoto) - Features of an environmental strategy | - Written tests - Oral questions - Observation of work procedures |

Suggested Methods of Instruction

- Instructor led facilitation of theory

- Practical demonstration of tasks by trainer

- Practice by trainees/ role play

- Discussion

- Observations and comments and corrections by trainers

Recommended Resources

- Computers

- Stationery

- Charts

- Video clips

- Audio tapes

- Radio sets

- TV sets

- LCD projectors

- Standard operating and/or other workplace procedures manuals

- Specific job procedures manuals

- Machine/equipment manufacturer’s specifications and instructions

- Personal Protective Equipment (PPE)

## OCCUPATIONAL SAFETY AND HEALTH PRACTICES

UNIT CODE: ENG/CU/RAC/BC/07/4/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Demonstrate Occupational Safety and Health Practices

Duration of Unit: 20 hours

Unit Description

This unit specifies the competencies required to practice safety and health and comply   with OSH requirements relevant to work. It involves adhering to workplace procedures for hazards and risk prevention and participating in arrangements for workplace safety and health maintenance.

Summary of Learning Outcomes

- Adhere to workplace procedures for hazards and risk prevention

- Participate in arrangements for workplace safety and health maintenance

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Adhere to workplace procedures for hazards and risk prevention | - Arrangement of work area and items in accordance with Company housekeeping procedures - Adherence to work standards and procedures - Application of preventive and control measures, including use of safety gears/PPE - Study and apply standards and procedures for incidents and emergencies. | - Oral questions - Written tests - Portfolio of evidence - Third party report |
| - Participate in arrangements for workplace safety and health maintenance | - Participating in orientations on OSH requirements/regulations of tasks - Providing feedback on health, safety, and security concerns to appropriate personnel as required in a sufficiently detailed manner - Practice workplace procedures for reporting hazards, incidents, injuries and sickness - OSH requirements/ regulations and workplace safety and hazard control procedures are reviewed, and compliance reported to appropriate personnel - Identification of needed OSH-related trainings are proposed to appropriate personnel | - Oral questions - Written tests - Portfolio of evidence - Third party report |

Suggested Methods of Instruction

- Assigments

- Discussion

- Q&A

- Role play

- Viewing of related videos

Recommended Resources

- Computers

- Stationery

- Charts

- Video clips

- Audio tapes

- Radio sets

- TV sets

- LCD projectors

- Standard operating and/or other workplace procedures manuals

- Specific job procedures manuals

- Machine/equipment manufacturer’s specifications and instructions

- Personal Protective Equipment (PPE) e.g.

- Mask

- Face mask/shield

- Safety bootsn

- Safety harness

- Arm/Hand guard, gloves

- Eye protection (goggles, shield)

- Hearing protection (ear muffs, ear plugs)

- Hair Net/cap/bonnet

- Hard hat

- Face protection (mask, shield)

- Apron/Gown/coverall/jump suit

- Anti-static suits

- High-visibility reflective vest

# COMMON UNITS OF LEARNING

## WORKSHOP PRACTICE

UNIT CODE: ENG/CU/RAC/CC/01/4/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Perform workshop practice

Duration of Unit: 50 hours

Unit Description

This unit describes the competencies required to perform workshop practices. It involves preparing material, tools and equipment, performing basic bench metalwork and applying basic brazing.

Summary of Learning Outcomes

- Prepare materials, tools and equipment

- Perform basic bench metalwork

- Apply basic brazing

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Prepare materials, tools and equipment | - Terms and concepts of workshop practice - Interpretation of working drawings - Applications and specifications of materials, tools and equipment - Measuring, holding and cutting work pieces - Safety Practices - PPE - Handling of tools, materials and equipment - Housekeeping - occupational health and safety | - Oral - Observation - Written tests - Practical tests - Demonstration |
| - Perform basic bench metalwork | - Terms and concepts of metalwork - Engineering symbols and representation - Interpretation of working drawings - Grinding, cutting, drilling, filing, shearing and folding techniques - Metalwork fitting - Occupational health and safety | - Oral - Observation - Written tests |
| - Apply basic brazing | - Terms and concepts of brazing - Basic brazing principles and applications - Types of brazing - Acetylene - MAPP gas - OFDN gas - Handling of tools, materials and equipment - Performing basic brazing - Housekeeping - occupational health and safety | - Oral - Observation - Written tests |

Suggested Methods of Instruction

- Instructor led facilitation of theory

- Demonstration by trainer

- Practice by trainee

- Field trips

Recommended Resources

- Measuring tools

- Drawing equipment

- Calculator

- Gas welding equipment

- Brazing equipment and materials

- Portable grinder

- Hacksaw

- Hand files

- Dot punch

- Centre punch

- Scribers

- Screw drivers

- Ballpein hammer

- Measuring tape

- Steel rule

- Portable electric drill

- Wire brush

- Tri-square

- Chisels

- tinsnips

- Mallet

- goggles

- gloves

- overall

- safety boots

- facemasks

## BASIC MATHEMATICS

UNIT CODE: ENG/CU/RAC/CC/02/4/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Apply basic mathematics

Duration of Unit: 70 hours

Unit Description

This unit describes the competencies required to apply basic mathematics: It involves applying fractions and decimals, basic algebra, carrying out mensuration, plotting simple graphs and applying ratios.

Summary of Learning Outcomes

- Apply fractions and decimals

- Apply basic algebra

- Carry out basic mensuration

- Plot simple graphs

- Apply ratios

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Apply fractions and decimals | - Fractions and mixed numbers - Proper fractions - Improper fractions - Conversion of fraction - Application of fractions | - Written tests - Oral questioning - Assignments - Supervised |
| - Apply algebra | - Algebraic expressions - Use of calculator - Simple algebraic operations - Simple quadratic equations - Methods of solving simple quadratic equations - Elimination - Substitution - Solving equations reduced to quadratic form - Solving simultaneous linear equations of two unknowns | - Written tests - Oral questioning - Assignments - Supervised exercises |
| - Carry out basic mensuration | - Common units of measurement - Length - Mass - Time - Conversion of units - Calculation of perimeters, areas, surface areas and volumes of figures and solids - Sketching of regular figures, solids and estimations of quantities | - Assignments - Oral questioning - Practical tests - Observation - Supervised exercises - Written tests |
| - Plot simple graphs | - Types of graphs - Linear graphs - Bar graphs - Pictograph - Pie charts - Plotting graphs for given set of data - Interpreting graphs | - Assignments - Oral questioning - Supervised exercises - Written tests |
| - Apply ratios | - Difference between rational and irrational numbers - Expression of ratios as percentages - Solving problems involving direct and inverse proportions | - Assignments - Oral questioning - Supervised exercises - Written tests |

Suggested Methods of Instruction

- Group discussions

- Demonstration by trainer

- Exercises by trainee

Recommended Resources

- Scientific Calculators

- Rulers, pencils, erasers

- Charts with presentations of data

- Graph books

## ELECTRICAL AND ELECTRONICS CIRCUITRY

UNIT CODE: ENG/CU/RAC/CC/03/4/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Perform electrical and electronic circuitry

Duration of Unit: 75 hours

Unit Description

This unit describes the competencies required to perform electrical and electronic circuitry. It involves identifying electrical and electronic components, interpreting electrical and electronic circuits, testing and diagnosing faults in electrical and electronic circuits and applying concepts of D.C and A.C components and circuits.

Summary of Learning Outcomes

- Identify electrical and electronics components

- Interpret technical drawing

- Interpret electrical and electronic circuits

- Test and diagnose faults in electrical and electronic circuits

- Apply concepts of D.C and A.C components and circuits

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Identify electrical and electronics components | - Terms and concepts of electrical and electronics components - SI unit of electrical and electronics parameters - Instruments used in measuring electrical and electronics parameters - Types of power control safety devices | - Written tests - Oral questioning - Assignments - Supervised exercises |
| - Interpret technical drawing | - Terms and concepts of technical drawing - Technical drawing symbols - Interpretation of Technical drawing circuits - Identification of Orthographic projections - Drawing Orthographic projections | - Written tests - Oral questioning - Assignments - Supervised exercises - Practical |
| - Interpret electrical and electronic circuits | - Terms and concepts of electrical and electronic circuits - Types of drawing symbols - Types of electrical and electronic symbols - Building blocks of electrical and electronic circuits - Interpretation of electrical and electronic circuits | - Written tests - Oral questioning - Assignments - Supervised exercises |
| - Troubleshoot electrical and electronic circuits | - Term and concepts of electrical and electronic circuits - Types of electrical and electronic testing instruments - Methods of diagnosing electrical and electronic faults | - Assignments - Oral questioning - Supervised exercises - Written tests - Practical tests |
| - Apply concepts of DC and AC components and circuits | - Term and concepts of DC and AC components - Sources of AC and DC power - Types of AC and DC components - Power factor correction - AC to DC and DC to AC Conversion - Types and Application of AC and DC machines | - Assignments - Oral questioning - Practical tests - Observation - Supervised exercises - Written tests |

Suggested Methods of Instruction

- Group discussions

- Demonstration by trainer

- Exercises by trainee

Recommended Resources

- Scientific calculators

- Reference materials

- Stationeries

- Electrical workshop

- Materials, tools and equipment for practical

- Mego-meters

- Pressure gauges

- Pressure switches

## BASIC ENGINEERING SCIENCE

UNIT CODE: ENG/CU/RAC/CC/04/4/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Apply Engineering science

Duration of Unit: 60 hours

Unit Description

This unit describes and covers the competencies required to apply engineering science. It involves applying concepts of fluid mechanics and thermodynamics.

Summary of Learning Outcomes

- Apply concepts of fluid mechanics

- Apply concepts of thermodynamics

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Apply basic concepts of fluid mechanics | - Introduction to fluid mechanics - Fluids properties - Compressibility and bulk modulus of fluids - Vapor pressure - Pressure and Pascal’s Law - Gauge readings and pressure measurements | - Assignments - Oral questioning - Practical tests - Supervised exercises - Written tests - Observation |
| - Apply concept of thermodynamics | - Definition of Thermodynamics - Modes of heat transfer - Conduction - Convection - Radiation - Thermodynamic Systems - System, boundary and surroundings - Closed system - Open system - Thermodynamic Equilibrium - Properties of Systems - State - Process - Cycle - Temperature - pressure - Laws of Thermodynamics - 1st law of thermodynamics - 2nd law of thermodynamics and entropy - Introduction to refrigeration cycles - Elements of refrigeration systems | - Assignments - Oral questioning - Practical tests - Supervised exercises - Written tests - Observation |

Suggested Methods of Instruction

- Group discussions

- Demonstration by trainer

- Exercises by trainee

- Instructor led facilitation of theory

- Viewing of related videos

Recommended Resources

- Relevant reading materials

- Charts with presentations of data

- Scientific Calculators

- Computers with internet connection

# CORE UNITS OF LEARNING

## INSTALLATION, SERVICE AND REPAIR OF DOMESTIC REFRIGERATION UNITS

UNIT CODE: ENG/CU/RAC/CR/01/4/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Install, service and repair domestic refrigeration units.

Duration of Unit: 200 hours

Unit Description

This unit covers the competencies required to install, service and repair domestic refrigeration units. It involves conducting site survey, installing, servicing, identifying and repairing faults in domestic refrigeration units. It also entails carrying out refrigerant evacuation, recovery and recycling; charging, test-running and commissioning serviced domestic refrigeration unit.

Summary of Learning Outcomes

- Conduct site survey

- Install refrigeration unit

- Service refrigeration unit

- Identify and repair faults in domestic refrigeration unit

- Carry out refrigerant evacuation, recovery and recycling

- Charge refrigeration unit

- Commission serviced refrigeration unit

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Conduct site survey | - Concepts of site survey - Refrigeration installation requirements: - Air circulation/ventilation - Condensate drain - Power supply - Wall finishing - Provision for serviceability - User access to the unit - Tools, equipment and materials - Free hand sketching | - Observation - Oral questioning - Written tests |
| - Install refrigeration unit | - Interpretation of installation drawings - Types of domestic refrigeration units - Refrigerators - Freezers - Coolers - Domestic refrigeration unit components - Types of refrigerants - Ozone depleting substances (ODS) - Effects of refrigerants on climate change - Types of lubricants - Types of sealants and insulation materials - Types and use of fastening devices - Safe installation practices - Procedure of unit installation - Hydrocarbon refrigeration Systems | - Observation - Oral questioning - Practical tests - Written tests |
| - Service refrigeration unit | - Identification and interpretation of refrigeration symbols - Fundamentals of refrigeration cycle - Refrigeration unit components - Operating parameters of refrigeration unit - Temperature - Pressure - Current - Safe handling of refrigerants - Safe handling of nitrogen gas - Servicing/replacing components | - Observation - Oral questioning - Written tests - Practical test |
| - Identify and repair faults in domestic refrigeration unit | - Concepts of troubleshooting - Fundamentals of refrigeration - Electrical parts, components, functions and operations - Mechanical parts, components, functions and operation - Identification of faults - Refrigerant leaks - High current - Under performance - Unusual noise - Vibrations - Troubleshooting electrical and mechanical faults - Repair of domestic refrigeration units - Replacing defective components - Repairing refrigerant leak - Performing pressure leak test - Performing vacuuming procedures - Performing flushing with dry nitrogen gas - Performing refrigerant charging - Performing refrigerant leak test - Commission serviced units | - Observation - Oral questioning - Written tests - Practical test |
| - Carry out refrigerant evacuation, recovery and recycling | - Terms and concepts - Type of refrigerant - Tools, equipment and materials - Calculate safe weight for the recovery cylinder - Preparation for recovery - Pressure testing of the cylinder - Piercing of pipes - Performing refrigerant recovery/recycling | - Observation - Oral questioning - Written tests - Practical test |
| - Charge refrigeration unit | - Terms and concepts - Tools, equipment and materials - Charging refrigerant - Determine specified refrigerant weight - Housekeeping | - Observation - Oral questioning - Written tests - Practical test |
| - Commission serviced refrigeration unit | - Tools, equipment and materials - Interpreting manuals - Safe working practices - Unit test-running - Operating parameters of unit - Carrying out housekeeping - Handing over of serviced unit - Preparing service report | - Observation - Oral questioning - Written tests - Practical test |

Suggested Methods of Instruction

- Facilitation of theory by trainer

- Demonstration of task by trainer

- Practice by trainee

- Field visits

- Viewing of related videos

Recommended Resources

- Measuring tools

- Spirit level

- Plumb line

- Transparent water hose

- Phase testers

- Pliers

- Side cutters

- Pinch-off pliers

- Telescopic inspection mirror

- Tube bender

- Flaring tool

- Tube bender

- Fire extinguisher

- Piercing pliers

- Leak detectors

- Refrigerant identifiers

- Clamp on ammeters

- Screw drivers

- Chisels

- Hammers (claw and ballpein)

- Hacksaws

- Electric drill

- Drill bits

- Cross cutter

- Centre punch

- Dot punch

- Rip saw

- Welding equipment

- Brazing equipment

- Soldering gun

- Masonry tools (e.g. trowel, spade, level)

- Lokring kits

- Pipe cutters

- Capillary cutters

- System analysers

- Vacuum pumps

- Refrigerant recovery units

- Refrigerant weighing scales

- Charging stations

- PPE

- safety boots

- overall

- helmet

- googles

- gloves

## SERVICE AND REPAIR OF AUTOMOBILE AIR CONDITIONING UNITS

UNIT CODE: ENG/CU/RAC/CR/02/4/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Service and repair automobile air conditioning units.

Duration of Unit: 160 hours

Unit Description

This unit covers the competencies required to service and repair automobile air conditioning units. It involves servicing, identifying and repairing faults in air conditioning components. It also entails carrying out refrigerant evacuation, recovery and recycling; charging, test-running and commissioning serviced automobile air conditioning unit.

Summary of Learning Outcomes

- Prepare for service of air conditioning components

- Perform troubleshooting

- Identify and repair faults in air conditioning components

- Perform refrigerant evacuation, recovery and recycling

- Charge refrigeration unit

- Commissioned serviced unit

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Prepare for service of air conditioning components | - Concepts of air conditioning systems - Tools and equipment - Interpretation of manufacturers manuals - Automobile system components and accessories - Types of refrigerants - Types of lubricants - Safe handling of refrigerants - Use of oxygen free dry nitrogen gas - Ozone depletion substances (ODS) - Effects of refrigerants on climate change | - Observation - Oral questioning - Written tests |
| - Perform troubleshooting | - Safe working practices - Interpretation of manufacturers manuals - Identification of materials, tools and equipment - Carrying out trouble shooting | - Observation - Oral questioning - Written tests |
| - Repair faults in automobile air conditioning systems | - Selection of PPEs - Selection of tools, equipment and instruments - Testing of automobile, A/C components - Diagnosis of faults in automobile A/C components - Refrigerant recovery/recycling - Repair of automobile air conditioning unit - Replacing defective components - Repairing refrigerant leak - Pressure test - Vacuuming procedures - Flushing with nitrogen gas - Refrigerant charging - Safety guidelines and environmental legislations | - Observation - Oral questioning - Practical tests - Written tests |
| - Perform refrigerant evacuation, recovery and recycling | - Identification of automobile A/C unit - Observation of health, safety and environmental requirements - Selection of tools, equipment and instruments - A/C unit recovery, recycling and evacuation - Carrying out housekeeping | - Observation - Oral questioning - Practical tests |
| 5. Charge refrigeration unit | - Identification of refrigeration unit - Observation of health and safety requirements - Selection of tools and equipment - Identification of applicable refrigerant - Carrying out charging - Carrying out housekeeping | - Observation - Oral questioning - Practical tests - Demonstration |
| 6. Commissioned serviced unit | - Observing health, safety and environmental requirements - Selection of tools, equipment and instruments - Carrying out unit test-running - Confirmation of operating parameters of unit - Carrying out housekeeping - Handing over serviced unit - Preparing service report | - Observation - Oral questioning - Practical tests |

Suggested Methods of Instruction

- Instructor led facilitation of theory

- Demonstration of task by trainer

- Practice by trainee

- Field trips

Recommended Resources

- Pliers

- Screwdrivers

- Hammers

- Chisels

- Spirit levels

- Phase tester

- Files

- Fin comb

- Socket wrenches

- Brazing equipment

- Multi-meter

- Leak detector

- System analyzer

- Recovery/recycling unit

- Weighing scale

- Vacuum pump

- Refrigerant identifier

## INSTALLATION, SERVICE AND REPAIR OF WINDOW TYPE AIR CONDITIONING UNITS

UNIT CODE: ENG/CU/RAC/CR/03/4/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Install, service and repair window type air conditioning units.

Duration of Unit: 200 hours

Unit Description

This unit covers the competencies required to install, service and repair window type air conditioning units. It involves conducting site survey, installing, servicing, identifying and repairing faults in window type air conditioning units. It also entails carrying out refrigerant evacuation, recovery and recycling; charging, maintaining, test-running and commissioning serviced window type air conditioning unit.

Summary of Learning Outcomes

- Conduct site survey

- Install air conditioning unit

- Service air conditioning unit

- Identify and repair faults in air conditioning unit

- Carry out refrigerant evacuation, recovery and recycling

- Carry out refrigerant charging

- Commission serviced air conditioning unit

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Conduct site survey | - Concepts of site survey - Air conditioning unit installation requirements: - Air circulation/ventilation - Condensate drain - Power supply - Wall finishing - Provision for serviceability - User access to the unit - Tools, equipment and materials - Free hand sketching | - Observation - Oral questioning - Written tests |
| - Install air conditioning unit | - Interpretation of installation drawings - Types of air conditioning units - Air conditioning unit components - Ozone depleting substances (ODS) - Effects of refrigerants on climate change - Types of sealants and insulation materials - Types and use of fastening devices - Safe installation practices - Procedure of unit installation | - Observation - Oral questioning - Practical tests - Written tests |
| - Service air conditioning unit | - Identification and interpretation of air conditioning symbols - Fundamentals of air conditioning systems - Air conditioning unit components - Operating parameters of air conditioning unit - Temperature - Pressure - Current - Humidity - Safe handling of refrigerants - Safe handling of nitrogen gas - Servicing/replacing components | - Observation - Oral questioning - Written tests - Practical test |
| - Identify and repair faults in air conditioning unit | - Concepts of troubleshooting - Fundamentals of air conditioning - Electrical parts, components, functions and operations - Mechanical parts, components, functions and operation - Identification of faults - Refrigerant leaks - High current - Under performance - Unusual noise - Vibrations - Troubleshooting electrical and mechanical faults - Repair of air conditioning units - Replacing defective components - Repairing refrigerant leak - Performing pressure leak test - Performing vacuuming procedures - Performing flushing with dry nitrogen gas - Performing refrigerant charging - Performing refrigerant leak test - Performing temperature and humidity tests - Commission serviced units | - Observation - Oral questioning - Written tests - Practical test |
| - Carry out refrigerant evacuation, recovery and recycling | - Concepts of refrigerant recycling - Type of refrigerants - Types of lubricants - Tools, equipment and materials - Preparation for refrigerant recovery - Pressure testing of the cylinder - Piercing of pipes - Performing refrigerant recovery/recycling | - Observation - Oral questioning - Written tests - Practical test |
| - Carry out refrigerant charging | - Concepts of refrigerant charging - Tools, equipment and materials - Determining specified refrigerant weight - Charging refrigerant - Carrying out housekeeping | - Observation - Oral questioning - Written tests - Practical test |
| - Commission serviced air conditioning unit | - Temperature and pressure testing - Confirmation of unit operating parameters | - Observation - Oral questioning - Written tests - Practical test |

Suggested Methods of Instruction

- Facilitation of theory by trainer

- Demonstration of task by trainer

- Practice by trainee

- Field visits

- Viewing of related videos

Recommended Resources

- Measuring tools

- Spirit level

- Plumb line

- Transparent water hose

- Phase tester

- Pliers

- Side cutter

- Pinch-off pliers

- Telescopic inspection mirror

- Tube bender

- Flaring tool

- Fire extinguisher

- Piercing pliers

- Leak detector

- Refrigerant identifier

- Clamp on ammeter

- Screw drivers

- Chisels

- Hammers (claw and ballpein)

- Hacksaw

- Electric drill

- Drill bits

- Cross cutter

- Centre punch

- Dot punch

- Rip saw

- Welding equipment

- Brazing equipment

- Soldering gun

- Masonry tools (e.g. trowel, spade, level)

- Lokring kits

- Pipe cutters

- Capillary cutter

- System analyser

- Vacuum pump

- Refrigerant recovery unit

- Refrigerant weighing scale

- Charging station

- PPE

- safety boots

- overall

- hardhat

- googles

- gloves