REPUBLIC OF KENYA

COMPETENCY BASED CURRICULUM

FOR

REFRIGERATION AND AIR CONDITIONING

LEVEL 5

TVET CDACC

P.O. BOX 15745-00100

NAIROBI

First published 2018

Copyright © TVET CDACC

All rights reserved. No part of this curriculum may be reproduced, distributed, or transmitted in any form or by any means, including photocopying, recording, or other electronic or mechanical methods without the prior written permission of the TVET CDACC, except in the case of brief quotations embodied in critical reviews and certain other non-commercial uses permitted by copyright law. For permission requests, write to the Council Secretary/CEO, at the address below:

Council Secretary/CEO

TVET Curriculum Development, Assessment and Certification Council

P.O. Box 15745–00100

Nairobi, Kenya

Email: cdacc.tvet@gmail.com

# FOREWORD

The provision of quality education and training is fundamental to the Government’s overall strategy for social economic development. Quality education and training will contribute to achievement Kenya’s development blue print and sustainable development goals.

Reforms in the education sector are necessary for the achievement of Kenya Vision 2030 and meeting the provisions of the Constitution of Kenya 2010. The education sector had to be aligned to the Constitution and this resulted to the formulation of the Policy Framework for Reforming Education and Training (Sessional Paper No. 4 of 2016). A key feature of this policy is the radical change in the design and delivery of the TVET training.  This policy document requires that training in TVET be competency based, curriculum development be industry led, certification be based on demonstration of competence and mode of delivery allows for multiple entry and exit in TVET programmes.

These reforms demand that Industry takes a leading role in curriculum development to ensure the curriculum addresses its competence needs. It is against this background that this Curriculum has been developed.

It is my conviction that this curriculum will play a great role towards development of competent human resource for the Refrigeration and Air-conditioning sector’s growth and sustainable development.

PRINCIPAL SECRETARY, VOCATIONAL AND TECHNICAL TRAINING

MINISTRY OF EDUCATION

# PREFACE

Kenya Vision 2030 aims to transform the country into a newly industrializing, “middle-income country providing a high quality life to all its citizens by the year 2030”.  Kenya intends to create a globally competitive and adaptive human resource base to meet the requirements of a rapidly industrializing economy through life-long education and training. TVET has a responsibility of facilitating the process of inculcating knowledge, skills and attitudes necessary for catapulting the nation to a globally competitive country, hence the paradigm shift to embrace Competency Based Education and Training (CBET).

The Technical and Vocational Education and Training Act No. 29 of 2013 and the Sessional Paper No. 4 of 2016 on Reforming Education and Training in Kenya, emphasized the need to reform curriculum development, assessment and certification. This called for a shift to CBET to address the mismatch between skills acquired through training and skills needed by industry as well as increase the global competitiveness of Kenyan labour force.

TVET Curriculum Development, Assessment and Certification Council (TVET CDACC) in conjunction with Mechanical Engineering Sector Skills Advisory Committee (SSAC) and CAP Youth Empowerment Institute have developed this curriculum.

The curriculum is designed and organized with an outline of learning outcomes; suggested delivery methods, training/learning resources and methods of assessing the trainee’s achievement. The curriculum is competency-based and allows multiple entry and exit to the course.

I am grateful to the Council Members, Council Secretariat, Mechanical Engineering SSAC, expert workers and all those who participated in the development of this curriculum.

Prof. CHARLES M. M. ONDIEKI, PhD, FIET (K), Con. Eng. Tech.

CHAIRMAN, TVET CDACC

# ACKNOWLEDGEMENT

This curriculum has been designed for competency-based training and has independent units of learning that allow the trainee flexibility in entry and exit. In developing the curriculum, significant involvement and support was received from various organizations.

I appreciate CAP Youth Empowerment Institute and Mechanical Engineering Sector Skills Advisory Committee (SSAC) who enabled the development of this curriculum.

I recognize with appreciation the role of the SSAC in ensuring that competencies required by the industry are addressed in this curriculum. I also thank all stakeholders in the Mechanical Engineering sector for their valuable input and all those who participated in the process of developing this curriculum.

I am convinced that this curriculum will go a long way in ensuring that workers in Mechanical Engineering sector will acquire competencies that will enable them perform their work more efficiently.

DR. LAWRENCE GUANTAI M’ITONGA, PhD

COUNCIL SECRETARY/CEO

TVET CDACC

# ACRONYMS

BC		 Basic Competency

CC                   Common competency

CDACC	 Curriculum Development, Assessment and Certification Council

CR		 Core Competency

CU		 Curriculum

ENG		 Engineering

KCSE 		 Kenya Certificate of secondary Education

KNQA		 Kenya National Qualifications Authority

OS		 Occupational Standards

OSHA		 Occupation Safety and Health Act

OSHS		 Occupation Safety and Health Standards

PPE    		 Personal Protective Equipment

PVC 		 Polyvinyl Chloride

RAC                 Refrigeration and air conditioning

SOPs 		 Standard Operating Procedures

SSAC		 Sector Skills Advisory Committee

TVET		 Technical and Vocational Education and Training

# KEY TO UNIT CODE

ENG/ OS / RAC/ BC/01/5/A

Industry or sector

Occupational Standards

Occupational area

Type of competency

Competency number

Competency level

Version control

TABLE OF CONTENTS

FOREWORD	iii

PREFACE	iv

ACKNOWLEDGEMENT	v

ACRONYMS	vi

KEY TO UNIT CODE	vii

COURSE OVERVIEW	1

BASIC UNITS OF LEARNING	3

COMMUNICATION SKILLS	4

NUMERACY SKILLS	7

DIGITAL LITERACY	12

ENTREPRENEURIAL SKILLS	15

EMPLOYABILITY SKILLS	19

ENVIRONMENTAL LITERACY	24

OCCUPATIONAL SAFETY AND HEALTH PRACTICES	27

COMMON UNITS OF LEARNING	30

WORKSHOP PRACTICE	31

ELECTRICAL INSTALLATION	33

ENGINEERING MATHEMATICS	35

ELECTRICAL PRINCIPLES	39

TECHNICAL DRAWING	42

CORE UNITS OF LEARNING	45

INSTALLATION, SERVICING AND REPAIR OF REFRIGERATION UNITS	46

INSTALLATION, SERVICING AND REPAIR  OF AIR CONDITIONING UNITS	51

SERVICE AND REPAIR OF AUTOMOBILE AIR CONDITIONING UNITS	55

# COURSE OVERVIEW

Description of the course

This course is designed to equip an individual with competencies for installing, servicing, troubleshooting and repairing air conditioning and refrigeration units.

Units of Learning

This course consists of basic, common and core units of learning as indicated below:

Basic Units of Learning

| Unit of Learning Code | Unit of Learning Title | Duration in Hours | Credit Factors |
| --- | --- | --- | --- |
| ENG/CU/RAC/BC/01/5/A | Communication skills | 25 | 2.5 |
| ENG/CU/RAC/BC/02/5/A | Digital literacy | 45 | 4.5 |
| ENG/CU/RAC/BC/03/5/A | Entrepreneurial skills | 70 | 7 |
| ENG/CU/RAC/BC/04/5/A | Employability skills | 50 | 5 |
| ENG/CU/RAC/BC/05/5/A | Environmental literacy | 25 | 2.5 |
| ENG/CU/RAC/BC/06/5/A | Occupational safety and health practices | 25 | 2.5 |
| Total |  | 240 | 24 |

Common Units of Learning

| Unit of Learning Code | Unit of Learning Title | Duration in Hours | Credit Factors |
| --- | --- | --- | --- |
| ENG/CU/RAC/CC/01/5/A | Workshop practice | 50 | 5 |
| ENG/CU/RAC/CC/02/5/A | Electrical installation | 40 | 4 |
| ENG/CU/RAC/CC/03/5/A | Engineering mathematics | 80 | 8 |
| ENG/CU/RAC/CC/04/5/A | Electrical principles | 75 | 7.5 |
| ENG/CU/RAC/CC/05/5/A | Technical drawing | 75 | 7.5 |
| Total |  | 320 | 32 |

Core Units of Learning

| Unit of Learning Code | Unit of Learning Title | Duration in Hours | Credit Factors |
| --- | --- | --- | --- |
| ENG/CU/RAC/CR/01/5/A | Installation, service and repair of refrigeration units | 200 | 20 |
| ENG/CU/RAC/CR/02/5/A | Installation, service and repair of air conditioning units | 150 | 15 |
| ENG/CU/RAC/CR/03/5/A | Service and repair of automobile air conditioning units | 190 | 19 |
|  | Industrial attachment | 360 | 36 |
| Total |  | 900 | 90 |
| Grand Total |  | 1460 | 146 |

The total duration of the course is 1460 hours which include 360 hours of industrial attachment.

Entry Requirements

An individual entering this course should have any of the following minimum requirements:

- Kenya Certificate of Secondary Education (KCSE) mean grade D (Plain)

Or

- Certificate in Refrigeration and Air Conditioning Level 4

Or

- Equivalent qualifications as determined by Kenya National Qualifications Authority (KNQA)

Industrial attachment

An individual enrolled in this course will undergo an attachment for a period of 360 hours. An individual enrolled in one of the core units of learning will undergo an attachment for a period of 120 hours.

Assessment

The course will be assessed at two levels: internally and externally. Internal assessment is continuous and is conducted by the trainer who is monitored by an accredited internal verifier while external assessment is the responsibility of TVET CDACC.

Certification

An individual will be awarded a Certificate of Competency on demonstration of competence in a unit of competency. To be awarded Certificate in Refrigeration and Air Conditioning Level 5, an individual must demonstrate competence in all the units of competency in the qualification pack.

These certificates will be awarded by TVET CDACC in conjunction with the training provider.

# BASIC UNITS OF LEARNING

# COMMUNICATION SKILLS

UNIT CODE:	 ENG/CU/RAC/BC/01/5/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Demonstrate communication skills

Duration of Unit: 25 hours

Unit Description

This unit describes the competencies required to use specialized communication skills to meet specific needs of internal and external clients, conduct interviews, facilitate discussion with groups and contribute to the development of communication strategies.

Summary of Learning Outcomes

- Meet communication needs of clients and colleagues

- Contribute to the development of communication strategies

- Conduct interviews

- Facilitate group discussions

- Represent the organization

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Meet communication needs of clients and colleagues | - Communication process - Modes of communication - Medium of communication - Effective communication - Barriers to communication - Flow of communication - Sources of information - Organizational policies - Organization requirements for written and electronic communication methods - Report writing - Effective questioning techniques (clarifying and probing) - Workplace etiquette - Ethical work practices in handling communication - Active listening - Feedback - Interpretation - Flexibility in communication | - Observation - Oral |
| - Contribute to the development of communication strategies | - Dynamics of groups - Styles of group leadership - Openness and flexibility in communication - Communication skills relevant to client groups | - Written - Observation |
| - Conduct interviews | - Types of interview - Establishing rapport - Facilitating resolution of issues - Developing action plans | - Written - Observation |
| - Facilitate group discussions | - Identification of communication needs - Dynamics of groups - Styles of group leadership - Presentation of information - Encouraging group members’ participation - Evaluating group communication strategies | - Written - Observation |
| - Represent the organization | - Presentation techniques - Development of a presentation - Multi-media utilization in presentation - Communication skills relevant to client groups | - Observation - Written |

Suggested Delivery Methods

- Interview

- Role playing

- Observation

- Viewing of related videos

Recommended Resources

- Desktop computers/laptops

- Internet connection

- Projectors

- Telephone

# NUMERACY SKILLS

UNIT CODE: ENG/CU/RAC/BC/02/5/A

Relationship to Occupational Standards:

This unit addresses the unit of competency: Demonstrate numeracy skills

Duration of Unit: 40 hours

Unit Description

This unit covers the competencies required to perform numerical functions. The person who is competent in this unit shall be able to: Calculate with whole numbers and familiar fractions, decimals and percentages for work; Estimate, measure, and calculate with routine metric measurements for work; Use routine maps and plans for work; Interpret, draw and construct 2D and 3D shapes for work; Interpret routine tables, graphs and charts for work; Collect data and construct routine tables and graphs for work; and Use basic functions of calculator

Summary of Learning Outcomes

- Calculate with whole numbers and familiar fractions, decimals and percentages for work

- Estimate, measure and calculate with routine metric measurements for work

- Use routine maps and plans for work

- Interpret, draw and construct 2D and 3D shapes for work

- Interpret routine tables, graphs and charts for work

- Collect data and construct routine tables and graphs for work

- Use basic functions of calculator

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| 1. Calculate with whole numbers and familiar fractions, decimals and percentages for work | - Interpretation of whole numbers, fractions, decimals, percentages and rates - Calculations involving several steps - Calculation with whole numbers and routine or familiar fractions, decimals and percentages - Conversion between equivalent forms of fractions, decimals and percentages - Application of order of operations to solve multi-step calculations - Application of problem solving strategies - Making estimations to check reasonableness of problem solving process, outcome and its appropriateness to the context and task - Use of formal and informal mathematical language and symbolism to communicate the result of a task | - Oral - Written - Practical test - Observation |
| 2. Estimate, measure and calculate with routine metric measurements for work | - Selection and interpretation of measurement information in workplace tasks and texts - Identification and selection of routine measuring equipment - Estimation and making measurements using correct units - Estimation and calculation using routine measurements - Performing conversions between routinely used metric units - Using problem solving processes to undertake tasks - Recording information using mathematical language and symbols | - Oral - Written - Practical test - Observation |
| 3. Use routine maps and plans for work | - Identification of features in routine maps and plans - Symbols and keys used in routine maps and plans - Identification and interpretation of orientation of map to North - Demonstrate understanding of direction and location - Apply simple scale to estimate length of objects, or distance to location or object - Give and receive directions using both formal and informal language | - Oral - Written - Practical test - Observation |
| 4. Interpret, draw and construct 2D and 3D shapes for work | - Identify two dimensional shapes and routine three dimensional shapes in everyday objects and in different orientations - Explain the use and application of shapes - Use formal and informal mathematical language and symbols to describe and compare the features of two dimensional shapes and routine three dimensional shapes - Identify common angles - Estimate common angles in everyday objects - Use formal and informal mathematical language to describe and compare common angles - Use common geometric instruments to draw two dimensional shapes - Construct routine three dimensional objects from given nets | - Oral - Written - Practical test - Observation |
| 5. Interpret routine tables, graphs and charts for work | - Identify routine tables, graphs and charts in predominately familiar texts and contexts - Identify common types of graphs and their different uses - Identify features of tables, graphs and charts - Locate specific information - Perform calculations to interpret information - Explain how statistics can inform and persuade - Identify misleading statistical information - Discuss information relevant to the workplace | - Oral - Written - Practical test - Observation |
| 6. Collect data and construct routine tables and graphs for work | - Identify features of common tables and graphs - Identify uses of different tables and graphs - Determine data and variables to be collected - Determine audience - Select a method to collect data - Collect data - Collate information in a table - Determine suitable scale and axes - Draft and draw graph to present information - Check that data meets the expected results and context - Report or discuss information using formal and informal mathematical language | - Oral - Written - Practical test - Observation |
| 7. Use basic functions of calculator | - Identify and use keys for basic functions on a calculator - Calculate using whole numbers, money and routine decimals and percentages - Calculate with routine fractions and percentages - Apply order of operations to solve multi-step calculations - Interpret display and record result - Make estimations to check reasonableness of problem solving process, outcome and its appropriateness to the context and task - Use formal and informal mathematical language and appropriate symbolism and conventions to communicate the result of the task | - Oral - Written - Practical test - Observation |

Suggested Delivery Methods

- Group discussions

- Demonstration by trainer

- Practical work by trainee

- Exercises

Recommended Resources

- Calculators

- Rulers, pencils, erasers

- Charts with presentations of data

- Graph books

- Dice

- Internet

# DIGITAL LITERACY

UNIT CODE:	 ENG/CU/RAC/BC/03/5/A

Relationship to Occupational Standards

This unit addresses the Unit of Competency: Demonstrate digital literacy

Duration of Unit: 45 hours

Unit Description

This unit describes competencies required to use a computer and other digital devices for the purposes of communication, work performance and management at the workplace.

Summary of Learning Outcomes

- Identify computer software and hardware

- Apply security measures to data, hardware, software in automated environment

- Apply computer software in solving tasks

- Apply internet and email in communication at workplace

- Apply desktop publishing in official assignments

- Prepare presentation packages

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Identify computer hardware and software | - Concepts of ICT - Functions of ICT - History of computers - Components of a computer - Classification of computers | - Written tests - Oral presentation - Observation |
| - Apply security measures to data, hardware and software | - Data security and control - Security threats and control measures - Types of computer crimes - Detection and protection against computer crimes - Laws governing protection of ICT | - Written tests - Oral presentation - Observation - Project |
| - Apply computer software in solving tasks | - Operating system - Word processing - Spread sheets - Data base design and manipulation - Data manipulation, storage and retrieval | - Oral questioning - Observation - Project |
| - Apply internet and email in communication at workplace | - Computer networks - Network configurations - Uses of internet - Electronic mail (e-mail) concept | - Oral questioning - Observation - Oral presentation - Written report |
| - Apply desktop publishing in official assignments | - Concept of desktop publishing - Opening publication window - Identifying different tools and tool bars - Determining page layout - Opening, saving and closing files - Drawing various shapes using DTP - Using colour pellets to enhance a document - Inserting text frames - Importing and exporting text - Object linking and embedding - Designing of various publications - Printing of various publications | - Oral questioning - Observation - Oral presentation - Written report - Project |
| - Prepare presentation packages | - Types of presentation packages - Procedure of creating slides - Formatting slides - Presentation of slides - Procedure for editing objects | - Oral questioning - Observation - Oral presentation - Written report - Project |

Suggested Delivery Methods

- Instructor led facilitation of theory

- Demonstration by trainer

- Practical work by trainee

- Viewing of related videos

- Project

- Group discussions

Recommended Resources

- Desk top computers

- Laptop computers

- Other digital devices

- Printers

- Storage devices

- Internet access

- Computer software

# ENTREPRENEURIAL SKILLS

UNIT CODE: ENG/CU/RAC/BC/04/5/A

Relationship to occupational standards

This unit addresses the unit of competency: Demonstrate entrepreneurial skills

Duration of unit: 70 hours

Unit description

This unit describes the competencies critical to demonstration of entrepreneurial aptitudes. It involves, developing business innovation strategies, developing new markets, customer base, expanding employed capital and undertaking regional/county expansion while retaining motivated staff.

Summary of Learning Outcomes

- Develop business innovation strategies

- Develop new products/ markets

- Expand customers and product lines

- Motivate all staff/workers

- Expand employed capital base

- Undertake regional/county business expansion

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Develop business Innovation strategies | - Innovation in business - Business innovation strategies - Creativity for business development - New technologies in entrepreneurship - Linkages with other entrepreneurs - Setting strategic directions - New ideas and approaches - Entrepreneurial skills development - Market trends - Monitoring and anticipating market trends - Products and processes in entrepreneurship - Business conventions ad exhibitions - Business growth refocus | - Observation - Case studies - Individual/group assignments Projects - Written - Oral |
| - Develop new products/ markets | - Feasibility study for new products - Identifying new sources of raw material and resources - New target markets/customers - Increasing products and services - Marketing improvement - Intrapreneurship and business growth | - Observation - Case studies - Individual/group assignments - Projects - Written - Oral |
| - Expand customers and product lines | - Market demand - Regulatory environment - Creating product and services competitive advantages - Creating royal client base - Identifying and maintain new customers and markets - Advance product/ service promotions - Advance market expansion - Small business records management - Book keeping and auditing for small businesses - Computer application software and programmes - ICT in customer and product diversification | - Oral - Observation - Case studies - Individual/group assignments - Projects - Written |
| - Motivate staff/workers | - Motivation of workers `Communication at workplace for motivation purpose - Problem solving - Conflict resolution at place of work - Good staff/workers relation - Team building and team work - Staff development and enhancement - Culture of continuous improvement | - Observation - Case studies - Individual/group assignments - Projects - Written |
| - Expand employed capital base | - Employed capital in business - Business share holdings - Types of shares - Shares diversification - Role of shareholders - Entrepreneurship - Increasing products and services | - Observation - Case studies - Individual/group assignments - Projects - Written - Oral |
| - Undertake county/ regional business expansion | - Region/ county identification process - Regional/ county laws and regulation - Business regional/county expansion - Regional/ County business expansion - Innovation in business - Business expansion and diversification - Resources for regional/county expansion - Small business Strategic Plan - Computer software in business development - ICT and business growth | - Observation - Case studies - Individual/group assignments - Projects - Written - Oral |

Suggested Delivery Methods

- Instructor led facilitation of theory

- Demonstration by trainer

- Practice by trainee

- Role play

- Case study

Recommended Resources

- Case studies for small businesses

- Business plan templates

- Laptop/ desktop computers

- Internet

- Telephone

- Writing materials

# EMPLOYABILITY SKILLS

UNIT CODE: ENG/CU/RAC/BC/05/5/A

Relationship to Occupational Standards

This unit addresses the Unit of Competency: Demonstrate employability skills

Duration of Unit: 50 hours

Unit Description

This unit covers competencies required to demonstrate employability skills. It involves conducting self-management, demonstrating interpersonal communication, critical safe work habits, leading a workplace team, planning and organizing work, maintaining professional growth and development, demonstrating workplace learning, problem solving skills and managing ethical performance.

Summary of Learning Outcomes

1.	Conduct self-management

2.	Demonstrate interpersonal communication

3.	Demonstrate critical safe work habits

4.	Lead small teams

5.	Plan and organize work

6.	Maintain professional growth and development

7.	Demonstrate workplace learning

8.	Demonstrate problem solving skills

9.	Demonstrate workplace ethics

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Conduct self-management | - Self-awareness - Formulating personal vision, mission and goals - Strategies for overcoming life challenges - Emotional intelligence - Assertiveness versus aggressiveness - Expressing personal thoughts, feelings and beliefs - Developing and maintaining high self-esteem - Developing and maintaining positive self-image - Articulating ideas and aspirations - Accountability and responsibility - Good work habits - Self-awareness - Self-development - Financial literacy - Healthy lifestyle practices | - Observation - Written - Oral interview - Third party report |
| - Demonstrate interpersonal communication | - Meaning of interpersonal communication - Listening skills - Types of audience - Writing skills - Reading skills - Meaning of empathy - Understanding customers’ needs - Establishing communication networks - Sharing information | - Observation - Written - Oral interview - Third party report |
| - Demonstrate critical safe work habits | - Stress and stress management - Punctuality and time consciousness - Leisure - Integrating personal objectives into organizational objectives - Resources utilization - Setting work priorities - HIV and AIDS - Drug and substance abuse - Handling emerging issues | - Observation - Written - Oral interview - Third party report |
| - Lead a small team | - Leadership qualities - Team building - Determination of team roles and objectives - Team performance indicators - Responsibilities in a team - Forms of communication - Complementing team activities - Gender and gender mainstreaming - Human rights - Maintaining relationships - Conflicts and conflict resolution | - Observation - Oral interview - Written - Third party report |
| - Plan and organize work | - Functions of management - Planning - Organizing - Time management - Decision making process - Task allocation - Evaluating work activities - Resource utilization - Problem solving - Collecting and organising information | - Observation - Oral interview - Written - Third party report |
| - Maintain professional growth and development | - Opportunities for professional growth - Assessing training needs - Licenses and certifications for professional growth and development - Pursuing personal and organizational goals - Identifying work priorities - Recognizing career advancement | - Observation - Oral interview - Written - Third party report |
| - Demonstrate workplace learning | - Managing own learning - Contributing to the learning community at the workplace - Cultural aspects of work - Variety of learning context - Application of learning - Safe use of technology - Identifying opportunities - Generating new ideas - Workplace innovation - Performance improvement - Handling emerging issues - Future trends and concerns in learning | - Observation - Oral interview - Written - Third party report |
| - Demonstrate problem solving skills | - Problem identification - Problem solving - Application of problem-solving strategies - Resolving customer concerns | - Observation - Oral interview - Written - Third party report |
| - Demonstrate workplace ethics | - Meaning of ethics - Ethical perspectives - Principles of ethics - Values and beliefs - Ethical standards - Organization code of ethics - Common ethical dilemmas - Organization culture - Corruption, bribery and conflict of interest - Privacy and data protection - Diversity, harassment and mutual respect - Financial responsibility/accountability - Etiquette - Personal and professional integrity - Commitment to jurisdictional laws - Emerging issues in ethics | - Observation - Oral interview - Written - Third party report |

Suggested Methods of Delivery

- Instructor lead facilitation of theory

- Demonstrations

- Simulation/Role play

- Group Discussion

- Presentations

- Projects

- Case studies

- Assignments

Recommended Resources

- Computers

- Stationery

- Charts

- Video clips

- Audio tapes

- Radio sets

- TV sets

- LCD projectors

# ENVIRONMENTAL LITERACY

UNIT CODE:	 ENG/CU/RAC/BC/06/5/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Demonstrate environmental literacy

Duration of Unit: 25 hours

Unit Description

This unit describes the competencies required to control environmental hazard, control environmental pollution, comply with workplace sustainable resource use, evaluate current practices in relation to resource usage, identify environmental legislations/conventions for environmental concerns, implement specific environmental programs and monitor activities on environmental protection/programs.

Summary of Learning Outcomes

- Control environmental hazard

- Control environmental Pollution

- Demonstrate sustainable resource use

- Evaluate current practices in relation to resource usage

- Identify Environmental legislations/conventions for environmental concerns

- Implement specific environmental programs

- Monitor activities on Environmental protection/Programs

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Control environmental hazard | - Purposes and content of Environmental Management and Coordination Act 1999 - Purposes and content of Solid Waste Act - Storage methods for environmentally hazardous materials - Disposal methods of hazardous wastes - Types and uses of PPE in line with environmental regulations - Occupational Safety and Health Standards (OSHS) | - Written questions - Oral questions - Observation of work procedures |
| - Control environmental Pollution control | - Types of pollution - Environmental pollution control measures - Types of solid wastes - Procedures for solid waste management - Different types of noise pollution - Methods for minimizing noise pollution | - Written questions - Oral questions - Observation of work procedures - Role play |
| - Demonstrate sustainable resource use | - Types of resources - Techniques in measuring current usage of resources - Calculating current usage of resources - Methods for minimizing wastage - Waste management procedures - Principles of 3Rs (Reduce, Reuse, Recycle) - Methods for economizing or reducing resource consumption | - Written questions - Oral questions - Observation of work procedures - Role play |
| - Evaluate current practices in relation to resource usage | - Collection of information on environmental and resource efficiency systems and procedures, - Measurement and recording of current resource usage - Analysis and recording of current purchasing strategies. - Analysis of current work processes to access information and data - Identification of areas for improvement | - Written questions - Oral questions - Observation of work procedures - Role play |
| - Identify Environmental legislations/conventions for environmental concerns | - Environmental issues/concerns - Environmental legislations /conventions and local ordinances - Industrial standard /environmental practices - International Environmental Protocols (Montreal, Kyoto) - Features of an environmental strategy | - Written questions - Oral questions - Observation of work procedures |
| - Implement specific environmental programs | - Community needs and expectations - Resource availability - 5 s of good housekeeping - Identification of programs/Activities - Setting of individual roles /responsibilities - Resolving problems /constraints encountered - Consultation with stakeholders | - Written questions - Oral questions - Observation of work procedures - Role play |
| - Monitor activities on Environmental protection/Programs | - Periodic monitoring and Evaluation of activities - Gathering feedback from stakeholders - Analysing data gathered - Documentation of recommendations and submission - Setting of management support systems to sustain and enhance the program - Monitoring and reporting of environmental incidents to concerned /proper authorities | - Oral questions - Written tests - Practical test - Observation |

Suggested Delivery Methods

- Instructor led facilitation of theory

- Demonstration by trainer

- Practical work by trainee

- Viewing of related videos

Recommended Resources

- Standard operating and/or other workplace procedures manuals

- Specific job procedures manuals

- Environmental Management and Coordination Act 1999

- Machine/equipment manufacturer’s specifications and instructions

- Personal Protective Equipment (PPE)

- ISO standards

- Ccompany environmental management systems (EMS)

- Montreal Protocol

- Kyoto Protocol

# OCCUPATIONAL SAFETY AND HEALTH PRACTICES

UNIT CODE:	 ENG/CU/RAC/BC/07/5/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Demonstrate occupational safety and health practices

Duration of Unit: 25 hours

Unit Description

This unit describes the competencies required to comply with regulatory and organizational requirements for occupational safety and health.

Summary of Learning Outcomes

- Identify workplace hazards and risk

- Identify and implement appropriate control measures to hazards and risks

- Implement OSH programs, procedures and policies/guidelines

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Identify workplace hazards and risks | - Identification of hazards in the workplace and/or the indicators of their presence - Evaluation and/or work environment measurements of OSH hazards/risk existing in the workplace is conducted by - Authorized personnel or agency - Gathering of OHS issues and/or concerns raised | - Oral questions - Written tests - Observation of trainees identify hazards and risks |
| - Identify and implement appropriate control measure to hazards and risks | - Prevention and control measures, including use of PPE (personal protective equipment) for specific hazards are identified and implemented - Appropriate risk controls based on result of OSH hazard evaluation is recommended - Contingency measures, including emergency procedures during workplace incidents and emergencies are recognized and established in accordance with organization procedures | - Oral questions - Written tests - Practical test - Observation of implementation of control measures |
| - Implement OSH programs, procedures and policies/guidelines | - Providing information to work team about company OHS program, procedures and policies/guidelines - Participating in implementation of OSH procedures and policies/ guidelines - Training of team members and advice on OSH standards and procedures - Implementation of procedures for maintaining OSH-related records | - Oral questions - Written tests - Practical test - Observation |

Suggested Delivery Methods

- Instructor led facilitation of theory

- Demonstration by trainer

- Practical work by trainee

- Viewing of related videos

Recommended Resources

- Standard operating and/or other workplace procedures manuals

- Specific job procedures manuals

- Machine/equipment manufacturer’s specifications and instructions

- Personal Protective Equipment (PPE) e.g.

- Mask

- Face mask/shield

- Safety boots

- Safety harness

- Arm/Hand guard, gloves

- Eye protection (goggles, shield)

- Hearing protection (ear muffs, ear plugs)

- Hair Net/cap/bonnet

- Hard hat

- Face protection (mask, shield)

- Apron/Gown/coverall/jump suit

- Anti-static suits

- High-visibility reflective vest

# COMMON UNITS OF LEARNING

# WORKSHOP PRACTICE

UNIT CODE: ENG/CU/RAC/CC/01/5/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Perform workshop practice

Duration of Unit: 50 hours

Unit Description

This unit describes the competencies required to prepare materials, tools and equipment, mark out dimensions and perform basic bench works such as filing, cutting, drilling and fastening based on the required performance standards.

Summary of Learning Outcomes

- Prepare materials, tools and equipment

- Mark out dimensions on work piece

- Perform required basic metal works

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Prepare materials, tools and equipment | - Uses and specifications of materials, tools and equipment - Measuring, holding and cutting work pieces - Safety Practices - PPE - Handling of tools, materials and equipment - Good housekeeping | - Oral - Observation - Written tests |
| - Mark out dimensions on work pieces | - Free hand sketching - Interpretation of working drawings - Measuring tools; functions and use - Measurements - Dimensioning - Unit conversion | - Oral - Observation - Written tests |
| - Perform metal works | - Free hand sketching - Symbols representation - Interpretation of working drawings - Grinding, cutting, drilling, filing, shearing and folding techniques - Basic welding and brazing principles and application - Basic fittings - occupational health and safety | - Oral - Observation - Written tests |

Suggested Delivery Methods

- Instructor led facilitation of theory

- Demonstration by trainer

- Practice by trainee

- Field trips

Recommended Resources

- Measuring tools

- Drawing instruments

- Calculator

- Arc-welding equipment

- Gas welding equipment

- Portable grinder

- Hacksaw

- File

- Dot punch

- Centre punch

- Scribers

- Screw drivers

- Ballpein hammers

- Measuring tapes

- Steel rule

- Portable electric drill

- Brush wire

- Tri-square

- Chisels

- Snips

- Mallets

PPEs

- goggles

- gloves

- overall

- safety boots

- masks

# ELECTRICAL INSTALLATION

UNIT CODE: ENG/CU/RAC/CC/02/5/A

Relationship to Occupational Standards

This unit addresses the unit standard: Perform basic electrical installation

Duration of Unit: 40 hours

Unit Description

This unit covers the competencies needed by an artisan to prepare materials, tools and equipment, select correct types and sizes of cables, perform cable jointing and termination, test electrical components and perform basic electrical repair based on the required performance standards.

Summary of Learning Outcomes

    - Prepare tools, equipment and instruments

    - Identify and select correct types and sizes of cables

    - Perform cable jointing, termination and insulation

    - Perform installation of electrical circuits

    - Test power supply and electrical circuits

    - Perform electrical repair

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| 1. Prepare tools, equipment and instruments | - Interpretation of drawings - Selection and uses of tools, equipment and instruments - Calibration of testing instruments - Safe handling and proper care of tools, equipment and testing instruments | - Observation - Oral questioning - Written tests |
| - Identify and select types and sizes of cables | - Determination of cable sizes - Electrical quantities and their units of measurements - Electrical safety and hazards - Measurement and testing procedures of resistance, voltage and current | - Observation - Oral questioning - Written tests |
| 3. Perform cable jointing, termination and insulation | - Relevant clauses of IEE regulations - Symbols representation - Types of electrical cable joints - Conducting cable termination | - Observation - Oral questioning |
| - Perform installation of electrical circuits | - Relevant clauses of IEE regulations - Draw and interpret electrical circuits - Carry out installation of simple electrical circuits - Test electrical circuits | - Observation - Oral questioning |
| - Test power supply and electrical circuits | - Relevant clauses of IEE regulations - Procedure of testing power supply - Defects in power supply | - Observation - Oral questioning |
| - Perform basic electrical repair | - Troubleshooting procedure - Repair procedure - Observe good house keeping | - Observation - Oral questioning |

Suggested Delivery Methods

- Instructor led facilitation of theory

- Demonstration by trainer

- Practice by trainee

- Field trips

Recommended Resources

- Clamp on ammeters

- Multi-meters

- Phase testers

- Insulation testers

- PPEs

- Soldering guns

- Wire strippers

- Measuring tapes

- Scribers

- Crimping tools

- Screw drivers

- Pliers

- Drills

- Crimping tools

- Screw drivers

- Electrician pliers

# ENGINEERING MATHEMATICS

UNIT CODE: ENG/CU/RAC/CC/03/5/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Apply Engineering mathematics

Duration of Unit: 80 hours

Unit Description

This unit describes the competencies required by an Electrical Technician to apply a wide range of Engineering mathematics in their work. This includes; applying algebraic functions, application of trigonometry and hyperbolic functions, applying complex numbers, coordinate geometry, carrying out binomial expansion, calculus, Statistics, Vector theory, Matrix and Numerical methods in solving problems, probability, commercial calculations, performing estimations, measurements and calculation of quantities.

Summary of Learning Outcomes

- Apply Algebra

- Apply coordinate geometry

- Apply trigonometry functions

- Carry out mensuration

- Apply statistics

- Apply matrix

- Apply vectors

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| 1. Apply Algebra | - Base and Index - Law of indices - Indicial equations - Laws of logarithm - Logarithmic equations - Conversion of bases - Use of calculator - Reduction of equations - Solution of equations reduced to quadratic form - Solutions of simultaneous linear equations in three unknowns - Solutions of problems involving AP and GP | - Written tests - Oral questioning - Assignments - Supervised exercises |
| 2. Apply Coordinate Geometry | - Polar equations - Cartesian equation - Graphs of polar equations - Normal and tangents - Definition of a point - Locus of a point in relation to a circle - Loci of points for given mechanism | - Written tests - Oral questioning - Assignments - Supervised exercises |
| 3. Apply trigonometric functions | - Half -angle formula - Factor formula - Trigonometric functions - Parametric equations - Relative and absolute measures - Measures calculation - Meaning of hyperbolic equations - Properties of hyperbolic functions - Evaluations of hyperbolic functions Hyperbolic identities - Osborne’s Rule - Ashx+bshx=C equation | - Written tests - Oral questioning - Assignments - Supervised exercises |
| 4. Carry out mensuration | - Units of measurements and their symbols - Conversion of units of measurement - Calculation of length, width, height, perimeter, area and angles of figures - Measuring tools and equipment - Performing measurements and estimations of quantities | - Assignments - Oral questioning - Practical tests - Observation - Supervised exercises - Written tests |
| 5. Apply Statistics | - Classification of data Grouped data Ungrouped data - Data collection - Tabulation of data Class intervals Class boundaries Frequency tables - Diagrammatic and graphical presentation of data e.g. Histograms Frequency polygons Bar charts Pie charts Cumulative frequency curves - Measures of central tendency mean, mode and median - Measures of dispersion Variance and standard deviation - Definition of probability - Laws of probability - Expectation variance and S.D. - Types of distributions - Mean, variance and SD of probability distributions - Application of probability distributions | - Assignments - Oral questioning - Supervised exercises - Written tests - Simulation - Data modelling |
| 6. Apply Matrix methods | - Matrix operation - Determinant of 3x3 matrix - Inverse of 3x3 matrix - Solutions of linear simultaneous equations in 3 unknown - Application of matrices | - Assignments - Oral questioning - Supervised exercises - Written tests |
| 7. Apply Vectors | - Definition of dot and cross product of vectors - Solution of problems involving dot and cross production of cross - Definition of operators - Definition of vector field - Solutions of problems involving vector fields - Definition of Gradient, Divergence and curl - Solutions of involving Gradient, Divergence and curl - Application of vectors | - Assignments - Oral questioning - Supervised exercises - Written tests |

Suggested Delivery Methods

- Group discussions

- Demonstration by trainer

- Exercises by trainee

Recommended Resources

- Scientific Calculators

- Rulers, pencils, erasers

- Charts with presentations of data

- Graph books

- Dice

- Computers with internet connection

# ELECTRICAL PRINCIPLES

UNIT CODE: ENG/CU/RAC/CC/04/5/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Apply Electrical principles skills

Duration of Unit: 75 hours

Unit Description

This unit describes the competencies required by a technician in order to apply a wide range of Electrical principles in their work which includes; Use the concept of basic Electrical quantities, use of the concepts of D.C and A.C circuits in electrical installation, use of basic electrical machine, use of power factor in electrical installation, use of earthing in Electrical installations, apply Electrostatic, apply Magnetism and Electromagnetism and finally transient in Electrical circuit analysis.

Summary of Learning Outcomes

- Use the concept of basic Electrical quantities

- Use the concepts of D.C and A.C circuits in electrical installation

- Use of basic electrical machine

- Use of power factor in electrical installation

- Use of earthing in Electrical installations

- Apply Electrostatics

- Apply Magnetism and Electromagnetism

- Apply Transient in Electrical circuit analysis

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Use the concept of basic Electrical quantities | - The meaning of SI unit - SI unit of various types of Electrical parameters - Ohm’s law - Calculations involving various Electrical parameters e.g Power, Current, Voltage, Resistance - Instruments used in measuring various types of Electrical parameters | - Written tests - Oral questioning - Assignments - Supervised exercises |
| - Use the concepts of D.C and A.C circuits in electrical installation | - Meaning of terms - AC and DC, parallel and series R-L, R-C, R-L-C circuits - AC and DC network theorems e.g - Kirchoff’s laws - Superposition - Thevinin’s - Norton’s - AC to DC and DC to AC Conversion | - Written tests - Oral questioning - Assignments - Supervised exercises |
| - Use of basic electrical machine | - Types of single phase Electrical machines - DC machines, - AC Single phase motors and generators - Transformers - Application of AC and DC machines | - Assignments - Oral questioning - Supervised exercises - Written tests - Practical tests |
| - Use of power factor in electrical installation | - Meaning of power factor - Meaning of terms - Power triangle - Power factor correction | - Assignments - Oral questioning - Practical tests - Observation - Supervised exercises - Written tests |
| - Use of earthing in Electrical installations | - Meaning of Earthing - Terms in Earthing - Earthing points in Electrical installation - Methods of earthing - Factors to consider in selecting an earthing method - Testing an earthing system | - Assignments - Supervised exercises - Written tests - Practical test |
| - Apply Electrostatics | - Meaning of Electrostatic field - Sources of Electrical static field - Meaning of capacitor and capacitance - Meaning of terms - Types capacitors - Charging and discharging - Capacitors connection - Calculations involving capacitors | - Assignments - Oral questioning - Supervised exercises - Written tests |
| - Apply Magnetism and Electromagnetism | - Meaning of Magnetism and magnetic fields - Sources of Magnetic field - Meaning of Teams - Electromagnetic losses e.g. Hysteresis, Leakage and flux fringing - Laws of Electromagnetism - Calculations in the Electromagnetism | - Assignments - Oral questioning - Supervised exercises - Written tests |
| - Apply transients in Electrical Circuit Analysis | - Meaning of Growth and decay in R-L & R-C circuits - Calculations involving R-L& R-C circuits - Application of Growth and decay in R-L & R-C Circuits | - Assignments - Oral questioning - Supervised exercises - Written tests |

Suggested Delivery Methods

- Group discussions

- Demonstration by trainer

- Exercises by trainee

Recommended Resources

- Scientific Calculators

- Relevant reference materials

- Stationeries

- Electrical workshop

- Relevant practical materials

- Dice

- Computers with internet connection

# TECHNICAL DRAWING

UNIT CODE: ENG/CU/RAC/CC/05/5/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Prepare and interpret technical drawings

Duration of Unit: 75 hours

Unit Description

This unit covers the competencies required to prepare and interpret technical drawings. It involves competencies to select, use and maintain drawing equipment and materials. It also involves producing plain geometry drawings, solid geometry drawings, orthographic drawings of components and Electrical drawings.

Summary of Learning Outcomes

- Use and maintain drawing equipment and materials

- Produce plane geometry drawings

- Produce solid geometry drawings

- Produce pictorial and orthographic drawings of components

- Produce Electrical drawings

Learning Outcomes, Content and Suggested Assessment Methods:

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Use and maintain drawing equipment and materials | - Identification and care of drawing equipment - Identification and care of drawing materials - Reference to manufacturer’s instructions and work place procedures on use and maintenance of drawing equipment and materials - Reference to relevant environmental legislations - Use of Personal Protective Equipment (PPEs) | - Observation - Oral questioning - Written tests |
| - Produce plane geometry drawings | - Types of lines in drawings - Construction of geometric forms e.g. squares, circles - Construction of different angles - Measurement of different angles - Bisection of different angles and lines - Standard drawing conventions | - Oral questioning - Practical tests - Observation |
| - Produce solid geometry drawings | - Interpretation of sketches and drawings of patterns e.g. cylinders, prisms and pyramids - Sectioning of solids e.g. prisms, cones - Development and interpenetrations of solids e.g. cylinder to cylinder and cylinder to triangular, prism | - Observation - Practical tests - Oral questioning |
| - Produce orthographic drawings | - Meaning of pictorial and orthographic drawings - Meaning of sectioning - Meaning of symbols and abbreviations - Drawing and interpretation of orthographic elevations - Dimensioning of orthographic elevations - Sectioning of views - Assembly drawing | - Observation - Practical tests - Oral questioning |
| - Produce electrical drawings | - Electrical symbols and abbreviations - Meaning of electrical drawings - Drawing of electrical diagrams e.g. block, schematic, circuit, line and wiring | - Observation - Oral questioning - Practical tests |

Suggested Methods of Delivery

- Projects

- Demonstration by trainer

- Practice by the trainee

- Discussions

Recommended Resources

- Drawing room

- Drawing instruments e.g. T-squares, set squares, drawing sets

- Drawing tables

- Pencils, papers, erasers

- Masking tapes

- Computers installed with relevant CAD packages

# CORE UNITS OF LEARNING

# INSTALLATION, SERVICING AND REPAIR OF REFRIGERATION UNITS

UNIT CODE: ENG/CU/RAC/CR/01/5/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Install, service and repair refrigeration units.

Duration of Unit: 200 hours

Unit Description

This unit describes competencies required to install, service, repair and test refrigeration systems which include: refrigerators, freezers and coolers.

Summary of Learning Outcomes

- Apply workplace safety

- Conduct site survey

- Install electrical wiring for refrigeration units

- Install refrigeration units

- Service and maintain refrigeration units

- Identify and repair faults in refrigeration units

- Test-run installed and repaired unit

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Apply Workplace Safety | - Purpose of PPE - Types of PPE - Safe and correct handling, use, maintenance and storage of different types of PPE - Hazards associated with refrigeration units - Classes of fires and fire extinguishers - Risk assessment - Investigation of accident/incident - Risk/accident/incident reporting process - Carrying out first aid - Relevant legislations - Carrying out of housekeeping before, during and after | - Observation - Oral questioning - Written tests |
| - Conduct site survey | - refrigeration Installation Requirements - Air circulation/ventilation requirements - Drain disposal requirements - Power supply requirements - Wall and floor finishing - Provision for serviceability - User access to the unit - Tools, equipment and materials - Free hand sketching - Site survey report preparation | - Observation - Oral questioning - Written tests |
| - Install electrical wiring for refrigeration units | - Identification of symbols - Interpretation of wiring diagrams - Types of wires and cables - Types of socket outlets, switches and switch boxes - Enclosures and their conditions for use - Identifying wall plugs and masonry bolts - Drilling and hacking into masonry and wood work - Marking out and levelling - Use of measuring instruments - Testing electrical circuits | - Observation - Oral questioning - Written tests |
| - Install refrigeration units | - Interpretation of installation drawings - Types of refrigeration units - Refrigerators - Freezers - Coolers - Refrigeration units’ components - Types of refrigerants - Types of lubricants - Types of sealants and insulation materials - Types and use of fastening devices - Safe refrigeration unit installation practices - Procedure of refrigeration unit installation | - Observation - Oral questioning - Practical tests - Written tests |
| - Service refrigeration units | - Identification and interpretation of refrigeration symbols - Interpretation of drawings - Fundamentals of refrigeration cycle - Refrigeration unit components - Operating parameters of refrigeration systems e.g. temperature, pressure, current - Types of refrigerants - Types of lubricants - Safe handling of refrigerants - Safety in handling nitrogen gas - Servicing/replacing components - Types of Ozone depleting substances (ODS) - Effects of refrigerants on climate change | - Observation - Oral questioning - Written tests |
| - Identify and repair faults in refrigeration units | - Fundamentals of refrigeration - Identification of faults e.g leaks, high current, under performance, unusual noise, vibrations - Electrical parts, components, functions and operations - Procedures for testing electrical components - Troubleshooting electrical faults - Procedures for repairing/replacing electrical components - Mechanical parts, components, functions and operation - Troubleshooting mechanical faults - Repair of refrigeration units - Performing refrigerant recovery/recycling - Replacing defective components - Repairing refrigerant leak - Performing pressure leak test - Performing vacuuming procedures - Performing flushing with nitrogen gas - Performing refrigerant charging - Performing refrigerant leak test | - Observation - Oral questioning - Written tests |
| - Test-run installed/repaired units | - Temperature testing - Current and voltage measurement - Operation of refrigeration unit within acceptable parameters - Training the user on use of the unit - Handing over procedures - Report writing | - Observation - Oral questioning - Written tests |

Suggested Delivery Methods

- Facilitation of theory by trainer

- Demonstration of task by trainer

- Practice by trainee

- Field visits

- Viewing of related videos

Recommended Resources

- Measuring tools

- Spirit level

- Plumb line

- Transparent water hose

- Phase testers

- Pliers

- Side cutters

- Pinch-off pliers

- Telescopic inspection mirror

- Tube bender

- Flaring tool

- Tube bender

- Fire extinguisher

- Piercing pliers

- Leak detectors

- Refrigerant identifiers

- Clamp on ammeters

- Screw drivers

- Chisels

- Hammers (claw and ballpein)

- Hacksaws

- Electric drill

- Drill bits

- Cross cutter

- Centre punch

- Dot punch

- Rip saw

- Welding equipment

- Brazing equipment

- Soldering gun

- Masonry tools (e.g. trowel, spade, level)

- Lock ring kits

- Pipe cutters

- Capillary cutters

- System analysers

- Vacuum pumps

- Refrigerant recovery units

- Refrigerant weighing scales

- Charging stations

- PPEs e.g safety boots, overall, helmet, googles, gloves

# INSTALLATION, SERVICING AND REPAIR  OF AIR CONDITIONING UNITS

UNIT CODE: ENG/CU/RAC/CR/02/5/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Install, service, maintain and repair air conditioning units

Duration of Unit: 150 hours

Unit Description

This unit describes competencies required to install and test window type and split type air-conditioning units.

Summary of Learning Outcomes

- Apply workplace safety

- Conduct site survey

- Install electrical wiring for air conditioning units

- Install air conditioning units

- Service and maintain air conditioning units

- Identify and repair faults in air conditioning units

- Test the installed and repaired units

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| 1. Apply Workplace Safety | - Meaning of PPE - Types of PPE - Purpose of PPE - Safe and correct handling, use, maintenance and storage of different types of PPE - Hazards associated with refrigeration systems - Classes of fires and fire extinguishers - Risk assessment - Investigation of accident/incident - Risk/accident/incident reporting process - First Aid - Relevant legislations | - Observation - Oral questioning - Written tests |
| 2. Conduct site survey | - Air conditioning Installation Requirements - Air circulation/ventilation requirements - Drain disposal requirements - Power supply requirements - Wall and floor finishing - Provision for serviceability - Tools equipment and materials needed in installing Air conditioning systems - Free hand sketching - Site survey report | - Observation - Oral questioning - Written tests |
| 3. Install electrical wiring for air conditioning units | - Identification of symbols - Interpretation of wiring diagrams - Wires and cables used in electrical wiring - Types of socket outlets, switches and switch boxes used in electrical wiring - Enclosures and their conditions for use - Identifying wall plugs and masonry bolts - Drilling into masonry and wood work using portable drills - Marking out and levelling using spirit level - Use of measuring instruments - Testing electrical circuits | - Observation - Oral questioning - Written tests |
| 4. Install air conditioning unit | - Interpretation of schematic drawings - Types of air conditioning systems - window - split unit - Types of refrigerants - Types of lubricants - Sealants and insulation materials - Fastening devices - Types of PVC drain pipes and fittings - Safety practices - Air conditioning installation procedure | - Observation - Oral questioning - Practical tests - Written tests |
| 5. Service air conditioning unit | - Identification of symbols - Interpretation of drawing - Air conditioning system components and accessories - Operating parameters of air conditioning systems e.g. temperature, pressure, current - Types of refrigerants - Types of lubricants - Safe handling of refrigerants - Safety in handling nitrogen gas - Diagnosing air conditioning systems faults - Repair of air conditioning systems - Replacing defective components - Performing pressure leak test - Repairing refrigerant leak - Performing vacuuming procedures - Performing flashing with nitrogen gas - Performing refrigerant charging - Ozone depletion substances (ODS) - Effects of refrigerants on climate change | - Observation - Oral questioning - Practical tests - Written tests |
| 6. Test the installed and repaired air conditioning unit | - Conducting leakage tests - Testing of temperature settings - Measurement of current and voltage - Checking the operation of air conditioning system within acceptable standards - Commissioning and handing over procedures - Report writing | - Observation - Oral questioning - Written tests |

Suggested Delivery Methods

- Instructor led facilitation of theory

- Demonstration of task by trainer

- Practice by trainee

- Viewing of related videos

- Field visits

Recommended Resources

- Measuring tools

- Spirit level

- Plumb line

- Clear water hose

- Phase tester

- Pinch-off pliers

- Piercing pliers

- Telescopic inspection mirror

- Tube bender

- Flaring tool

- Tube expander

- Fire extinguisher

- Pliers/side cutter

- Screw drivers

- Chisels

- Hammers (claw and ballpein)

- Hacksaw

- Electric drill

- Drill bits

- Cross cut

- Centre punch

- Dot punch

- Rip saw

- Welding equipment

- Brazing equipment

- Soldering gun

- Masonry tools (e.g. trowel, spade, level)

- PPEs e.g. safety boots, overall, helmet, googles, gloves

- Refrigerant identifier

- Anemometer

# SERVICE AND REPAIR OF AUTOMOBILE AIR CONDITIONING UNITS

UNIT CODE: ENG/CU/RAC/CR/03/5/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Service, maintain and repair automobile air conditioning units.

Duration of Unit: 190 hours

Unit Description

This unit describes competencies required to safely service and repair automobile air conditioning units.

Summary of Learning Outcomes

- Service and maintain automobile air conditioning unit

- Prepare for trouble shooting and repair service

- Identify and repair faults in automobile air conditioning units

- Test-run repaired unit

- Prepare service and maintenance reports

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Apply Workplace Safety | - Meaning of PPE - Types of PPE - Purpose of PPE - Safe and correct handling, use, maintenance and storage of different types of PPE - Hazards associated with automobile air conditioning units - Classes of fires and fire extinguishers - Risk assessment - Investigation of accident/incident - Risk/accident/incident reporting process - First Aid - Relevant legislations | - Observation - Oral questioning - Written tests |
| - Service and maintain automobile air conditioning unit | - Identification of symbols - Interpretation of drawing - Air conditioning system components and accessories - Operating parameters of air conditioning systems e.g. temperature, pressure, current. - Diagnosing automobile air conditioning unit - Types of refrigerants - Types of lubricants - Safe handling of refrigerants - Safety in handling nitrogen gas - Repair of automobile air conditioning unit - Replacing defective components - Repairing refrigerant leak - Performing pressure leak test - Performing vacuuming procedures - Performing flashing with nitrogen gas - Performing refrigerant charging - Ozone depletion substances (ODS) - Effects of refrigerants on climate change | - Observation - Oral questioning - Written tests |
| - Identify and repair faults in automobile air conditioning systems | - PPEs are selected and used in line with job requirements - Safe working practices are observed throughout the task as per work place procedures - Tools, equipment and instruments are selected and used in line with job requirements - Components are tested following manufacturer’s manuals and work place troubleshooting policy - Components with faults are diagnosed in line with manufacturer’s manuals and work place troubleshooting policy - Air-conditioning system requiring recovery/recycling is identified - Refrigerant recovery/recycling is performed according to manufacturer's manuals - Retrofitting/conversion is performed according to manufacturer’s manuals where applicable - Remedial action is taken to overcome faults in line with manufacturer’s manuals and work place troubleshooting policy - Work is completed in line with workplace safety guidelines and environmental legislations | - Observation - Oral questioning - Practical tests - Written tests |
| - Test-run repaired unit | - Unit is tested in line with manufacturer’s manual and work place procedures - Report is prepared in line with manufacturer’s manual and work place procedures - Unit is handed over to the user according to work place procedures | - Observation - Oral questioning - Practical tests |
| - Prepare service and maintenance report | - Report writing | - Oral questioning - Written tests |

Suggested Delivery Methods

- Instructor led facilitation of theory

- Demonstration of task by trainer

- Practice by trainee

- Field trips

Recommended Resources

- Pliers

- Screwdrivers

- Hammers

- Chisels

- Spirit levels

- Phase testers

- Files

- Fin comb

- Nut driver

- Socket wrench

- Brazing equipment

- Arc welding equipment

- Multi-meters

- Leak detectors

- System analyzers

- Recovery/recycling units

- Weighing balance

- Vacuum pumps

- Refrigerant identifier