REPUBLIC OF KENYA

COMPETENCY BASED CURRICULUM

FOR

REFRIGERATION AND AIR CONDITIONING

LEVEL 6

TVET CDACC

P.O. BOX 15745-00100

NAIROBI

First published 2019

Copyright © TVET CDACC

All rights reserved. No part of this curriculum may be reproduced, distributed, or transmitted in any form or by any means, including photocopying, recording, or other electronic or mechanical methods without the prior written permission of the TVET CDACC, except in the case of brief quotations embodied in critical reviews and certain other non-commercial uses permitted by copyright law. For permission requests, write to the Council Secretary/CEO, at the address below:

Council Secretary/CEO

TVET Curriculum Development, Assessment and Certification Council

P.O. Box 15745–00100

Nairobi, Kenya

Email: info@tvetcdacc.go.ke

# FOREWORD

The provision of quality education and training is fundamental to the Government’s overall strategy for social economic development. Quality education and training will contribute to achievement Kenya’s development blue print and sustainable development goals.

Reforms in the education sector are necessary for the achievement of Kenya Vision 2030 and meeting the provisions of the Constitution of Kenya 2010. The education sector had to be aligned to the Constitution and this resulted to the formulation of the Policy Framework for Reforming Education and Training (Sessional Paper No. 4 of 2016). A key feature of this policy is the radical change in the design and delivery of the TVET training.  This policy document requires that training in TVET be competency based, curriculum development be industry led, certification be based on demonstration of competence and mode of delivery allows for multiple entry and exit in TVET programmes.

These reforms demand that Industry takes a leading role in curriculum development to ensure the curriculum addresses its competence needs. It is against this background that this Curriculum has been developed.

It is my conviction that this curriculum will play a great role towards development of competent human resource for the Refrigeration and Air-conditioning sector’s growth and sustainable development.

PRINCIPAL SECRETARY,

VOCATIONAL AND TECHNICAL TRAINING

MINISTRY OF EDUCATION

# PREFACE

Kenya Vision 2030 aims to transform the country into a newly industrializing, “middle-income country providing a high quality life to all its citizens by the year 2030”.  Kenya intends to create a globally competitive and adaptive human resource base to meet the requirements of a rapidly industrializing economy through life-long education and training. TVET has a responsibility of facilitating the process of inculcating knowledge, skills and attitudes necessary for catapulting the nation to a globally competitive country, hence the paradigm shift to embrace Competency Based Education and Training (CBET).

The Technical and Vocational Education and Training Act No. 29 of 2013 and the Sessional Paper No. 4 of 2016 on Reforming Education and Training in Kenya, emphasized the need to reform curriculum development, assessment and certification. This called for a shift to CBET to address the mismatch between skills acquired through training and skills needed by industry as well as increase the global competitiveness of Kenyan labour force.

TVET Curriculum Development, Assessment and Certification Council (TVET CDACC) in conjunction with Mechanical Engineering Sector Skills Advisory Committee (SSAC) have developed this curriculum.

This curriculum has been developed following the CBET framework policy; the CBETA Standards and guidelines provided by the TVET Authority and the Kenya National Qualification framework designed by the Kenya National Qualification Authority.

The curriculum is designed and organized with an outline of learning outcomes; suggested delivery methods, training/learning resources and methods of assessing the trainee’s achievement. The curriculum is competency-based and allows multiple entry and exit to the course.

I am grateful to the Council Members, Council Secretariat, Mechanical Engineering SSAC, expert workers and all those who participated in the development of this curriculum.

CHAIRPERSON,

TVET CDACC

# ACKNOWLEDGEMENT

This curriculum has been designed for competency-based training and has independent units of learning that allow the trainee flexibility in entry and exit. In developing the curriculum, significant involvement and support was received from various organizations.

I appreciate Mechanical Engineering Sector Skills Advisory Committee (SSAC) who enabled the development of this curriculum.

I recognize with appreciation the role of the SSAC in ensuring that competencies required by the industry are addressed in this curriculum. I also thank all stakeholders in the Mechanical Engineering sector for their valuable input and all those who participated in the process of developing this curriculum.

I am convinced that this curriculum will go a long way in ensuring that workers in Mechanical Engineering sector will acquire competencies that will enable them perform their work more efficiently.

COUNCIL SECRETARY/CEO

TVET CDACC

# ABBREVIATION AND ACRONYMS

ASHRAE 	 American standard of heating, refrigeration and air conditioning engineers

BC		 Basic Competency

CAD      	 Computer Aided Drawing

CC 		 Common competency

CDACC	 Curriculum Development, Assessment and Certification Council

CR		 Core Competency

CU		 Curriculum

ENG		 Engineering

KCSE 		 Kenya Certificate of secondary Education

KNQA		 Kenya National Qualifications Authority

OS		 Occupational Standards

OSHA		 Occupation Safety and Health Act

OSHS		 Occupation Safety and Health Standards

PPE    		 Personal Protective Equipment

PVC 		 Polyvinyl Chloride

RAC 		 Refrigeration and air conditioning

SOPs 		 Standard Operating Procedures

SSAC		 Sector Skills Advisory Committee

TD   		 Technical Drawing

TVET		 Technical and Vocational Education and Training

# KEY TO UNIT CODE

ENG/ OS / RAC/ BC/01/6/A

Industry or sector

Occupational Standards

Occupational area

Type of competency

Competency number

Competency level

Version control

# TABLE OF CONTENTS

FOREWORD	iii

PREFACE	iv

ACKNOWLEDGEMENT	v

ABBREVIATION AND ACRONYMS	vi

KEY TO UNIT CODE	vii

TABLE OF CONTENTS	viii

COURSE OVERVIEW	ix

BASIC UNITS OF LEARNING	1

COMMUNICATION SKILLS	2

DIGITAL LITERACY	5

ENTREPRENEURIAL SKILLS	8

EMPLOYABILITY SKILLS	12

ENVIRONMENTAL LITERACY	18

OCCUPATIONAL SAFETY AND HEALTH PRACTICES	22

COMMON UNITS OF LEARNING	24

ELECTRICAL MOTOR CONTROL PRINCIPLES	25

ENGINEERING MATHEMATICS	29

ELECTRICAL ENGINEERING PRINCIPLES	34

THERMODYNAMICS	37

FLUIDS MECHANICS	41

TECHNICAL DRAWING AND COMPUTER AIDED DRAWING	44

CORE UNITS OF LEARNING	47

REFRIGERATION SYSTEMS	48

AIR CONDITIONING SYSTEM	53

DESIGNING REFRIGERATION SYSTEM	60

DESIGNING AIR CONDITIONING SYSTEM	64

RAC CONTROL SYSTEMS	68

# COURSE OVERVIEW

This course is designed to equip an individual with competencies for installing, servicing, troubleshooting and repairing Refrigeration and Air Conditioning units.

Units of Learning

This course consists of basic, common and core units of learning as indicated below:

Basic Units of Learning

| Unit of Learning Code | Unit of Learning Title | Duration in Hours | Credit Factors |
| --- | --- | --- | --- |
| ENG/CU/RAC/BC/01/6/A | Communication skills | 40 | 4 |
| ENG/CU/RAC/BC/02/6/A | Digital literacy | 60 | 6 |
| ENG/CU/RAC/BC/03/6/A | Entrepreneurial skills | 100 | 10 |
| ENG/CU/RAC/BC/04/6/A | Employability skills | 80 | 8 |
| ENG/CU/RAC/BC/05/6/A | Environmental literacy | 40 | 4 |
| ENG/CU/RAC/BC/06/6/A | Occupational safety and health practices | 40 | 4 |
| Total |  | 360 | 36 |

Common Units of Competency

| Unit of Learning Code | Unit of Learning Title | Duration in Hours | Credit Factors |
| --- | --- | --- | --- |
| ENG/OS/RAC/CC/01/6/A | Electrical Motor control principles | 120 | 12 |
| ENG/OS/RAC/CC/02/6/A | Engineering mathematics | 180 | 18 |
| ENG/OS/RAC/CC/03/6/A | Electrical Engineering Principles | 80 | 8 |
| ENG/OS/RAC/CC/04/6/A | Thermodynamics | 180 | 18 |
| ENG/OS/RAC/CC/05/6/A | Fluid mechanics | 90 | 9 |
| ENG/OS/RAC/CC/06/6/A | Technical drawing (T.D) and computer aided drawing (CAD) | 120 | 12 |
| Total |  | 770 | 77 |

Core Units of Competency

| Unit of Learning Code | Unit of Learning Title | Duration in Hours | Credit Factors |
| --- | --- | --- | --- |
| ENG/OS/RAC/CR/01/6/A | Refrigeration Systems | 200 | 20 |
| ENG/OS/RAC/CR/02/6/A | Air Conditioning systems | 200 | 20 |
| ENG/OS/RAC/CR/03/6/A | Designing Refrigeration systems | 140 | 14 |
| ENG/OS/RAC/CR/04/6/A | Designing Air Conditioning systems | 100 | 10 |
| ENG/OS/RAC/CR/05/6/A | RAC systems | 200 | 20 |
|  | Industrial Attachment | 480 | 48 |
| Total |  | 1320 | 132 |
| Grant Total |  | 2450 | 245 |

Entry Requirements

An individual entering this course should have any of the following minimum requirements:

- Kenya Certificate of Secondary Education (KCSE) mean grade C- (Minus)

Or

- Certificate in Refrigeration and Air Conditioning Level 5

Or

- Equivalent qualifications as determined by Kenya National Qualifications Authority (KNQA)

Trainer qualification

A trainer for this course should have a higher qualification than the level of this course.

Assessment

The course will be assessed at two levels: internally and externally. Internal assessment is continuous and is conducted by the trainer who is monitored by an accredited internal verifier while external assessment is the responsibility of TVET CDACC.

Certification

An individual will be awarded a Certificate of Competency on demonstration of competence in a unit of competency. To be awarded Certificate in Refrigeration and Air Conditioning Level 6, an individual must demonstrate competence in all the units of competency in the qualification pack.

TVET CDACC will award these certificates in conjunction with the training provider.

# BASIC UNITS OF LEARNING

## COMMUNICATION SKILLS

UNIT CODE: ENG/CU/RAC/BC/01/6/A

Relationship to Occupational Standards

This unit addresses the Unit of Competency: Demonstrate Communication Skills

Duration of Unit: 40 hours

Unit Description

This unit covers the competencies required to demonstrate communication skills .It involves, meeting communication needs of clients and colleagues; developing communication strategies, establishing and maintaining communication pathways, conducting interviews, facilitating group discussion and representing the organization.

Summary of Learning Outcomes

- Meet communication needs of clients and colleagues

- Develop communication strategies

- Establish and maintain communication pathways

- Promote use of communication strategies

- Conduct interview

- Facilitate group discussion

- Represent the organization

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Meet communication needs of clients and colleagues | - Communication process - Modes of communication - Medium of communication - Effective communication - Barriers to communication - Flow of communication - Sources of information - Organizational policies - Organization requirements for written and electronic communication methods - Report writing - Effective questioning techniques (clarifying and probing) - Workplace etiquette - Ethical work practices in handling communication - Active listening - Feedback - Interpretation - Flexibility in communication - Types of communication strategies - Elements of communication strategy | - Interview - Written texts |
| - Develop communication strategies | - Dynamics of groups - Styles of group leadership - Openness and flexibility in communication - Communication skills relevant to client groups | - Interview - Written texts |
| - Establish and maintain communication pathways | - Types of communication pathways | - Interview - Written texts |
| - Promote use of communication strategies | - Application of elements of communication strategies - Effective communication techniques | - Interview - Written texts |
| - Conduct interview | - Types of interview - Establishing rapport - Facilitating resolution of issues - Developing action plans | - Interview - Written texts |
| - Facilitate group discussion | - Identification of communication needs - Dynamics of groups - Styles of group leadership - Presentation of information - Encouraging group members participation - Evaluating group communication strategies | - Interview - Written texts |
| - Represent the organization | - Presentation techniques - Development of a presentation - Multi-media utilization in presentation - Communication skills relevant to client groups | - Interview - Written texts |

Suggested Methods of Instruction

- Discussion

- Role playing

- Simulation

- Direct instruction

Recommended Resources

- Desktop computers/laptops

- Internet connection

- Projectors

- Telephone

## DIGITAL LITERACY

UNIT CODE:	ENG/CU/RAC/BC/02/6/A

Relationship to Occupational Standards

This unit addresses the Unit of Competency: Demonstrate Digital Literacy

Duration of Unit: 60 hours

Unit Description

This unit describes competencies required to demonstrate digital literacy. It involves in identifying computer software and hardware, applying security measures to data, hardware, software in automated environment, computer software in solving task, internet and email in communication at workplace, desktop publishing in official assignments and preparing presentation packages.

Summary of Learning Outcomes

- Identify computer software and hardware

- Apply security measures to data, hardware, software in automated environment

- Apply computer software in solving tasks

- Apply internet and email in communication at workplace

- Apply desktop publishing in official assignments

- Prepare presentation packages

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Identify computer hardware and software | - Concepts of ICT - Functions of ICT - History of computers - Components of a computer - Classification of computers | - Written tests - Oral presentation |
| - Apply security measures to data, hardware, software in automated environment | - Data security and control - Security threats and control measures - Types of computer crimes - Detection and protection against computer crimes - Laws governing protection of ICT | - Written tests - Oral presentation - Project |
| - Apply computer software in solving tasks | - Operating system - Word processing - Spread sheets - Data base design and manipulation - Data manipulation, storage and retrieval | - Oral questioning - Project |
| - Apply internet and email in communication at workplace | - Computer networks - Network configurations - Uses of internet - Electronic mail (e-mail) concept | - Oral questioning - Written report |
| - Apply desktop publishing in official assignments | - Concept of desktop publishing - Opening publication window - Identifying different tools and tool bars - Determining page layout - Opening, saving and closing files - Drawing various shapes using DTP - Using colour pellets to enhance a document - Inserting text frames - Importing and exporting text - Object linking and embedding - Designing of various publications - Printing of various publications | - Oral questioning - Written report - Project |
| - Prepare presentation packages | - Types of presentation packages - Procedure of creating slides - Formatting slides - Presentation of slides - Procedure for editing objects | - Oral questioning - Written report - Project |

Suggested Methods of Instruction

- Instructor led facilitation of theory

- Demonstration by trainer

- Practical work by trainee

- Viewing of related videos

- Project

- Group discussions

Recommended Resources

- Computers

- Printers

- Storage devices

- Internet access

## ENTREPRENEURIAL SKILLS

UNIT CODE: ENG/CU/RAC/BC/03/6/A

Relationship to Occupational Standards

This unit addresses the Unit of Competency: Demonstrate Entrepreneurial Skills

Duration of unit: 100 hours

Unit Description

This unit covers the competencies required to demonstrate understanding of entrepreneurship. It involves demonstrating understanding of an entrepreneur, entrepreneurship and self-employment. It also involves identifying entrepreneurship opportunities, creating entrepreneurial awareness, applying entrepreneurial motivation and developing business innovative strategies.

Summary of Learning Outcomes

  - Demonstrate understanding of who an entrepreneur

  - Demonstrate knowledge of entrepreneurship and self-employment

  - Identify entrepreneurship opportunities

  - Create entrepreneurial awareness

  - Apply entrepreneurial motivation

  - Develop business innovative strategies

  - Develop Business plan

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Demonstrate knowledge of entrepreneurship and self-employment | - Importance of self-employment - Requirements for entry into self-employment - Role of an Entrepreneur in business - Contributions of Entrepreneurs to National development - Entrepreneurship culture in Kenya - Born or made entrepreneurs | - Individual/group assignments - Projects - Written tests - Oral questions - Third party report |
| - Identify entrepreneurship opportunities | - Business ideas and opportunities - Sources of business ideas - Business life cycle - Legal aspects of business - Assessment of product demand - Business environment - Factors to consider when evaluating business environment - Technology in business | - Individual/group assignments - Projects - Written tests - Oral questions - Third party report - Interviews |
| - Create entrepreneurial awareness | - Forms of businesses - Sources of business finance - Factors in selecting source of business finance - Governing policies on Small Scale Enterprises (SSEs) - Problems of starting and operating SSEs | - Individual/group assignments - Projects - Written tests - Oral questions - Third party report - Interviews |
| - Apply entrepreneurial motivation | - Internal and external motivation - Motivational theories - Self-assessment - Entrepreneurial orientation - Effective communications in entrepreneurship - Principles of communication - Entrepreneurial motivation | - Case studies - Individual/group assignments - Projects - Written tests - Oral questions - Third party report - Interviews |
| - Develop business innovative strategies | - Innovation in business - Small business Strategic Plan - Creativity in business development - Linkages with other entrepreneurs - ICT in business growth and development | - Case studies - Individual/group assignments - Projects - Written tests - Oral questions - Third party report - Interviews |
| - Develop Business Plan | - Business description - Marketing plan - Organizational/Management - plan - Production/operation plan - Financial plan - Executive summary - Presentation of Business Plan | - Case studies - Individual/group assignments - Projects - Written tests - Oral questions - Third party report - Interviews |

Suggested Methods of Instruction

- Direct instruction

- Project

- Case studies

- Field trips

- Discussions

- Demonstration

- Question and answer

- Problem solving

- Experiential

- Team training

Recommended Resources

- Case studies

- Business plan templates

- Computers

- Overhead projectors

- Internet

- Mobile phone

- Video clips

- Films

- Newspapers and Handouts

- Business Journals

- Writing materials

## EMPLOYABILITY SKILLS

UNIT CODE: ENG/CU/RAC/BC/04/6/A

Relationship to Occupational Standards

This unit addresses the Unit of Competency: Demonstrate Employability Skills

Duration of Unit: 80 hours

Unit Description

This unit covers competencies required to demonstrate employability skills. It involves conducting self-management, demonstrating interpersonal communication, critical safe work habits, leading a workplace team, planning and organizing work, maintaining professional growth and development, demonstrating workplace learning, problem solving skills and managing ethical performance.

Summary of Learning Outcomes

- Conduct self-management

- Demonstrate interpersonal communication

- Demonstrate critical safe work habits

- Lead a workplace team

- Plan and organize work

- Maintain professional growth and development

- Demonstrate workplace learning

- Demonstrate problem solving skills

- Manage ethical performance

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Conduct self-management | - Self-awareness - Formulating personal vision, mission and goals - Strategies for overcoming life challenges - Managing emotions - Emotional intelligence - Assertiveness versus aggressiveness - Expressing personal thoughts, feelings and beliefs - Developing and maintaining high self-esteem - Developing and maintaining positive self-image - Setting performance targets - Monitoring and evaluating performance - Articulating ideas and aspirations - Accountability and responsibility - Good work habits - Self-awareness - Values and beliefs - Self-development - Financial literacy - Healthy lifestyle practices - Adopting safety practices | - Written tests - Oral questioning - Interviewing - Portfolio of evidence - Third party report |
| - Demonstrate interpersonal communication | - Meaning of interpersonal communication - Listening skills - Types of audience - Public speaking - Writing skills - Negotiation skills - Reading skills - Meaning of empathy - Understanding customers’ needs - Establishing communication networks - Assertiveness - Sharing information | - Written tests - Oral questioning - Interviewing - Portfolio of evidence - Third party report |
| - Demonstrate critical safe work habits | - Stress and stress management - Time concept - Punctuality and time consciousness - Leisure - Integrating personal objectives into organizational objectives - Resources mobilization - Resources utilization - Setting work priorities - Developing healthy relationships - HIV and AIDS - Drug and substance abuse - Managing emerging issues | - Written tests - Oral questioning - Interviewing - Portfolio of evidence - Third party report |
| - Lead a workplace team | - Leadership qualities - Power and authority - Team building - Determination of team roles and objectives - Team parameters and relationships - Individual responsibilities in a team - Forms of communication - Complementing team activities - Gender and gender mainstreaming - Human rights - Developing healthy relationships - Maintaining relationships - Conflicts and conflict resolution - Coaching and mentoring skills | - Written tests - Oral questioning - Interviewing - Portfolio of evidence - Third party report |
| - Plan and organize work | - Functions of management - Planning - Organizing - Time management - Decision making concept - Task allocation - Developing work plans - Developing work goals/objectives and deliverables - Monitoring work activities - Evaluating work activities - Resource mobilization - Resource allocation - Resource utilization - Proactive planning - Risk evaluation - Problem solving - Collecting, analysing and organising information - Negotiation | - Written tests - Oral questioning - Interviewing - Portfolio of evidence - Third party report |
| - Maintain professional growth and development | - Avenues for professional growth - Training and career opportunities - Assessing training needs - Mobilizing training resources - Licenses and certifications for professional growth and development - Pursuing personal and organizational goals - Managing work priorities and commitments - Recognizing career advancement | - Written tests - Oral questioning - Interviewing - Portfolio of evidence - Third party report |
| - Demonstrate workplace learning | - Managing own learning - Mentoring - Coaching - Contributing to the learning community at the workplace - Cultural aspects of work - Networking - Variety of learning context - Application of learning - Safe use of technology - Taking initiative/proactivity - Flexibility - Identifying opportunities - Generating new ideas - Workplace innovation - Performance improvement - Managing emerging issues - Future trends and concerns in learning | - Written tests - Oral questioning - Interviewing - Portfolio of evidence - Third party report |
| - Demonstrate problem solving skills | - Critical thinking process - Data analysis tools - Decision making - Creative thinking - Development of creative, innovative and practical solutions - Independence in identifying and solving problems - Solving problems in teams - Application of problem-solving strategies - Testing assumptions - Resolving customer concerns | - Written tests - Oral questioning - Interviewing - Portfolio of evidence - Third party report |
| - Manage ethical performance | - Meaning of ethics - Ethical perspectives - Principles of ethics - Ethical standards - Organization code of ethics - Common ethical dilemmas - Organization culture - Corruption, bribery and conflict of interest - Privacy and data protection - Diversity, harassment and mutual respect - Financial responsibility/accountability - Etiquette - Personal and professional integrity - Commitment to jurisdictional laws - Emerging issues in ethics | - Written tests - Oral questioning - Interviewing - Portfolio of evidence - Third party report |

Suggested Methods of Instruction

- Demonstrations

- Simulation/Role play

- Group Discussion

- Presentations

- Assignments

- Q&A

Recommended Resources

- Computers

- Stationery

- Charts

- Video clips

- Audio tapes

- Radio sets

- TV sets

- LCD projectors

## ENVIRONMENTAL LITERACY

UNIT CODE: ENG/CU/RAC/BC/05/6/A

Relationship to Occupational Standards:

This unit addresses the Unit of Competency: Demonstrate Environmental Literacy

Duration of Unit: 40 hours

Unit Description

This unit describes the competencies required demonstrate environmental literacy.it involves controlling environmental hazard, controlling environmental pollution, complying with workplace sustainable resource use, evaluating current practices in relation to resource usage, identifying environmental legislations/conventions for environmental concerns, implementing specific environmental programs, monitoring activities on environmental protection/programs, analysing  resource use and developing resource conservation plans.

Summary of Learning Outcomes

- Control environmental hazard

- Control environmental Pollution

- Demonstrate sustainable resource use

- Evaluate current practices in relation to resource usage

- Identify Environmental legislations/conventions for environmental concerns

- Implement specific environmental programs

- Monitor activities on Environmental protection/Programs

- Analyze resource use

- Develop resource conservation plans

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Control environmental hazard | - Purposes and content of Environmental Management and Coordination Act 1999 - Storage methods for environmentally hazardous materials - Disposal methods of hazardous wastes - Types and uses of PPE in line with environmental regulations - Occupational Safety and Health Standards (OSHS) | - Written questions - Oral questions |
| - Control environmental Pollution control | - Types of pollution - Environmental pollution control measures - Types of solid wastes - Procedures for solid waste management - Different types of noise pollution - Methods for minimizing noise pollution | - Written questions - Oral questions - Role play |
| - Demonstrate sustainable resource use | - Types of resources - Techniques in measuring current usage of resources - Calculating current usage of resources - Methods for minimizing wastage - Waste management procedures - Principles of 3Rs (Reduce, Reuse, Recycle) - Methods for economizing or reducing resource consumption | - Written questions - Oral questions - Role play |
| - Evaluate current practices in relation to resource usage | - Collection of information on environmental and resource efficiency systems and procedures, - Measurement and recording of current resource usage - Analysis and recording of current purchasing strategies. - Analysis of current work processes to access information and data - Identification of areas for improvement | - Written questions - Oral questions - Role play |
| - Identify Environmental legislations/conventions for environmental concerns | - Environmental issues/concerns - Environmental legislations /conventions and local ordinances - Industrial standard /environmental practices - International Environmental Protocols (Montreal, Kyoto) - Features of an environmental strategy | - Written questions - Oral questions |
| - Implement specific environmental programs | - Community needs and expectations - Resource availability - 5s of good housekeeping - Identification of programs/Activities - Setting of individual roles /responsibilities - Resolving problems /constraints encountered - Consultation with stakeholders | - Written questions - Oral questions - Role play |
| - Monitor activities on Environmental protection/Programs | - Periodic monitoring and Evaluation of activities - Gathering feedback from stakeholders - Analyzing data gathered - Documentation of recommendations and submission - Setting of management support systems to sustain and enhance the program - Monitoring and reporting of environmental incidents to concerned /proper authorities | - Oral questions - Written tests - Practical test |
| - Analyze resource use | - Identification of resource consuming processes - Determination of quantity and nature of resource consumed - Analysis of resource flow through different parts of the process. - Classification of wastes for possible source of resources. | - Written tests - Oral questions - Practical test |
| - Develop resource Conservation plans | - Determination of efficiency of use/conversion of resources - Causes of low efficiency of use of resources - Plans for increasing the efficiency of resource use | - Written tests - Oral questions - Practical test |

Suggested Methods of Instruction

- Instructor led facilitation of theory

- Practical demonstration of tasks by trainer

- Practice by trainees

- Observations and comments and corrections by trainers

Recommended Resources

- Standard operating and/or other workplace procedures manuals

- Specific job procedures manuals

- Environmental Management and Coordination Act 1999

- Machine/equipment manufacturer’s specifications and instructions

- Personal Protective Equipment (PPE)

- ISO standards

- Ccompany environmental management systems (EMS)

- Montreal Protocol

- Kyoto Protocol

## OCCUPATIONAL SAFETY AND HEALTH PRACTICES

UNIT CODE:	 ENG/CU/RAC/BC/06/6/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Demonstrate Occupational Safety and Health Practices

Duration of Unit: 40 hours

Unit Description

This unit specifies the competencies required to demonstrate occupational health and safety practices. It involves identifying workplace hazards and risk, identifying and implementing appropriate control measures to hazards and risks and implementing OSH programs, procedures and policies/guidelines.

Summary of Learning Outcomes

- Identify workplace hazards and risk

- Control OSH hazards

- Implement OSH programs

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Identify workplace hazards and risks | - Identification of hazards in the workplace and/or the indicators of their presence - Evaluation and/or work environment measurements of OSH hazards/risk existing in the workplace - Gathering of OSH issues and/or concerns | - Oral questions - Written tests - Portfolio of evidence - Third party report |
| - Control OSH hazards | - Prevention and control measures e.g. use of PPE - Risk assessment - Contingency measures | - Oral questions - Written tests - Portfolio of evidence - Third party report |
| - Implement OSH programs | - Company OSH program, evaluation and review - Implementation of OSH programs - Training of team members and advice on OSH standards and procedures - Implementation of procedures for maintaining OSH-related records | - Oral questions - Written tests - Portfolio of evidence - Third party report |

Suggested Methods of Instruction

- Assigments

- Discussion

- Q&A

- Role play

- Viewing of related videos

Recommended Resources

- Standard operating and/or other workplace procedures manuals

- Specific job procedures manuals

- Machine/equipment manufacturer’s specifications and instructions

- Personal Protective Equipment (PPE) e.g.

- Mask

- Face mask/shield

- Safety boots

- Safety harness

- Arm/Hand guard, gloves

- Eye protection (goggles, shield)

- Hearing protection (ear muffs, ear plugs)

- Hair Net/cap/bonnet

- Hard hat

- Face protection (mask, shield)

- Apron/Gown/coverall/jump suit

- Anti-static suits

- High-visibility reflective vest

# COMMON UNITS OF LEARNING

## ELECTRICAL MOTOR CONTROL PRINCIPLES

UNIT CODE: ENG/CC/RAC/CC/01/6/A

Relationship to Occupational Standards

This unit addresses the unit of competency: apply electrical motor control principles

Duration of Unit: 120 hours

Unit Description

This unit covers the competencies needed to apply electrical motor control principles. It entails, applying single phase motor overload and thermal protection relays, applying single phase asynchronous motor, applying low voltage electrical appliance modules, applying three phase motor overload and thermal protection relay, operating star-delta reduced-voltage starter circuit, operating double star-type reduced voltage starter circuits, performing auto transformer starter control circuits and applying extended-delta reduced-voltage starter circuits

Summary of Learning Outcomes

- Apply single phase motor overload and thermal protection relays

- Apply single phase asynchronous motor

- Apply low voltage electrical appliance modules

- Apply three phase motor overload and thermal protection relay

- Operate star-delta reduced-voltage starter circuit

- Operate double star-type reduced voltage starter circuits

- Perform auto transformer starter control circuits

- Apply extended-delta reduced-voltage starter circuits

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Apply single phase motor overload and thermal protection relays | - Single phase motor overload and thermal protection relays - Wiring diagram of overload protection - Thermal protection for single-phase - Identification of tools, equipment and instruments - Examination and testing of instruments for conditions and adjustments | - Written tests - Oral questioning - Assignments - Supervised exercises - Practical test |
| - Apply single phase asynchronous motor | - Interpretation of drawings - Application of principle of single phase asynchronous motor start-up - Wiring and troubleshooting of single phase asynchronous motor start-up. | - Written tests - Oral questioning - Assignments - Supervised exercises - Practical tests |
| - Apply low voltage electrical appliance modules | - Application of principle of commonly used low-voltage electrical appliances. - Selection and usage of commonly used low-voltage electrical appliances. - Diagnosis of commonly used low-voltage electrical appliances - Writing reports on diagnosis of commonly used low-voltage electrical appliances | - Assignments - Oral questioning - Supervised exercises - Written tests - Practical tests |
| - Apply three phase motor overload and thermal protection relay | - Overload protection and thermal protection methods of three-phase motor. - Application of principle and working process of three-phase overload protector and thermal protection relay | - Assignments - Oral questioning - Practical tests - Observation - Supervised exercises - Written tests |
| - Operate star-delta reduced-voltage starter circuit | - Application of principle and method of Ү-Δ reduced-voltage starter circuits of three-phase asynchronous motor - Connection and debugging methods of Ү-Δ reduced-voltage starter circuits of three-phase asynchronous motor - Fault prediction and elimination methods of Ү-Δ reduced-voltage starter circuits of three-phase asynchronous motor - Writing reports on fault prediction and elimination of methods of Ү-Δ reduced-voltage starter circuits of three-phase asynchronous | - Assignments - Supervised exercises - Written tests - Practical test |
| - Operate double star-type reduced voltage starter circuits | - Application of principle and method of Ү-type reduced-voltage starter circuits of three-phase asynchronous motor - Connection and debugging methods of Ү-type reduced-voltage starter circuits of three-phase asynchronous motor - diagnosis of double Ү-type reduced-voltage starter circuits of three-phase asynchronous motor - Writing diagnosis reports | - Assignments - Oral questioning - Supervised exercises - Written tests - Practical tests |
| - Perform auto transformer starter control circuits | - Application of principles and methods of autotransformer reduced-voltage starter circuits of three-phase asynchronous motor - Connection and debugging methods of autotransformer reduced-voltage starter circuits of three-phase asynchronous motor - Diagnosis of autotransformer reduced-voltage starter circuits of three-phase asynchronous motor - Writing diagnosis reports | - Assignments - Oral questioning - Practical tests - Observation - Supervised exercises - Written tests |
| - Apply extended-delta reduced-voltage starter circuits | - Application of principle and the method of extended-delta reduced-voltage starter circuits of three-phase asynchronous motor - Connection and debugging methods of extended-delta reduced-voltage starter circuits of three-phase asynchronous motor - Diagnosis of extended-delta reduced-voltage starter circuits of three-phase asynchronous motor - Writing diagnosis reports | - Assignments - Oral questioning - Supervised exercises - Written tests - Practical tests |

Suggested Methods of Instruction

- Group discussions

- Demonstration by trainer

- Exercises by trainee

- Instructor led facilitation of theory

- Viewing of related videos

Recommended Resources

- Relevant reference materials

- Stationeries

- Electrical workshop

- Relevant practical materials

- Dice

- Computers with internet connection

- Three-phase motors

- Single-phase motors

# ENGINEERING MATHEMATICS

UNIT CODE: ENG/CU/RAC/CC/02/6/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Apply Engineering mathematics

Duration of Unit: 180 hours

Unit Description

This unit describes the competencies required by a refrigeration and air conditioning technician to apply engineering mathematics. This includes; applying algebra, applying coordinate geometry, applying trigonometric functions, carrying out mensuration, applying statistics, applying matrix, applying vectors, applying calculus 1(differentiation) and applying calculus 2(integration)

Summary of Learning Outcomes

- Apply Algebra

- Apply coordinate geometry

- Apply trigonometric functions

- Carry out mensuration

- Apply statistics

- Apply matrix

- Apply vectors

- Apply Calculus 1 (Differentiation)

- Apply Calculus 2(Integration)

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| 1. Apply Algebra | - Base and Index - Law of indices - Indicial equations - Laws of logarithm - Logarithmic equations - Conversion of bases - Use of scientific calculator - Reduction of equations - Solution of equations reduced to quadratic form - Solutions of simultaneous linear equations in three unknowns - Solutions of problems involving Arithmetic progression (AP) and geometric progression (GP) - Ratios and proportions | - Written tests - Oral questioning - Assignments - Supervised exercises |
| 2. Apply Coordinate Geometry | - Polar equations - Cartesian equation - Graphs of polar equations - Normal and tangents - Definition of a point - Locus of a point in relation to a circle - Loci of points for given mechanism | - Written tests - Oral questioning - Assignments - Supervised exercises |
| 3. Apply trigonometric functions | - Half -angle formula - Factor formula - Trigonometric functions - Trigonometric rules - Parametric equations - Relative and absolute measures - Measures calculation - Meaning of hyperbolic equations - Properties of hyperbolic functions - Evaluations of hyperbolic functions Hyperbolic identities - Osborne’s Rule | - Written tests - Oral questioning - Assignments - Supervised exercises |
| 4. Carry out mensuration | - Units of measurements and their symbols - Conversion of units of measurement - Calculation of perimeter, area and angles of figures - Measuring tools and equipment - Calculation of volume and surface area | - Assignments - Oral questioning - Practical tests - Observation - Supervised exercises - Written tests |
| 5. Apply Statistics | - Classification of data - Grouped data - Ungrouped data - Data collection - Tabulation of data - Class intervals - Class boundaries - Frequency tables - Diagrammatic and graphical presentation of data e.g. - Histograms - Frequency polygons - Bar charts - Pie charts - Cumulative frequency curves - Measures of central tendency mean, mode and median - Measures of dispersion - Variance and standard deviation - Introduction to probability - Laws of probability - Expectation variance and S.D. - Types of distributions - Mean, variance and SD of probability distributions - Application of probability distributions | - Assignments - Oral questioning - Supervised exercises - Written tests - Simulation - Data modelling |
| 6. Apply Matrix methods | - Matrix operation - Determinant of 3x3 matrix - Inverse of 3x3 matrix - Solutions of linear simultaneous equations in 3 unknown - Application of matrices | - Assignments - Oral questioning - Supervised exercises - Written tests |
| 7. Apply Vectors | - Definition of dot and cross product of vectors - Solution of problems involving dot and cross production of cross - Definition of operators - Definition of vector field - Solutions of problems involving vector fields - Definition of Gradient, Divergence and curl - Solutions of involving Gradient, Divergence and curl - Application of vectors | - Assignments - Oral questioning - Supervised exercises - Written tests |
| 8.Apply Calculus 1 ( Differentiation) | - Introduction to differentiation - Some applications of differentiation - Differentiation of parametric equations - Differentiation of implicit functions - Logarithmic differentiation - Total differential, rates of change and small changes - Maxima, minima and saddle points for functions of two variables | - Assignments - Oral questioning - Supervised exercises - Written tests |
| 9.Apply Calculus 2 ( Integration) | - Application of Standard Integration - Application of Integration - Application of Integration using algebraic substitution - Integration using trigonometric substitution - Integration by parts - Application of Reduction formulae | - Assignments - Oral questioning - Supervised exercises - Written tests |

Suggested Methods of Instruction

- Group discussions

- Demonstration by trainer

- Exercises by trainee

- Instructor led facilitation of theory

- Viewing of related videos

Recommended Resources

- Scientific Calculators

- Rulers, pencils, erasers

- Charts with presentations of data

- Graph books

- Dice

- Computers with internet connection

## ELECTRICAL ENGINEERING PRINCIPLES

UNIT CODE: ENG/CU/RAC/CC/03/6/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Apply Electrical principles skills

Duration of Unit: 80 hours

Unit Description

This unit describes the competencies required by a RAC technician in order to apply a wide range of Electrical engineering principles in their work which includes; Using the concept of basic electrical quantities, applying concepts of D.C and A.C circuits in electrical installation, performing earthing in electrical installations, applying electrostatics and applying electromagnetic field Theory.

Summary of Learning Outcomes

- Use the concept of basic Electrical quantities

- Apply concepts of D.C and A.C circuits in electrical installation

- Perform earthing in Electrical installations

- Apply Electrostatics

- Apply Electromagnetic Field Theory

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Use the concept of basic Electrical quantities | - Introduction to SI units - SI unit of various types of Electrical parameters - Ohm’s law - Calculations involving various Electrical parameters e.g. Power, Current, Voltage, Resistance - Instruments used in measuring various types of Electrical parameters | - Assignments - Oral questioning - Practical tests - Supervised exercises - Written tests - Observation |
| - Apply concepts of D.C and A.C circuits in electrical installation | - Definition of terms - AC and DC - Parallel and series R-L, R-C, R-L-C circuits - AC and DC network theorems e.g. - Kirchhoff’s laws - Superposition - Theremins’ theorem - Norton’s - AC to DC and DC to AC Conversion | - Assignments - Oral questioning - Practical tests - Supervised exercises - Written tests - Observation |
| - Perform earthing in electrical installations | - Types of earthing - Identification of earthing points on electrical installation - Testing earthing systems | - Assignments - Oral questioning - Supervised exercises - Written tests - Practical tests - Observation |
| - Apply electrostatics | - Meaning of Electrostatic field - Sources of electrostatic fields - Identification of types of capacitors - Charging and discharging - Capacitors connection - Calculations involving capacitors - Concept of charge and electrostatic field | - Assignments - Oral questioning - Practical tests - Supervised exercises - Written tests - Observation |
| - Apply Electromagnetic field theory | - Introduction to Magnetism and magnetic fields - Sources of Electromagnetic radiation - Detectors of Electromagnetic radiations - Application of Electromagnetic waves - Electromagnetics Laws - Behaviors and effects of Electromagnetic waves - Electromagnetic losses e.g. Hysteresis, Leakage and flux fringing - Laws of Electromagnetism - Calculations in the Electromagnetism | - Assignments - Oral questioning - Practical tests - Supervised exercises - Written tests - Observation |

Suggested Methods of Instruction

- Group discussions

- Demonstration by trainer

- Exercises by trainee

- Instructor led facilitation of theory

- Viewing of related videos

Recommended Resources

- Scientific Calculators

- Relevant reference materials

- Stationeries

- Electrical workshop

- Relevant practical materials

- Dice

- Computers with internet connection

# THERMODYNAMICS

UNIT CODE: ENG/OS/RAC/CC/04/6/A

Relationship to Occupational Standards

This unit addresses the unit standard: apply thermodynamics

Duration of Unit: 180 hours

Unit Description

This unit covers the competencies required to apply thermodynamics. It entails applying the concept of thermodynamics, applying psychometrics, applying refrigeration cycles and applying P-h and T-s diagrams

Summary of Learning Outcomes

    - Apply concept of thermodynamics

    - Apply heat transfer

    - Apply psychometrics

    - Apply refrigeration cycle

    - Apply p-h diagram

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Apply concept of thermodynamics | - Introduction to Kinetic Theory of Gases - Definition of Thermodynamics - Thermodynamic Systems - System, boundary and surroundings - Closed system - Open system - Isolated system - Adiabatic system - Homogeneous system - Heterogeneous system - Thermodynamic Equilibrium - Properties of Systems - State - Process - Cycle - Temperature - pressure - Laws of Thermodynamics - 1st law of thermodynamics - 2nd law of thermodynamics and entropy - The Thermometer and Thermometric Property - Measurement of temperature - The international practical temperature scale - Ideal gas - Pressure - Definition of pressure - Unit for pressure - Types of pressure measurement devices - Specific Volume - Reversible and Irreversible Processes - Energy, Work and Heat | - Assignments - Oral questioning - Practical tests - Supervised exercises - Written tests - Observation |
| - Apply psychometrics | - Concept of Psychrometry and Psychrometrics - Definitions - Psychrometric Relations - Psychrometers - Psychrometric Charts - Psychrometric Processes - Mixing of air streams - Sensible heating - Sensible cooling - Cooling and dehumidification - Cooling and humidification - Heating and dehumidification - Heating and humidification | - Assignments - Oral questioning - Practical tests - Supervised exercises - Written tests - Observation |
| - Apply refrigeration cycles | - Fundamentals of Refrigeration cycle - Introduction to refrigeration cycles - Elements of refrigeration systems - Refrigeration systems - Co-efficient of performance (C.O.P.) - Standard rating of a refrigeration machine - Refrigeration System - Introduction to refrigeration system - Reversed Carnot cycle - Reversed Brayton cycle - Merits and demerits of air refrigeration system - Simple Vapor Compression cycle - Introduction to simple vapor compression cycle - Simple vapor compression cycle - Functions of parts of a simple vapor compression cycle - Vapor compression cycle on temperature-entropy (T-s) diagram - Pressure-enthalpy (p-h) chart - Simple vapor compression cycle on p-h chart - Factors affecting the performance of a vapor compression cycle - Actual vapor compression cycle - Volumetric efficiency - Mathematical analysis of vapor compression refrigeration cycle - Vapor Absorption cycle - Introduction - Simple vapor absorption cycle - Practical vapor absorption cycle - Comparison between vapor compression and vapor - absorption systems | - Assignments - Oral questioning - Practical tests - Supervised exercises - Written tests - Observation |
| - Apply P-h and T-s diagrams | - Use of p-h and T-s diagram - Interpretation and application of p-h and T-s Diagrams | - Assignments - Oral questioning - Practical tests - Supervised exercises - Written tests - Observation |

Suggested Methods of Instruction

- Group discussions

- Demonstration by trainer

- Exercises by trainee

- Instructor led facilitation of theory

- Viewing of related videos

Recommended Resources

- Relevant reading materials

- Charts with presentations of data

- Scientific Calculators

- Computers with internet connection

## FLUIDS MECHANICS

UNIT CODE: ENG/OS/RAC/CC/05/6/A

Relationship to Occupational Standards

This unit addresses the unit standard: apply fluid mechanics

Duration of Unit: 90 hours

Unit Description

This unit covers the competencies required to apply fluid mechanics. It involves applying concepts of fluid mechanics, performing pressure measurement, applying flow of fluids and applying compressible flow.

Summary of Learning Outcomes

- Apply concepts of fluid mechanics

- Perform Pressure measurement

- Apply flow of fluids

- Apply compressible flow

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Apply concepts of fluid mechanics | - Introduction to fluid mechanics - Fluids properties - Compressibility and bulk modulus of fluids - Vapor pressure | - Assignments - Oral questioning - Practical tests - Supervised exercises - Written tests - Observation |
| - Perform Pressure measurement | - Introduction to pressure - Pascal’s law - Atmospheric pressure, gauge pressure and absolute pressure - Gauge readings - Pressure measurements | - Assignments - Oral questioning - Practical tests - Supervised exercises - Written tests - Observation |
| - Apply flow of fluids | - Introduction to flow of fluids - State of flow according to fluid mechanics - Mathematical concepts as per the equations of flow - Types of fluids flows - Flow rate in pipes - Loss of energy in pipes - Major losses - Minor losses - Loss of head due to sudden enlargement - Loss of head due to sudden contraction - Loss of head due to obstruction in pipes - Loss of head due to entrance in pipes - Loss of head due to exit in pipes - Loss of head due to bend in pipes - Loss of head due to various pipes fittings - Application of flow losses equations | - Assignments - Oral questioning - Practical tests - Supervised exercises - Written tests - Observation |
| - Apply compressible flow | - Introduction to compressible flow - Basic thermodynamics relations - Characteristics of equation of state - Specific heat - Internal energy - Enthalpy - Energy, work, and heat - Basic equations of compressible fluid flow - Continuous equation - Moment equation - Bernoulli’s equation or energy equation - Mach number - Flow compressible fluid through a convergent nozzle - Variables of flow in terms of mach number - Measurement of compressible flow - Rate of discharge through pipes | - Assignments - Oral questioning - Practical tests - Supervised exercises - Written tests - Observation |

Suggested Methods of Instruction

- Group discussions

- Demonstration by trainer

- Exercises by trainee

- Instructor led facilitation of theory

- Viewing of related videos

Recommended Resources

- Relevant reading materials

- Charts with presentations of data

- Scientific Calculators

- Computers with internet connection

## TECHNICAL DRAWING AND COMPUTER AIDED DRAWING

UNIT CODE: ENG/CU/RAC/CC/06/6/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Prepare and interpret technical drawings and Computer Aided Drawing.

Duration of Unit: 120 hours

Unit Description

This unit covers the competencies required to apply technical drawings and Computer Aided Drawing. It involves using and maintaining drawing equipment and materials, producing plane geometry drawings, producing solid geometry drawings, producing orthographic and pictorial drawings, producing electrical drawings and applying CAD packages in drawing.

Summary of Learning Outcomes

- Use and maintain drawing equipment and materials

- Produce plane geometry drawings

- Produce solid geometry drawings

- Produce orthographic and pictorial drawings

- Produce electrical drawings

- Apply CAD packages in drawing

Learning Outcomes, Content and Suggested Assessment Methods:

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Use and maintain drawing equipment and materials | - Identification and care of drawing equipment - Identification and care of drawing materials - Reference to manufacturer’s instructions and work place procedures on use and maintenance of drawing equipment and materials - Reference to relevant environmental legislations - Use of Personal Protective Equipment (PPEs) | - Assignments - Oral questioning - Practical tests - Supervised exercises - Written tests - Observation |
| - Produce plane geometry drawings | - Types of lines in drawings - Construction of geometric forms e.g. squares, circles - Construction of different angles - Measurement of different angles - Bisection of different angles and lines - Standard drawing conventions | - Assignments - Oral questioning - Practical tests - Supervised exercises - Written tests - Observation |
| - Produce solid geometry drawings | - Front, side elevation and plan of a sectioned solid - Auxiliary view from a given elevation and plan - Surfaces of truncated regular solids - Points of intersecting solids - surfaces of intersecting solids | - Assignments - Oral questioning - Practical tests - Supervised exercises - Written tests - Observation |
| - Produce orthographic and pictorial drawings | - Symbols and abbreviations - Conversion of pictorial views into orthographic projections - First and third angle orthographic drawings - Orthographic elevations - Production of orthographic views of assembled drawing - Exploded views and orthographic projection - Isometric drawings - Oblique drawings - Freehand sketching of different types of geometric forms, tools, equipment, diagrams | - Assignments - Oral questioning - Practical tests - Supervised exercises - Written tests - Observation |
| - Produce electrical drawings | - Electrical symbols and abbreviations - Meaning of electrical drawings symbols - Drawing of electrical diagrams e.g. block, schematic, circuit, line and wiring | - Assignments - Oral questioning - Practical tests - Supervised exercises - Written tests - Observation |
| - Apply CAD packages in drawing | - Introduction to CAD packages - Application of CAD packages | - Assignments - Oral questioning - Practical tests - Supervised exercises - Written tests - Observation |

Suggested Methods of Delivery

- Group discussions

- Demonstration by trainer

- Exercises by trainee

- Instructor led facilitation of theory

- Viewing of related videos

- Projects

Recommended Resources

- Drawing/ computer room

- Drawing instruments e.g. T-squares, set squares, drawing sets

- Drawing tables

- Pencils, papers, erasers

- Masking tapes

- Computers installed with relevant CAD packages

# CORE UNITS OF LEARNING

## REFRIGERATION SYSTEMS

UNIT CODE: ENG/OS/RAC/CR/01/6/A

Relationship to Occupational Standards

This unit addresses the unit standard: maintain refrigeration systems

Duration of Unit: 200 hours

UNIT DESCRIPTION

This unit covers the competencies required to maintain refrigeration systems. It involves servicing refrigeration compressors, servicing refrigeration heat exchangers, servicing expansion valves, carrying out refrigeration brazing, carrying out leak testing, carrying out system recovery, recycling and evacuation, charging refrigeration system and carrying out commissioning.

Summary of Learning Outcomes

- Service refrigeration compressors

- Service refrigeration heat exchangers

- Service expansion valves

- Carry out refrigeration pipe brazing

- Carry out leak testing

- Carry out system recovery, recycling and evacuation

- Charge refrigeration system

- Carry out commissioning

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Service refrigeration compressors | - Introduction to refrigeration principles - Principle of operation of refrigeration system - Refrigeration equipment - Refrigeration process - Temperature and pressure relationship - Refrigeration components - The evaporator - The condenser - Compressor - Refrigerant metering device - Matching refrigeration systems and components - Types of compressors - health and safety - compressor fault - tools, equipment and instruments - Introduction to refrigerants - Classification of refrigerants - Desirable properties of an ideal refrigerant - Properties and uses of commonly used refrigerants - Regulation in refrigerants - heat exchanger | - Observation - Oral questioning - Written tests - Practical tests |
| - Service refrigeration heat exchangers | - Cold/ heat source - Air handling equipment - Water system - Air system - Regulation and control devices - Room temperature control - Valve control - Cooling towers - Water chillers | - Observation - Oral questioning - Written tests - Practical tests |
| - Service expansion valves | - Expansion valve - Isolating expansion valve from the system - Diagnosis of faults - Tools, equipment and instruments required in servicing expansion valves - Disassembling expansion valve - Servicing expansion valve parts - Replacing/ refurbishing worn parts - Reassembling expansion valve - Testing and commissioning heat exchangers - Housekeeping practices - Expansion valve service report writing | - Observation - Oral questioning - Written tests - Practical tests |
| - Carry out refrigeration pipe brazing | - Introduction to brazing - Tools and equipment required in brazing - Brazing procedures - Brazing processes - Testing and commissioning of pipe brazing - Housekeeping practices - Writing pipe brazing service report | - Observation - Oral questioning - Written tests - Practical tests |
| - Carry out leak testing | - Leak Detection methods - Electronic detection - Soap solution or fluorescent dyes - Halide torch - Ultrasonic leak detection - Halogen-selective detection - Standing Pressure Test - leak testing | - Observation - Oral questioning - Written tests - Practical tests |
| - Carry out system recovery, recycling and evacuation | - Recovering and Recycling - Methods of Recovery - Mechanical Recovery Systems - Recovering Refrigerant from Small Appliance - Refrigerants and Tools in the Future - Basic Refrigerant Leak Detection - Repairing Leaks - System Evacuation | - Observation - Oral questioning - Written tests - Practical tests |
| - Charge refrigeration system | - Charging a Refrigeration System - Vapor Refrigerant Charging - Liquid Refrigerant Charging - Weighing Refrigerant - Using Charging Devices - Using Charging Charts - Sub cooling Charging Method for TXV Systems | - Observation - Oral questioning - Written tests - practical |
| - Carry out commissioning | - Checking on the pressure - Leak checking - Checking electrical connections - Checking if the system is running | - Observation - Oral questioning - Written tests - practical |

Suggested Methods of Instruction

- Instructor led facilitation of theory

- Demonstration by trainer

- Group discussion

- Practice by trainee

Recommended Resources

- Relevant books and learning materials

- Manifold gauges

- Weighing balance

- P-h charts

- Vacuum pump

- Nitrogen gas

- Refrigerant recovery unit

- Brazing tools and equipments

- Protective gears e.g. gloves

- Pliers

- Nut drivers

- Socket wrenches

- Leak detectors

- System analyzers

## AIR CONDITIONING SYSTEM

UNIT CODE: ENG/OS/RAC/CR/02/6/A

Relationship to Occupational Standards

This unit addresses the unit standard: maintain air conditioning system

Duration of Unit: 200 hours

UNIT DESCRIPTION

This unit covers the competencies required to maintain air conditioning system. It involves servicing air conditioning compressors, servicing air conditioning heat exchangers, servicing expansion valves, carrying out pipe brazing, carrying out installation of air ducting system, servicing humidifiers, carrying out leak testing, carrying out system recovery, recycling and evacuation, charging A/C system, servicing automobile A/C and carrying out commissioning.

Summary of Learning Outcomes

- Service air conditioning compressors

- Service air conditioning heat exchangers

- Service expansion valves

- Carryout pipe brazing

- Carry out installation of air ducting system

- Service humidifiers

- Carry out leak testing

- Carry out system recovery, recycling and evacuation

- Charge A/C system

- Service Automobile A/C

- Carry out commissioning

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Service air conditioning compressors | - Isolating compressor from the system - Diagnosing fault in air conditioning compressors - Tools, equipment and instruments required in servicing A/C compressors - Disassembling compressor - Servicing compressor parts - Replacing/ refurbishing worn parts - Reassembling compressor - Testing and commissioning - Housekeeping practices - Writing a compressor service report | - Observation - Oral questioning - Written tests - practical |
| - Service air conditioning heat exchangers | - Observation of health and safety requirements - Isolating heat exchanger from the system - Diagnosing fault in air conditioning heat exchangers - tools, equipment and instruments required in servicing A/C heat exchangers - Disassembling heat exchanger - Servicing heat exchangers parts - Replacing/ refurbishing worn parts - Reassembling heat exchanger - Testing and commissioning heat exchangers - Carrying out housekeeping practices - Writing a heat exchanger service report - Water system - Air system - Cooling towers - Valve control - Water chillers | - Observation - Oral questioning - Written tests - Practical tests |
| - Service expansion valves | - Introduction to expansion valve s - Observation of health and safety requirements - Isolating expansion valve from the system - Diagnosing fault in expansion valves - Tools, equipment and instruments required in servicing expansion valve - Disassembling expansion valve - Servicing of expansion valve parts - Replacing/ refurbishing worn parts - Reassembling expansion valve - Testing and commissioning expansion valve - Housekeeping practices - Preparing an expansion valve service report | - Observation - Oral questioning - Written tests - Practical tests |
| - Carry out pipe brazing | - Introduction to brazing - Tools and equipment required in pipe brazing - Brazing procedures - Brazing processes - Testing and commissioning of pipe brazing - Housekeeping practices - Writing pipe brazing service report | - Observation - Oral questioning - Written tests - Practical tests |
| - Carry out installation of air ducting system | - Air duct installation - Tools and equipment required in installing air duct system - Identification of duct materials - Identification of duct shape and design - Air duct installation - Air duct system - Housekeeping practices required in installation of air duct system - Prepared air duct system installation report | - Observation - Oral questioning - Written tests - Practical tests |
| - Service Humidifiers | - Types of humidifiers - Observation of health and safety requirements - Diagnosis of fault in humidifiers - Tools, equipment and instruments required in service of humidifiers - Disassembling of components of humidifiers - Servicing of components of humidifiers - Replacing/ refurbishing of worn parts - Reassembling of components of humidifiers - Testing and commissioning of humidifiers - Housekeeping practices - Preparing a humidifiers service report | - Observation - Oral questioning - Written tests - Practical tests |
| - Carry out leak testing | - Introduction to leak testing - Identification of potential areas for leakages - Application of an inert gas (oxygen free dry nitrogen) into the air conditioning system - Leak detection methods - Carrying out leak testing | - Observation - Oral questioning - Written tests - Practical tests |
| 8. Carry out system recovery, recycling and evacuation | - Recovering and Recycling - Methods of Recovery - Mechanical Recovery Systems - Recovering Refrigerant from Small Appliance - Refrigerants and Tools in the Future - Basic Refrigerant Leak Detection - Repairing Leaks - System Evacuation | - Observation - Oral questioning - Written tests - Practical tests |
| - Charge A/C system | - Charging an A/C System - Vapor Refrigerant Charging - Liquid Refrigerant Charging - Weighing Refrigerant - Using Charging Devices - Using Charging Charts - Sub cooling Charging Method for TXV Systems | - Observation - Oral questioning - Written tests - practical |
| 10. Service Automobile A/C | - Identification of automobile air conditioning components - Observation of health and safety requirements - tools, equipment and instruments required in service of automobile A/C - Identification of faults in automobile A/C - Diagnosing Automobile, A/C Components - Identification of Refrigerant requiring recovery/recycling - Recovering/recycling of refrigerant - Testing and commissioning of Automobile A/C system - Housekeeping practices - Writing Automobile, A/C report | - Observation - Oral questioning - Written tests - practical |
| 11. Carry out commissioning | - identification of A/C system to be commissioned - Observation of health and safety requirements - Testing and commissioning A/C system - Identification of Tools and equipment required for carrying out commissioning | - Observation - Oral questioning - Written tests - practical |

Suggested Methods of Instruction

- Instructor led facilitation of theory

- Demonstration by trainer

- Group discussion

- Practice by trainee

Recommended Resources

- Relevant books and learning materials

- Manifold gauges

- Weighing balance

- P-h charts

- Vacuum pump

- Nitrogen gas

- Refrigerant recovery unit

- Brazing tools and equipments

- Protective gears e.g. gloves, helmets overalls/ dust coats

- Pliers

- Nut drivers

- Socket wrenches

- Leak detectors

- System analyzers

## DESIGNING REFRIGERATION SYSTEM

UNIT CODE: ENG/OS/RAC/CR/03/6/A

Relationship to Occupational Standards

This unit addresses the unit of competency: design Refrigeration system

Duration of Unit: 140 hours

UNIT DESCRIPTION

This unit covers the competencies required to design refrigeration system. It entails determining refrigeration load requirement, determining refrigeration equipment requirements and sizing, preparing piping and instrumentation diagrams and preparing equipment and material specifications.

Summary of Learning Outcomes

- Determine refrigeration load equipment

- Determine refrigeration equipment requirements and sizing

- Prepare piping and instrumentation

- Prepare equipment and material specifications

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Determine refrigeration load equipment | - Identification of refrigeration space - Observation of health and safety requirements - Identification of transmission load - Identification of infiltration load - Identification of product load - Identification of miscellaneous load - Housekeeping practices - Writing refrigeration load equipment report | - Observation - Oral questioning - Written tests - Practical test |
| - Determine refrigeration equipment requirements and sizing | - Identification of the refrigeration space - Observation of health and safety requirements - Availability of power supply - Identification of refrigeration equipment and the size - Housekeeping practices - Writing of refrigeration equipment requirements and sizing report | - Observation - Oral questioning - Written tests - Practical test |
| - Prepare piping and instrumentation diagrams | - Identification of refrigeration space - Observation of health and safety requirements - Identification of tools and equipment - Identification of pipe materials - Determination of flow rate - Determination of tube sizes - Identification of tube systems - Preparation of refrigeration equipment requirements - Identification of pressure regulation devices - Identification of temperature devices - Determination of pipes dimensions - Identification of state of the fluid in the piping systems - Housekeeping practices - Piping and instrumentation diagrams report | - Observation - Oral questioning - Written tests - Practical test |
| - Prepare equipment and material specifications | - Identification of materials, tools and equipment - Observation of health and safety requirements - Identification of power source - Identification of modes of operations of equipment - Identification of design conditions - Testing and commissioning equipment and materials - Writing report on equipment and material specifications | - Observation - Oral questioning - Practical tests - Written tests |

Suggested Methods of Instruction

- Facilitation of theory by trainer

- Demonstration of task by trainer

- Practice by trainee

- Field visits

- Viewing of related videos

Recommended Resources

- Measuring tools

- Spirit level

- Plumb line

- Transparent water hose

- Phase testers

- Pliers

- Side cutters

- Pinch-off pliers

- Telescopic inspection mirror

- Tube bender

- Flaring tool

- Tube bender

- Fire extinguisher

- Piercing pliers

- Leak detectors

- Refrigerant identifiers

- Clamp on ammeters

- Screw drivers

- Chisels

- Hammers (claw and ballpein)

- Hacksaws

- Electric drill

- Drill bits

- Cross cutter

- Centre punch

- Dot punch

- Rip saw

- Welding equipment

- Brazing equipment

- Soldering gun

- Masonry tools (e.g. trowel, spade, level)

- Lock ring kits

- Pipe cutters

- Capillary cutters

- System analysers

- Vacuum pumps

- Refrigerant recovery units

- Refrigerant weighing scales

- Charging stations

- PPEs e.g. safety boots, overall, helmet, googles, gloves

## DESIGNING AIR CONDITIONING SYSTEM

UNIT CODE: ENG/OS/RAC/CR/04/6/A

Relationship to Occupational Standards

This unit addresses the unit standard: design air conditioning system

Duration of Unit: 100 hours

UNIT DESCRIPTION

This unit covers the competencies required to design air conditioning system.  It entails determining A/C load requirement, determining A/C equipment requirements and sizing, preparing piping and instrumentation diagrams, determining air duct sizing and preparing equipment and material specifications

Summary of Learning Outcomes

    - Determine A/C load requirement

    - Determine A/C equipment requirements and sizing

    - Prepare piping and instrumentation diagrams

    - Determine air duct sizing

    - Prepare equipment and material specifications

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Determine A/C load requirement | - Identification of refrigeration space - Observation of health and safety requirements - Determination of heat gain due to infiltration - Determination of heat gain due to ventilation - Determination of heat gain from occupants - Determination of heat gain from appliances - Determination of heat gain from lighting equipment - Determination of heat gain from power equipment - Determination of heat gain through ducts - Writing A/C load equipment report | - Observation - Oral questioning - Written tests - Practical tests |
| - Determine A/C equipment requirements and sizing | - Identification of A/C space - Observation of health and safety requirements - Determination of power supply available - Determination of A/C equipment size - Housekeeping practices - Writing A/C equipment requirements and sizing report | - Observation - Oral questioning - Written tests - Practical tests |
| - Prepare piping and instrumentation diagrams | - Identification of A/C space - Observation of health and safety requirements - Identification of tools and equipment - Determination of flow rate - Identification of tube sizes - Identification of tube systems - Identification of pressure regulation devices - Identification of temperature devices - Identification of pipes/ tubes dimensions - Identification of state of refrigerants in the piping systems - Housekeeping practices - Writing A/C equipment requirements and sizing report | - Observation - Oral questioning - Written tests - Practical tests |
| - Determine air duct sizing | - Identification of area of air duct installation - Observation of health and safety procedures - Identification of tools and equipment - Identification of duct material - Identification of duct design, shape, dimensions and size - Performing sealing of the duct - Identification of flow rate from the duct systems - Determination of pressure drop in duct - Duct installation - Testing and commissioning air duct sizing - Housekeeping practices - Writing Air duct sizing report | - Observation - Oral questioning - Written tests - Practical tests |
| 5. Prepare equipment and material specifications | - Observation of health and safety requirements - Identification of materials, tools and equipment - Identification of source of power - Identification of modes of operations - Identification of design conditions - Testing and commissioning equipment and materials - Writing report on equipment and material specifications | - Observation - Oral questioning - Written tests - Practical tests |

Suggested Methods of Instruction

- Instructor led facilitation of theory

- Demonstration by trainer

- Practice by trainee

- Field visits

- On job trainings (O.J. T s)

- Practice by trainee

Recommended Resources

- Pliers

- Screwdrivers

- Soft hammers

- Chisels

- Files

- Allen keys

- Socket wrenches

- Adjustable spanners

- Lifting equipment

- Ball pen hammer

- Tinsman snipper

## RAC CONTROL SYSTEMS

UNIT CODE: ENG/OS/RAC/CR/05/6/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Maintain refrigeration and air conditioning systems

Duration of Unit: 200 hours

UNIT DESCRIPTION

This unit covers the competencies required to maintain RAC control systems.  It includes determining A/C load requirement, determining A/C equipment requirements and sizing, preparing piping and instrumentation diagrams, determining air duct sizing and preparing equipment and material specifications

Summary of Learning Outcomes

  - Service motor control units

  - Service motor starters

  - Maintain motor protection systems

  - Test electronic controls

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Service motor control units | - Identification of motor control unit to be serviced - Observation of health and safety procedures - Interpretation of electrical circuit diagrams - Isolation of motor control from the system - Diagnosis of fault - Identification of tools and equipment - Disassembling serviced motor control parts - Replacing/ refurbishing worn parts - Reassembling motor control - Testing and commissioning motor controls - Writing report on motor control service | - Observation - Oral questioning - Written tests - Practical tests |
| - Service motor starters | - Identification of motor starters to be serviced - Observation of health and safety procedures - Isolation of motor starters from the system - Diagnosis of fault - Identification of tools and equipment - Disassembling and Servicing motor starters - Replacing/ refurbishing worn parts - Reassembling motor starter - Housekeeping practices - Testing and commissioning motor starter - Housekeeping practices - Writing report on motor starter service | - Observation - Oral questioning - Written tests - Practical tests |
| - Maintain motor protection systems | - Identification of motor protection systems - Observation of health and safety procedures - Interpretation of electrical circuit diagram - Maintenance of internal motor protection - Maintenance of external motor protection - Isolation of motor protection systems from the system - Diagnosis of fault - Identification of tools and equipment - Maintenance of motor protection systems - Housekeeping practices - Testing and commissioning motor protection systems - Writing report on motor protection systems service | - Observation - Oral questioning - Written tests - Practical tests |
| - Test electronic controls | - Identification of electronic control diagrams - Observation of health and safety procedures - Interpretation of electronic control diagrams - Testing electronic controls - Selection of tools, equipment and materials - Testing of electronic components - Housekeeping practices - Testing and commissioning electronic control - Writing report on electronic controls testing | - Observation - Oral questioning - Practical tests - Written tests |

Suggested Methods of Instruction

- Instructor led facilitation of theory

- Demonstration of task by trainer

- Practice by trainee

- Viewing of related videos

- Field visits

- On job trainings (O.J. T s)

Recommended Resources

- Measuring tools

- Phase tester

- Telescopic inspection mirror

- Fire extinguisher

- Pliers/side cutter

- Screw drivers

- Electric drill

- Drill bits

- Cross cut

- Centre punch

- Dot punch

- Soldering gun

- PPEs e.g. safety boots, overall, helmet, googles, gloves

- Refrigerant identifier

- Anemometer