REPUBLIC OF KENYA

COMPETENCY BASED CURRICULUM

FOR

WASTEWATER AND SANITATION TECHNOLOGY

LEVEL 6

| KENYA WATER INSTITUTE P.O. BOX 60013-00200 NAIROBI | TVET CDACC P.O. BOX 15745-00100 NAIROBI |
| --- | --- |

First published 2019

© 2019, KEWI

All rights reserved. No part of this Curriculum may be reproduced, distributed, or transmitted in any form or by any means, including photocopying, recording, or other electronic or mechanical methods without the prior written permission of the KEWI, except in the case of brief quotations embodied in critical reviews and certain other non-commercial uses permitted by copyright law. For permission requests, please write to the Director, at the address below:

DIRECTOR

KENYA WATER INSTITUTE (KEWI)

P.O. Box 60013–00200

Nairobi, Kenya

Cell phone: +254 722 207757

Email: infor@kewi.or.ke

Website: www@kewi.or.ke

# FOREWORD

The provision of quality education and training is fundamental to the Government’s overall strategy for social economic development. Quality education and training will contribute to achievement Kenya’s development blue print and sustainable development goals.

Reforms in the education sector are necessary for the achievement of Kenya Vision 2030 and meeting the provisions of the Constitution of Kenya 2010. The education sector had to be aligned to the Constitution and this resulted to the formulation of the Policy Framework for Reforming Education and Training (Sessional Paper No. 14 of 2012). A key feature of this policy is the radical change in the design and delivery of the TVET training.  This policy document requires that training in TVET be competency based, Curriculum development be industry led, certification be based on demonstration of competence and mode of delivery allows for multiple entry and exit in TVET programmes.

These reforms demand that Industry takes a leading role in Curriculum development to ensure the Curriculum addresses its competence needs. It is against this background that this Curriculum has been developed.

It is my conviction that this Curriculum will play a great role towards development of competent human resource for the Wastewater and Sanitation Technology and entire water and sanitation sector’s growth and sustainable development.

PRINCIPAL SECRETARY

MINISTRY OF WATER & SANITATION AND IRRIGATION

# PREFACE

Kenya Vision 2030 aims to transform the country into a newly industrializing, “middle-income country providing a high quality life to all its citizens by the year 2030”.  Kenya intends to create a globally competitive and adaptive human resource base to meet the requirements of a rapidly industrializing economy through life-long education and training. TVET has a responsibility of facilitating the process of inculcating knowledge, skills and attitudes necessary for catapulting the nation to a globally competitive country, hence the paradigm shift to embrace Competency Based Education and Training (CBET).

The Technical and Vocational Education and Training Act No. 29 of 2013 and the Sessional Paper No. 14 of 2012 on Reforming Education and Training in Kenya, emphasized the need to reform Curriculum development, assessment and certification. This called for a shift to CBET to address the mismatch between skills acquired through training and skills needed by industry as well as increase the global competitiveness of Kenyan labour force.

Kenya Water Institute in conjunction with Water Sector Skills Advisory Committee (SSAC), and Kenyatta University and Water Service Providers’ Association (WASPA), Jomo Kenyatta University of Agriculture and Technology (JKUAT), University of Nairobi (UON) with guidance from TVET Curriculum Development, Assessment and Certification Council (TVET CDACC) has developed this Curriculum.

This curriculum has been developed following the CBET framework policy; the CBETA standards and guidelines provided by the TVET Authority and the Kenya National Qualification Framework designed by the Kenya National Qualification Authority.

The Curriculum is designed and organized with an outline of learning outcomes; Suggested Methods of Instruction, training/learning resources and methods of assessing the trainee’s achievement. The Curriculum is competency-based and allows multiple entry and exit to the course.

I am grateful to the KEWI Academic Board, Technical Committees, TVET CDACC, Water SSAC, Academia, expert workers and all those who participated in the development of this Curriculum.

CHAIRPERSON

KENYA WATER INSTITUTE GOVERNING COUNCIL

# ACKNOWLEDGEMENT

This Curriculum has been designed for Competency-Based training and has independent units of learning that allow the trainee flexibility in entry and exit. In developing the Curriculum, significant involvement and support was received from various relevant organizations and key stakeholders.

I appreciate Water Service Providers Association (WASPA), Nairobi City Water and Sewerage Company, and Ruiru-Juja Water and Sanitation Company; as well as Kenyatta University, University of Nairobi, Jomo Kenyatta University of Agriculture and Technology, and University of Eldoret who participated in the development of this Curriculum.

I recognize with appreciation the role of the Water Sector Skills Advisory Committee (SSAC) in ensuring that competencies required by the industry are addressed in this Curriculum. I also thank all stakeholders in the Water sector for their valuable input and all those who participated in the process of developing this Curriculum.

I am convinced that this Curriculum will go a long way in ensuring that workers in wastewater management and sanitation service provision and entire Water sector will acquire competencies that will enable them to perform their work competently.

CEO/COUNCIL SECRETARY,

TVET CURRICULUM DEVELOPMENT, ASSESSMENT AND CERTIFICATION COUNCIL

# ABBREVIATIONS AND ACRONYMS

| AC | Alternating Current |
| --- | --- |
| BOD | Biological Oxygen Demand |
| CAD | Computer Aided Design |
| CBC | Competence Based Curriculum |
| CBET | Competence Based Education and Training |
| CDACC | Curriculum Development, Assessment and Certification Council |
| CoK | Constitution of Kenya |
| DC | Direct Current |
| DTP | Desktop Publishing |
| EMCA | Environmental Management Coordination Act |
| EMS | Environmental Management Systems |
| GHS | Globally Harmonized System |
| GIS | Geographical Information Systems |
| GPS | Global Positioning System |
| ICT | Information Communication Technology |
| ISO | International Standardization organization |
| IWRM | Integrated Water Resources Management |
| KCSE | Kenya Certificate of Secondary Education |
| KEWI | Kenya Water Institute |
| KNQA | Kenya National Qualifications Authority |
| KNQF | Kenya National Qualifications Framework |
| LCD | Liquid Crystal Display |
| OS | Operating Systems |
| OSH | Occupational Safety and Health |
| PC | Personal Computer |
| PPE | Personal Protective Equipment |
| PPR | Polypropylene |
| R-L-C | Resistor-Inductor (L) - Circuit |
| SSAC | Sector Skills Advisory Committee |
| TV | Television |
| TVET | Technical Vocational Education and Training |
| TVETA | Technical Vocational Education and Training Authority |
| UV-VIS | Ultraviolet Visible |
| WRA | Water Resources Authority |
| WASPA | Water Service Providers Association |
| WASREB | Water Services Regulatory Board |
| WRA | Water Resources Authority |

# KEY TO UNIT CODE

WAT/ CU/ WSET/BC/ 01 / 6/ A

Industry or sector

Curriculum

Occupational area

Type of Unit

Unit number

Competency level

Control Version

Table of Contents

FOREWORD	iv

PREFACE	v

ACKNOWLEDGEMENT	vi

ABBREVIATIONS AND ACRONYMS	vii

KEY TO UNIT CODE	viii

OVERVIEW	x

BASIC UNITS OF LEARNING	1

COMMUNICATION SKILLS	2

DIGITAL LITERACY	5

ENTREPRENEURIAL SKILLS	8

EMPLOYABILITY SKILLS	12

ENVIRONMENTAL LITERACY	18

OCCUPATIONAL SAFETY AND HEALTH PRACTICES	22

COMMON UNITS OF LEARNING	24

BIOLOGY AND CHEMISTRY PRINCIPLES	25

ENGINEERING MATHEMATICS	30

WORKSHOP TECHNOLOGY	35

APPLIED PHYSICS	40

TECHNICAL DRAWING AND COMPUTER AIDED DRAWING	43

WATER TECHNOLOGY PRINCIPLES	45

WATER MANAGEMENT PRINCIPLES	47

CORE UNITS OF LEARNING	50

WASTEWATER COLLECTION AND TREATMENT INFRASTRUCTURE	51

WASTEWATER INFRASTRUCTURE CONSTRUCTION	55

WASTEWATER INFRASTRUCTURE OPERATION AND MAINTENCE	58

CUSTOMER SERVICE CONNECTIONS MANAGEMENT	61

ONSITE SANITATION FACILITIES DESIGNING	63

ONSITE SANITATION FACILITIES CONSTRUCTION	66

ONSITE SANITATION FACILITIES OPERATION AND MAINTENANCE	68

# OVERVIEW

Wastewater and Sanitation Technology Level 6 Curriculum consists of competencies that an individual must achieve to enable him/her to design, Survey, cost, construct, operate and maintain wastewater and sanitation collection, treatment and disposal systems. It comprises of planning, designing, surveying, costing, construction and operating and maintaining wastewater and sanitation infrastructure.

The units of competency comprising Wastewater and Sanitation Engineering Technology qualification include the following:

Basic Units of Learning

| Unit Code | Unit Title | Duration in Hours | Credit Factor |
| --- | --- | --- | --- |
| WAT/CU/WSET/BC/01/6/A | Communication Skills | 40 | 4.0 |
| WAT/CU/WSET/BC/02/6/A | Digital Literacy | 60 | 6.0 |
| WAT/CU/WSET/BC/03/6/A | Entrepreneural Skills | 60 | 6.0 |
| WAT/CU/WSET/BC/04/6/A | Employability Skills | 100 | 10.0 |
| WAT/CU/WSET/BC/05/6/A | Environmental Literacy | 80 | 8.0 |
| WAT/CU/WSET/BC/06/6/A | Occupational Safety and Health | 40 | 4.0 |
| Total |  | 420 | 42.0 |

Common Units of Learning

| Unit Code | Unit Title | Duration in Hours | Credit Factor |
| --- | --- | --- | --- |
| WAT/CU/WSET/CC/01/6/A | Biology and Chemistry Principles | 60 | 6.0 |
| WAT/CU/WSET/CC/02/6/A | Engineering Mathematics | 150 | 15.0 |
| WAT/CU/WSET /CC/03/6/A | Workshop Technology | 240 | 24.0 |
| WAT/CU/WSET /CC/04/6/A | Applied Physics | 120 | 12.0 |
| WAT/CU/WSET/CC/05/6/A | Technical Drawing and Computer Aided Drawing | 240 | 24.0 |
| WAT/CU/WSET/CC/06/6/A | Water Technology Principles | 180 | 18.0 |
| WAT/CU/WSET/CC/07/6/A | Water Management Principles | 60 | 6.0 |
| Total |  | 1050 | 105.0 |

Core Units of Learning

| Unit Code |  | Unit Title | Duration in Hours | Credit Factor |
| --- | --- | --- | --- | --- |
| WAT/CU/ WSET/CR/01/6/A |  | Waste Water collection and Treatment Infrastructure | 450 | 45.0 |
| WAT/CU/ WSET/CR/02/6/A |  | Wastewater Infrastructure Construction | 240 | 24.0 |
| WAT/CU/ WSET/CR/03/6/A |  | Wastewater Infrastructure Operation and Maintenance | 120 | 9.0 |
| WAT/CU/ WSET/CR/04/6/A |  | Customer Service Connections Management | 30 | 3.0 |
| WAT/CU/ WSET/CR/05/6/A |  | Onsite Sanitation Facilities Designing | 120 | 12.0 |
| WAT/CU/ WSET/CR/06/6/A |  | Onsite Sanitation Facilities Construction | 60 | 6.0 |
| WAT/CU/ WSET/CR/07/6/A |  | Onsite Sanitation Facilities Operation and Maintenance | 60 | 6.0 |
| Total |  |  | 1100 | 110.0 |
|  | Industrial Attachment for Wastewater Technician |  | 480 | 48.0 |
| Grand Total |  |  | 2990 | 299.0 |

The total duration of the course is 2,990 hours

Entry Requirements

An individual entering this course should have any of the following minimum requirements:

- Kenya Certificate of Secondary Education (KCSE) mean grade C- (minus)

Or

- Wastewater and Sanitation Technology level 5

Or

- Equivalent qualifications as determined by Kenya National Qualifications Authority (KNQA)

Trainer qualification

A trainer for this course should have a higher qualification than the level of this course.

Field attachment

An individual enrolled in this course will undergo an industrial attachment for a period of 480 hours in a wastewater management organization.

Assessment

The course will be assessed at two levels:

- Internal assessment: conducted continuously by the trainer (internal assessor) who is monitored by an accredited internal verifier

- External assessment: conducted by an accredited external assessor who is monitored by an accredited external verifier

The assessors and verifiers are registered by TVET CDACC which also coordinates external assessment.

Certification

An individual will be awarded a Certificate of Competency on demonstration of competence in a unit of competency. To be awarded Wastewater and sanitation Technology Level 6 National Certificate, an individual must demonstrate competence in all the units of competency in the qualification pack.

These certificates will be awarded by TVET CDACC in conjunction with Kenya Water Institute.

# BASIC UNITS OF LEARNING

## COMMUNICATION SKILLS

UNIT CODE: WAT/CU/WSET/CC/01/6/A

Relationship to Occupational Standards

This unit addresses the Unit of Competency: Demonstrate Communication Skills

Duration of Unit: 40 hours

Unit Description

This unit covers the competencies required to demonstrate communication skills .It involves, meeting communication needs of clients and colleagues; developing communication strategies, establishing and maintaining communication pathways, conducting interviews, facilitating group discussion and representing the organization.

Summary of Learning Outcomes

- Meet communication needs of clients and colleagues

- Develop communication strategies

- Establish and maintain communication pathways

- Promote use of communication strategies

- Conduct interview

- Facilitate group discussion

- Represent the organization

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Meet communication needs of clients and colleagues | - Communication process - Modes of communication - Medium of communication - Effective communication - Barriers to communication - Flow of communication - Sources of information - Organizational policies - Organization requirements for written and electronic communication methods - Report writing - Effective questioning techniques (clarifying and probing) - Workplace etiquette - Ethical work practices in handling communication - Active listening - Feedback - Interpretation - Flexibility in communication - Types of communication strategies - Elements of communication strategy | - Interview - Written texts |
| - Develop communication strategies | - Dynamics of groups - Styles of group leadership - Openness and flexibility in communication - Communication skills relevant to client groups | - Interview - Written texts |
| - Establish and maintain communication pathways | - Types of communication pathways | - Interview - Written texts |
| - Promote use of communication strategies | - Application of elements of communication strategies - Effective communication techniques | - Interview - Written texts |
| - Conduct interview | - Types of interview - Establishing rapport - Facilitating resolution of issues - Developing action plans | - Interview - Written texts |
| - Facilitate group discussion | - Identification of communication needs - Dynamics of groups - Styles of group leadership - Presentation of information - Encouraging group members participation - Evaluating group communication strategies | - Interview - Written texts |
| - Represent the organization | - Presentation techniques - Development of a presentation - Multi-media utilization in presentation - Communication skills relevant to client groups | - Interview - Written texts |

Suggested Methods of Instruction

- Discussion

- Role playing

- Simulation

- Direct instruction

Recommended Resources

- Desktop computers/laptops

- Internet connection

- Projectors

- Telephone

## DIGITAL LITERACY

UNIT CODE:	WAT/CU/WSET/CC/02/6/A

Relationship to Occupational Standards

This unit addresses the Unit of Competency: Demonstrate Digital Literacy

Duration of Unit: 60 hours

Unit Description

This unit describes competencies required to demonstrate digital literacy. It involves  in identifying computer software and hardware, applying security measures to data, hardware, software in automated environment, computer software in solving task, internet and email in communication at workplace, desktop publishing in official assignments and preparing presentation packages.

Summary of Learning Outcomes

- Identify computer software and hardware

- Apply security measures to data, hardware, software in automated environment

- Apply computer software in solving tasks

- Apply internet and email in communication at workplace

- Apply desktop publishing in official assignments

- Prepare presentation packages

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Identify computer hardware and software | - Concepts of ICT - Functions of ICT - History of computers - Components of a computer - Classification of computers | - Written tests - Oral presentation |
| - Apply security measures to data, hardware, software in automated environment | - Data security and control - Security threats and control measures - Types of computer crimes - Detection and protection against computer crimes - Laws governing protection of ICT | - Written tests - Oral presentation - Project |
| - Apply computer software in solving tasks | - Operating system - Word processing - Spread sheets - Data base design and manipulation - Data manipulation, storage and retrieval | - Oral questioning - Project |
| - Apply internet and email in communication at workplace | - Computer networks - Network configurations - Uses of internet - Electronic mail (e-mail) concept | - Oral questioning - Written report |
| - Apply desktop publishing in official assignments | - Concept of desktop publishing - Opening publication window - Identifying different tools and tool bars - Determining page layout - Opening, saving and closing files - Drawing various shapes using DTP - Using colour pellets to enhance a document - Inserting text frames - Importing and exporting text - Object linking and embedding - Designing of various publications - Printing of various publications | - Oral questioning - Written report - Project |
| - Prepare presentation packages | - Types of presentation packages - Procedure of creating slides - Formatting slides - Presentation of slides - Procedure for editing objects | - Oral questioning - Written report - Project |

Suggested Methods of Instruction

- Instructor led facilitation of theory

- Demonstration by trainer

- Practical work by trainee

- Viewing of related videos

- Project

- Group discussions

Recommended Resources

- Computers

- Printers

- Storage devices

- Internet access

## ENTREPRENEURIAL SKILLS

UNIT CODE: WAT/CU/WSET/CC/03/6/A

Relationship to Occupational Standards

This unit addresses the Unit of Competency: Demonstrate Entrepreneurial Skills

Duration of unit: 100 hours

Unit Description

This unit covers the competencies required to demonstrate understanding of entrepreneurship. It involves demonstrating understanding of an entrepreneur, entrepreneurship and self-employment. It also involves identifying entrepreneurship opportunities, creating entrepreneurial awareness, applying entrepreneurial motivation and developing business innovative strategies.

Summary of Learning Outcomes

  - Demonstrate understanding of who an entrepreneur

  - Demonstrate knowledge of entrepreneurship and self-employment

  - Identify entrepreneurship opportunities

  - Create entrepreneurial awareness

  - Apply entrepreneurial motivation

  - Develop business innovative strategies

  - Develop Business plan

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Demonstrate knowledge of entrepreneurship and self-employment | - Importance of self-employment - Requirements for entry into self-employment - Role of an Entrepreneur in business - Contributions of Entrepreneurs to National development - Entrepreneurship culture in Kenya - Born or made entrepreneurs | - Individual/group assignments - Projects - Written tests - Oral questions - Third party report |
| - Identify entrepreneurship opportunities | - Business ideas and opportunities - Sources of business ideas - Business life cycle - Legal aspects of business - Assessment of product demand - Business environment - Factors to consider when evaluating business environment - Technology in business | - Individual/group assignments - Projects - Written tests - Oral questions - Third party report - Interviews |
| - Create entrepreneurial awareness | - Forms of businesses - Sources of business finance - Factors in selecting source of business finance - Governing policies on Small Scale Enterprises (SSEs) - Problems of starting and operating SSEs | - Individual/group assignments - Projects - Written tests - Oral questions - Third party report - Interviews |
| - Apply entrepreneurial motivation | - Internal and external motivation - Motivational theories - Self-assessment - Entrepreneurial orientation - Effective communications in entrepreneurship - Principles of communication - Entrepreneurial motivation | - Case studies - Individual/group assignments - Projects - Written tests - Oral questions - Third party report - Interviews |
| - Develop business innovative strategies | - Innovation in business - Small business Strategic Plan - Creativity in business development - Linkages with other entrepreneurs - ICT in business growth and development | - Case studies - Individual/group assignments - Projects - Written tests - Oral questions - Third party report - Interviews |
| - Develop Business Plan | - Business description - Marketing plan - Organizational/Management - plan - Production/operation plan - Financial plan - Executive summary - Presentation of Business Plan | - Case studies - Individual/group assignments - Projects - Written tests - Oral questions - Third party report - Interviews |

Suggested Methods of Instruction

- Direct instruction

- Project

- Case studies

- Field trips

- Discussions

- Demonstration

- Question and answer

- Problem solving

- Experiential

- Team training

Recommended Resources

- Case studies

- Business plan templates

- Computers

- Overhead projectors

- Internet

- Mobile phone

- Video clips

- Films

- Newspapers and Handouts

- Business Journals

- Writing materials

## EMPLOYABILITY SKILLS

UNIT CODE: WAT/CU/WSET/CC/04/6/A

Relationship to Occupational Standards

This unit addresses the Unit of Competency: Demonstrate Employability Skills

Duration of Unit: 80 hours

Unit Description

This unit covers competencies required to demonstrate employability skills. It involves conducting self-management, demonstrating interpersonal communication, critical safe work habits, leading a workplace team, planning and organizing work, maintaining professional growth and development, demonstrating workplace learning, problem solving skills and managing ethical performance.

Summary of Learning Outcomes

- Conduct self-management

- Demonstrate interpersonal communication

- Demonstrate critical safe work habits

- Lead a workplace team

- Plan and organize work

- Maintain professional growth and development

- Demonstrate workplace learning

- Demonstrate problem solving skills

- Manage ethical performance

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Conduct self-management | - Self-awareness - Formulating personal vision, mission and goals - Strategies for overcoming life challenges - Managing emotions - Emotional intelligence - Assertiveness versus aggressiveness - Expressing personal thoughts, feelings and beliefs - Developing and maintaining high self-esteem - Developing and maintaining positive self-image - Setting performance targets - Monitoring and evaluating performance - Articulating ideas and aspirations - Accountability and responsibility - Good work habits - Self-awareness - Values and beliefs - Self-development - Financial literacy - Healthy lifestyle practices - Adopting safety practices | - Written tests - Oral questioning - Interviewing - Portfolio of evidence - Third party report |
| - Demonstrate interpersonal communication | - Meaning of interpersonal communication - Listening skills - Types of audience - Public speaking - Writing skills - Negotiation skills - Reading skills - Meaning of empathy - Understanding customers’ needs - Establishing communication networks - Assertiveness - Sharing information | - Written tests - Oral questioning - Interviewing - Portfolio of evidence - Third party report |
| - Demonstrate critical safe work habits | - Stress and stress management - Time concept - Punctuality and time consciousness - Leisure - Integrating personal objectives into organizational objectives - Resources mobilization - Resources utilization - Setting work priorities - Developing healthy relationships - HIV and AIDS - Drug and substance abuse - Managing emerging issues | - Written tests - Oral questioning - Interviewing - Portfolio of evidence - Third party report |
| - Lead a workplace team | - Leadership qualities - Power and authority - Team building - Determination of team roles and objectives - Team parameters and relationships - Individual responsibilities in a team - Forms of communication - Complementing team activities - Gender and gender mainstreaming - Human rights - Developing healthy relationships - Maintaining relationships - Conflicts and conflict resolution - Coaching and mentoring skills | - Written tests - Oral questioning - Interviewing - Portfolio of evidence - Third party report |
| - Plan and organize work | - Functions of management - Planning - Organizing - Time management - Decision making concept - Task allocation - Developing work plans - Developing work goals/objectives and deliverables - Monitoring work activities - Evaluating work activities - Resource mobilization - Resource allocation - Resource utilization - Proactive planning - Risk evaluation - Problem solving - Collecting, analysing and organising information - Negotiation | - Written tests - Oral questioning - Interviewing - Portfolio of evidence - Third party report |
| - Maintain professional growth and development | - Avenues for professional growth - Training and career opportunities - Assessing training needs - Mobilizing training resources - Licenses and certifications for professional growth and development - Pursuing personal and organizational goals - Managing work priorities and commitments - Recognizing career advancement | - Written tests - Oral questioning - Interviewing - Portfolio of evidence - Third party report |
| - Demonstrate workplace learning | - Managing own learning - Mentoring - Coaching - Contributing to the learning community at the workplace - Cultural aspects of work - Networking - Variety of learning context - Application of learning - Safe use of technology - Taking initiative/proactivity - Flexibility - Identifying opportunities - Generating new ideas - Workplace innovation - Performance improvement - Managing emerging issues - Future trends and concerns in learning | - Written tests - Oral questioning - Interviewing - Portfolio of evidence - Third party report |
| - Demonstrate problem solving skills | - Critical thinking process - Data analysis tools - Decision making - Creative thinking - Development of creative, innovative and practical solutions - Independence in identifying and solving problems - Solving problems in teams - Application of problem-solving strategies - Testing assumptions - Resolving customer concerns | - Written tests - Oral questioning - Interviewing - Portfolio of evidence - Third party report |
| - Manage ethical performance | - Meaning of ethics - Ethical perspectives - Principles of ethics - Ethical standards - Organization code of ethics - Common ethical dilemmas - Organization culture - Corruption, bribery and conflict of interest - Privacy and data protection - Diversity, harassment and mutual respect - Financial responsibility/accountability - Etiquette - Personal and professional integrity - Commitment to jurisdictional laws - Emerging issues in ethics | - Written tests - Oral questioning - Interviewing - Portfolio of evidence - Third party report |

Suggested Methods of Instruction

- Demonstrations

- Simulation/Role play

- Group Discussion

- Presentations

- Assignments

- Q&A

Recommended Resources

- Computers

- Stationery

- Charts

- Video clips

- Audio tapes

- Radio sets

- TV sets

- LCD projectors

## ENVIRONMENTAL LITERACY

UNIT CODE: WAT/CU/WSET/CC/05/6/A

Relationship to Occupational Standards:

This unit addresses the Unit of Competency : Demonstrate Environmental Literacy

Duration of Unit: 40 hours

Unit Description

This unit describes the competencies required demonstrate environmental literacy.it involves controlling environmental hazard, controlling environmental pollution, complying with workplace sustainable resource use, evaluating current practices in relation to resource usage, identifying environmental legislations/conventions for environmental concerns, implementing specific environmental programs, monitoring activities on environmental protection/programs, analysing  resource use and developing resource conservation plans.

Summary of Learning Outcomes

- Control environmental hazard

- Control environmental Pollution

- Demonstrate sustainable resource use

- Evaluate current practices in relation to resource usage

- Identify Environmental legislations/conventions for environmental concerns

- Implement specific environmental programs

- Monitor activities on Environmental protection/Programs

- Analyze resource use

- Develop resource conservation plans

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Control environmental hazard | - Purposes and content of Environmental Management and Coordination Act 1999 - Storage methods for environmentally hazardous materials - Disposal methods of hazardous wastes - Types and uses of PPE in line with environmental regulations - Occupational Safety and Health Standards (OSHS) | - Written questions - Oral questions |
| - Control environmental Pollution control | - Types of pollution - Environmental pollution control measures - Types of solid wastes - Procedures for solid waste management - Different types of noise pollution - Methods for minimizing noise pollution | - Written questions - Oral questions - Role play |
| - Demonstrate sustainable resource use | - Types of resources - Techniques in measuring current usage of resources - Calculating current usage of resources - Methods for minimizing wastage - Waste management procedures - Principles of 3Rs (Reduce, Reuse, Recycle) - Methods for economizing or reducing resource consumption | - Written questions - Oral questions - Role play |
| - Evaluate current practices in relation to resource usage | - Collection of information on environmental and resource efficiency systems and procedures, - Measurement and recording of current resource usage - Analysis and recording of current purchasing strategies. - Analysis of current work processes to access information and data - Identification of areas for improvement | - Written questions - Oral questions - Role play |
| - Identify Environmental legislations/conventions for environmental concerns | - Environmental issues/concerns - Environmental legislations /conventions and local ordinances - Industrial standard /environmental practices - International Environmental Protocols (Montreal, Kyoto) - Features of an environmental strategy | - Written questions - Oral questions |
| - Implement specific environmental programs | - Community needs and expectations - Resource availability - 5s of good housekeeping - Identification of programs/Activities - Setting of individual roles /responsibilities - Resolving problems /constraints encountered - Consultation with stakeholders | - Written questions - Oral questions - Role play |
| - Monitor activities on Environmental protection/Programs | - Periodic monitoring and Evaluation of activities - Gathering feedback from stakeholders - Analyzing data gathered - Documentation of recommendations and submission - Setting of management support systems to sustain and enhance the program - Monitoring and reporting of environmental incidents to concerned /proper authorities | - Oral questions - Written tests - Practical test |
| - Analyze resource use | - Identification of resource consuming processes - Determination of quantity and nature of resource consumed - Analysis of resource flow through different parts of the process. - Classification of wastes for possible source of resources. | - Written tests - Oral questions - Practical test |
| - Develop resource Conservation plans | - Determination of efficiency of use/conversion of resources - Causes of low efficiency of use of resources - Plans for increasing the efficiency of resource use | - Written tests - Oral questions - Practical test |

Suggested Methods of Instruction

- Instructor led facilitation of theory

- Practical demonstration of tasks by trainer

- Practice by trainees

- Observations and comments and corrections by trainers

Recommended Resources

- Standard operating and/or other workplace procedures manuals

- Specific job procedures manuals

- Environmental Management and Coordination Act 1999

- Machine/equipment manufacturer’s specifications and instructions

- Personal Protective Equipment (PPE)

- ISO standards

- Company environmental management systems (EMS)

- Montreal Protocol

- Kyoto Protocol

## OCCUPATIONAL SAFETY AND HEALTH PRACTICES

UNIT CODE:	 WAT/CU/WSET/CC/06/6/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Demonstrate Occupational Safety and Health Practices

Duration of Unit: 40 hours

Unit Description

This unit specifies the competencies required to demonstrate occupational health and safety practices. It involves identifying workplace hazards and risk, identifying and implementing appropriate control measures to hazards and risks and implementing OSH programs, procedures and policies/guidelines.

Summary of Learning Outcomes

- Identify workplace hazards and risk

- Control OSH hazards

- Implement OSH programs

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Identify workplace hazards and risks | - Identification of hazards in the workplace and/or the indicators of their presence - Evaluation and/or work environment measurements of OSH hazards/risk existing in the workplace - Gathering of OSH issues and/or concerns | - Oral questions - Written tests - Portfolio of evidence - Third party report |
| - Control OSH hazards | - Prevention and control measures e.g. use of PPE - Risk assessment - Contingency measures | - Oral questions - Written tests - Portfolio of evidence - Third party report |
| - Implement OSH programs | - Company OSH program, evaluation and review - Implementation of OSH programs - Training of team members and advice on OSH standards and procedures - Implementation of procedures for maintaining OSH-related records | - Oral questions - Written tests - Portfolio of evidence - Third party report |

Suggested Methods of instruction

- Assigments

- Discussion

- Q&A

- Role play

- Viewing of related videos

Recommended Resources

- Standard operating and/or other workplace procedures manuals

- Specific job procedures manuals

- Machine/equipment manufacturer’s specifications and instructions

- Personal Protective Equipment (PPE) e.g.

- Mask

- Face mask/shield

- Safety boots

- Safety harness

- Arm/Hand guard, gloves

- Eye protection (goggles, shield)

- Hearing protection (ear muffs, ear plugs)

- Hair Net/cap/bonnet

- Hard hat

- Face protection (mask, shield)

- Apron/Gown/coverall/jump suit

- Anti-static suits

- High-visibility reflective vest

# COMMON UNITS OF LEARNING

## BIOLOGY AND CHEMISTRY PRINCIPLES

UNIT CODE: WAT/CU/WSET/CC/01/6/A

Relationship to Occupational Standards

This unit addresses the Unit of Competency: Apply chemistry and biology principles

Duration of Unit: 60 HOURS

Unit Description

This unit covers the competencies required to apply chemistry and biology principles. It involves applying inorganic chemistry principles, organic chemistry principles, physical chemistry principles, water chemistry principles and chemical water quality principles. It also entails applying biology and microbial water quality principles.

This applies in water sector

Summary of Learning Outcomes

- Apply inorganic chemistry principles

- Apply organic chemistry principles

- Apply physical chemistry principles

- Apply water chemistry principles

- Apply chemical water quality principles

- Apply biology principles

- Apply water microbiological principles

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content |  | Suggested Assessment Methods |  |  |
| --- | --- | --- | --- | --- | --- |
| 1.Apply inorganic chemistry principles | - Atomic structure and the periodic table - Electronic configuration of the first 30 elements of the periodic table - Groups, periods and blocks in the periodic table - Trends in physical and chemical properties of main group elements - Chemical bonding and structures - Properties of metallic, covalent and Ionic bonds - Nomenclature and chemical formulae of inorganic compounds - Dissolution and hydrolysis of ionic compounds of period 3 elements - The mole concept and aqueous solutions - Stoichiometry of chemical reactions - Chemical reagents and solution preparation - GHS of classification and labelling of chemicals - Storage, packaging, transportation, handling and disposal of hazardous chemical wastes - Personal safety and chemical accidents prevention |  | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |  |  |
| 2. Apply organic chemistry principles | - Classification of organic compounds - Structure and nomenclature of organic compounds - Physical and chemical properties of alkanes - Physical and chemical properties of alkenes and alkynes - Physical and chemical properties of alcohols - Physical and chemical properties of carboxylic acids - Natural and synthetic polymers - Aerobic and anaerobic processes - Eutrophication |  | - Observation - Oral questioning - Interview - Portfolio - Written tests Third party reports |  |  |
| 3. Apply Physical Chemistry Principles | - Electrochemical series and reactivity series - Corrosion - Displacement reactions - Solubility rules - Chemical reactions in electrochemical cells - Kinetic theory and gas laws - Reversible reactions and chemical equilibria - Chemical kinetics - Thermochemistry and thermodynamics - Rate law applications in aqueous medium - Colloidal suspensions |  | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |  |  |
| 4.Apply water Chemistry Principles | - Structure and chemical composition of water - Acid-base phenomena - Properties of water - Solubility of fluids in water - Chemical equilibria in the carbonate system - Auto-ionization and levelling effect of water - Implications of unique chemistry of water |  | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |  |  |
| 5. Apply chemical water quality principles |  | - Water quality and effluent discharge standards and guidelines - Irrigation water quality regulations - Water and wastewater sampling techniques for chemical testing - Protocols for physical and chemical analysis - Physical and chemical water quality analysis principles, and applications - Physical and chemical tests for drinking water, irrigation water and waste water. - Data collection, recording, interpretation and reporting - Safety considerations in a chemical water and wastewater quality testing laboratory |  | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |  |
| - Apply Biology principles | - Concepts and terms of Biology - Characteristics of living things - Organization of life forms - The five-kingdom classification system - Viruses - Prokaryotes and eukaryotes - Unicellular and multicellular organisms - Classification of aquatic organisms - Principles of aquatic ecology - Application of aquatic ecology in water quality monitoring - Classification of pathogenic microorganisms and their vectors - General laboratory biosafety rules |  | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |  |  |
| - Apply microbial water quality principles | - Water sampling for microbial analysis - Microbial water quality analysis principles and application - Microbiological water quality testing |  | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |  |  |

Suggested Methods of Instruction:

- Direct instructions

- Projects

- Case studies

- Field trips

- Discussions

- Online videos

- Power point presentation

- Demonstration by trainer

- Practice by the trainee

List of Recommended Resources:

| - Analytical balances - UV-Vis spectrophotometers - Colour comparator discs - pH meter - Conductivity meter - Meters with ISE e.g. fluoride, nitrate - Turbidimeter - Conductivity meters - Dissolved oxygen meter - BOD oxitop bottles - Oven (10-180oC) - Incubator - Muffle furnace (up to 500oC) - Refrigerator - Cooler boxes - Water /steam bath tray - Wire loop - Stirring devices for jar tests - Membrane filtration units - Thermometers - Distillers - filtration units - Autoclave | - Microscope - Quant tray sealer - Desiccators - Hotplates - Magnetic stirrers - Computers - Scientific Calculators - Relevant reference materials - Stationeries - Relevant practical materials - laboratory - Internet - Vacuum Pumps |
| --- | --- |

## ENGINEERING MATHEMATICS

UNIT CODE: WAT/CU/WSET/CC/02/6/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Apply Engineering Mathematics Principles

Duration of Unit: 150 hours

Unit Description

This unit describes the competencies required to apply engineering mathematics. It involves applying algebra, trigonometry and hyperbolic functions, complex numbers, co-ordinate geometry and carrying out binomial expansion. It also involves applying calculus, solving ordinary differential equations; carrying out mensuration, power series, statistics, numerical methods, vector theory and matrices.

Summary of Learning Outcomes

- Apply Algebra

- Apply Trigonometry and hyperbolic functions

- Apply complex numbers

- Apply Coordinate Geometry

- Carry out Binomial Expansion

- Apply Calculus

- Solve Ordinary differential equations

- Carry out Mensuration

- Apply Power Series

- Apply Statistics

- Apply Numerical methods

- Apply Vector theory

- Apply Matrix

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Apply Algebra | - Base and Index - Law of indices - Indicial equations - Laws of logarithm - Logarithmic equations - Conversion of bases - Use of calculator - Reduction of equations - Solution of equations reduced to quadratic form - Solutions of simultaneous linear equations in three unknowns - Solutions of problems involving AP and GP | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Apply Trigonometry and hyperbolic functions | - Half -angle formula - Factor formula - Trigonometric functions - Parametric equations - Relative and absolute measures - Measures calculation - Definition of hyperbolic equations - Properties of hyperbolic functions - Evaluations of hyperbolic functions Hyperbolic identities - Osborne’s Rule - Ashx+bshx=C equation - One-to-one relationship in functions - Inverse functions for one-to-one relationship - Inverse functions for trigonometric functions - Graph of inverse functions - Inverse hyperbolic functions | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Apply complex numbers | - Definition of complex numbers - Stating complex numbers in numbers in terms of conjugate argument and - modulus - Representation of complex numbers on the Argand diagram - Arithmetic operation of complex numbers Application of De Moivre’s theorem - Application of complex numbers to engineering | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Apply Coordinate Geometry | - Polar equations - Cartesian equation - Graphs of polar equations - Normal and tangents - Definition of a point - Locus of a point in relation to a circle - Loci of points for given mechanism | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Carry out Binomial Expansion | - Binomial theorem Power series using binomial theorem Roots of numbers using binomial theorem. - Estimation of errors of small changes using binomial theorem. | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Apply Calculus | - Definition of derivatives of a function - Differentiation from fist principle - Tables of some common derivatives - Rules of differentiation - Rate of change and small change - Stationery points of functions of two variables - Definition of integration - Indefinite and definite integral - Methods of integration application of integration. - Integrals of hyperbolic and inverse functions | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Solve Ordinary differential equations | - Types of first order differential equations - Formation of first order differential equation - Solution of first order differential equations - Application of first order differential equations - Formation of second order differential equations for various systems - Solution of second order differential equations - Application of second order differential equations | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Carry out Mensuration | - Units of measurements - Perimeter and areas of regular figures - Volume of regular solids - Surface area of regular solids - Area of irregular figures - Areas and volumes using Pappus theorem | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Apply Power Series | - Definition of the term power series - Taylor’s theorem - Deduction of McLaurin’s theorem to obtain power series - Application of Taylor’s theorem and McLaurin’s theorems in numerical work | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Apply Statistics | - Measures of central tendency mean, mode and median - Measures of dispersion - Variance and standard deviation - Definition of probability - Laws of probability - Expectation variance and S.D. - Types of distributions - Mean, variance and SD of probability distributions - Application of probability distributions | - Observation - Oral questioning - Interview - Portfolio - Written tests\ - Third party reports |
| - Apply Numerical methods | - Definition of interpolation and extrapolation - Application of interpolation - Application of interactive methods to solve equations - Application of interactive methods to areas and volumes | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Apply Vector theory | - Vectors and scalar in two and three dimensions - Operations on vectors: Addition and Subtraction - Position vectors - Resolution of vectors | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Apply Matrix methods | - Matrix operation - Determinant of 3x3 matrix - Inverse of 3x3 matrix - Solution of linear simultaneous equations in 3 unknowns - Application of matrices | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |

Suggested Methods of Instruction

- Group discussions

- Demonstration by trainer

- Exercises by trainee

Recommended Resources

- Scientific Calculators

- Rulers, pencils, erasers

- Charts with presentations of data

- Graph books

- Dice

- Computers with internet connection

## WORKSHOP TECHNOLOGY

UNIT CODE: WAT/CU/WSET/CC/03/6/A

Relationship to Occupational Standards

This unit addresses the unit of competency: Apply workshop technology

Duration of Unit: 240 Hours

Unit Description

This unit describes the competence required to apply workshop technology. It involves applying workshop safety measures, identifying engineering materials, performing masonry tasks, carpentry tasks, general electrical tasks and mechanical tasks. It also involves managing workshop wastes.

Summary of Learning Outcomes

- Apply workshop safety measures

- Identify engineering materials

- Perform masonry tasks

- Perform carpentry tasks

- Perform electrical tasks

- Perform plumbing tasks

- Perform general welding tasks

- Perform mechanical tasks

- Manage workshop wastes

Learning Outcomes, Content and Suggested Assessment Methods:

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Apply workshop safety measures | - Safety requirements in the workshop - Workshop rules and regulations - Electrical, mechanical, chemical and fire hazards - First Aid - Environmental management laws and regulations - Waste management and disposal | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Identify engineering materials | - Classification of engineering materials - Crystalline structure of materials - Properties of materials - Construction material: types, standard processing and applications | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Perform masonry tasks | - Masonry tools and machinery - Masonry works supplies and materials - Tasks in masonry work - Troubleshoot, care and maintenance of masonry tools | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Perform carpentry tasks | - Carpentry tools and machinery - Carpentry works supplies and materials - Carpentry work - Troubleshoot, care and maintenance of carpentry tools | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Perform electrical tasks | - Concepts and terminology in electricity and electronics - Electric charges and current - Electric and electronic circuits - Electrical and electronic instruments - Electrical and electronic measurements - Errors in electrical measurement - Ohms law - Kirchhoff’s laws - AC and DC circuits in electronic systems - Electrical and electronic installation - R-L-C circuits - Semi-conductor devices - Electrical tools and machinery - Electrical works supplies and materials - Wiring - Troubleshoot, care and maintenance of electrical system | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Perform plumbing tasks | - Plumbing tools and machinery - Plumbing works supplies and materials - Pipes, fittings and appurtenances - Installation of piping system - Troubleshoot, care and maintenance of piping system | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Perform General welding tasks | - Welding hand tools and machinery - Welding works supplies and materials - Welding methods - Troubleshoot, care and maintenance of welding tools | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Perform mechanical tasks | - Use of mechanical hand tools and machinery - Lifting equipment - Types of lifting equipment: manual, mechanized, hydraulic and pneumatic - Operation principles: pre-requisite checks, operation procedures, equipment safety. - Troubleshoot, care and maintenance of mechanical tools - Routine maintenance: cleaning, servicing and trouble shoot - Mechanical works supplies and materials - Tasks in mechanical work - Concepts and terminology in pumps - Types of pumps - Working principles of pumps - Pump selection criteria - Pump performance parameters - Fluid pumping calculations - Pumping plant operation and maintenance | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Manage workshop wastes | - Environmental management laws and regulations - Waste management and disposal - Storage products and supplies - Waste management methods - Waste disposal methods - Work station cleaning procedure | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |

Suggested Methods of Instruction

- Demonstration by trainer

- Practice by the trainee

- Field trips

- On-job-training

- Discussion

- Direct instruction

Recommended Resources

| Tools - Masons trowel - Adjustable wrench - Anvil - Arc welding shields - Chain pipe wrench - die stock and die sets - draw in wire - Hacksaw - Hand drill - Pullers - Solder gun - Spirit level - Vernier callipers - Welding goggles | Materials and supplies - Aggregates - Assorted pipe joints - Brushes - Cement - Glue - Hemp - Insulation tape - Nails - Pipe cleaner - Solvent Cement - Thread tape - Timber - Trunking |
| --- | --- |
| Machinery and Equipment - Block cutter - Butt fusion machine - circular saw - Close cut saw - Compactors - Concrete mixer - Electrical Die stock machine - Hand grinder - Pipe Bending machine - Pneumatic hammer - Portable drill machine - Portable power drill - Portable sander - PPR Welding machine - Sheet metal holding machine - Thicknesser - Tool box - Vibrator - Welding - Jig saw | Reference materials - IEE regulations - Organizational procedures manual |
| Instruments - Voltmeter - Ammeter - Frequency meter - Phase sequence |  |

## APPLIED PHYSICS

UNIT CODE: WAT/CU/WSET/CC/04/6A

Relationship to Occupational Standards

This unit addresses the unit of competency: apply physics principles

Duration of unit: 120 Hours

Unit Description

This unit describes the competence required to apply principles. It involves performing measurements of physical quantities, applying principles of classical mechanics, heat transfer, waves and oscillations, as well as density and pressure principle. It also entails applying electromagnetic induction principles.

This standard applies in water sector.

Summary of Learning Outcomes

- Perform measurements of physical quantities

- Apply principles of classical mechanics

- Apply principles of heat transfer

- Apply principles of waves and oscillations

- Apply density, pressure and fluid flow principles

- Apply electrical and electronics principles

- Apply principles of electromagnetic induction

Learning Outcomes, Content and Suggested Assessment Methods:

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Perform Measurements of physical quantities | - Basic physical quantities and SI units - Derived units - Measurement of the physical quantities - Unit Interconversion | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Apply Principles of classical Mechanics | - Concepts and terms in classical mechanics - Linear Motion - Projectile motion - Newton’s laws of motion - Conservation of linear momentum - Potential energy - Kinetic energy - Conservation of energy - Solving problems | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Apply principles of heat Transfer | - Concepts and terms in heat transfer - Modes of heat transfer - Change of physical state - Temperature change - Latent heat - Specific heat capacity - Quantity of heat - Kinetic theory | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Apply principles of waves and oscillations | - Principles and terms in waves and oscillation - Types of waves - Wave equation - Electromagnetic spectrum - Dual nature of light - Rectilinear propagation of light - Optical properties of light - Simple harmonic oscillations - Vibration - Solving problems | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Apply density, pressure and fluid flow principles | - Density in fluids and solids - Pressure in fluids and solids - Bernoulli’s Principle - Equation of continuity - Hydraulic machines - Suction pumps - Application of pressure in hydraulic machines | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Apply principles of electromagnetic induction | - Concepts and terminology in electromagnetic induction - Magnetic parameters - Magnetic properties of materials - induced e.m.f. and current - Faraday’s laws of electromagnetic induction - Lenz’s law - Applications of electromagnetic induction | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |

Suggested Methods of Instruction

- Direct instruction

- Demonstration by trainer

- Practice by the trainee

- Discussions

Recommended Resources

- Electric meters

- Electronic kit

- PPE

- Assorted cables and wires

- Measuring rules

- Optical bench

- Mirrors

- Lenses

## TECHNICAL DRAWING AND COMPUTER AIDED DRAWING

UNIT CODE: WAT/CU/WSET/CC/05/6/A

Relationship to Occupational Standards

This unit addresses the unit of competency: apply technical drawing and computer aided design principles

Duration of Unit: 240 Hours

Unit Description

This unit covers the competencies required to apply technical drawing and computer aided design principles It involves using and maintaining drawing equipment and materials, producing plane geometry drawings, solid geometry drawings, 3D drawings, and working drawings It also involves applying CAD packages in producing working drawings.

Summary of Learning Outcomes

- Use and maintain drawing equipment and materials

- Produce plane geometry drawings

- Produce solid geometry drawings

- Produce 3D drawings

- Produce working drawings

- Apply CAD packages

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Use and maintain drawing equipment and materials | - Drawing office set up - Drawing tools, materials and equipment | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Produce plane geometry drawings | - Drawing lines - Lettering and numbering - Drawing scales - Construction of angles, lines and tangents - Geometric forms | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Produce solid geometry drawings | - Drawing patterns - Surface developments - True shapes, plans and elevations - Free hand sketching | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Produce 3D drawings | - Pictorial projections - Orthographic projections | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Produce working drawings | - Construction plans, elevation and sections - Irrigation and drainage structures | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Apply CAD packages | - Introduction to CAD - 2D drawing - 3D drawing - Page Layout and Printing | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |

Suggested Methods of Instruction

- Online videos

- Exercises by trainee

- Demonstration by trainer

- Power point presentation

- Group discussions

- Direct instruction by trainer

Recommended Resources

- Relevant reference materials

- Stationeries

- Design Software

- Computer lab

- Relevant practical materials

- Internet

## WATER TECHNOLOGY PRINCIPLES

UNIT CODE: WAT/CU/WSET/CC/07/6/A

Relationship to Occupational Standards

This unit addresses the unit of competency: apply water technology principles

Duration of Unit:180 Hours

Unit Description

This unit describes the competence required to apply water technology principles. It involves applying basic water supply principles, principles of wastewater collection and treatment. It also involves applying basic irrigation and drainage principles.

Summary of Learning Outcomes

- Apply basic water supply principles

- Apply basic hydraulic principles

- Apply basic wastewater collection and treatment principles

- Apply basic irrigation and drainage principles

Learning Outcomes, Content and Suggested Assessment Methods:

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Apply basic water supply principles | - Water demand - Sources of water - Water abstraction - Water treatment - Safe water storage and handling - Water pipes and appurtenances - Distribution system | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Apply basic hydraulic principles | - Properties of fluids - Fluid pressure measurement - Velocity and Discharge measurement - Hydrostatics - Hydro dynamics - Flow in pipes - Flow in open channels | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Apply principles of wastewater collection and treatment | - Characteristics of wastewater - Sources of waste water - Sewerage systems - Sewer pipes and appurtenances - Wastewater Treatment processes and disposal - Advance waste water treatment - Industrial waste water management - Sludge treatment - Feacal sludge management - Sewage pumping - Shit flow diagrams - Use of waste water for irrigation | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Apply basic irrigation and drainage principles | - Soil, plant-water relationship - Land preparation - Sources of water for irrigation - Irrigation farm layout - Quality of irrigation water - Irrigation methods - Methods of drainage | - Observation - Oral questioning - Interview - Portfolio - Written tests Third party reports |

Suggested Methods of Instruction

- Demonstration by trainer

- Practice by the trainee

- Field trips

- Discussions

Recommended Resources

- Stationery

- Basic engineering workshops

- Soil quality laboratory

- Demonstration platforms

- Computers

- Internet

## WATER MANAGEMENT PRINCIPLES

UNIT CODE: WAT/CU/WSET/CC/07/6/A

Relationship to Occupational Standards

This unit addresses the Unit of Competency: Applywater management principles.

Duration of Unit: 60 Hours

Unit Description

This unit describes the competencies required to apply water management principles. It involves applying hydrology, hydrogeology as well as soil and water conservation, remote sensing and GIS principles. It also entails applying water policy and legislation as well integrated water resources management principles.

Summary of Learning Outcomes

  - Apply hydrology principles

  - Apply hydrogeology principles

  - Apply soil and water conservation principles

  - Apply remote sensing and GIS principles

  - Apply water policy and legislation

  - Applied  integrated water resources management  principles

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Apply Hydrology Processes | - Concepts of hydrology - Hydrological cycle - Hydrological processes, principles and application | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Apply water policy, water and Legislation | - Water legislation in Kenya - Legal and regulatory framework of Water Sector in Kenya: - Water Act - EMCA - Sanitation policy | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |
| - Apply Integrated Water Resources Management (IWRM) Principles | - Concepts of IWRM - Principles of IWRM - Pillars of IWRM: - Gender mainstreaming in IWRM - Applications of IWRM in Kenyan Context | - Observation - Oral questioning - Interview - Portfolio - Written tests - Third party reports |

Suggested Methods of Instruction:

- Direct instruction

- Project

- Case studies

- Field trips

- Discussions

- Demonstration by trainer

- Practice by the trainee

List of Recommended Resources:

- Computers - Stationery - Evaporation pan (Class A) - Rain gauge - Current meter - Wading suit - Tape measure - Staff gauge - Hand lens - Clinometer - Gps receiver - Maps - Steel file - Steel knife - Rock samples - Minerals - PPE

References

- CoK, 2010

- Water Act,2016

- EMCA, 2015

- WRA regulations ,2007

- WASREB reports

- Local government regulations

- International Protocols

# CORE UNITS OF LEARNING

## WASTEWATER COLLECTION AND TREATMENT INFRASTRUCTURE

UNIT CODE: WAT/CU/ WSET/CR/01/6/A

Relationship to Occupational Standards

This unit addresses the unit of competency: design wastewater collection and treatment infrastructure

Duration of Unit: 450 hours

Unit Description

This unit covers the competencies required to design waste water collection and treatment infrastructure. It involves conducting feasibility study and site survey for wastewater design infrastructure, collecting wastewater infrastructure design data, determining wastewater infrastructure design data and calculating of wastewater infrastructure design parameters. It also entails drawing wastewater infrastructure units and preparing wastewater infrastructure design reports.

Summary of Learning Outcomes

- Conduct feasibility study

- Conduct site survey for wastewater design infrastructure

- Collect wastewater infrastructure design data

- Determine wastewater infrastructure design parameters

- Analyze structural elements for wastewater infrastructure

- Draw wastewater infrastructure units

- Prepare wastewater infrastructure design report

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content |  | Suggested Assessment Methods |  |
| --- | --- | --- | --- | --- |
| - Conduct feasibility study | - Characterization of the study area - Tools and methods for data collection and analysis - Preparation of feasibility study report |  | - Written tests - Observation - Interviewing - Oral questioning - Portfolio - Third party report |  |
| - Conduct site survey for water supply infrastructure design | - Site reconnaissance - Survey tools and equipment - Site survey - Survey data analysis and presentation - GIS and remote sensing for wastewater infrastructure |  | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |  |
| - Collect wastewater infrastructure design data | - Mapping the area - Tools preparation - Data collection/ Quantity of Wastewater - Quantity of wastewater (Design periods, wastewater generation rates (urban, periurban, rural) - Storm water infiltration and exfiltration. |  | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |  |
| - Determine wastewater infrastructure design parameters | - Population projection - Population equivalent - Discharge /volume - Velocities - Load estimation (BOD, TSS,FC) - Computations of profile data - Sizing of the pipes - Hydraulic flow in pipes - Depth of flow - Gradient - Sizing of treatment units |  | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |  |
| - Analyze structural elements for wastewater infrastructure | - Properties of material - Moments in beams - Calculation of Shear forces and bending moments - Determination of maximum Sheaf forces and Bending moments - Graphical representations - Section properties - Theory of simple bending - Forces in frames - Deflection in beams - Design of Reinforced Concrete Structures - Design of Timber Structures - Design of Steel - Connections | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |  |  |
| - Draw wastewater infrastructure units | - Draw profiles - Draw: - Sewer Line - Sewer Appurtenances - Screens - Grit Chamber - Sedimentation Tanks - Trickling Filters - Activated Sludge Unit - Stabilization Ponds - Oxidation Ditch - Aerated Lagoons - Storm Water Drains - Sludge Treatment Units - Legal requirements for approvals |  | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |  |
| - Prepare wastewater infrastructure design report | - Technical report writing - Bill of quantities - Legal requirements |  | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |  |

Suggested Methods of Instruction

- Group discussions

- Demonstration by trainer

- Online videos

- Power point presentation

- Exercises by trainee

Recommended Resources

| - Scientific calculators - Relevant reference materials - Stationeries - Design Software - Computer lab - Relevant practical materials - Laboratories (chemical, biological & soils) - Internet - Concrete workshop - Hydraulics laboratory - Design codes - GPS - GIS software | - Prismatic compasses - Optical squares - Dumpy levels - Automatic levels - Digital levels - Levelling staffs - Tripod stands - Odometers - Electromagnetic distance measurement equipment - Manual theodolites - Electronic theodolites - Total stations - 3 point Prisms - Planimeter |
| --- | --- |

## WASTEWATER INFRASTRUCTURE CONSTRUCTION

UNIT CODE: WAT/CU/WSET/CR/02/6/A

Relationship to Occupational Standards

This unit addresses the unit of competency: construct wastewater infrastructure

Duration of Unit: 240 hours

Unit Description

This unit covers the competencies required to construct wastewater infrastructure. It involves construction of the wastewater infrastructure units, organization of the construction site, and preparation of construction waste water infrastructure units

Summary of Learning Outcomes

- Analyse soil properties

- Prepare construction schedule

- Organize the construction site

- construct the wastewater infrastructure units

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Analyse soil properties | - Physical properties of soils - Index properties of soils - Soil classification and identification - Compaction of soils - Field compaction tools and equipment - Seepage & permeability - Darcy’ Law of Permeability - Factors affecting permeability of soils - Laboratory methods determination soil permeability - Field methods for determination of soil permeability - Shear strength - Vertical Stress Distribution: - Lateral earth pressure - Consolidation and settlement - Stability of slopes - Bearing capacity - Site Investigation: | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |
| - Prepare construction schedule | - Interpretation of working drawings - Construction activities - Project planning - Project management | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |
| - Organize the construction Site | - Site layout and organisation - Construction Materials - Construction management - Site Safety - Resource mobilization - Contract documents - Legal requirements (construction industry) | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |
| - Construct the wastewater infrastructure units | - Site clearance - Setting out for construction works - Estimation of wastewater works - Measurements and costing of wastewater works - Tools and equipment for setting out. - Procedure for setting out. - Interpretation of bill of quantities - Constructional details of onsite sanitation facilities - Construction plant and equipment - Construct sewer apputenances | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |

Suggested Methods of Instruction

- Group discussions

- Demonstration by trainer

- Online videos

- Power point presentation

- Exercises by trainee

Recommended Resources

- Scientific Calculators

- Relevant reference materials

- Stationeries

- GPS

- Design Software

- Computer lab

- Relevant practical materials

- Laboratories (chemical, biological & soils)

- Internet

- Construction equipment

- Standard Methods of Measurement

- Civil Engineering Methods of Measurement

## WASTEWATER INFRASTRUCTURE OPERATION AND MAINTENCE

UNIT CODE: WAT/CU/WSET/CR/03/6/A

Relationship to Occupational Standards

This unit addresses the unit of competency: operate and maintain wastewater infrastructure

Duration of Unit: 120 hours

Unit Description

This unit covers the competencies required to operate and maintain wastewater infrastructure. It involves Preparation of operation and maintenance schedule, maintenance of wastewater collection system, Maintenance of wastewater sludge treatment units and maintenance of wastewater treatment units.

Summary of Learning Outcomes

- Prepare operation and maintenance schedule for wastewater infrastructure.

- Operate and Maintain wastewater collection system

- Maintain wastewater treatment units

- Maintain wastewater sludge treatment units

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Prepare operation and maintenance schedule for wastewater infrastructure. | - Operation and maintenance activities - Maintenance tools and materials - Time allocation - Maintenance schedules | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |
| - Operate and Maintain wastewater collection system | - Sewer/ storm water drains inspection - Sewer cleaning - Sewer testing - sewer repair - Safety Procedures working in sewers, - Manhole hazards - Sewer problems identification and solutions - Occupational health and safety - Operator Observations, Process Problems, and Troubleshooting | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |
| - Maintain wastewater treatment units | - Tools and equipment for wastewater treatment infrastructure maintenance - Inspection and monitoring of: - Screens - Grit chamber - Sedimentation tanks - Trickling filters - Activated sludge unit - Stabilization ponds - Oxidation ditch - Aerated lagoons - Storm water drains - Sludge treatment units - Troubleshooting Operational Problems Performance of wastewater treatment units - Monitoring Report - Repair of faults - Replacement of parts - Rehabilitation | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |
| - Maintain wastewater sludge treatment units | - Tools and equipments for Sludge treatment units maintenance - Inspection and monitoring of Sludge treatment units - Troubleshooting Operational Problems Performance of Sludge treatment units - Monitoring Report - Repair of faults - Replacement of parts - Rehabilitation | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |

Suggested Methods of Instruction

- Group discussions

- Demonstration by trainer

- Online videos

- Power point presentation

- Practical by trainee

- Field trips

Recommended Resources

- Scientific Calculators

- Relevant reference materials

- Stationeries

- Design Software

- Computer lab

- Relevant practical materials

- Laboratories (chemical, biological & soils)

- Internet

- Maintenance tools equipment

- operational wastewater infrastructure

## CUSTOMER SERVICE CONNECTIONS MANAGEMENT

UNIT CODE: WAT/CU/WSET/CR/04/6/A

Relationship to Occupational Standards

This unit addresses the unit of competency: manage customer service connections

Duration of Unit: 30 hours

Unit Description

This unit covers the competencies required to manage customer service connections. It involves management of customer service connections, conducting reconnaissance survey, preparing connection schedules and connecting the customer to sewer line

Summary of Learning Outcomes

- Conduct reconnaissance survey

- Prepare connection schedules

- Connect the customer to sewer line

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| 1. Conduct reconnaissance survey | - Map interpretation - Mapping of sewer customer connection(existing capacity, terminal manholes, PR - Use of GPS - Tools, equipment, materials and resources required | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |
| 2. Prepare connection schedules | - Sewer connection activities - Project planning and management - Connection schedule procedures Interpretation of Engineering Drawings | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |
| 3. Connect the customer to sewer line | - Customer care - Connection tools - Plumbing - Pipe fitting - Pipe materials and jointing - Legal requirements | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |

Suggested Methods of Instruction

- Group discussions

- Demonstration by trainer

- Online videos

- Power point presentation

- Practicals by trainee

Recommended Resources

- Scientific Calculators

- Relevant reference materials

- Stationeries

- Design Software

- Computer lab

- Relevant practical materials

- Laboratories (chemical, biological & soils)

- Internet

- Maintenance tools equipment

- operational wastewater infrastructure

## ONSITE SANITATION FACILITIES DESIGNING

UNIT CODE: WAT/CU/WSET/CR/05/6/A

Relationship to Occupational Standards

This unit addresses the unit of competency: design onsite sanitation facilities

Duration of Unit: 120 hours

Unit Description

This unit covers the competencies required to design onsite sanitation facilities. It also involves Collection and analysis of onsite sanitation design data, Calculation of onsite sanitation design parameters, Drawing onsite sanitation units and Compilation of onsite sanitation design report

Summary of Learning Outcomes

- Conduct feasibility study

- Conduct site survey for wastewater design infrastructure

- Collect onsite sanitation infrastructure design data

- Determine wastewater infrastructure design parameters

- Draw onsite sanitation units

- Design shit flow diagram

- Prepare onsite sanitation design report

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Collect onsite sanitation design data | - Area Mapping - Data collection tools - Data collection process - Need for wastewater disposal - Population - Legal framework | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |
| - Analyze onsite sanitation design data | - Arrangement of data and information - Design software (excel) - Presentation of design data | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |
| - Calculate onsite sanitation design parameters | - Wastewater estimation - Population projection - Design parameters - Design tools - Design of Onsite facilities: - Design of septic tank - Design of bio-digester - Design of anaerobic baffled reactors - Design of latrines - Design of soak pits - Eco-san toilets - Imhoff tank | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |
| - Draw onsite sanitation units | - Drawing tools, supplies and materials - Drawing of Onsite facilities: - Septic Tank - Bio-Digester - Anaerobic Baffled Reactors - Latrines - Soak Pits - Eco-san Toilets - Imhoff Tank | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |
| - Design shit flow diagram | - Shit flow diagram design - Faecal waste flow matrix - Sanitation service chain - Risks along the Sanitation Service Chain - Sanitation intervention measures - Faecal sludge management | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |
| - Compile onsite sanitation design report | - Design report format - Design report preparation - Design report submission | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |

Suggested Methods of Instruction

- Group discussions

- Demonstration by trainer

- Online videos

- Power point presentation

- Exercises by trainee

Recommended Resources

- Scientific Calculators

- Relevant reference materials

- Stationeries

- GPS

- Design Software

- Computer lab

- Relevant practical materials

- Laboratories (chemical, biological & soils)

- Internet

## ONSITE SANITATION FACILITIES CONSTRUCTION

UNIT CODE: WAT/CU/WSET/CR/06/6/A

Relationship to Occupational Standards

This unit addresses the unit of competency: construct onsite sanitation facilities

Duration of Unit: 60 hours

Unit Description

This unit covers the competencies required to construct onsite sanitation facilities. It involves preparing construction schedule, organizing the construction site and construction of the various onsite sanitation facilities

Summary of Learning Outcomes

- Prepare construction schedule

- Organize the construction Site

- Construct the various onsite sanitation facilities

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Prepare construction schedule | Design of onsite sanitation facilities - Interpretation of Engineering Drawings - Construction activities - Project planning and management | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |
| - Organize the construction Site | - Site clearance - Site layout - Resource mobilization - Contract documents - Legal requirements | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |
| - Construct the various onsite sanitation facilities | - Interpretation of bill of quantities - Constructional details of onsite sanitation facilities - Construction plant and equipment - Construct: - Septic Tanks - Bio-Digesters - Anaerobic Baffled Reactors - Latrines- pit, VIP, Aqua privy - Soak Pits - Imhoff tank - Progress Report - As-built drawings - Payment certificate - Substantial completion certificate - Completion certificate | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |

Suggested Methods of Instruction

- Group discussions

- Demonstration by trainer

- Online videos

- Power point presentation

- Exercises by trainee

Recommended Resources

- Scientific Calculators

- Relevant reference materials

- Stationeries

- GPS

- Design Software

- Computer lab

- Relevant practical materials

- Laboratories (chemical, biological & soils)

- Internet

## ONSITE SANITATION FACILITIES OPERATION AND MAINTENANCE

UNIT CODE: WAT/CU/WSET/CR/07/6/A

Relationship to Occupational Standards

This unit addresses the unit of competency: operate and maintain onsite sanitation facilities

Duration of Unit: 50 hours

Unit Description

This unit covers the competencies required to manage onsite sanitation facilities operation and maintenance. It involves Preparing operation and maintenance schedules, maintaining onsite sanitation facilities

Summary of Learning Outcomes

- Prepare operation and maintenance schedule

- Operate onsite sanitation facility

- Maintain onsite sanitation facilities

Learning Outcomes, Content and Suggested Assessment Methods

| Learning Outcome | Content | Suggested Assessment Methods |
| --- | --- | --- |
| - Prepare operation and maintenance schedule | - Management of onsite sanitation facilities, operation and maintenance - Preparation of operation and maintenance schedule for:- - Simple Pit Latrines - VIP Latrines - Septic Tank - Aqua Privies - Bio-Digesters - Cesspools - Bucket Latrines - Trench Latrines - Borehole Toilets | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |
| - Operate onsite sanitation facility | Principles of Operation of :- - Simple Pit Latrines - VIP Latrines - Septic Tank - Aqua Privies - Bio-Digesters - Cesspool - Bucket Latrines - Trench Latrines - Borehole Toilets | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |
| - Maintain onsite sanitation facilities | - Maintenance tools and equipment for sanitation facilities - Inspect - Simple Pit Latrines - VIP Latrines - Septic Tank - Aqua Privies - Bio-Digesters - Cesspools - Bucket Latrines - Trench Latrines - Borehole Toilets - Eco san toilets - Troubleshooting Operational Problems and Performance of sanitation facilities - Prepare O & M monitoring report - Rehabilitation of sanitation facilities | - Written tests - Observation - Interviewing - Portfolio - Oral questioning - Third party report |

Suggested Methods of Instruction

- Group discussions

- Demonstration by trainer

- Online videos

- Power point presentation

- Exercises by trainee

Recommended Resources

- Scientific Calculators

- Relevant reference materials

- Stationeries

- Operation& maintenance tools & equipment

- Internet